{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Price Bid"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Price Bid","index":0,"n_rows":17,"n_cols":7,"rows_kept":17,"cut":false,"hidden":false,"merged":[[11,1,11,6],[0,0,0,6],[1,0,1,6],[2,0,2,6],[3,0,3,6],[4,0,4,6],[9,0,9,6],[10,1,10,6],[8,2,8,6],[8,0,8,1],[7,0,7,1]]}
["BHARAT HEAVY ELECTRICALS LIMITED JHANSI"]
["FACTORY CIVIL  DEPARTMENT"]
["Price bid"]
["Name of Work: Providing and fixing of Chemical Anchor Fastener of size M24 x 300 in BHEL JHANSI"]
["Tender Enquiry No. FCX/TW/25/22"]
["Sl. No.","Description of work ","% Allocation \n(Item-wise)","Unit","Qty","Rate per Unit (in Rs.)","Amount (in Rs.)"]
[1,"Providing & fastening chemical capsule anchoring in RCC member using HILTI adhesive capsule & Galvanised anchor rod steel grade 5.8 complete with nuts & washer including drilling holes of required diameter & depth using hammer drill etc complete. To arrest dust & dirt generated during drilling operation, vaccum dust collector should be deployed area of operation should be cordon-off by making temporary enclosure for which enclosure material shall be supplied by BHEL free of cost. The rate should be inclusive of all material, labour, tools & tackles etc. complete except specified otherwise. The job is to be carried out by a authorized applicator only of the concerned company of which anchors are proposed. \nSize: M 24 x 300\n(2223881 HAS-U 5.8 M24x300 (element) / \n2287553 HIT-RE 500 V4 (adhesive))",1,"Number ",66,{"$f":"ROUND(G7/E7,4)","v":0},{"$f":"$G$8*C7","v":0}]
["Total"]
["In words ",null,{"$f":"rup(G8)","v":0}]
["GST Extra As applicable"]
[null,"1. Bidder has to quote in above unlocked cell (G-8) only. Item rate shall be calculated automatically. Calculated item rates upto four  decimal points may be adjusted w.r.t. gross total amount and it shall be the itemwise final rate for  execution of contract and all other purposes."]
[null,"2. Quoted gross total amount should be considered only if quoted in this excel sheet and print out of this should only be considered for evaluation.  If Price is quoted in any other format other than the Excel Sheet enclosed to the NIT, the offer of the bidder will be rejected."]
[]
[]
[]
[]
[null,null,null,null,"(Signature and Seal of Contractor)"]