{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Price Bid Sheet- WC"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Price Bid Sheet- WC","index":0,"n_rows":36,"n_cols":11,"rows_kept":36,"cut":false,"hidden":false,"merged":[[35,7,35,10],[3,1,3,5],[1,0,1,10],[0,0,0,10],[29,4,29,5],[29,6,29,10],[31,1,31,10],[32,1,32,10]]}
["Price Bid Sheet For “Calibration of Test point CTs & VTs, Std. CTs & CT Analyzer of Transformer Testing Laboratory at BHEL Jhansi works”   "]
["Tender Enquiry No. TTL/TE/201"]
["Sl No.","Equipment Sl No.","Equipment Name","Make","Range ","Accuracy ","% Allocation (Item-wise)","Unit of Measurement","Quantum of Work","Rate per Unit (in Rs.)","Amount (in Rs.)"]
["A","B",null,null,null,null,"( C)","(D)","(E)","(F)","(G=E*F)"]
[1,"6145560, \n6145561, \n6145562","11KV POINT CTs (3 NOS), SINGLE PHASE  ","BHEL","40-20-10-5/1 A","± 0.2%, 10VA",3.1339031339031341E-2,"No.",1,{"$f":"+($K$29*G5)","v":0},{"$f":"+($K$29*G5)","v":0}]
[2,"6145557, \n6145558, \n6145559","11KV POINT CTs (3 NOS), SINGLE PHASE  ","MEHRU","200-100-50-25/1 A","± 0.2%, 10VA",3.1339031339031341E-2,"No.",1,{"$f":"+($K$29*G6)","v":0},0]
[3,"6145554, \n6145555, \n6145556","11KV POINT CTs (3 NOS), SINGLE PHASE  ","BHEL","1200-600-300-150/1","± 0.2%, 10VA",3.1339031339031341E-2,"No.",1,0,0]
[4,"506-088 \n506-089 \n506-090","11KV POINT CTs (3 NOS), SINGLE PHASE  ","BHEL","3000/1 ","± 0.5%, 10 VA",1.1079455523899969E-2,"No.",1,0,0]
[5,"2226499, \n2226500, \n2226501","11 KVPOINT CTS (3 NOS)SINGLE PHASE , ","BHEL","40-20-10-5/1A","± 0.2%, 10VA",3.1339031339031341E-2,"No.",1,0,0]
[6,"2226502, \n2226503, \n2226504","11 KVPOINT CTS (3 NOS)SINGLE PHASE , ","BHEL","300-150-75-37.5/1A","± 0.2%, 10VA",3.1339031339031341E-2,"No.",1,0,0]
[7,"6145400, \n6145401, \n6145402","11 KVPOINT VTS (3 NOS)\nSINGLE PHASE ","BHEL","11000-5500-2750/√√3 /           110/√3","± 0.2%, 10VA",2.8094333649889204E-2,"No.",1,0,0]
[8,"96/59707 \n96/59708 \n96/59709","11 KVPOINT VTS (3 NOS), SINGLE PHASE ","BHEL","11000-5500-2750/√3 /           110/√3","± 0.5%, 10 VA",2.8094333649889204E-2,"No.",1,0,0]
[9,"2470449, \n2470450, \n2470451","176 KVPOINT CTS (3 NOS)\nSINGLE PHASE","BHEL","100-50-25- 10/5A","± 0.1% at 15 VA",4.4950933839822731E-2,"No.",1,0,0]
[10,"7114/1/1/17, 7114/1/2/17, 7114/1/3/17","176 KV POINT VTS (3 NOS) SINGLE PHASE ","BHEL","176000-88000-44000/√3/110/√3 V","± 0.2% at 30 VA",8.7052864830642604E-2,"No.",1,0,0]
[11,"2447817 \n2447818 \n2447819","160 KVPOINT CTS (3 NOS)\nSINGLE PHASE  ","BHEL","100/1, 50/1, 25/1 10/1 A","± 0.2% at 15 VA",4.4950933839822731E-2,"No.",1,0,0]
[12,"2447820 \n2447821 \n2447822","160 KV POINT VTS (3 NOS) SINGLE PHASE ","BHEL","160000-80000-40000/√3 /           110/√3","± 0.5% at 30 VA",8.7052864830642604E-2,"No.",1,0,0]
[13,"6146401 \n6146402 \n6146403","132 KVPOINT CTS (3 NOS)\nSINGLE PHASE ","BHEL","100-50-25- 10/1A","± 0.2% at 15 VA",4.4950933839822731E-2,"No.",1,0,0]
[14,"511-017 \n511-018 \n511-019","132 KV POINT LOOSE VTS (3NOS)\nSINGLE PHASE ","BHEL","132000-66000-33000/ √3        110/√3","± 0.2% at 5 VA",6.0145615701171259E-2,"No.",1,0,0]
[15,"2467005, \n2467006, \n2467007","66 KVPOINT CTS (3 NOS)\nSINGLE PHASE ,  ","BHEL","100-50-25-10/5A","± 0.1% at 15 VA",4.4950933839822731E-2,"No.",1,0,0]
[16,"6143810, \n6143811, \n6143812","66 KVPOINT CTS (3 NOS)\nSINGLE PHASE , ","BHEL","80/40/20/10/5/1 ","± 0.5% at 30 VA",5.6188667299778408E-2,"No.",1,0,0]
[17,"2467002, \n2467003, \n2467004,","66 KVPOINT CTS (3 NOS)\nSINGLE PHASE ","BHEL","1000-500-250/5A","± 0.1% at 15 VA",3.3713200379867046E-2,"No.",1,0,0]
[18,"2451405 \n2045406 \n2451407","66 KVPOINT CTS (3 NOS)\nSINGLE PHASE ","BHEL","1000/500/250/1A","± 0.2% at 30 VA",2.3425134536245649E-2,"No.",1,0,0]
[19,"6145734,  \n6145735, \n6145736","66 KVPOINT VTS (3 NOS)\nSINGLE PHASE ","BHEL","66000-33000-16500/√3 /           110/√3","± 0.5%, 10VA",6.0145615701171259E-2,"No.",1,0,0]
[20,"6145446, \n6145447, \n6145448","33 KV POINT CTS (3 NOS)\nSINGLE PHASE, ","BHEL","200-100-50-25/1 Amp","± 0.2% at 30 VA",3.4029756251978474E-2,"No.",1,0,0]
[21,"6145443, \n6145444, \n6145445","33 KV POINT CTS (3 NOS)\nSINGLE PHASE, ","BHEL","1000-500-250-125/1 Amp","± 0.5% at 30 VA",3.4029756251978474E-2,"No.",1,0,0]
[22,"6145731, \n6145732, \n6145733","33 KV POINT VTS (3 NOS)\nSINGLE PHASE ","BHEL","33000-165000-8250/√3 /           110/√3","± 0.2%, at 10 VA",3.1655587211142769E-2,"No.",1,0,0]
[23,null,"Standard CTs",null,"300,  400, 450, 500, 600, 750, 800, 900, 1000, 1100, 1200, 1250, 1500, 1800, 2000, 2400, 2500, 3000 / 1","± 0.05% at 2.5 VA",6.7426400759734093E-2,"No.",1,0,0]
[24,null,"CT Analyser",null,"ratio 2000/5 A, 200/5 A , 200/1 A, 2000/1 A","± 0.05% for ratio 1 to 2000 / 1 &5",2.1367521367521368E-2,"No.",1,0,0]
[null,null,null,null,null,null,{"$f":"SUM(G5:G28)","v":1},null,null,{"$f":"SUM(J5:J28)","v":0}]
[null,null,null,null,"Total price in words:",null,{"$f":"RUP(K29)","v":0}]
["Note:"]
[null,"1. Bidder has to quote in above unlocked cell only. Item rate shall be calculated automatically. Calculated item rates upto four decimal points may be adjusted w.r.t. gross total amount and it shall be the itemwise final rate for  execution of contract and all other purposes."]
[null,"2. Quoted gross total amount should be considered only if quoted in this excel sheet and print out of this should only be considered for evaluation.  If Price is quoted in any other format other than the Excel Sheet enclosed to the NIT , the offer of the bidder  will be rejected"]
[]
[null,"Above rates are exclusive of GST"]
[null,null,null,null,null,null,null,"( Signature and Seal of the Contractor ) "]