## Estimate
Estimate -cum-BOQ for rate contract for servicing & repairing of Oil Coolers, Electrical & Operator Panel A/Cs installed on CNC, PLC & Drive retrofitted critical machines at HERP
(A) | SERVICING
S.No | Description of Work |  | Rate | No. of units | Total Qty. | Amount
1 | Half yearly servicing of Oil Chiller having cooling capacity up to 6000 KCAL/Hr (Two visit per year) |  |  | 13 | 26 | 0
2 | Half yearly servicing of Electrical Panel AC/ Pendent AC having cooling capacity upto 4500 KCAL/Hr. (Two visit per year) |  |  | 25 | 50 | 0
(B) | REPAIRING
SNo | Description of Work |  | Rate
(i) | Service Charges for replacement of Defective Compressor with new unit supplied by BHEL. |  |  | 4 | 4 | 0
(ii) | Service Charges for Locating/Arresting Gas leakage in systems before gas charging. Note: Refrigerant to be supplied by Vendor. |  |  | 5 | 5 | 0
(iii) | Charges for supply & recharging Refrigerant as per compressor detail ( Refrigerant less than 01 Kg) Note: Refrigerant to be supplied by Vendor. |  |  | 4 | 4 | 0
(iv) | Charges for supply & recharging Refrigerant as per compressor detail (Refrigerant higher than 1 Kg but less than 2.2 Kg) Note: Refrigerant to be supplied by Vendor. |  |  | 4 | 4 | 0
(C) | VISIT CHARGES
SNo | Description of Work |  | Rate
1 | Service charge per unit to attend, diagnose & rectify all breakdown of Oil Coolers, Panel ACs, Operator Pendent Acs (other than those B/Ds related to defective compressor/Refrigerant leakage/Gas Charging/ Complete wiring Replacement/ Cooling coil issue). All electrical control, Pressure safety/control items, fan motors, pumps etc should be checked thoroughly & replaced. Supply & replacement of relay, capacitor and miscelaneous electrical items included in service charge. |  |  | 5 | 5 | 0
2 | Supply of Hermetic Reciprocating Compressor of cooling capacity upto 6000 BTU/Hr, Make- Copelend Emerson including starting kit. (Defective compressure shall be returned to contractor). |  |  | 1 | 1 | 0
3 | Supply of Hermetic Reciprocating Compressor of cooling capacity above 6000 upto 10000 BTU/Hr, Make- Copelend Emerson including starting kit. (Defective compressure shall be returned to contractor). |  |  | 1 | 1 | 0
4 | Supply of Hermetic Resiprocating Compressor of cooling capacity above 10000 upto 14000 BTU/Hr, Make- Copelend Emerson including starting kit. (Defective compressure shall be returned to contractor) |  |  | 1 | 1 | 0
4 | Supply of Hermetic Resiprocating Compressor of cooling capacity above 14000 upto 20000 BTU/Hr, Make- Copelend Emerson including starting kit. (Defective compressure shall be returned to contractor) |  |  | 1 | 1 | 0
5 | Supply of Expansion Valve of Make- Danfoss, Model: TEN-2 |  |  | 1 | 1 | 0
| Total |  |  |  |  | 0
|  | GST@18% |  |  |  | 0
|  | Grand Total |  |  |  | 0 | <-- Bidder to Quote this derived price in GeM portal.
1. Bidder to fill their competative rate in Yello marked cell for each line item.
2. Bidder to Quote derived price in GeM portal(as derived in blue colour cell).
3. Bidder has to submit Financial Document Indicating Price Break Up on GeM portal.
4. L-1 will be decided on cumulative basis and PO/WO will be awarded to a single bidder only.
5. No splitting will be done.