## Main Price Format
PRICE SCHEDULE
NAME OF PROJECT: |  | 2X660 MW TALCHER STPP STAGE-III |  |  | Vendor Name
NAME OF PACKAGE: |  | CW TREATMENT PLANT
TECHNICAL SPECIFICATION: |  | PE-TS-497-156-W001 |  |  | All Prices are in INR
[5 empty] | Supply |  |  | Service |  | Taxes
S. No. | DESCRIPTION |  | UNIT | QTY | Total Ex-Works Price | Freight in % | Total Freight | Unit Price | Total Price | GST type | GST rate in % | GST Amount | Total Price Including Freight & GST
1 | Total lump sum firm price inclusive of all prevailing taxes, duties and other levies for SUPPLY PART, SERVICES PART & MANDATORY SPARES comprising of design (i.e. Preperation and submission of drawing/ documents including "As Built" drawings and O&M Manuals), engineering, manufacture, fabrication, assembly, inspection/ testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles (as applicable), first fill of lubricants & consumables, Chemicals, AMS (Annual Maintenance Services) of analyzers & profibus instruments for three years after warranty period, spares for erection, startup and commissioning as required, forwarding, proper packing, shipment and delivery at site, unloading, handling, transportation & storage at site, in site transportation, assembly, minor civil works, erection & commissioning, trial run at site, complete Operation and Maintenance of CW treatment plant, preperation of drawings in 3D and carrying out Performance guarantee/ Functional/ Demonstration tests at site (As applicable), training of customer/ client O&M staff etc. and final handing over to end customer in flawless condition for project and package specified above complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. |  | Set | 1 | [8 empty] | 0
2 | MAJOR BREAK-UP OF PRICES GIVEN IN 1.0 ABOVE.
2.1 | Total lump sum firm price inclusive of all prevailing taxes, duties and other levies for SUPPLY PART comprising of design (i.e. Preperation and submission of drawing/ documents including "As Built" drawings and O&M Manuals), engineering, manufacture, fabrication, assembly, inspection/ testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles (as applicable), fill of lubricants & consumables, chemicals, alongwith spares for erection, startup and commissioning as required, forwarding, proper packing, shipment and delivery at site, preperation of drawings in 3D for project and package specified above complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. |  | Set | 1 |  |  | 0 |  |  |  |  | 0 | 0
2.2 | Total lump sum firm price inclusive of all prevailing taxes, duties and other levies for the SERVICES PART comprising of unloading, handling, transportation & storage at site, in site transportation, assembly, minor civil works, erection & commissioning, final painting at site, trial run at site and carrying out Performance guarantee/ Functional / Demonstration tests at site (As applicable), training of customer/ client O&M staff etc. and final handing over to end customer in flawless condition for project and package specified above complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. |  | Set | 1 | NA |  |  | 0 | 0 |  |  | 0 | 0
2.3 | Total lump sum firm price inclusive of all prevailing taxes, duties and other levies for complete Operation and Maintenance (O&M) of CW treatment system for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. |  | Months | 12 | NA |  |  |  | 0 |  |  | 0 | 0
2.4 | Total lumpsum firm price inclusive of all prevailing taxes, duties and other levies for Mandatory spares comprising of manufacture, fabrication, assembly, inspection/ testing (as applicable) at vendor's & sub-vendor’s works, painting, forwarding, proper packing, shipment, delivery at site & guarantee as per tender technical specification above, amendment & agreements till placement of order. (Price break up of mandatory spares is to be furnished as per Annexure- I). |  | Lot | 1 | 0 |  | 0 | NA |  |  |  | 0 | 0
2.5 | Total lump sum firm price inclusive of all prevailing taxes, duties and other levies for ENGINEERING PART for project and package specified for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. |  | Lot | 1 | NA |  |  |  | 0 |  |  | 0 | 0
2.6 | Total lumpsum firm price for AMS (Annual Maintenance Services) of analysers & profibus instruments for three years after warranty period for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order/ |  | Lot | 1 | NA |  |  |  | 0 |  |  | 0 | 0
Note: 1.) Payment against AMC (at S. No. 2.6) shall be released on pro-rata basis as per billing break-up finalized during detailed engineering. 2.) For detailed scope of Operation and Maintenance, Technical Specification (PE-TS-497-156-W001) to be referred. Any variation in no. of months shall be exercised based on unit rate arrived from price quoted against Sl.no 2.3 above.

## Annexure-I - Mandatory Spares
ANNEXURE-I LIST OF MANDATORY SPARES
NAME OF PROJECT: |  | 2 X 660 MW TALCHER STPP STAGE-III
NAME OF PACKAGE: |  | CW TREATMENT PLANT
TECHNICAL SPECIFICATION: |  | PE-TS-497-156-W001 R0
S. NO. | ITEM DESCRIPTION | QUANTITY | UNIT | Total Ex-Works Price (INR)
1 | Horizontal Centrifugal Pumps- Acid Unloading Pump
1.1 | Impeller | 1 | Set
1.2 | Wearing rings - Impeller (if applicable) | 2 | Sets
1.3 | Wearing rings - Casing (if applicable) | 2 | Sets
1.4 | Shaft | 1 | Set
1.5 | Shaft Sleeves | 2 | Sets
1.6 | Mechanical Seal | 1 | Set
1.7 | Coupling between Pump & Drive, bushes, pins with all fasteners & coupling guards | 1 | Set
1.8 | Pump bearings | 1 | Set
Note: One set consists of quantity required for complete replacement for one pump.
2 | Horizontal Centrifugal Pumps- Dilution Water pumps
2.1 | Impeller | 1 | Set
2.2 | Wearing rings - Impeller (if applicable) | 2 | Sets
2.3 | Wearing rings - Casing (if applicable) | 2 | Sets
2.4 | Shaft | 1 | Set
2.5 | Shaft Sleeves | 2 | Sets
2.6 | Stuffing box, Gland, Packing & Gland assembly | 1 | Set
2.7 | Coupling between Pump & Drive, bushes, pins with all fasteners & coupling Guards | 1 | Set
2.8 | Pump bearings | 1 | Set
Note: One set consists of quantity required for complete replacement for one pump.
3 | ACID DOSING PUMPS
3.1 | Diaphragms | 1 | Set
3.2 | Coupling between Pump & Drive, bushes, pins with all fasteners & coupling guards | 1 | Set
3.3 | Pump & Motor Unit assembly | 1 | Set
Note: One set consists of quantity required for complete replacement for one pump of each type/ Rating
4 | SCALE/ CORROSION INHIBITOR DOSING PUMPS
4.1 | Complete Pump & Motor Assembly | 1 | Set
5 | DISPERSANT DOSING PUMPS
5.1 | Complete Pump & Motor Assembly | 1 | Set
6 | AGITATORS
6.1 | Agitator Assembly with Motor & Gear Box - Scale/ corrosion preparation tank | 1 | Set
6.2 | Agitator Assembly with Motor & Gear Box - Dispersion Tank | 1 | Set
7 | ANY OTHER PUMPS
7.1 | Complete Pump & Motor Assembly | 1 set for each type of pump | Set
8 | C&I MANDATORY SPARES
8.1 | Transmitters of all type, range and model no. (For the measurement of Pressure, differential pressure flow, level, temperature etc.) | 10% or 1 no. of each and model whichever is more.
8.2 | Pressure gauges | 1 no. of each range and type.
8.3 | Differential Pressure Gauges | 1 no. of each range and type.
8.4 | Level gauges | 1 no. of each range and type.
8.5 | Flow gauges excluding Rotameters | 1 no. of each range and type.
8.6 | All types of Rotameters | 1 no. of each range.
8.7 | Process Actuated Switch Devices -As applicable for this package, as per the following items.
8.7.1 | Temperature switches | 1 no. of each range and type.
8.7.2 | Pressure switches | 1 no. of each range and type.
8.7.3 | Differential Pressure switches | 1 no. of each range and type.
8.7.4 | level switches | 1 no. of each range and type.
8.7.5 | Flow switches | 1 no. of each range and type.
8.8 | Solenoid Valves | 2 nos. of each type, model and rating.
8.9 | Limit Switches (for Pneumatic Valves and Manual valves) | 2 no. of each type.
8.10 | Actuator
8.10.1 | Electronic PCB of all types | 10% of each type and model
8.10.2 | Absolute Encoder (replaceable part) | 05% of each type and model
8.10.3 | Electronic Torque Sensor | 05% of each type and model
Total |  |  |  | 0
Notes: 1) Mandatory spares listed above is bare minimum requirement. In case any additional mandatory spares requirement is covered elsewhere in the tender specification apart from specified above, same shall be deemed to have been covered in bidders scope of supply. 2) Wherever quantity has been specified as percentage (%), it shall mean percentage (%) of the population of the item required for the station (project), unless specified otherwise. 3) Unless stated otherwise, a "Set" or "Lot" means items required for complete replacement in one equipment of each type/ size/ range. 4) In case of Bought Out Items, itemised spares list may be vendor specific and may differ from the list of spares mentioned above. In such cases, the quoted price shall be considered for applicable Items only without any change in the contract price. 5) In case spares indicated in the list are not applicable to the particular design offered by the bidder, the bidder should offer spares applicable to offered design with quantities generally in line with the approach followed in the above list. 6) Any item which is quoted as “not applicable” in the above list and is found to be “applicable” at a later date shall be supplied by the Bidder without any commercial implications.