## MRS Conv. type
MAIN PRICE FORMAT
NAME OF PROJECT: |  | LARA SUPER THERMAL POWER PROJECT STAGE-II (2X800 MW) |  |  | Vendor Name
NAME OF PACKAGE: |  | MILL REJECT SYSTEM (CONVEYOR TYPE) |  |  | Enquiry No
TECHNICAL SPECIFICATION: |  | PE-TS-508-160-A101 |  |  | Supply |  |  |  | Services |  | Total Scope | Total Scope
S. No. | DESCRIPTION |  | UNIT | QTY | Total Ex-Works Price (INR) | Freight % | Freight in INR | Total FOR Site Price excluding GST (INR) | Unit Price (INR) | Total Price (INR) | Grand Total excluding GST ( Engg Charges + Supply +E&C+ Mand. Spares) (INR) | Grand Total excluding GST ( Engg Charges + Supply +E&C+ Mand. Spares) (INR) Prices in corresponding ‘words’
1 | Total lump sum prices for SUPPLY PART, SERVICE PART & MANDATORY SPARES comprising of design (i.e.preparation and submission of drawing /documents including “As Built” drawings and O&M manuals), engineering, manufacture, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles, fill of lubricants & consumables, mandatory spares alongwith spares for erection, startup and commissioning, forwarding, proper packing, shipment and delivery at site, supervision services during "erection & commissioning, trial run, performance guarantee tests at site, training of customer/ client O&M staff, trouble shooting & final handing over to end customer in flawless condition" for project and package specified above complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. |  | Lot | 1 | [6 empty] | 0
2 | MAJOR BREAK-UP OF PRICES GIVEN IN 1.0 ABOVE.
2.1 | Total lump sum prices for SUPPLY part comprising of design (i.e. preparation and submission of drawing /documents including “As Built” drawings and O&M manuals), engineering, manufacture, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles, fill of lubricants & consumables alongwith spares for erection,startup and commissioning spares,forwarding, proper packing, shipment and delivery at site for project and package specified above complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. (Break-up as per Annexure-I) |  | Lot | 1 |  |  | 0 | 0 |  |  | 0
2.2 | Total lumpsum firm prices for the SERVICES part comprising of Supervision during "E&C, initial operation/ trial run, performance guarantee tests at site, training of customer/ client O&M staff, trouble shooting & final handing over to end customer in flawless condition for project and package specified above complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. (Break-up as per Annexure-II) |  | Lot | 1 | [5 empty] | 0 | 0
2.3 | Total lumpsum prices for MANDATORY SPARES comprising of manufacture, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, forwarding, proper packing, shipment, delivery at site & guarantee as per tender technical specification above, amendment & agreements till placement of order. (Break-up as per Annexure-III). |  | Lot | 1 |  |  | 0 | 0 |  |  | 0
2.4 | Total lumpsum prices for DESIGN/ ENGINEERING CHARGES for the scope defined as per tender technical specification above, amendment & agreements till placement of order. |  | Lot | 1 | [5 empty] | 0 | 0
Note: 1) Please note that the complete engineering of the package is in the scope of bidder as per the tender requirement. However, for the payment purpose bidder to note that 50% of price as per sl. no. 2.4 shall be made against basic engineering (i.e. Preparation, submission & approval of basic drawing/ documents as indicated in tender specification) and the remaining payment shall be made for the balance engineering part on pro-rata basis. 2) Bidder to quote the Prices in ‘figures’ along with corresponding ‘words’.
Particulars of bidder / authorised representative
Name | Designation | Signature |  | Company Seal

## Annex-I
PRICE FORMAT ANNEXURE-I
NAME OF PROJECT: |  | LARA SUPER THERMAL POWER PROJECT STAGE-II (2X800 MW)
NAME OF PACKAGE: |  | MILL REJECT SYSTEM (CONVEYOR TYPE)
TECHNICAL SPECIFICATION: |  | PE-TS-508-160-A101
S. No. | Description |  | QTY- UNIT 1 | QTY- UNIT 2 | AMOUNT (Ex-Works)
BREAK-UP OF SUPPLY PRICES GIVEN IN 2.1 OF MAIN SHEET.
2.1 | Break up of Prices inclusive for SUPPLY part comprising of design (i.e. preparation and submission of drawing /documents including “As Built” drawings and O&M manuals), engineering, manufacture, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles, fill of lubricants & consumables alongwith spares for erection,startup and commissioning spares as required, forwarding, proper packing, shipment and delivery at site for project and package specified above complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. |  | 1 Lot | 1 Lot
2.1.1 | Conveyor(s) along with its drives and accessories |  | 1 set | 1 set
2.1.2 | Pneumatic/ Hydraulic tensioning arrangement along with its drives and accessories for Conveyor |  | 1 set | 1 set
2.1.3 | Bucket elevator along with with its drives and accessories |  | 1 set | 1 set
2.1.4 | Pyrite hoppers with rupture disc, mill outlet adaptor, metallic expansion bellow, feeders below pyrite hopper (if applicable) supporting structure etc |  | 9 Nos. | 9 Nos.
2.1.5 | Pneumatic panel / Solenoid box with accessories |  | 9 Sets | 9 Sets
2.1.6 | Bag filters with vent fan with accessories |  | 1 Lot | 1 Lot
2.1.7 | Instrument air & service water pipelines, valves and piping |  | 1 Lot | 1 Lot
2.1.8 | Pneumatically operated knife gate valves with limit switches and impulse tubing alongwith manual override handwheel |  | 27 Nos. | 27 Nos.
2.1.9 | Complete instrumentation, cable glands & lugs as per scope |  | 1 Lot | 1 Lot
2.1.10 | Storage bunkers (including bunker plate, liner, foundation bolts, staircase and supporting structure), pressure relief valves, bunker discharge gate, lifting equipment with accessories |  | 1 Lot | 1 Lot
2.1.11 | Maintenance Tools & tackles |  | 1 Set

## Annex-II
PRICE FORMAT ANNEXURE-II
NAME OF PROJECT: |  | LARA SUPER THERMAL POWER PROJECT STAGE-II (2X800 MW)
NAME OF PACKAGE: |  | MILL REJECT SYSTEM (CONVEYOR TYPE)
TECHNICAL SPECIFICATION: |  | PE-TS-508-160-A101
S. No. | Description |  | UNIT | QTY | AMOUNT (Ex-Works)
BREAK-UP OF SUPPLY PRICES GIVEN IN 2.2 OF MAIN SHEET.
2.2 | Total lumpsum firm prices for the SERVICES part comprising of supervision during "E&C, initial operation/ trial run, performance guarantee tests at site, training of customer/ client O&M staff, trouble shooting & final handing over to end customer in flawless condition for project and package specified above complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order |  | Lot | 1
2.2.1 | Lumpsum firm prices for 'To' & 'fro' travel expenses only for total 4 visits (2 visits per unit, One visit for E&C, One visit for trial operation) for supervision service excluding performance guarantee tests |  | no. of visits | 4
2.2.2 | Lumpsum firm prices for boarding, lodging, local transportation etc.during stay at site for supervision services excluding performance guarantee tests |  | no. of man-days | 180
2.2.3 | Lumpsum firm prices for performance guarantee tests at site including expenses for travel to site and stay at site |  | for each unit | 2
Note | 1) Unit prices arrived from quoted prices at S.No.2.2.1 & 2.2.2 shall be used for any variation related to no. of visits / stay duration at site, as per site requirement.

## Annex-III
PRICE FORMAT ANNEXURE-III LIST OF MANDATORY SPARES
NAME OF PROJECT: |  | LARA SUPER THERMAL POWER PROJECT STAGE-II (2X800 MW)
NAME OF PACKAGE: |  | MILL REJECT SYSTEM (CONVEYOR TYPE)
TECHNICAL SPECIFICATION: |  | PE-TS-508-160-A101
Sl. No. | DESCRIPTION | Unit /Quantity ( Nos./SET/%) | AMOUNT (Ex-Works)
2.3.1 | Drag Chain Conveyors / Metallic Conveyor
2.3.1.1 | Chain link with Flight assy (if applicable) | 20 Nos each type
2.3.1.2 | Metallic Pan assy (Meshed with Belt) (if applicable) | 1 Set each type
2.3.1.3 | Chain Pin & Circlip (if applicable) | 20 Nos each type
2.3.1.4 | Sprocket (if applicable) | 1 No each type
2.3.1.5 | Drive & Non-drive Pulleys (if applicable) | 1 No each type
2.3.1.6 | Carrying and return Idler assy (if applicable) | 5 Nos each type
2.3.1.7 | Bearings | 2 Nos each type
2.3.1.8 | Conveyor Geared Motor/Gear Box | 1 No each type
2.3.1.9 | Shear Pin of Conveyor (if applicable) | 10 Nos each type
2.3.1.10 | Coupling (if applicable) | 1 No each type
2.3.2 | Vibrating Feeder assy (if applicable) | 2 Nos
2.3.3 | Bucket Elevator
2.3.3.1 | Chain link | 10 Nos
2.3.3.2 | Shackle | 10 Nos
2.3.3.3 | Bearings | 2 Nos of each type
2.3.3.4 | Elevator Geared Motor/Gear box | 1 No
2.3.3.5 | Coupling (If applicable) | 1 No of each type
2.3.3.6 | Buckets | 5 Nos
2.3.4 | Other Items
2.3.4.1 | Complete assembly of Valves at Pyrite Hopper inlet, outlet, emergency outlet | 2 No of each type, size and rating
2.3.4.2 | Rupture Disc | 5 Nos
2.3.4.3 | Metallic Expansion Bellow | 5 Nos.
Note:
1) Wherever quantity is specified both as a percentage and a value, the Bidder has to supply the higher quantity
2) In case specified spares are not applicable to a particular design offered by the bidder, functionally equivalent applicable spares pertaining to the offered design shall be provided in quantities as per specified spares.
3) Set for the particular equipment, would include all components required to replace the item, for example a set of bearing shall include all hardware normally required while replacing the bearings. It is further, intended that the assembly / sub-assembly which have different orientation (like left hand or right hand, top or bottom), different direction of rotation or mirror image positioning or any other reasons which result in maintaining two different sets of the spares to be used for the subject assembly / sub-assembly, these shall be considered as different types of assembly/sub-assembly.
4) Wherever bidder has indicated an item as not applicable, the same will have to be supplied free of cost, in case it is found applicable during detail engineering.

## ANNEXURE-II DEVIATION SHEET
ANNEXURE-II DEVIATION SHEET (COST OF WITHDRAWAL)
PROJECT:- | [5 empty] | LARA SUPER THERMAL POWER PROJECT STAGE-II (2 X 800 MW)
PACKAGE :- | [5 empty] | MILL REJECT SYSTEM (CONVEYOR TYPE)
TENDER ENQUIRY :-
NAME OF THE BIDDER
Sl. No. | Volume/Section | Page No. | Clause No. | Technical Specification/Tender Document No | Complete Description of Deviation | Cost of withdrawal of deviation to be entered by the bidder in | Reference of price Schedule of which Cost of Withdrawal of Deviation is applicable | Nature of cost of withdrawal of deviation (Positive/Negative) | Reasons for quoting deviation
1 | TECHNICAL DEVIATION
1.01
1.02
1.03
1.04
1.05
1.06
1.07
1.08
2 | COMMERCIAL DEVIATION
2.01
2.02
2.03
2.04
2.05
2.06
2.07
2.08
NOTES: 1. Cost of Withdrawal of deviation will be applicable on the basic price (i.e. excluding taxes, duties & freight) only. 2. All the bidders have to list out all their technical & commercial deviations (if any) in details in the above format. 3.Any deviation not mentioned above and shown separately or found hidden in offer, will not be taken cognizance of. 4.Bidder shall submit duly filled unpriced copy of above format indicating "quoted" in "cost of withdrawl of deviation" column of the schedule above along with their Techno-commercial offer, wherever applicable. In absence of same, such deviation(s) shall not be considered and offer shall be considered in total compliance to NIT. 5. Bidder shall furnish price copy of above format along with price bid. 6.The final decision of acceptance/ rejection of the deviations quoted by the bidder shall be at discretion of the Purchaser. 7.Bidders to note that any deviation (technical/commercial) not listed in above and asked after Part-I opening shall not be considered. 8. For deviations w.r.t. Credit Period, Liquidated damages, Firm prices if a bidder chooses not to give any cost of withdrawl of deviation loading as per Annexure-VII of GCC, Rev-07 will apply. For any other deviation mentioned in un-priced copy of this format submitted with Part-I bid but not mentioned in priced copy of this format submitted with Priced bid, the cost of withdrawl of deviation shall be taken as NIL. 9. Any deviation mentioned in priced copy of this format, but not mentioned in the un-priced copy, shall not be accepted. 10. All techno-commercial terms and conditions of NIT shall be deemed to have been accepted by the bidder, other than those listed in unpriced copy of this format. 11. Cost of withdrawl is to be given seperately for each deviation. In no event bidder should club cost of withdrawl of more than one deviation else cost of withdrawl of such deviations which have been clubbed together shall be considered as NIL. 12. In case nature of cost of withdrawl (positive/negative) is not specified it shall be assumed as positive. 13. In case of descrepancy in the nature of impact (positive/ negative), positive will be considered for evaluation and negative for ordering.