## ANNEXURE I
2 X 660 MW ENNORE SEZ SUPERCRITICAL TPP.
PRICE SCHEDULE FOR DC BATTERY - PACKAGE
MAIN SUPPLY- Ni-Cd BATTERY
SL NO | ITEM DESCRIPTION/SERVICE | ITEM CODE | HSN CODE (TO BE FILLED BY THE BIDDER) FOR EACH ITEM (3) | UOM | TOTAL QTY | Remarks | UNIT EX-WORKS PRICE (DULY PACKED) (INR) (6) | TOTAL EX- WORKS PRICE (DULY PACKED) (INR) (7) | FREIGHT CHARGES |  | TOTAL PRICES (ex works + freight) (INR) (9) | APPLICABLE GST RATE IN % ON( TOTAL EX WORKS + FREIGHT) BOTH (INR) (10) |  | TOTAL PRICE F.O.R Prices with taxes (INR) (11)
1 | 2 | 2A |  | 4 | 5 | 5A |  |  | @ % OF TOTAL EX WORKS (8A) | AMOUNT IN (INR) (8B) =[7X8A] | [7+8B] | GST RATE IN % ON( TOTAL EX WORKS + FREIGHT) (10A) | TOTAL AMOUNT IN (INR) (10B) [9X10A] | [9+10B]
A | 220V BATTERY
A.1 | BREAK UP DETAIL for 220V BATTERY 1 (For Area-1) | 508-14001-A |  | Set | 4 | For MAIN PLANT AREA BATTERY
A.1.1 | 220V , Ni-Cd battery suitable as per Load Duty Cycle (Annexure-II) ( 1 set comprises 170 nos. cell) |  |  | Sets | 4
A.1.2 | Electrolyte (For first filling plus10% extra ) |  |  | Sets | 4 | Refer Point no 05
A.1.3 | MS racks with 3 coats of anti alkali paints for 220V DC Battery |  |  | Sets | 4
A.1.4 | Stand insulators plus 5% extra |  |  | lot | 4
A.1.5 | Cell interconnectors with 5% extra and end take-off with one no. extra |  |  | lot | 4
A.1.6 | Nickel coated connection hardware plus 5% extra |  |  | lot | 4
A.1.7 | Cell numbering tags with fixing arrangement (1set) |  |  | lot | 4
A.2 | BREAK UP DETAIL for 220V BATTERY 2 (For Area-2) | 508-14002-A |  | Set | 2 | For WATER TREATMENT & RO PLANT AREA BATTERY
A.2.1 | 220V , Ni-Cd battery suitable as per Load Duty Cycle (Annexure-II) ( 1 set comprises 170 nos. cell) |  |  | Sets | 2
A.2.2 | Electrolyte (For first filling plus10% extra ) |  |  | Sets | 2 | Refer Point no 05
A.2.3 | MS racks with 3 coats of anti alkali paints for 220V DC Battery |  |  | Sets | 2
A.2.4 | Stand insulators plus 5% extra |  |  | lot | 2
A.2.5 | Cell interconnectors with 5% extra and end take-off with one no. extra |  |  | lot | 2
A.2.6 | Nickel coated connection hardware plus 5% extra |  |  | lot | 2
A.2.7 | Cell numbering tags with fixing arrangement (1set) |  |  | lot | 2
A.3 | BREAK UP DETAIL for 220V BATTERY 3 (For Area-3) | 508-14003-A |  | Set | 2 | For ECHS AND Sea water intake system AREA BATTERY
A.2.1 | 220V , Ni-Cd battery suitable as per Load Duty Cycle (Annexure-II) ( 1 set comprises 170 nos. cell) |  |  | Sets | 2
A.2.2 | Electrolyte (For first filling plus10% extra ) |  |  | Sets | 2 | Refer Point no 05
A.2.3 | MS racks with 3 coats of anti alkali paints for 220V DC Battery |  |  | Sets | 2
A.2.4 | Stand insulators plus 5% extra |  |  | lot | 2
A.2.5 | Cell interconnectors with 5% extra and end take-off with one no. extra |  |  | lot | 2
A.2.6 | Nickel coated connection hardware plus 5% extra |  |  | lot | 2
A.2.7 | Cell numbering tags with fixing arrangement (1set) |  |  | lot | 2
A.3 | LIST OF ACCESSORIES (Quantity mentioned is to be supplied for each area seperately) |  |  |  |  | For MAIN PLANT AREA BATTERY, For ECHS AND Sea water intake system AREA BATTERY AND For WATER TREATMENT & RO PLANT AREA BATTERY
A.3.1 | Interconnector bolt wrenches |  |  | Nos | 1
A.3.2 | Hydrometer (in step of 0.005) |  |  | Nos | 1
A.3.3 | Specific gravity correction chart |  |  | Nos | 1
A.3.4 | Set of hydrometer syringes |  |  | Nos | 1
A.3.5 | Thermometer with plug & cap, specific gravity correction scale (for measuring electrolyte temperature) |  |  | Nos | 1
A.3.6 | Digital Cell testing voltmeter (3-0-3V) with leads |  |  | Nos | 1
A.3.7 | Pocket Thermometer (digital Type) |  |  | Nos | 1
A.3.8 | Alkali resistance funnel |  |  | Nos. | 2
A.3.9 | Alkali Resistance jug of 2 L capacity |  |  | Nos | 1
A.3.10 | Rubber apron |  |  | Nos | 1
A.3.11 | Pair of rubber hand gloves |  |  | Set | 1
A.3.12 | Cell lifting straps |  |  | Set | 1
A.3.13 | PVC Spill tray under battery cell |  |  | No. | 1
A.3.14 | Bridging Clamp for cutting out individual cells in the event of defect. |  |  | Set | 1
A.3.15 | Set of insulated spanners |  |  | Nos | 1
A.3.16 | First aid box |  |  | Set | 1
A.3.17 | Goggles (industrial) |  |  | Nos | 2
A.3.18 | `No smoking’ notice |  |  | Nos | 2
A.3.19 | Wall mounting holders for hydrometer and thermometer |  |  | Nos | 2
B | Battery health monitoring system-BHMS (Including all hardware, sofware, cables requied for connecting the battery cells to BHMS and BHMS to Switchger SCADA Refer Section II for details) FOR MAIN PLANT BATTERY |  |  | lot | 4
C | E & C SPARES | 508-14010-A
C.1 | GLOVES |  |  | SET | 6
C.2 | VENT PLUGS |  |  | Nos | 15
C.3 | Intercell connectors |  |  | Nos | 15
D | SUPERVISION OF E&C | 508-11025-A |  |  |  | Only For MAIN PLANT AREA BATTERY
D.1 | LUMP SUM CHARGES PER VISIT FOR ENGINEER (EXCEPT DAILY CHARGES) |  |  | VISIT | 1
D.2 | LUMP SUM DAILY CHARGES FOR ENGINEER |  |  | DAYS | 4
E | Mandatory Spares
E.1 | Battery cells ( Cells to be supplied for Every Battery Ah SIZE Considered) |  |  | Nos. | 10
E.2 | Empty cell container (Containers to be supplied for every Battery Ah Size Considered) |  |  | Nos. | 10
E.3 | Level indicator |  |  | Nos. | 6
E.4 | Vent plugs |  |  | Nos. | 12
E.5 | Inter-cell connector |  |  | Nos. | 10
E.6 | Set of nuts, bolts and washer |  |  | Set | 12
Notes:-
1. For any clarification please refer Technical Specification No- PE-TS-427-508-E001.
2. AMOUNT PAYABLE FOR ENGINEER PER VISIT TO SITE = VISIT CHARGES AS PER SL. NO. D.1 ABOVE + (DAILY CHARGES AS PER SL. NO. D.2 ABOVE X NO. OF DAYS AT SITE) (TO BE CERTIFIED BY BHEL SITE).
3. THE VISIT CHAGRES SHALL BE INCLUSIVE OF CHARGES OF AIR FARE/TRAIN FARE , BOARDING/LODGING, LOCAL CONVEYANCE, MEDICAL , INSURANCE ETC.
4. COPPER LUGS FOR CABLE TERMINATION AT BATTERY TERMINALS SHALL BE IN BIDDER'S SCOPE & CABLE SIZES SHALL BE INFORMED DURING DETAILED ENGINEERING.
5. Cost of electrolyte should be '7% or more' of total ex works/total C&f of battery.If quoted price of electrolyte is less than 7% of battery cost (Total Ex works/Total C&F) then the electrolyte cost will be made as 7% of battery cost (Total Ex works/Total C&F) while maintaining the total quoted price unchanged.