## PRICE FORMAT
1X800 MW KOTHAGUDAM TPS
PRICE FORMAT OF CONDENSER ONLOAD TUBE CLEANING SYSTEM (COLTCS)-REVISION 01
Sr. NO | DESCRIPTIONS OF WORKS OR EQUIPMENT | QTY | UNIT | INDIGENOUS BIDDER (INR) | [6 empty] | FOR FOREIGN BIDDERS
|  |  |  | UNIT PRICE EX-WORKS (DULY PACKED) (Rs.) | TOTAL PRICE EX-WORKS (DULY PACKED) (Rs.) | ED including cess @...% (for self manufactured items only) (INR) | CST against form C/E1&E2 @ ……..% / VAT @......% (As applicable) (INR) | Service Tax (in terms of……..%) | FREIGHT CHARGES (Including Service tax on freight@.......% (applicable rate)-to be quoted as % of Ex-Works (INR) | TOTAL F.O.R. SITE PRICE (Rs.) | UNIT C&F Mumbai Sea Port Price (Currency/INR) | Total C&F Mumbai Sea Port Price (Currency/INR) | Service Tax (in terms of……..%) on Site Activities (Currency/INR) | GRAND TOTAL (Currency/INR)
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7=2+3+4+5+6 | 8 | 9 | 10 | 11=9+10
1 | Total price for design, manufacture, assembly, inspection, testing, packing for transportation and delivery, including final check up of installation, commissioning, trial run and PG testing of TWO (2) sets of COLTCS complete in all respect including all accessories & auxiliaries as specified in technical specification and as necessary including mandatory spares (as applicable), commissioning spares of COLTCS including commission balls and special tools & tackles (as required) for erection & maintenance. | 2 | Sets | [10 empty] | 1
Break up of 1.0 (from 1.1 to 1.4)
1.1 | Total price for design, manufacture, inspection and testing, packing and delivery of COLTCS for one set complete with all accessories except for clause no. 1.2 & 1.3 below. | 2 | Sets
1.2 | Lump sum price for following activity:
1.2 a) | Installation checks & Commissioning | 2 | Sets
1.2 b) | PG test | 2 | Sets
1.3 | Price of Mandatory Spares as per Annexure-A | 1 | LOT
1.4 | Recommended spares : Item-wise break up with item-wise price to be given as per “Schedule of Recommended Spares” enclosed under Vol. III of technical specification.
Note:- | Recommended spares are only for reference. These are not to be considered for evaluation and ordering purpose at present. These may be used for future ordering if required.
0

## MANDATORY SPARES
1X800 MW KOTHAGUDAM TPS
ANNEXURE - A
PRICE FORMAT OF CONDENSER ONLOAD TUBE CLEANING SYSTEM (COLTCS) - MANDATORY SPARES
S.NO | SPARE DESCRIPTION | UNIT | QTY | FOR INDIGENOUS BIDDERS | [5 empty] | FOR FOREIGN BIDDERS
|  |  |  | Unit Price (Ex-Works) Rs | Total Price (Ex-Works) Rs | ED including cess @...% (for self manufactured items only) (INR) | CST @ …..% Against C-form & E1/E2 or VAT @.....% Whichever is applicable (INR) | FREIGHT CHARGES INCLUDING SERVICE TAX) @_________% OF TOTAL EX-WORKS (INR) | TOTAL F.O.R. Site Price Supply (Rs) | UNIT FOB PRICE (Currency) | TOTAL FOB PRICE (Currency)
1 | Complete Set of Pump without Motor | SET | (One)1 set
2 | Valve Complete Assembly |  | 10% of each type and size of total population or minimum 1(one) no. whichever is higher
3 | Normal Sponge Rubber Balls & Abrasive Balls |  | for one year Operation
4 | MANDATORY SPARES FOR CONTROL AND INSTRUMENTATION
A | Field instruments
A1 | Transmitters/Gauges/Switches etc. along with relevant accessories |  | 10 % of total or atleast two(whichever is higher) for each type along with accessories
A2 | Temperature Element (RTD/Thermo-couple) with thermowell |  | 10% of each type,range and immersion lenth.Minimum 5 no.s
A3 | Furnace Temperature Probe | No.s | Thermocouple 1 no.
B | Control Panel/Desk
B1 | Back -up panel mounted devices(Selector switches/Push buttons/Indicators etc.) |  | 5% of installed capacity
B2 | Lamps/LEDs |  | 100% of the total quantity
B3 | Blank Tiles |  | 10% of installed capacity
B4 | MCBs |  | 10% of each type & rating
B5 | Fuses/Fuse holder |  | 100% of each type & rating
C | Annunciation System
C1 | Each type of module | No.s | 1(one) No. each
C2 | Lamp Box with Facia & Lamps(LED type) | No.s | 5(five) No.s
C3 | Hooter | No.s | 1(one) No.
5 | Electrical Spares
5.1 | 415 Volt Motor (above 30KW Rating Upto 200KW)
5.1.1 | End Shield Cover Driving & Non-Driving End | SET | 1 Set for Each type & rating of Motor
5.1.2 | Driving End & Non Driving End Bearing | SET | 1 Set for Each type & rating of Motor
5.1.3 | Cooling Fan | No.s | 1 No. for Each type & rating of Motor
5.1.4 | Motor Space Heater | No.s | 1 No. for Each type & rating of Motor
5.1.5 | Motor Terminal Block | No.s | 1 No. for Each type & rating of Motor
5.1.6 | Complete Set of Coupling | SET | 1 Set for Each Application
5.2 | 415 Volt Motor (upto 30KW Rating )
5.2.1 | Driving End & Non Driving End Bearing | SET | 3 Set for Each type & rating of Motor
5.2.2 | Cooling Fan | No.s | 2 No. for Each type & rating of Motor
5.2.3 | Motor Terminal Block | No.s | 5 No. for Each type & rating of Motor
5.2.4 | Complete Set of Coupling | SET | 1 Set for Each Application
TOTAL
Note: 1.In case if such items of spares indicated as "not applicable" by bidder in its offer,are found applicable at a later date during execution of the project,such items of spares are to be supplied within the ordered cost of the mandatory spares.
2.Wherever % is indicated for the mandatory spares,the quantity shall be calculated for % of supply for total quantity for 1 unit,unless otherwise specified.The quantity to be reckoned for % indicated shall be rounded off to the next higher whole number.
3.In respect of quantity mentioned as "Set" means the total quantity of all the components/items used in particular equipment unless otherwise specified.