## ANNEXURE I
ANNEXURE - I TO NIT REF NO-PE/PG/YE1/E-5323/2016, DTD-12.08.2016
1 X 370 MW YELAHANKA CCPP (KPCL)
PRICE SCHEDULE FOR DC BATTERY - PACKAGE
MAIN SUPPLY
[5 empty] | FOR INDIAN BIDDERS | [6 empty] | FOR FOREIGN BIDDERS
SL NO | ITEM DESCRIPTION/SERVICE | ITEM CODE | UOM | TOTAL QTY | UNIT EX-WORKS PRICE (DULY PACKED) (INR) | TOTAL EX- WORKS PRICE (DULY PACKED) (INR) | ED (INCLUDING CESS) @ % (INR) | CST/VAT @ % Against Form 'C' /EI/EII (INR) | SERVICE TAX @ (INR) | FREIGHT CHARGES (INCLUDING SERVICE TAX) @ % OF TOTAL EX WORKS (INR) | TOTAL F.O.R SITE PRICE (INR) | UNIT C& F PRICE (CURRENCY) | TOTAL C& F PRICE (CURRENCY)
TOTAL F.O.B. PRICE (INCLUDING SEAWORTHY PACKING; HANDLING AND TRANSPORTATION TO VENDOR'S OWN PORT.) (CURRENCY)
A | 220V DC BATTERY (MAIN PLANT) | 508-11013-A
A.1 | 220V DC, AH capacity to be decided by bidder as per Annexure-II of Section-I of Technical Specification, 1.85 ECV, 108 cells, Lead-Acid plante High discharge type battery with all accessories listed at Sl.no. A.2 below. |  | Set | 2
A.2 | LIST OF ACCESSORIES 220V DC BATTERY (for each set of battery) | 508-11013-A
A.2.1 | Electrolyte (sulphuric acid for first filling plus 10% extra in non-returnable container) |  | Set | 1
A.2.2 | Battery racks (as perTechnical Specification) properly treated with Acid resistance |  | Set | 1
A.2.3 | Stand insulators, rubber pad etc.(as per Technical Specification) for rack plus 5% extra |  | Set | 1
A.2.4 | Cell interconnectors (as perTechnical Specification) with 5% extra and end take-off with one no. extra |  | Set | 1
A.2.5 | Connection hardware (as perTechnical Specification) plus 5% extra |  | Set | 1
A.2.6 | Cell numbering tags with fixing arrangement (1set) |  | Set | 1
A.2.7 | Cable clamps (as perTechnical Specification) with hardware |  | Set | 1
A.2.8 | Hydrometer (in steps of 0.005) |  | No | 1
A.2.9 | Set of hydrometer syringes (suitable for the vent holes in different cells for specific gravity reading) |  | Set | 2
A.2.10 | Pocket Thermometer for measuring electrolyte temperature (Digital type) |  | No | 3
A.2.11 | Thermometer (0 to 100 deg.) with Min. Max Temp indicator with plug & cap (having specific gravity correction scale) |  | No | 1
A.2.12 | Cell testing digital voltmeter (3-0-3V) with testing leads |  | No | 1
A.2.13 | Rubber apron |  | No | 2
A.2.14 | Pair of rubber hand gloves |  | Pair | 2
A.2.15 | Pair of insulated spanners |  | Set | 1
A.2.16 | No smoking notice |  | No | 1
A.2.17 | Goggles (industrial) |  | No | 1
A.2.18 | Instruction card |  | No | 1
A.2.19 | Electrolyte resistant plastic funnels |  | No | 2
A.2.20 | Electrolyte resistant plastic jugs |  | No | 2
A.2.21 | Battery Log Book |  | No | 1
A.2.22 | Self adhesive PVC stickers for cell numberings |  | Set | 2
A.2.23 | Cell lifting straps |  | Set | 2
A.2.24 | Inter cell, Inter Tie and Inter bank connectors as required for complete installation |  | Set | 2
A.2.25 | gum shoe |  | Set | 2
A.2.26 | First Aid Box |  | Set | 1
A.3 | E & C SPARES FOR DC BATTERY | 508-11007-A
A.3.1 | Gloves |  | Set | 2
A.3.2 | Vent Plug |  | No. | 5
A.3.3 | Intercell connector |  | No. | 5
A.4 | TYPE TEST FOR DC BATTERY | 508-11029-A
A.4.1 | Test for capacity and voltage during discharge as per IS 1652/Equivalent IEC. |  | LOT | 1
A.4.2 | Ampere-hour test & watt-hour efficiency test as per IS 1652/Equivalent IEC. |  | LOT | 1
A.5 | SUPV.OF E&C FOR DC BATTERY | 508-11025-A
A.5.1 | Supervision of Erection & Commissioning for complete package of 220V DC Battery. |  | LOT | 1
A.6 | SUB TOTAL PRICE ( A.1 to A.5.1 )
B | MANDATORY SPARES | 508-11022-A
B.1 | Battery Cell of Each Type |  | Set | 1
B.2 | Intercell connectors with hardware |  | Set | 1
B.3 | Vent plug |  | Set | 1
B.4 | Positive Plate of Each Type |  | Set | 1
B.5 | Negative Plate of Each Type |  | Set | 1
B.6 | Insulators |  | Set | 1
B.7 | PVC Spill Trays |  | Set | 1
B.8 | Terminal Post |  | Set | 1
B.9 | SUB TOTAL PRICE (B.1 to B.8 )
C | TOTAL LUMPSUM PRICE (A.6 + B.9)
Note:-
1.Bidder to note that total price indicated above at C.0 shall be considered for evaluation and hence should be complete in all respect for the full scope defined and considering all terms and conditions agreed.
2. Any item not included in the price quoted above and shown separately will not be taken cognizance of and the offer shall be liable for rejection.
3. For any clarification please refer Technical Specification No- PE-TS-409-508-E001.
4.Indian Bidders to note that the Freight charges that is to be quoted by you shall be in percentage of the Total Ex Works. Bidder to mention the percentage of freight (of Total Ex Works).

## DEVIATION SHEET
DEVIATION SHEET (COST OF WITHDRAWL)
PROJECT:-1 X 370 MW YELAHANKA CCPP (KPCL)
PACKAGE:- 220V DC BATTERY
TENDER ENQUIRY REF NO-PE/PG/YE1/E-5323/2016, DTD-12.08.2016
NAME OF VENDOR:-
SL NO | VOLUME/ SECTION | PAGE NO. | CLAUSE NO. | TECHNICAL SPECIFICATION/ TENDER DOCUMENT | COMPLETE DESCRIPTION OF DEVIATION | COST OF WITHDRAWL OF DEVIATION | REFERENCE OF PRICE SCHEDULE ON WHICH COST OF WITHDRAWL OF DEVIATION IS APPLICABLE | NATURE OF COST OF WITHDRAWL OF DEVIATION (POSITIVE/ NEGATIVE) | REASONS FOR QUOTING DEVIATION
TECHNICAL DEVIATIONS
COMMERCIAL DEVIATIONS
PARTICULARS OF BIDDERS/ AUTHORISED REPRESENTATIVE
NAME |  |  |  | DESIGNATIONS |  | SIGN & DATE
NOTES:
1. For self manufactured items of bidder, cost of withdrawl of deviation will be applicable on the basic price (i.e. excluding taxes, duties & freight) only.
2. For directly dispatchable items, cost of withdrawl of deviation will be applicable on the basic price including taxes, duties & freight.
3. All the bidders have to list out all their Technical & Commercial Deviations (if any) in detail in the above format.
4. Any deviation not mentioned above and shown separately or found hidden in offer, will not be taken cognizance of.
5. Bidder shall submit duly filled unpriced copy of above format indicating "quoted" in "cost of withdrawl of deviation" column of the schedule above along with their Techno-commercial offer, wherever applicable
6. Bidder shall furnish price copy of above format along with price bid.
7. The final decision of acceptance/ rejection of the deviations quoted by the bidder shall be at discretion of the Purchaser.
8. Bidders to note that any deviation (technical/commercial) not listed in above and asked after Part-I opening shall not be considered
9. For deviations w.r.t. Payment terms, Liquidated damages, Firm prices and submission of E1/ E2 forms before claiming 10% payment, if a bidder chooses not to give any cost of withdrawl of deviation loading as per Annexure-VIII of GCC, Rev-06 will apply. For any other deviation mentioned in un-priced copy of this format submitted with Part-I bid but not mentioned in priced copy of this format submitted with Priced bid, the cost of withdrawl of deviation shall be taken as NIL.
10. Any deviation mentioned in priced copy of this format, but not mentioned in the un-priced copy, shall not be accepted.
11. All techno-commercial terms and conditions of NIT shall be deemed to have been accepted by the bidder, other than those listed in unpriced copy of this format.
12. Cost of withdrawl is to be given seperately for each deviation. In no event bidder should club cost of withdrawl of more than one deviation else cost of withdrawl of such deviations which have been clubbed together shall be considered as NIL.
13. In case nature of cost of withdrawl (positive/negative) is not specified it shall be assumed as positive.
14. In case of descrepancy in the nature of impact (positive/ negative), positive will be considered for evaluation and negative for ordering.