## ANNEXURE I
ANNEXURE - I TO NIT REF NO-PE/PG/YE1/E-5326/2016 DTD-12.08.2016
1 X 370 MW YELAHANKA CCPP (KPCL)
PRICE SCHEDULE FOR OIL FILLED SERVICE TRANSFORMER - PACKAGE
MAIN SUPPLY
SL NO | ITEM DESCRIPTION/SERVICE | ITEM CODE | UOM | TOTAL QTY | UNIT EX-WORKS PRICE (DULY PACKED) (INR) | TOTAL EX- WORKS PRICE (DULY PACKED) (INR) | ED (INCLUDING CESS) @ % (INR) | CST/VAT @ % Against Form 'C' /EI/EII (INR) | SERVICE TAX @ (INR) | FREIGHT CHARGES (INCLUDING SERVICE TAX) @ % OF TOTAL EX WORKS (INR) | TOTAL F.O.R SITE PRICE (INR)
A | AUXILIARY SERVICE TRANSFORMERS (OIL FILLED)
A.1 | 1600kVA, 6.6kV/0.433kV, 3 phase, 2 winding, outdoor, ONAN, Z=8.0%, Dyn1, OFF Circuit taps ±5% in steps of 2.5% (with cable box type HV, with bus-duct type LV and with solidly grounded LVN termination) | 302-11041-A | No. | 12
A.2 | 2000kVA, 6.6kV/0.433kV, 3 phase, 2 winding, outdoor, ONAN, Z=10.0%, Dyn1, OFF Circuit taps ±5% in steps of 2.5% (with cable box type HV, with bus-duct type LV and with solidly grounded LVN termination) | 302-11042-A | No. | 2
A.3 | EXTRA OIL (10%) IN SEALED NON RETURNABLE STANDARD DRUMS (Type & no. of Transformers, as per annexure-II) | 302-11045-A | LOT | 1
A.4 | TYPE TEST (Details as per Annexure-III) | 302-11051-A | LOT | 1
A.5 | SUB-TOTAL PRICE (A.1 to A.4 )
B | OIL FILLED SERVICE TRANSFORMER - MANDATORY SPARES (Details as per Annexure-IB) | 302-11000-B | LOT | 1
C | TOTAL LUMPSUM PRICE ( A.5 + B )
Note:-
1.Bidder to note that total price indicated above at C.0 shall be considered for evaluation and hence should be complete in all respect for the full scope defined and considering all terms and conditions agreed.
2.BIDDER TO NOTE THAT THE COST OF TRANSFORMER SHALL INCLUDE THE COST OF ROUTINE TESTS AND SHALL BE CARRIED OUT ON ALL TRANSFORMERS WITHOUT ANY ADDITIONAL COST. BIDDER SHALL QUOTE ACCORDINGLY.
3.BIDDER SHALL SUPPLY 10% EXTRA OIL AS PER THE QUOTED PRICE. QUANTITY OF EXTRA OIL SHALL BE SUBJECT TO APPROVAL DURING DETAIL ENGINEERING.
4.**CHARGES FOR CARRYING OUT SHORT CIRCUIT TEST SHALL BE PAYABLE BASED ON ACTUAL INVOICE FROM DESIGNATED LABORATORIES (CPRI, BHOPAL/ CPRI, BANGLORE / ERDA, VADODARA) WITH AN ADDITIONAL LUMP SUM AMOUNT OF 5% OF EX-WORKS PRICE OF TRANSFORMER BEING TESTED TO COVER HANDLING COSTS (TRANSPORTATION, INSURANCE ETC.).
5.IN CASE TYPE TESTS ARE WAIVED, THE TYPE TEST CHARGES SHALL NOT BE PAYABLE TO THE BIDDER.
6.CHARGES FOR ALL TYPE TESTS EXCEPT SHORT CIRCUIT TEST SHALL BE CONSIDERED FOR PRICE COMPARISONS PURPOSE.
7.IN CASE ANY OF THE TYPE AND SPECIAL TESTS ARE REQUIRED TO BE REPEATED THE SAME SHALL BE CARRIED OUT BY THE VENDOR WITHOUT ANY COMMERCIAL / DELIVERY IMPLICATION TO BHEL.
8. Any item not included in the price quoted above and shown separately will not be taken cognizance of and the offer shall be liable for rejection.
9. For any clarification please refer Technical Specification No- PE-TS-409-302- E001
10.Indian Bidders to note that the Freight charges that is to be quoted by you shall be in percentage of the Total Ex Works. Bidder to mention the percentage of freight (of Total Ex Works).

## DEVIATION SHEET
DEVIATION SHEET (COST OF WITHDRAWL)
PROJECT:-1 X 370 MW YELAHANKA CCPP (KPCL)
PACKAGE:- OIL FILLED SERVICE TRANSFORMER
TENDER ENQUIRY REF NO-PE/PG/YE1/E-5326/2016 DTD-12.08.2016
NAME OF VENDOR:-
SL NO | VOLUME/ SECTION | PAGE NO. | CLAUSE NO. | TECHNICAL SPECIFICATION/ TENDER DOCUMENT | COMPLETE DESCRIPTION OF DEVIATION | COST OF WITHDRAWL OF DEVIATION | REFERENCE OF PRICE SCHEDULE ON WHICH COST OF WITHDRAWL OF DEVIATION IS APPLICABLE | NATURE OF COST OF WITHDRAWL OF DEVIATION (POSITIVE/ NEGATIVE) | REASONS FOR QUOTING DEVIATION
TECHNICAL DEVIATIONS
COMMERCIAL DEVIATIONS
PARTICULARS OF BIDDERS/ AUTHORISED REPRESENTATIVE
NAME |  |  |  | DESIGNATIONS |  | SIGN & DATE
NOTES:
1. For self manufactured items of bidder, cost of withdrawl of deviation will be applicable on the basic price (i.e. excluding taxes, duties & freight) only.
2. For directly dispatchable items, cost of withdrawl of deviation will be applicable on the basic price including taxes, duties & freight.
3. All the bidders have to list out all their Technical & Commercial Deviations (if any) in detail in the above format.
4. Any deviation not mentioned above and shown separately or found hidden in offer, will not be taken cognizance of.
5. Bidder shall submit duly filled unpriced copy of above format indicating "quoted" in "cost of withdrawl of deviation" column of the schedule above along with their Techno-commercial offer, wherever applicable
6. Bidder shall furnish price copy of above format along with price bid.
7. The final decision of acceptance/ rejection of the deviations quoted by the bidder shall be at discretion of the Purchaser.
8. Bidders to note that any deviation (technical/commercial) not listed in above and asked after Part-I opening shall not be considered
9. For deviations w.r.t. Payment terms, Liquidated damages, Firm prices and submission of E1/ E2 forms before claiming 10% payment, if a bidder chooses not to give any cost of withdrawl of deviation loading as per Annexure-VIII of GCC, Rev-06 will apply. For any other deviation mentioned in un-priced copy of this format submitted with Part-I bid but not mentioned in priced copy of this format submitted with Priced bid, the cost of withdrawl of deviation shall be taken as NIL.
10. Any deviation mentioned in priced copy of this format, but not mentioned in the un-priced copy, shall not be accepted.
11. All techno-commercial terms and conditions of NIT shall be deemed to have been accepted by the bidder, other than those listed in unpriced copy of this format.
12. Cost of withdrawl is to be given seperately for each deviation. In no event bidder should club cost of withdrawl of more than one deviation else cost of withdrawl of such deviations which have been clubbed together shall be considered as NIL.
13. In case nature of cost of withdrawl (positive/negative) is not specified it shall be assumed as positive.
14. In case of descrepancy in the nature of impact (positive/ negative), positive will be considered for evaluation and negative for ordering.

## ANNEXURE-B MANDATORY SPARES
ANNEXURE - IB TO NIT REF NO-PE/PG/YE1/E-5326/2016 DTD-12.08.2016
1 X 370 MW YELAHANKA CCPP (KPCL)
AUXILIARY SERVICE TRANSFORMERS (OIL FILLED) - MANDATORY SPARES
MANDATORY SPARES
SL NO | ITEM DESCRIPTION/SERVICE | ITEM CODE | UOM | TOTAL QTY | UNIT EX-WORKS PRICE (DULY PACKED) (INR) | TOTAL EX- WORKS PRICE (DULY PACKED) (INR) | ED (INCLUDING CESS) @ % (INR) | CST/VAT @ % Against Form 'C' /EI/EII (INR) | FREIGHT CHARGES (INCLUDING SERVICE TAX) @ % OF TOTAL EX WORKS (INR) | TOTAL F.O.R SITE PRICE (INR)
B.1 | 1600kVA, 6.6kV/0.433kV, 3 phase, 2 winding, outdoor, ONAN, Z=8.0%, Dyn1, OFF Circuit taps ±5% in steps of 2.5% (with cable box type HV, with bus-duct type LV and with solidly grounded LVN termination)
B.1.1 | Complete set of Gaskets |  | Set | 1
B.1.2 | HV Bushing |  | No. | 1
B.1.3 | LV Bushing |  | No. | 1
B.1.4 | LV neutral Bushing |  | No. | 1
B.1.5 | Dial Type Thermometer |  | No. | 1
B.1.6 | Oil Level Gauge |  | No. | 1
B.1.7 | Complete winding Temperature indicating equipment |  | Set | 1
B.1.8 | Explosion vent Diaphragm |  | No. | 1
B.1.9 | Silica Gel Breather |  | No. | 1
B.1.10 | Valves of each type |  | Set | 1
B.1.11 | Buchholz Relay |  | No. | 1
B.1.12 | CT of each type |  | No. | 1
B.1.13 | SUB-TOTAL(B.1.1 to B.1.12)
B.2 | 2000kVA, 6.6kV/0.433kV, 3 phase, 2 winding, outdoor, ONAN, Z=10.0%, Dyn1, OFF Circuit taps ±5% in steps of 2.5% (with cable box type HV, with bus-duct type LV and with solidly grounded LVN termination)
B.2.1 | Complete set of Gaskets |  | Set | 1
B.2.2 | HV Bushing |  | No. | 1
B.2.3 | LV Bushing |  | No. | 1
B.2.4 | LV neutral Bushing |  | No. | 1
B.2.5 | Dial Type Thermometer |  | No. | 1
B.2.6 | Oil Level Gauge |  | No. | 1
B.2.7 | Complete winding Temperature indicating equipment |  | Set | 1
B.2.8 | Explosion vent Diaphragm |  | No. | 1
B.2.9 | Silica Gel Breather |  | No. | 1
B.2.10 | Valves of each type |  | Set | 1
B.2.11 | Buchholz Relay |  | No. | 1
B.2.12 | CT of each type |  | No. | 1
B.2.13 | SUB-TOTAL (B.2.1 to B.2.12)
B.3 | TOTAL LUMPSUM PRICE ( B.1.13 + B.2.13 )
Note:-
1. Prices quoted at sl.no. B.3 above should be same as quoted at sl.no. B of Annexure - I.

## ANNEXURE-II EXTRA OIL
ANNEXURE - II TO NIT REF NO-PE/PG/YE1/E-5326/2016 DTD-12.08.2016
1 X 370 MW YELAHANKA CCPP (KPCL)
AUXILIARY SERVICE TRANSFORMERS (OIL FILLED) - EXTRA OIL (10%)
EXTRA OIL ( 10% )
SL NO | ITEM DESCRIPTION/SERVICE | ITEM CODE | UOM | TOTAL QTY | UNIT EX-WORKS PRICE (DULY PACKED) (INR) | TOTAL EX- WORKS PRICE (DULY PACKED) (INR) | ED (INCLUDING CESS) @ % (INR) | CST/VAT @ % Against Form 'C' /EI/EII (INR) | FREIGHT CHARGES (INCLUDING SERVICE TAX) @ % OF TOTAL EX WORKS (INR) | TOTAL F.O.R SITE PRICE (INR)
A.3 | EXTRA OIL (10%) IN SEALED NON RETURNABLE STANDARD DRUMS (Type & no. of Transformers, as below)
A.3.1 | 1600kVA, 6.6kV/0.433kV, 3 phase, 2 winding, outdoor, ONAN, Z=8.0%, Dyn1, OFF Circuit taps ±5% in steps of 2.5% (with cable box type HV, with bus-duct type LV and with solidly grounded LVN termination) |  | NO. | 12
A.3.2 | 2000kVA, 6.6kV/0.433kV, 3 phase, 2 winding, outdoor, ONAN, Z=10.0%, Dyn1, OFF Circuit taps ±5% in steps of 2.5% (with cable box type HV, with bus-duct type LV and with solidly grounded LVN termination) |  | NO. | 2
A.4 | TOTAL LUMPSUM PRICE
Note:-
1. Prices quoted at sl.no. A.4 above should be same as quoted at sl.no. A.3 of Annexure - I.

## ANNEXURE-III TYPE TEST
ANNEXURE - III TO NIT REF NO-PE/PG/YE1/E-5326/2016 DTD-12.08.2016
1 X 370 MW YELAHANKA CCPP (KPCL)
AUXILIARY SERVICE TRANSFORMERS (OIL FILLED) - TYPE TEST
TYPE TEST
SL NO | ITEM DESCRIPTION/SERVICE | ITEM CODE | UOM | TOTAL QTY | UNIT TEST CHARGES (INR) | TOTAL TEST CHARGES (INR) | SERVICE TAX @ (INR) | TOTAL TEST CHARGES INCLUDING SERVICE TAX (INR)
[6 empty] | TOTAL CV TEST CHARGES (INR) | SERVICE TAX @ (INR) | TOTAL CV TEST CHARGES INCLUDING SERVICE TAX (INR)
A.4 | 1600kVA, 6.6kV/0.433kV, 3 phase, 2 winding, outdoor, ONAN, Z=8.0%, Dyn1, OFF Circuit taps ±5% in steps of 2.5% (with cable box type HV, with bus-duct type LV and with solidly grounded LVN termination)
A.4.1 | TANK PRESSURE TEST |  | NO. | 1
A.4.2 | TANK VACUUM TEST |  | NO. | 1
A.4.3 | MEASUREMENT OF ACOUSTIC NOISE LEVEL AS PER NEMA TR-1 |  | NO. | 1
A.4.4 | TEMPERATURE RISE TEST |  | NO. | 1
A.4.5 | DIELECTRIC TYPE TEST (INCLUDING CHOPPED WAVE IMPULSE TEST) |  | NO. | 1
A.4.6 | SHORT CIRCUIT TEST ** |  | NO. | 1
A.4.7 | SUB-TOTAL(A.4.1 to A.4.6)
A.4.8 | 2000kVA, 6.6kV/0.433kV, 3 phase, 2 winding, outdoor, ONAN, Z=10.0%, Dyn1, OFF Circuit taps ±5% in steps of 2.5% (with cable box type HV, with bus-duct type LV and with solidly grounded LVN termination)
A.4.9 | TANK PRESSURE TEST |  | NO. | 1
A.4.10 | TANK VACUUM TEST |  | NO. | 1
A.4.11 | MEASUREMENT OF ACOUSTIC NOISE LEVEL AS PER NEMA TR-1 |  | NO. | 1
A.4.12 | TEMPERATURE RISE TEST |  | NO. | 1
A.4.13 | DIELECTRIC TYPE TEST (INCLUDING CHOPPED WAVE IMPULSE TEST) |  | NO. | 1
A.4.14 | SHORT CIRCUIT TEST ** |  | NO. | 1
A.4.15 | SUB-TOTAL (A.4.9 to A.4.14)
A.4.16 | TOTAL LUMPSUM PRICE ( A.4.7 + A.4.15 )
Note:-
1. Prices quoted at sl.no. A.4.16 above should be same as quoted at sl.no. A.4 of Annexure - I.
2.**CHARGES FOR CARRYING OUT SHORT CIRCUIT TEST SHALL BE PAYABLE BASED ON ACTUAL INVOICE FROM DESIGNATED LABORATORIES (CPRI, BHOPAL/ CPRI, BANGLORE / ERDA, VADODARA) WITH AN ADDITIONAL LUMP SUM AMOUNT OF 5% OF EX-WORKS PRICE OF TRANSFORMER BEING TESTED TO COVER HANDLING COSTS (TRANSPORTATION, INSURANCE ETC.).
3.IN CASE TYPE TESTS ARE WAIVED, THE TYPE TEST CHARGES SHALL NOT BE PAYABLE TO THE BIDDER.
4.CHARGES FOR ALL TYPE TESTS EXCEPT SHORT CIRCUIT TEST SHALL BE CONSIDERED FOR PRICE COMPARISONS PURPOSE.
5.IN CASE ANY OF THE TYPE AND SPECIAL TESTS ARE REQUIRED TO BE REPEATED THE SAME SHALL BE CARRIED OUT BY THE VENDOR WITHOUT ANY COMMERCIAL / DELIVERY IMPLICATION TO BHEL.