## SCH-3
VOLUME-III PRICE SCHEDULE, REV-0
O&M OF EXISTING (A) 1 NO.CONSTRUCTION WATER PLANT (20 CUM / HOUR) & POTABLE WATER PLANT (1 CUM / HOUR) and ( B )1 NO CONSTRUCTION WATER PLANT (20 CUM / HOUR INCLUDING SUPPLY & INSTALLATION OF SPARE PARTS AT 2x660 MW MAITREE STPP, RAMPAL, BANGLADESH.
TENDER NO - BHEL:MSTPP:SCT:KLN-C2022:ROP:22:01
SCH 4: O&M
SL NO | DESCRIPTION OF ITEM | UNIT | QUANTITY | WEIGHTAGE FOR AMOUNT OF EACH ITEM( Nearest to the 6 decimal points) W.R.T THE TOTAL OF VENDOR QUOTED PRICE IN SCH-1
a | Potable RO Water: 5m3/hr
1 | SMBS ( Standard packing of 25Kg) | Kg | 100 | 0.001023
2 | NaoCL | Kg | 240 | 0.000336
3 | Anti Scalant | Kg | 300 | 0.019984
4 | 20'' ( inch ) Cotton Cartridge Filter Jambo | Nos | 48 | 0.002086
| TOTAL WEIGHTAGE |  |  | 0.023429

## PREAMBLE
VOLUME-III PRICE SCHEDULE, REV-0
O&M OF EXISTING (A) 1 NO.CONSTRUCTION WATER PLANT (20 CUM / HOUR) & POTABLE WATER PLANT (1 CUM / HOUR) and ( B )1 NO CONSTRUCTION WATER PLANT (20 CUM / HOUR INCLUDING SUPPLY & INSTALLATION OF SPARE PARTS AT 2x660 MW MAITREE STPP, RAMPAL, BANGLADESH.
TENDER NO - BHEL:MSTPP:SCT:KLN-C2022:ROP:22:01
SL NO | PREAMBLE
1 | This preamble forms part of tender document and schedule of items. The tenderer should read this preamble carefully before filling in rates for various items. Clauses under this preamble shall be read in conjunction with various volumes of tender and other tender sections as applicable and shall have precedence over any contrary statement mentioned any where in this document.
2 | The work shall be carried out strictly as per specifications, description of the items in these schedule and / or engineer’s instructions. Drawings enclosed with the tender are only preliminary and for tender purposes and giving some idea of the work involved. The work is to be executed as per drawings & documents, which shall be furnished during execution.
3 | Items of work provided in this schedule but not covered in this specification shall be executed strictly as per instruction of the engineer.
4 | Unless specifically mentioned otherwise in the tender document, the tenderer shall quote for the finished items and shall provide for the complete cost towards power, fuel, tools, tackles, equipment, constructional plants, temporary works, labour, dismantling of all temporary piping, structures, valves, pumps, tanks & other misc. equipment, strengthening of roads/culverts/bridges etc. including arranging all clearances etc. required for carrying out different activities & tests, materials, levies, taxes(except service tax), transport, layout, repairs, rectification, maintenance till handing over, supervisions, colonies, shops, establishments, overheads, profits and all incidental items not specifically mentioned but reasonably implied and necessary to complete the work according to the complete tender document and this schedule.
5 | The quantities of the various items mentioned in this schedule of items are approximate, based on very preliminary information and may vary to any extent or be deleted altogether. The quoted rates of each item will remain firm throughout the period of execution including extension, for reasons whatsoever, as long as variation in the total value of work executed under any part of this contract including extra items, if any but excluding any price variation remains, within fifteen percent (± 15%) of the awarded price as per LOI .
6 | Both the plant shall be run alternatively under normal circumstances. However if both the plants are required to be run simultaneously for exigency , the Man Month shall be considered on prorata basis as per Calender month.
7 | Prior written approval of BHEL shall be sought by the contractor in case quantity variation of any item crosses +50% (plus fify percent) limit during execution and approval to be obtained before execution of further quantity for this item.
8 | In case Sealed /Paper Price Bids are opened for finalisation of the tender, for any Item Rate/BOQ based contract, possibility of variation of quantity/ addition/deletion of items can not be ruled out. Under such circumstances, after execution of work, if it is observed that standing as L-1 is changed based on actual quantity executed, the bidder shall give suitable rebate to maintain your standing as L-1. Since this aspect can be assessed at the end of execution, necessary adjustment will be effected at the end of execution in final bill.This condition shall not be applicable where the tender is finalised through Reverse Auction.
9 | BHEL reserve the right to rationalize the rates, quoted by L-1 bidder against unit rate items and/ or other optional items with respect to item-wise lowest rates (amongst the participating bidders), before placement of order.
10 | The rates quoted shall be inclusive of cleaning of site of any vegetation, dressing , clearing of old structures and leveling etc. including fixing of grid pillars, benchmarks etc. required for commencement of site activities. No separate payment will be made towards the same.However, if separate rate for such item is avalable in the rate schedule, the same shall be considered.
11 | Rates shall be quoted in figures and in words in clear legible writing. No overwriting is allowed. All scoring and cancellations should be countersigned and in case of illegibility the interpretation of engineer shall be final. All entries shall be in English language.
12 | All works item wise shall be measured upon completion and paid for at the rates quoted and accepted as per BHEL approved payment schedule/billing break-up.
13 | The tender shall be deemed to have visited site and made himself aware of all the site conditions, studied the specifications and details of work to the done within the time schedule attached and to have acquainted himself of the conditions prevailing at site.
14 | No splitting of the job is envisaged. Decision of BHEL in this regard shall be final and binding to the bidders.
15 | Bidders are not allowed to alter the Price Schedule format including item description,quantity etc. and the offer is liable for rejection if the bidders submit their prices in Price Schedules modified by them.BHEL reserves the right to reject the offers of bidders who submit offers in Price Formats which are modiified/altered by them. Also putting any comments instead of rates/price in the designated column of the rate schedule shall make the offer liable for rejection.
16 | Bidders to note that for Civil &/Structural packages, against a particular item against a ST No. appearing in more than one schedule of the BOQ, same rate must be quoted in all schedules for that particular items with same descriptions. If by error, different rates are quoted in different schedules for same ST No.(i.e. item with same description), then the higher of the rates shall be considered for evaluation but awarding shall be done with the lower rate ,if the bidder becomes L-1.”
17 | For Lumpsum Service Contract : The items/components indicated in the tender is indicative and may vary to any extent. No compensation shall be payable in case of any variation in the items/components listed in the bill of quantities if the executed weight remains within the variation limit. However, in case of deletion of any item or addition of new items over and above the items listed or variation of existing quantity beyond variation limit specified, adjustment (i.e. Payment or recovery as the case may be ) shall be done on pro-rata basis based on the Rate per MT worked out from the quoted lump-sum Price and the total weight of components listed /indicated in price schedule plus 15% weight variation limit.
18 | Engineer’s decision shall be final and binding on the contractor regarding clarification of items in the schedule with respect to the other sections/volumes of the contract.
19 | In case of tender for Civil and/or Structural works, if the Non-schedule items are not quoted by the bidder, it will be treated at par with rate of corresponding item of CPWD/PWD/DSR schedule as prescribed in the tender/BOQ cum Rate Schedule.
20 | No interest, whatsoever, shall be payable by BHEL on the security deposit, any bank guarantee submitted or any amount due to successful bidder/contractor.
21 | Size and weights of various items are mentioned in the attached BOQ cum rate/price schedule for reference purpose only & these shall not be taken into consideration for quoting/calculating amount in the rate schedule. These shall be utilised as per relevant sections of tender. Bidders shall quote for each item in the rate column, taking unit as mentioned in the quantity column. Rates shall be filled in both figures and words. Amount shall be calculated based upon these rates multiplied by the mentioned quantity for the respective items.
22 | Bidder's Total price will be shall be considered for evaluation unless stated otherwise.
23 | In case of BOP packages, if Bidder does not quote/indicate the price for freight chagses against indicated rate schedule, the same shall be considered as 2% of basic price and adjusted with the total quoated price against each item keeping the total quoted price unaltered.

## SCH-1-MAIN PRICE
VOLUME-III PRICE SCHEDULE, REV-0
O&M OF EXISTING (A) 1 NO.CONSTRUCTION WATER PLANT (20 CUM / HOUR) & POTABLE WATER PLANT (1 CUM / HOUR) and ( B )1 NO CONSTRUCTION WATER PLANT (20 CUM / HOUR INCLUDING SUPPLY & INSTALLATION OF SPARE PARTS AT 2x660 MW MAITREE STPP, RAMPAL, BANGLADESH.
TENDER NO - BHEL:MSTPP:SCT:KLN-C2022:ROP:22:01
SCH-1 : TOTAL PRICE
SL NO | DESCRIPTION | PRICE SCHEDULE REF | TOTAL QUOTED PRICE (IN USD)
1.0 | O&M OF EXISTING (A) 1 NO.CONSTRUCTION WATER PLANT (20 CUM / HOUR) & POTABLE WATER PLANT (1 CUM / HOUR) and ( B )1 NO CONSTRUCTION WATER PLANT (20 CUM / HOUR INCLUDING SUPPLY & INSTALLATION OF SPARE PARTS AT 2x660 MW MAITREE STPP, RAMPAL, BANGLADESH. | SCH 2 - BREAK UP OF TOTAL PRICE | IN FIGURES:-
IN WORDS:-
NOTE
1.0 | Bidder shall quote total price for total price of SCH-1- Part only at sl no 1 above. All other amounts/ rates of each item of works in respective schedules/ parts will be derived based on allocated percentages. As such, any uncalled figure/ amount noted at any other place/ schedule of Volume-III will not be recknoed & will stand null & void.
2.0 | Bidder to note that total price at sl no 1.0 above shall be considered for evaluation & awarding. As such grand total price should be complete in all respect for the full scope defined and considering all terms and conditions.
3.0 | Bidder to note that SCH-3 covers Supply of respective items, unless specified otherwise in the description of items.
4.0 | Bidder to note that SCH-4 covers O&M of respective items, unless specified otherwise in the description of items.
5.0 | Bidder's quoted total price of SCH-3 & SCH-4 at Sl. no 1 above shall be apportioned into amount of various items of works based on allocated percentages against respective item, in respective schedules/ parts. As such, bidder shall not indicate/ quote any amount/ rate in these schedules/ parts and any amount/ rate quoted against any item shall not be taken into cognizance/ account and offer may be liable for rejection.
6.0 | Based on the itemwise percentage allocations, the amount for the individual items of the Bill of Quantity shall be arrived at. The rates of individual items shall be derived from the amount against each items after roundeding off .
7.0 | Bidders to note that this is an item rate contract. Payment shall be made for the actual quantities of work executed at the unit rate arrived at as per Sl No.5 above.
8.0 | Unit rates of each item of works of respective schedules/ parts will be derived by dividing derived amount by corresponding quantities. In deriving the unit rates of each item in this manner, figures only upto 9 decimal places will be taken into account. Any adjustment, if required, due to such methodology, will be effected in final bill.
9.0 | Successful bidder shall draw a schedule of quantities of various items of work of SCH-3 and obtain BHEL's approval/ clearance in writing before procurement, supply, etc.
10.0 | Any item as per scope of work, if not included in the price quoted above and shown separately will not be taken cognizance of and the offer shall be liable for rejection.
11.0 | Price format shall not be changed by bidder in any case and it may lead to cancellation of their offer.
12 | The quoted price shall be inclusive of all taxes & duties including freight on FOR site basis.
13 | The quantity of items may vary during execution mainly due to actual requirement etc. The unit rates work out from the overall amount quoted & accepted by BHEL shall be considered and no separate unit rates shall be allowed. Unit rates shall be valid throughout the contract period.

## SCH-2-BREAK UP OF TOTAL PRICE
VOLUME-III PRICE SCHEDULE, REV-0
O&M OF EXISTING (A) 1 NO.CONSTRUCTION WATER PLANT (20 CUM / HOUR) & POTABLE WATER PLANT (1 CUM / HOUR) and ( B )1 NO CONSTRUCTION WATER PLANT (20 CUM / HOUR INCLUDING SUPPLY & INSTALLATION OF SPARE PARTS AT 2x660 MW MAITREE STPP, RAMPAL, BANGLADESH.
TENDER NO - BHEL:MSTPP:SCT:KLN-C2022:ROP:22:01
SCH-2 : BREAK UP OF TOTAL PRICE OF SCH- 1
SL NO | DESCRIPTION | PRICE SCHEDULE REF | WEIGHTAGE FOR AMOUNT OF EACH ITEM( Nearest to the 6 decimal points) W.R.T THE TOTAL OF VENDOR QUOTED PRICE IN SCH-1
1.0 | O&M OF EXISTING (A) 1 NO.CONSTRUCTION WATER PLANT (20 CUM / HOUR) & POTABLE WATER PLANT (1 CUM / HOUR) and ( B )1 NO CONSTRUCTION WATER PLANT (20 CUM / HOUR INCLUDING SUPPLY & INSTALLATION OF SPARE PARTS AT 2x660 MW MAITREE STPP, RAMPAL, BANGLADESH.
a | SPARE PARTS | SCH 3 | 2.343%
b | O&M Part | SCH 4 - O & M | 97.66%
2 | GRAND TOTAL(1a + 1b) |  | 100%

## SCH-4 O&M
VOLUME-III PRICE SCHEDULE, REV-0
O&M OF EXISTING (A) 1 NO.CONSTRUCTION WATER PLANT (20 CUM / HOUR) & POTABLE WATER PLANT (1 CUM / HOUR) and ( B )1 NO CONSTRUCTION WATER PLANT (20 CUM / HOUR INCLUDING SUPPLY & INSTALLATION OF SPARE PARTS AT 2x660 MW MAITREE STPP, RAMPAL, BANGLADESH.
TENDER NO - BHEL:MSTPP:SCT:KLN-C2022:ROP:22:01
SCH 4: O&M
SL NO | DESCRIPTION OF ITEM | UNIT | QUANTITY | WEIGHTAGE FOR AMOUNT OF EACH ITEM( Nearest to the 6 decimal points) W.R.T THE TOTAL OF VENDOR QUOTED PRICE IN SCH-1
1.0 | Lumpsum price for operation & maintenance of entire ( A )one no construction Water system(20Cum/Hr) & Potable Water system ( 1Cum/Hr) OR ( B )one no construction water system ( 20Cum/Hr) , including distribution line, supply of two skilled Trained manpower & supply of additional manpower as when as basis, replace of filter, cleaning / replace of Membrane etc,Testing of water sample and submit the test result to BHEL / BIFCL as per Technical specification and as per direction of BHEL. (a) No seperate payment will be made for Water sample testing, supply of Manpower, maintenance for any pump, pipe line or any other equipment during the Maintenance period). (b) Both the plant as mentioned above shall be run alternatively and total cumulative days of operation of both the plant combined,shall be considered for one calender month. | MONTHS | 12 | 0.29534
2.0 | Running of Plant by Supply & Dosing of Chemical (like alum etc.) dosing for production of clarified water from river water as per Technical specification and as per direction of BHEL. | HRS | 7500 | 0.26737
3 | Running of Plant by Supply & Dosing of Chemical for production of construction Water from Clarified water as per Technical specification and as per direction of BHEL. | HRS | 10500 | 0.40965
4 | Running of Plant by Supply & Dosing of Chemical etc for production of Potable Water from Filtered / Construction water as per Technical specification and as per direction of BHEL. | HRS | 7500 | 0.004207
| TOTAL WEIGHTAGE |  |  | 0.97657