## SP-SUPPLY
SCHEDULE OF PRICE(Supply Items)
'(BIDDERS TO STRICTLY ENSURE SUBMITTING THE PRICE BIDS IN THIS FORMAT)
TENDER ENQUIRY NO. : 429E020 , DATE 05 /05 /09
CURRENCY:
SL. | DESCRIPTION OF ITEM | UNIT | QUANTITY | UNIT | TOTAL | UNIT | UNIT | TOTAL | TAXES AND DUTIES IF ANY | TOTAL
NO. |  |  |  | FOB/EX WORKS | FOB/EX WORKS | FREIGHT AND INSURANCE | FREIGHT AND INSURANCE | FREIGHT AND |  | F.O.R (DESTINATION)
|  |  |  | PRICE | PRICE | UP TO PORT OF DISCHARGE | FROM PORT OF DISCHARGE(FOREIGN BIDDER) | INSURANCE |  | PRICE
[6 empty] | ( FOREIGN BIDDER) | /EX WORKS (INDIAN BIDDER) UP TO SITE
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7 | 8 | 9 | 10
(i) | 220 kV 1 C X 300 mm2 copper conductor corrugated Aluminium sheath,XLPE cable complete with necessary auxiliary equipment | M | 3200
(ii) | 220 kV outdoor type cable termination kit complete with porcelain terminal bushing for ST bay | Nos | 8
(iii) | Straight through joints for 220 kV cable between ST and ST Bays | Nos | 4
(iv) | Single Pole link box without SVL at ST side including the cable/cable accessories required for the connection | Nos | 4
(v) | Single Pole link box with SVL at Switchyard site including the cable/cable accessories required for the connection | Nos | 4
(vi) | Earthing of cable as per requirement | LOT | 2
(vii) | Trefoil clamps for 220 kV cables | LOT | 1
(viii) | Single type cleats for 220 kV | LOT | 1
TOTAL
NOTE: | 1. PLEASE NOTE THAT UNPRICED COPY OF PRICE BID (i.e. WITH ALL PRICES BLANKED)
SHALL BE FURNISHED ALONG WITH TECHNO-COMMERCIAL BID.
2. REQUIRED COPIES OF FORMAT BE MADE & DETAILS MAY BE ANNEXED.
| 3. THE PRICES MUST BE QUOTED IN THE PRESCRIBED UNIT ONLY. | [7 empty] | SIGNATURE AND SEAL OF BIDDER
4. SEAWORTHY PACKING CHARGES ARE INCLUSIVE.
5. MENTION PORT OF LOADING
6. FOREIGN VENDORS TO QUOTE FOB PRICES AND INDIAN VENDORS TO QUOTE EX WORKS PRICES.
(*) | 7.INDIAN VENDORS TO MENTION ALL TAXES AND DUTIES SEPERATELY IN COL 9 .
8. FOREIGN VENDORS TO QUOTE FREIGHT AND INSURANCE UPTO PORT OF DISCHARGE (MUMBAI) FREIGHT FROM MUMBAI TO SIGHT AS PER APPLICABLE BHEL RATE CONTRACT WILL BE ADDED FOR ARRIVING AT TOTAL COST TO BHEL.ALTERNATIVELY FOREIGN VENDORS CAN ALSO QUOTE FREIGHT FROM PORT TO SITE IF THEY WISH TO MAKE THEIR OWN TRANSPORT ARRANGEMENT AFTER CUSTOM CLEARANCE BY BHEL
9. INDIAN VENDORS TO QUOTE FREIGHT AND INSURANCE FROM WORKS TO SITE.

## SP -INSTALLATION
SCHEDULE OF PRICE(Installation Services)
'(BIDDERS TO STRICTLY ENSURE SUBMITTING THE PRICE BIDS IN THIS FORMAT)
Price quoted are in (currency):
Sl. No. | Item Description | QTY./Unit | Laying / Erection (A) | Supervision of Laying / Erection (B) | Testing and Commissioning (C) | Taxes and Duties (D) | Total sum of services (E=A+B+C+D)
1 | Cables
(i) | 220 kV 1C X300 mm2 Cables | 3200 MTR
2 | 220 kV outdoor cable termination kit | 8 Nos
3 | Single pole link box without SVL for 220 kV | 4 Nos
4 | Single pole link box with SVL for 220 kV | 4Nos
5 | Straight joint for following cables
(i) | 220 kV 1C X300 mm2 Cables | 4 Nos
6 | Earthing of 220 kV Cable | 1 lot
7 | 4 days Training at site | 1 lot
| Mention currrency of the rates quoted |  |  |  |  | TOTAL