## SP
SCHEDULE OF PRICE
'(BIDDERS TO STRICTLY ENSURE SUBMITTING THE PRICE BIDS IN THIS FORMAT)
TENDER ENQUIRY NO. : E- 429E023 , DATE 14 /05 /09
CURRENCY:
SL. | DESCRIPTION OF ITEM | UNIT | Main Qty | Spare Qty | UNIT | TOTAL | UNIT | UNIT | TOTAL | TAXES AND DUTIES IF ANY | TOTAL
NO. |  |  |  | Spare Qty | FOB/EX WORKS | FOB/EX WORKS | FREIGHT AND INSURANCE | FREIGHT AND INSURANCE | FREIGHT AND |  | F.O.R (DESTINATION)
[5 empty] | PRICE | PRICE | UP TO PORT OF DISCHARGE | FROM PORT OF DISCHARGE(FOREIGN BIDDER) | INSURANCE |  | PRICE
[7 empty] | ( FOREIGN BIDDER) | /EX WORKS (INDIAN BIDDER) UP TO SITE
1 | 2 | 3 | 4 |  | 5 | 6 | 7 | 7 | 8 | 9 | 10
(i) | 400kV 1C X 2500*mm2 Copper conductor corrugated Aluminium/copper/welded Aluminium sheath, XLPE cable complete with necessary auxiliary equipment | M | 3070(SIX LENGTH) | 530(ONE LENGTH)
(ii) | 400kV outdoor type cable termination kit complete suitable for terminating the above cable in Potyard | Nos | 6 | 1
(iii) | 400kV cable termination kit complete suitable for interconnection of above cable in GIS with necessary hardware | Nos | 6 | 1
(iv) | Set of Sealing Arrangement for sealing the above spare cable at both ends | SET | 1 | 0
(v) | Set of bonding arrangement for the connection for the sheath of above cables. (Detailed description and bill of material shall be furnished) | SET | 1 | 0
(vi) | Non-magnetic clamps with necessary hardwares for fixing above cables to the Cable support system | LOT | 1 | 10 % of the total quantity
(vii) | Cable Straight through joints for the above cable | Nos | 0 | 2
(viii) | Sheath voltage limiter | Nos | 0 | 3
(ix) | Link Box, single phase | Nos | 0 | 2
(x) | Training for BHEL/NHPC personnel at supplier’s works (14 men-days) | LOT | 1 | 0
TOTAL
* Bidder to confirm the suitability of size of the cable
NOTE: | 1. PLEASE NOTE THAT UNPRICED COPY OF PRICE BID (i.e. WITH ALL PRICES BLANKED)
SHALL BE FURNISHED ALONG WITH TECHNO-COMMERCIAL BID.
2. REQUIRED COPIES OF FORMAT BE MADE & DETAILS MAY BE ANNEXED.
| 3. THE PRICES MUST BE QUOTED IN THE PRESCRIBED UNIT ONLY. |  |  |  | /EX WORKS (INDIAN BIDDER) UP TO SITE 9: SIGNATURE AND SEAL OF BIDDER
4. SEAWORTHY PACKING CHARGES ARE INCLUSIVE.
5. MENTION PORT OF LOADING
6. FOREIGN VENDORS TO QUOTE FOB PRICES AND INDIAN VENDORS TO QUOTE EX WORKS PRICES.
(*) | 7.INDIAN VENDORS TO MENTION ALL TAXES AND DUTIES SEPERATELY IN COL 9 .
8. FOREIGN VENDORS TO QUOTE FREIGHT AND INSURANCE UPTO PORT OF DISCHARGE (MUMBAI) FREIGHT FROM MUMBAI TO SIGHT AS PER APPLICABLE BHEL RATE CONTRACT WILL BE ADDED FOR ARRIVING AT TOTAL COST TO BHEL.ALTERNATIVELY FOREIGN VENDORS CAN ALSO QUOTE FREIGHT FROM PORT TO SITE IF THEY WISH TO MAKE THEIR OWN TRANSPORT ARRANGEMENT AFTER CUSTOM CLEARANCE BY BHEL
9. INDIAN VENDORS TO QUOTE FREIGHT AND INSURANCE FROM WORKS TO SITE.