BHARAT HEAVY ELECTRICALS LIMITED

RAMACHANDRAPURAM::HYDERABAD – 502 032::502 032 INDIA

Phone No: 0091- 040- 23182250, 23020173

Fax No: 0091- 40- 23021910, 23020173

Specification for Yoke Type MPI Equipment

Description             :  Yoke Type MPI equipment

Range                     : Normal Pole Spacing=150mm and Flexed up to 300mm.

Voltage                   : 220V ,50Hz

Weight                    : 5 Kgs

Type of operation   : AC and HWDC

Calibration              : Calibration certificate for lifting capacity (AC:10 Kgs)

Commissioning       : At BHEL free of cost.

Scope of Supply      :  Standard supply containing Main Unit, containing Puffer bulb,

Dry method magnetic particle gray and red, cleaning brush. in

Carrying Case.