TECHNICAL SPECIFICATION FOR CEILING FAN

SWEEP

VOLTAGE

DOWN ROD LENGTH NO. OF BLADES COLOUR

MAKE

56" (1400mm)

230V, 50Hz, 1-phase.

300/600mm

3

white

: CG/Orient/Usha/Khaitan/Bajaj/Havell's.

Model: Ornamental design with gold finish shanks on blades, with decorative

canopies.

New deluxe with canopy, double ball bearings conforming to IS: 374/79 class 1, complete unit with Electronic Regulator

***