PROJECTS DEPARTMENT

SPECN.No. HY/PROJ-E&CIN&B/03/003

DET AILED SPECIFICATION FOR COMBINATION FUSE SWITCH UNITS

DELIVERY REQD BY - 6/2009

415V, Triple Pole & Neutral switch in sheet steel enclosure confonns to IS: 13947-3, painted with epoxy polyster based power paint. Suitable gland holes and earthing arrangement shall be provided.

""'"

Make: Standard/GE/L&T/Indo Asian of the following capacity:

1.

16A

QTY. REQD: 35 nos .

***