TECHNICAL SPECIFICATION FOR ENERGY EFFICIENT TUBE LIGHT FITTINGS

2x28W TUBE LIGHT FITTINGS:

TYPE

: 2X28W Switch start T5 lndustrial  luminaire fluorescent, 4ft FTL fitting with vitreous enamealed reflector, high frequency Electronic ballast, complete unit with all accessories suitable for 28W,16mm dia, 4ft T5 energy efficient fluorescent lamp.

VOLTAGE

: 230V, 50Hz, 1-phase

MAKE

: Philips/GE/CG/Bajaj.

Material Code

: HY7410280654

PMD

: CG.EE.014 & PE.EP.015

TUBE LIGHTS:

28W, 250V, T5 fluorescent tube suitable for the above fittings.

Make: Philips/GE/CG/Bajaj.

Material Code: HY7410221658

PMD	: CG.EE.014 & PE.EP.015

NOTE: Since Tube light fitting and tube light (bulb) are inter linked, it is necessary to procure both the items from one vendor only.

****