Technical Specification  for Cardio Tocograph
Specification for the procurement of Cardio Tocograph.
1. Continuous monitoring of single fetus

2. Continuous monitoring of twin fetus

3. External Toco Transducer 

4. Ultrasound Transducer

5. Tilt and fold video monitor screen for easy portability to ward and visualization from any angle.

6. Memory storage of material and fetal data.

7. Non- stress test timer

8. Acoustic Stimulation 

9. Material NIBP monitoring 

10.10 Printer -Thermal 

11. Mobile Trolley for easy transportation from one bed to    

      Another and for Storage of transducer and accessories.

12. Latex free belt –at least 3 patient event markers.

13. Automatic fetal movement detector.

