DESCRIPTION

SWEEP

AIR VOLUME

TYPE OF FIXING

TECHNICAL SPECIFICATIONS

: Industrial Heavy Duty Type Man Cooler

: 900mm

: 65000 CMH

: Wall Mounting

TILTING ARRANGEMENT

~

MOTOR DETAILS RATING PHASE

VOLTAGE SPEED.

TYPE OF STARTER

: The air stream shall adjust in Horizontal and Vertical plane by tilting head arrangement.

: 3HP

: 3-phase, 50Hz : 415V

: 1400 rpm

: DOL with suitable OIL.

Make: Siemens I L&T I BCH

***