Requirement Of Welded  Stainless Steel  Tubes For High Pressure Feed Water Heaters.

BHEL is one of the leading manufacturers of power plant equipments and auxiliaries in India with world class technology  . BHEL has been supplying high pressure feed water heaters for industrial and power sector requirements for more than thirty years.

We are  looking for Stainless Steel Tube manufacturers  who can supply  them for high pressure feed water heaters application  in line with following specifications.

- Material :-  ASME SA 688 TP 304  ( Welded Stainless Steel “U” Tubes )

- Tubes shall undergo Bright Annealing, Eddy Current Testing , Ultrasonic Testing and   Hydro Testing etc.

- Tube size : OD 15.875mm x leg length  approx  8 to 10 meters,  thickness : 12BWG i.e 2.77mm(min)

- The technical requirements are as per the following documents:

  - Drawing for ‘U’ tubes : 31750101073 / rev:06

  - Product standard : HE51103 /REV:18

  - Quality Plan : HY/HE/004/U TUBES / REV:04

  - Inspection & certification : BY LLOYDS

- We are looking for vendors who have proven experience for supply of ‘U’ tubes  to

500MW capacity feed water heaters which are already commissioned.  Copies of purchase

orders  for supply of ‘U’ tubes which have been  executed for 500MW projects shall be

furnished.

- Such manufacturers may  give expression of interest for further  technical discussion before 30.11.2008 by forwarding their company’s profile which gives the details of financial turnover, manufacturing facilities, testing facilities and QA processes etc.

For want of any further information or discussion, you may contact the undersigned.

for BHARAT HEAVY ELECTRICALS LIMITED

P.G.K. Murthy

DGM (Purchase) / HE & F

BHEL, R.C.PURAM

HYDERABAD – 502 032

INDIA

Email : pgkmurthy@bhelhyd.co.in