## STP REV
PRICE FORMAT
NAME OF PROJECT:2X660 MW ENNORE SEZ COAL BASED STPP AT ASH DYKE OF NCTPS, CHENNAI |  | Fill yellow cells only
NAME OF PACKAGE: SEWAGE TREATMENT PLANT |  | Vendor Name
TECHNICAL SPECIFICATION:PE-TS-412-673-A002
SCOPE |  |  |  |  | Supply |  |  | Service
S. No. | DESCRIPTION |  | UNIT | QTY | Total Ex-Works Price (INR) | Freight in % | Total Freight (INR) | Unit Price (INR) | Total Price (INR) | Total Price Including Freight & excluding GST (INR)
1 | Total lump sum firm price for SUPPLY PART , SERVICES PART & MANDATORY SPARES comprising of design (i.e. Preparation and submission of drawing/ documents including " As Built " drawings and O&M Manuals) , engineering, manufacture, fabrication, assembly, inspection & testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles (as applicable), fill of Chemicals, lubricants & consumables, spares for erection,start up and commissioning as required, forwarding, proper packing, shipment and delivery at site, unloading, handling, transportation & storage at site, in site transportation, assembly, erection & commissioning, final painting at site, trial run , site testing, e-learning module, carrying out performance guarantee test at site, training of customer/ client O&M staff & final handing over to end customer in flawless condition for project and package specified above complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. |  | Set | 1 | [5 empty] | 0
2 | MAJOR BREAK-UP OF PRICES GIVEN IN 1.0 ABOVE.
2.1 | Total lump sum firm price for SUPPLY PART comprising of manufacture, fabrication, assembly, inspection & testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles (as applicable), fill of lubricants & consumables (excluding chemicals), along with spares for erection ,start up and commissioning as required, forwarding, proper packing, shipment and delivery at site for project and package specified above complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. |  | Set | 1 |  |  | 0 | NA | NA | 0
2.2 | Total lump sum firm price for SERVICES PART comprising of unloading, handling, transportation & storage at site, in site transportation, assembly, erection & commissioning, final painting at site, trial run , site testing , carrying out performance guarantee test at site , training of customer/ client O&M staff & final handing over to end customer in flawless condition for project and package specified complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. |  | Set | 1 | NA |  |  |  | 0 | 0
2.3 | Total lump sum firm price for Mandatory spares comprising of manufacture, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, forwarding, proper packing, shipment, delivery at site & guarantee as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. (Price break up of mandatory spares is to be furnished as per Annexure- I). |  | Lot | 1 | 0 |  | 0 | NA | NA | 0

## Annexure-I
Annexure-I (List Of Mandatory Spares) |  | Doc No: |  | PE-TS-412-673-A002
|  | Rev No: |  | 0
NAME OF PROJECT: |  |  | 2X660 MW ENNORE SEZ COAL BASED STPP AT ASH DYKE OF NCTPS, CHENNAI
NAME OF PACKAGE: |  |  | SEWAGE TREATMENT PLANT
Sl. No. | Name of Items | Unit | QUANTITY | Total Ex-Works Price (INR)
1 | CIRL DIAPHRAGM VALVE
a) | Complete valve | Nos. | Two (2) Nos. each of different size of valve in the system
b) | Diaphragm | Nos. | Five (5) Nos. each of different sizes valves
c) | Valve spindle | Nos. | Two (2) Nos. each of different sizes valves
2 | OTHER TYPE VALVE (EXCEPT CONTROL VALVE)
a) | Complete valve | No. | One (1) No. each of different size of valve in the system
b) | Sampling & needle valve | Nos. | Four (4) Nos. each type & size
c) | Pressure Gauge | Nos. | Two (2) Nos. for each Range/Type
3 | LEVEL GAUGE
a) | Glass Tube | Nos. | Five (5) Nos. for each size
b) | Off-set valve | Nos. | Two (2) Nos. for each size
4 | MAINTENANCE SPARES
a) | Pressure Gauge | Nos. | Two (2) Nos. for each Range / Type
b) | Flow Indicator (Bypass / on line type) | Nos. | Two (2) Nos. for each size
c) | Float | No. | One (1) No. for each size
d) | Meter tube | No. | One (1) No. for each size
5 | PH INSTRUMENT
a) | Complete meter with cell & accessories | No. | One (1) No. for each size
b) | Neon lamp | Nos. | Eight (8) Nos. for each size.
c) | Power supply card | No. | One (1) No. for each size
d) | Amplifier PCB | No. | One (1) No. for each size
e) | Controller PCB | No. | One (1) No. for each size
f) | Transformer | No. | One (1) No. for each size
g) | Relay | No. | One (1) No. for each size
h) | Meter movement | No. | One (1) No. for each size
i) | Electrodes Assembly | No. | One (1) No. for each size
6 | MOTORS – BEARINGS | Set | One (1) Set each for drive end and Non-drive end.
7 | 415 V MOTORS
a) | Terminal plates | Nos. | 10 Nos. each for small motors upto 30 kW & 4 Nos. each for more than 30 kW
b) | Heaters | Set | 2 sets
c) | Greasing arrangements | Set | 4 sets each type of motor
d) | Motor of each type and rating | No. | 10% of the installed quantity or minimum 1 number whichever be higher
e) | Bearings (DE and NDE) for each type and rating of motor | Set | 4 sets
8 | MEASURING INSTRUMENTS
8.01 | Indicators, Recorders, Electrical Metering and Skid Mounted Instruments:
(i) | Indicators, recorders and meters offered from each model for the project. These instruments shall be supplied with three sets of blank scales. | Nos. | 10 % of Installed of each type/Model or a minimum of one number for each model and type, whichever is more
(ii) | For skid mounted instruments ( As applicable) | Nos. | 10% of total number of instruments for each Type and model or a minimum of one number for each model and type, whichever is more
8.02 | Temperature Elements and Thermo wells
(i) | Thermocouple /RTD elements | Nos. | 10% spare for each type and length of element furnished with thermocouple / RTD assemblies, or a minimum of one number of each type & length, whichever is more.
(ii) | Thermo wells | Nos. | 10% for each type of temperature sensors or a minimum of one for each type, whichever is more
8.03 | Temperature Transmitters and Electronic Transmitters (For Pressure, DP, Temp, Flow, Level), Temperature, Pressure, Flow & Level Switch, safety switches, Gauges, meters, Transducer or any other instrument etc. | Nos. | 10% of total number of Instruments/transducers offered for each model and type for the project or a minimum of one number, whichever is more.
9 | Erection hardware
9.01 | Instrument valves | Nos. | Ten (10) percent of each type & Size installed
9.02 | Condensate pots of each type & Size installed | Nos. | Ten (10) percent of total number of Installed or four numbers whichever is higher.
9.03 | Manifold | Nos. | Ten (10) percent of each type & Size installed
9.04 | Fittings | Nos. | Ten (10) percent of each type & Size installed
10 | ELECTRICAL HOISTS
10.1 | Brake Lining | Sets | 2 sets of each type
10.2 | Rope Guide and Rope Tightener | No | 1 No of each type
10.3 | Limit Switch | Sets | 2 Sets of each type and size
10.4 | Gear Box / Gear Set | Sets | 2 sets of each type
10.5 | Drum Bearing | Sets | 1 Set of each type and rating
11 | Mandatory spares not covered above
11.1 | Bidder to supply 10% or 1 no. (Whichever is more) of each type of sensor/instrument, instrumentation /mechanical fittings etc. for the system. | Nos.
| GRAND TOTAL |  |  | 0
Notes: 1) Mandatory spares listed above is bare minimum requirement. In case any additional mandatory spares requirement is covered elsewhere in the tender specification apart from specified above, same shall be deemed to have been covered in bidders scope of supply. 2) Unless stated otherwise, a "set" or "Lot" means items required for complete replacement in one equipment of each type/ size/ range. 3) In case of Bought Out items, itemised spares list may be vendor specific and may differ from the list of spares mentioned above. In such cases, the quoted price shall be considered for applicable items only without any change in the contract price. 4) In case spares indicated in the list are not applicable to the particular design offered by the bidder, the bidder should offer spares applicable to offered design with quantities generally in line with the approach followed in the above list. 5) Any item which is quoted as “not applicable” in the above list and is found to be “applicable” at a later date shall be supplied by the Bidder without any commercial implications.