## Sheet1
Ref. No. HY/PULV/CAPITAL/2009-10/005, Dated: 09/11/2009
| BHARAT HEAVY ELECTRICAL LIMITED |  |  | Enquiry No. :
| UNIT'S ADDRESS: |  |  | Due Date :
| UNIT'S PHONE NOS. |  |  | Supplier Qtn. No.:
| CONTACT PERSON'S NAME/DESIGN./PHONE NO./E-MAIL (FROM PURCHASE DEP'T.) |  |  | Date :
SPECIFICATION CUM COMPLIANCE CERTIFICATE FOR PORTABLE DATA ACQUISITION SYSTEM
NOTE:-
1. Vendor must submit complete information against clause no. 19.0 The offer meeting this clause would only be processed.
2. Inadequate / incomplete, ambiguous, or unsustainable information against any of the clauses of the specifications/requirements shall be treated as non-compliance.
3. The offer and all documents enclosed with offer should be in English language only.
ADDRESS OF THE SUPPLIER : |  |  |  | ADDRESS OF THE INDIAN AGENTS :
TELEPHONE NOS.: |  |  |  | TELEPHONE NOS.:
FAX NOS.: |  |  |  | FAX NOS.:
E-MAIL ADDRESS : |  |  |  | E-MAIL ADDRESS :
SCOPE: SUPPLY & COMMISSIONING OF PORTABLE DATA ACQUISITION SYSTEM WITH SPECIFICATION AS BELOW
Sl. NO | DESCRIPTION FOR BHEL REQUIREMENT | SPECIFIED | OFFERED | DEVIATIONS | REMARKS
1 | PURPOSE
1.1 | The system is required for automatic Logging, monitoring, measurement, Sequential storing & display in customised format of field Test parameters (Speed, Temperature, Pressure, Flow/Pulse, Electrical Parameters, Power etc.) acquired through field instruments during testing of Planetary gear box. | Vendor to Confirm
2 | Technical Specification :
2.1.1 | The data acquisition system shall have latest digital data processor along with computer based application software for data logging, compatible to present day GPIB / Ethernet interface hardware with LAN connectivity and windows XP based professional operating system. | Vendor to Confirm
2.1.2 | The equipment shall be capable of detecting specified field test input parameters and convert them in to desired engineering units for online display. | Vendor to Confirm
2.1.3 | Channel wise provision for sequential data storing and creating data sheets, log sheets in a customised formats in real time mode. | Vendor to Confirm
2.1.4 | Data storing shall be automatic at a specified time period and manual storing also ( days/ hours/ minutes) on hourly, daily and monthly basis. | Vendor to Confirm
2.1.5 | The equipment should have powerful memory, simple and compact modular design & light weight for easy transportation. | Vendor to Confirm
2.1.6 | Analog / Digital resolution : | 16 bit
2.1.7 | All isolated inputs and input terminals should have at least 20 Mega ohms insulation resistance at 500v DC with respect to power supply ground | Vendor to Confirm
2.1.8 | All terminals to ground and between terminals should have insulation resistance up to 20mega ohms or more. | Vendor to Confirm
2.1.9 | With standing voltage between input terminals of all modules: | 1000Vac for one minute
2.2.0 | With standing voltage between all input terminals and ground: | 1500 Vac for one minute.
2.3 | Speed Measurement:
2.3.1 | The data logging unit should have wider acceptability to the following variety of speed signals collected from different type of speed sensors. Primary sensors are 1.Eddy current probe 2.Magnetic pickup units 3.Optical tachometers 4.Photo electric sensors. | Vendor to Confirm
2.3.2 | The accuracy of measurement over its entire range . | ± 1 RPM
2.3.3 | The minimum measurement interval | 0.5 second
2.3.4 | The data update cycle | 1 Second
2.3.5 | Tachometer input channels required | 2
2.3.6 | Speed Range : | 15 < RPM < 10000
2.4 | Temperature measurement
2.4.1 | This interfacing module should accept signal inputs from RTD & Thermocouple | Vendor to Confirm
2.4.2 | Total No of channels required | 20
2.4.3 | RTD | 10 channels (Type Pt 100, 4 wire / 3Wire)
2.4.4 | Thermocouple | 10 channels (Type K / Type J)
2.4.5 | The above measurement should take care the compensation wherever necessary | Vendor to Confirm
2.5 | Pressure measurement :
2.5.1 | This interfacing module should accept signals from any pressure transmitter in the form of 4-20ma or 1-5 volts inputs & display them directly in pressure unit kg/cm2 | Vendor to Confirm
2.5.2 | No of channels required | 10
2.6 | Flow/ Pulse measurement :
2.6.1 | The interfacing module which communicate with the main unit should have wider acceptability for the input signals in the form TTL or contact signals from a flow meter sensors and AC, DC modulated frequency signals to count and integrate them in to no of pulses for ultimate display directly in flow units on the logging /acquisition unit. | Vendor to Confirm
2.6.2 | No of channels required | 10 Channels (Analogue 4-20mA / TTL / Pulse Inputs / frequency
2.6.3 | Universal channels / Analogue channels (4-20 mA) which requires dc 24 V, 1 Amp adjustable excitation for retransmission shall be either inbuilt or independently provided along with the data acquisition system if required. | Vendor to Confirm
2.7 | Electrical parameter measurement :
2.7.1 | The measurement of electrical parameters shall be directly using transducers whereever necessary to derive 4 - 20 mA output and same shall be used for scaling different electical parameter like voltage, current, kW. | Vendor to Confirm
2.7.2 | current
| a) Input current Signal | Transducer driven 4 -20 mA
| b) No of channels | 2
| c) Measurement of current in the range | 0- 300 A with a CT ratio 300/5
2.7.3 | Voltage
| a) Input voltage signal : | 415 V & 110V from 3 Ph PT
| b) No of channels | 2
2.7.4 | Power :
| a) Input signal | 4- 20 mA with a CT ratio 300 / 5 Amp & PT ratio 415
| b) No of channels | 2
2.8 | Additional Universal & Analogue Input channels :
2.8.1 | No of channels required | 20
2.8.2 | Accuracy | ± 0.05% of readings+2 digits
2.9 | Customised Software requirement :
2.9.1 | The software shall be developed in user friendly programming language based on modular / Network enabled architecture. The window based software shall provide powerful & user friendly environment. The software shall make testing programme of Planetery Gear Box as a simple point and click operation. The built-in tutorial and on-line help should shorten the learning curve. | Vendor to Confirm
2.9.2 | The software should be developed in cosultation with the indentor as a customised software. | Vendor to Confirm
2.9.3 | Window based data monitoring and logging functions with multiple channel display, Split screen display& Historical trend alarm display. | Vendor to Confirm
2.9.4 | The software should support the following applications and Software development to suit BHEL standard formats for data logging, display and generation of reports as specified by the BHEL to suit their requirements for operation of Data logging system.. | Vendor to Confirm
| a) Real time display of measured results | Vendor to Confirm
| b) Wealth of monitoring functions like digital display with time scaling trend display etc | Vendor to Confirm
| c) Zoom and scroll functions | Vendor to Confirm
| d) Meter display and analogue trend display | Vendor to Confirm
| e) Digital value display | Vendor to Confirm
| f) Display of channelwise data in groups up to 32 channels | Vendor to Confirm
2.9.5 | Computation of measurement constants for evaluating different parameters shall be inbuilt with linear scaling from 1-5 V and should follow linear equation y = mx+c. | Vendor to Confirm
3 | PC requirement :
3.1.1 | Type | Lap Top
3.1.2 | Data acquisition system with all necessary accessories including software data storage & Program loading facility operable on windows XP latest version | Vendor to Confirm
3.1.3 | Communication & Connectivity : | GPIB interface, Ethernet
3.1.4 | No of communication ports | 2
3.1.5 | Processor | Intel core 2 Duo processor
3.1.6 | RAM | 2 GB or better
3.1.7 | VRAM | 32 MB or more
3.1.8 | Hard disk drive : | 320 GB or more
3.1.9 | Drive : | CD & DVD Read & write with high speed
3.1.10 | On- chip cache | 512 KB L2 cache
3.1.11 | USB Pendrive for data transport from the hoist Computer.. | 8 GB capacity
3.1.12 | Display | 21'' TFT Monitor
3.1.13 | Standard Accessories ( Vendor to specify the Standard Accessories) | Vendor to Submit the list of accessories & confirm
3.1.14 | Network Laser Jet printer : Network based laser jet printer prferbaly HP 2420 or better shall be offered along with data acquisition system | Vendor to Confirm
3.2 | Power requirement : | AC 230V± 10%, 50 Hz
3.2.1 | Uninterrupted Power Source (UPS) shall be provided as additional back to the system to prevent loss of online data in the event of power failures & crashing of data due to program errors. | 1 kVA, 1 Hour backup
3.3 | Weight and Handling: The equipment should have simple compact modular design and light weight, when modules are installed for easy carrying. | Vendor to Confirm
3.4 | The complete system shall be housed in the 19" rack and trolley mounted for easy movement in the field. The rack shall be pre wired with plug in type connectors for all the channels at the rear side. | Vendor to Confirm
4 | NETWORKING:
4.1 | Data acquisition system shall have LAN connectivity for data transfer and accessing to networking for easy down load and access to data acquisition configuration and data storage. | Vendor to Confirm
5 | Testing
5.1 | The Data Acquisition System shall be tested in accordance with applicable Standard. | Vendor to specify applicable Standard.
5.2 | Additional tests, if any shall be specified in the offer & vendor to include these tests in the offer | Vendor to Confirm
5.3 | Test reports of all the tests to be carried out on the Data Acquisition System shall be furnished . | Vendor to Confirm
5.4 | All the above tests should be demonstrated to BHEL engineers during pre-acceptance at Suppliers works and during Erection & Commissioning at BHEL Works. | Vendor to Confirm
6 | AMBIENT CONDITIONS & THERMAL STABILITY :
6.1 | Total equipment should work trouble free and efficiently under following operating / Ambient conditions : Temperature = 5 to 55 degree Celsius, Relative Humidity = 95% max. (Vendor should Confirm that the equipment is suitable for above conditions and details of provisions on the equipment for the same should be furnished) | Vendor to Confirm
6.2 | Weather conditions are tropical, Atmosphere may be dust laden during some part of the year. Equipment shall be kept in the normal shop floor condition. Max. temperature variation is 25 deg Celsius in 24 hours. | Vendor to Confirm
6.3 | Thermal Stability of the complete equipment keeping in view specified Ambient Conditions and accuracy requirements of BHEL and trouble free operation of the equipment should be ensured by vendor. | Vendor to Confirm
6.4 | The Data acquisition system including accessories should be suitable for 24 hrs. continuous operation to its full capacity for 24 hour a day and 7 days a week throughout. Vendor to ensure and confirm the same. | Vendor to Confirm
6.5 | If any safety / environmental protection enclosure is required it should be built in the system by the vendor. | Vendor to Confirm
7 | ELECTRICAL :
7.1 | Tropicalization: All electrical / electronic equipment shall be tropicalized | Vendor to Confirm
7.2 | All electrical & electronic control cabinets & panels should be dust and vermin proof | Vendor to Confirm
7.3 | All electrical components in the cabinets should be mounted on DIN Rail | Vendor to Confirm
7.4 | Vendor should ensure the proper earthing for the equipment and its peripherals. | Required
7.5 | In-cycle hour counter with reset facility. | Required
8 | SAFETY ARRANGEMENTS:
8.1 | The System / Equipment should have adequate and reliable safety interlocks / devices to avoid damage to the equipment due to the malfunctioning or mistakes. System / Equipment functions should be continuously monitored and warning indications through lights with messages (On display panels) should be available. | Vendor to Confirm
8.2 | A detailed list of all indications provided on the equipment should be submitted by the supplier. | Required
9 | SPARES:
9.1 | Itemized breakup of electrical and electronic spares used on the equipment in sufficient quantity as per recommendation of Vendor for 3 years of trouble free operation on three shifts continuous running basis should be offered by vendor. (Unit price of each item of spare should be offered) | Specify
9.2 | Procurement of spares along with the equipment is optional | Specify
9.3 | All types of spares for Data acquisition system and its accessories should be available for at least ten years after supply of the system. If the system or control is likely to become obsolete in this period, the vendor should inform BHEL sufficiently in advance and provide drawings of parts / details of spares and suppliers to enable BHEL to procure them in advance if required. | Vendor to Confirm
10 | DOCUMENTATION : Five sets of following documents (Hard copies) in English language should be supplied along with the equipment. | Vendor to Confirm
10.1 | Operating and maintenance manuals of the Equipment | Vendor to Confirm
10.2 | Detailed Maintenance manual of the equipment with all drawings of assemblies/sub-assemblies/parts including Electrical/Electronic circuit diagrams. All Assembly / Sub Assembly Drawings shall be supplied with part list also. | Vendor to Confirm
10.3 | Catalogues, O&M Manuals of all bought out items including drawings, wherever applicable. | Vendor to Confirm
10.4 | One additional set of all the above documentation on CD ROM, wherever possible. | Vendor to Confirm
11 | PROVE OUT OF BHEL COMPONENTS :
11.1 | Complete prove out of the system shall be done at BHEL works to the BHEL requirements through software development after commissioning. 2 No.s of machine running along with software & data acquisition capability to be demonstrated satisfactorily. Vendor shall be responsible for any deviations that may be observed during proveout of the system & software due to malfunctioning / failure of input / output data. | Vendor to Confirm
12 | Data to be furnished with in 15 Days of Letter of Indent / P.O :
12.1 | Vendor shall submit the preliminary layout drawing for getting BHEL’s approval within 15 days from the date of Letter of Intent (LOI) / P.O. which ever is earlier. Complete system details and Final Layout drawings shall be submitted by the supplier within one month after getting BHEL’s approval. The layout should consist of all requirements pertaining to complete system / equipment including space requirement for any other accessories. | Vendor to Confirm
13 | COMMISSIONING OF THE EQUIPMENT
13.1 | Supplier to take full responsibility for carrying out the commissioning, start up, testing of the equipment and it’s controls etc. Service requirement like power etc. shall be provided by BHEL at only one point to be indicated by supplier in their layout drawings. Other requirements like crane and helping personnel shall also be provided by BHEL. Details of these requirements should be informed by vendor in advance. | Vendor to Confirm
13.2 | Successful proving of the equipment for BHEL components by the supplier shall be considered as part of commissioning. All tests, as mentioned at clause 15 ( Equipment Acceptance) shall form part of the commissioning activity. | Vendor to Confirm
13.3 | Schedule & duration for Erection & Commissioning should be furnished in detail separately by vendor along with offer. | Specify
13.4 | Commissioning of the equipment is in vendor's scope & free of cost.
14 | TRAINING
14.1 | BHEL Persons should be trained at supplier's Works for mutually agreed period in the area of (a) Operation of the system / equipment & other supplied accessories. (b) Electrical and Electronic maintenance of the equipment & other supplied accessories. | Vendor to Confirm
14.2 | Training of BHEL personnels should be at free of cost. | Vendor to Confirm
15 | EQUIPMENT ACCEPTANCE: (Tests/Activities should be Performed by Vendor) | Vendor to Confirm
15.1 | Tests/Activities should be carried out at supplier’s works on the equipment before dispatch : | As per Cl. No. 5
15.2 | Tests/Activities should be carried out at BHEL works while commissioning the equipment : | As per Cl. No. 5
15.3 | Demonstration of all features of the system / equipment, control system & accessories to the satisfaction of BHEL for efficient and effective use of the equipment. | Vendor to Confirm
15.4 | Prove out of the system / equipment with BHEL components as per Cl. No. 11.0 | Vendor to Confirm
15.5 | Training of BHEL personnel in operation of complete equipment & accessories etc by the supplier's experts / engineers during their stay at BHEL works | Vendor to Confirm
16 | PACKING:
16.1 | Sea worthy & rigid packing for all items of complete equipment, all accessories and other supplied items to avoid any damage/loss in transit. | Vendor to Confirm
17 | GUARANTEE :
17.1 | 24 months from the date of acceptance of the equipment. | Vendor to Confirm
18 | GENERAL :
18.1 | System / Equipment Model | Specify
18.2 | Floor area required (Length, Width, Height) for complete equipment & accessories | Specify
18.3 | Total weight of the equipment | Specify
19 | REFERENCE LIST / QUALIFYING CONDITIONS :
| Only those OEM's, who have manufactured, supplied and commissioned atleast two numbers of the quoted model of data acquisition system of same or higher capacity (Processor, Embedded software, Operating system, Ethernet Communication etc.) for similar applications in the past ten years and such equipment is working satisfactorily for more than one year of operation with out any problem after commissioning should quote. However, if such equipment(s) has/had been supplied to BHEL, then such equipment should be presently working satisfactory for more than six months after its commissioning and acceptance in BHEL, should quote. The following information should be submitted by the vendor about the companies where similar equipments have been supplied. This is required from all the vendors for qualification of their offer. | Vendor to Confirm
| 1. Name of the customer / company where similar equipment is installed. | Specify
| 2. Complete postal address of the customer. | Specify
| 3. Month & Year of commissioning. | Specify
| 4. Broad Specifications of the equipment. | Specify
| 5. Application for which the equipment is supplied with details of accuracies achieved on the job. | Specify
| 6. Name and designation of the contact person of the customer. | Specify
| 7. Phone, FAX no. and email address of the contact person of the customer. | Specify
| 8. Performance certificate from the customers regarding satisfactory performance of equipment supplied to them | Vendor to Confirm
| 9. BHEL reserves the right to verify the information provided by vendor. In case the information provided by vendor is found to be false/incorrect, the offer shall be rejected. | Vendor to Confirm
20 | Delivery | Specify