ANNEXURE-“A”

Pre Qualifying Requisite for Tendering

Sub.:- Supply of 11 KV(E),3x120 sq mm XLPE cable & 11 KV(E), 3x400 sq mm XLPE cable as per IS : 7098 (Part-II) 1985 with upto date amendments for New TUM Shop under 13020 MW Scheme at BHEL, HEEP, Haridwar.

- The bidder should be manufacturer of the required HT XLPE cable as per inquiry and should submit  the type test reports as per IS : 10810 (Part-0), 1984 with upto date amendments from any Govt. Laboratory of the same rating of HT XLPE cables .

- The bidder should submit the list of purchase orders placed on any BHEL unit in last 03 years for supply of HT XLPE cable.

- The bidder should also submit the cross sectional drawing of required HT cable along with technical literature showing all the 09 parameters as per annexure -1 & 2 of inquiry.

- The bidder has to confirm that the required cable shall be supplied with ISI marking on the cable outer sheath and also running meter marking at one meter interval through out cable length clearly visible.