SPECIFICATION FOR DIGITAL/ ANALOG  SURFACE  FLATNESS METER.

( Digital Length / Depth measuring instruments with Probes)

- Input requirement :                 Min. 5 nos. ( With or without Switching box)

- Display :                                  LCD / LED & Analog.

- Response Time :                      Max. 500 milli seconds.

- Measuring Range :                   ± 1 mm.(Max.)

- Measuring Resolution :            0.1 µm (Max.)

- Accuracy :                                 ±5% (Max.)

- Repeatability :                          0.2 µm (Max.)

- Working Temp. Range :          10 To 40ºC

- Power Source :                         High capacity Rechargeable Battery cum

230 V±10% , 50Hz.Supply mains.

- Zero adjustment setting arrangement required.

- It should be rugged & handy.

PROBES  Specification

- Measuring range : 		± 1mm.

- Mounting Shank Dia. : 		4 mm. to 8 mm

- Measuring Force : 		±0.2 N

- Cable length : 			1.5 Meter.(Min.)

OTHERS :

- Instruments shall be supplied with suitable mandatory accessories, cables etc.

- Instruments shall be in a protective carrying case.

- O & M (English version) reqd.

- One set of spare Re-chargeable battery & test leads shall be supplied with the equipment .

- TC, GC and calibration certificate are required.

- Matching USB cable for connection to PC.

(S.K.DAS)                                                    (Devanand)

AGM (QC-1)				 Sr.Manager (QC-1)

Other  requirement

DIGITAL/ ANALOG  SURFACE  FLATNESS METER

- Party shall supply two copies of O &M manual in English along with internal circuitry.

- Equipment shall be commissioned at our premises free of cost by the party.

- TC & GC of the equipment are reqd.

- Warranty period shall be of min. one year.

- Calibration certificates are required.

- Party shall supply mandatory spares along with the equipment.

- Party shall offer for pre-inspection of the items before dispatch.

- Party shall submit previous experience of supplying similar equipment or higher rating equipment.

(S.K.DAS)

AGM (QC-1)

Pre- Qualification requirement

DIGITAL/ ANALOG  SURFACE  FLATNESS METER

(Indent No. 20090787)

- Party shall be regular manufacturer of Surface Flatness manufacturer

- Party shall submit previous experience of supplying similar equipment or better equipment. Party, whoever does not submit previous P.O. copy (priced /unpriced ) or order reference of at least one party  to whom they have supplied within last 6-7 years, shall not be considered.

- Party shall mention the date of commissioning of the supplied equipment to other party.

(S.K.DAS)

AGM (QC-1)