## Sheet1
BHARAT HEAVY ELECTRICAL LIMITED
UNITS ADDRESS:BHOPAL
CONTACT PERSON'S NAME / DESIGN./PHONE NO. / E-MAIL (FROM PURCHASE DEPTT.))
SPECIFICATION CUM COMPLIANCE CERTIFICATE OF 30 KV SURGE/ INTERTURN TESTING EQUIPMENT
NOTE:-
1. Vendor must submit complete information against clause no. 35 (Qualifying Condition). The offer meeting this clause would only be processed.
2. The "Offered" Column and where applicable, the "Deviations" & "Remarks" Column of this format shall be filled in by the Vendor and submitted along with the offer. Inadequate / imcomplete., ambiguous, or unsustainable information against any of the clauses of the specifictions/requirements shall be treated as non-compliance.
3. The offer and all documents enclosed with offer should be in English language only.
NAME & ADDRESS OF THE SUPPLIER: |  | NAME & ADDRESS OF THE INDIAN AGENT:
TELEPHONE NOS.: |  | TELEPHONE NOS.:
FAX NOS.: |  | FAX NOS.:
E-MAIL ADDRESS: |  | E-MAIL ADDRESS:
TECHNICALSPECIFICATION
S.N | DESCRIPTION FOR BHEL REQUIREMENT | Vendor to specify/confirm | Deviation | Remarks
1 | Purpose of the equipment:
| The equipment should be suitable for identifying Inter-turn short/failure on coils when testing machine 3-phase windings and Diamond shaped Generator/Motor coils. | Vendor to note & confirm
1.2 | Jobs to be tested: Coils for AC motors. | Vendor to note
1.3 | Quantity :- 01 No. | Vendor to note
2 | Scope :
2.1 | Design, manufacture, testing, calibrate, packing and dispatch of Surge comparison winding tester | Vendor to specify/confirm
3 | TECHNICAL REQUIREMENT: | Vendor to specify/confirm
3.1 | Operating voltage : 220 VAC and 110 VAC
3.2 | TEST Voltage of equipment : 0 to 30 KV | Vendor to specify/confirm
3.3 | Output current : 0 to 1400 A or better | Vendor to specify/confirm
3.5 | Discharge capacitance : 0.1 micro farad or better | Vendor to specify/confirm
3.6 | Pulse energy : 40 J or more | Vendor to specify/confirm
3.7 | Voltage/Division :500/1000/2000/5000 | Vendor to specify/confirm
4 | The charged voltage will be discharged to earth through the winding/coil (two terminals). The wave form generated due to discharge shall be captured by the storage oscilloscope or display unit. Provision shall be given for comparison of wave forms for detecting inter turn shorts in the winding/coil. | Vendor to specify/confirm
6 | The test kit shall be provided with ON/OFF controls for High voltage and High voltage ON indication lamp. | Vendor to specify/confirm
7 | Continuously adjustable raise/lower control for high voltage shall be provided. The High voltage should not be on when the raise/lower knob in not in minimum position. | Vendor to specify/confirm
8 | Display : The system shall be along with storage oscilloscope or display unit for capturing of waveforms. Settable vertical and horizontal sensitivities shall be built in the storage oscilloscope. Provision for recalling of stored waveform for comparison shall be provided. Display Unit should have 8 inch screen display | Vendor to specify/confirm
9 | The test kit shall be provided with overload relay. | Vendor to specify/confirm
10 | The test kit shall be provided with external permissive interlocking system on the control panel. | Vendor to specify/confirm
14 | High voltage components shall be housed in separate sealed module The sealed High voltage module shall be housed either separately or in the control panel. | Vendor to specify/confirm
15 | Control module and High voltage module shall be connected by control cable of 15 ft lenght for safety or if the high voltage module is housed in the same cubicle of control panel, safety shall be built in the cubicle for isolation of HT and controls and also for the safety of operating personnel. | Vendor to specify/confirm
16 | The test kit shall be supplied with bleed-off resistor and earthing rod for discharging of charged voltage in the unit/ sample job. | Vendor to specify/confirm
17 | The cabinet shall be provided with rugged casted wheels with rubber cushioning for smooth movement in the shop floor. | Vendor to specify/confirm
18 | The cabinet shall be enclosed from all the sides with doors with provision for opening and locking. | Vendor to specify/confirm
19 | Suitable HT terminals and earthing terminals shall be provided. | Vendor to specify/confirm
20 | Enclosure type :: IP52 or better | Vendor to specify/confirm
21 | Operating temperature : up to 50 Deg.Cel. | Vendor to specify/confirm
22 | Inspection and Testing : Equipment supplied shall be offered for inspection and testing at suppliers works. | Vendor to specify/confirm
23 | Calibration : The complete set shall be calibrated and certificates shall be provided. | Vendor to specify/confirm
24 | Technical requirement
24.1 | The equipment should have two channels for testing of coils by coil to coil comparision method. | Vendor to specify/confirm
24.2 | The equipment may be required to test upto 1500 coils per day. So it should be simple to use and should be ensured that testing process is very fast without resetting the machine after every coil test. | Vendor to specify/confirm
24.3 | The equipment should have built-in data storage system | Vendor to specify/confirm
24.4 | The system should have automatic report generation facility | Vendor to specify/confirm
24.5 | The system should have inbuilt or compatible with PC with working WINDOWS OS & simulate application softwares for developing of measurement data. All Softwares to be supplied on CD with proper license . (complete details should be furnished) | Vendor to specify/confirm
24.6 | Equipment shall be supplied with Kelvin resistance leads. | Vendor to specify/confirm
25 | SAFETY ARRANGEMENTS:
Following safety features in addition to other standard safety features should be provided on the system:
25.1 | 1. System should have adequate and reliable safety interlocks to avoid damage to the testing equipment and the operator due to the malfunctioning or mistakes. | Vendor to specify/confirm
25.2 | 2. Statutory Requirement: The Equipment shall confirm to the IEC Rules 1956 and other essential provisions for installation and operation of electrical plant and equipment | Vendor to specify/confirm
25.3 | ENVIRONMENTAL PERFORMANCE OF THE SYSTEM:
25.6 | If any safety / environmental protection enclosure is required, it should be built in the system by the vendor. | Vendor to specify/confirm
26 | ACCESSORIES :
26.1 | Trolley for mounting the instrument during testing | Vendor to specify/confirm
26.2 | Rugged shell case | Vendor to specify/confirm
26.3 | Shielded measuring cable 20 m with clamps | Vendor to specify/confirm
26.4 | Ground cable 20 m with clamp | Vendor to specify/confirm
26.5 | Foot switch for handsfree operation | Vendor to specify/confirm
26.7 | Voltage stabiliser , CVT / UPS if recommended should be included in the scope of supply | Vendor to specify/confirm
27 | DOCUMENTATION :
27.1 | Following shall be submitted with the offer
| 1. Technical bid and price bid in separate envelopes | Vendor to specify/confirm
| 2. Compliance statement as per the specifications | Vendor to specify/confirm
| 3. Technical catalogs. | Vendor to specify/confirm
| 4. Data sheet, Bill of material , Write Up of the System/ catalog, Qty.-01 No. alongwith offer | Vendor to specify/confirm
27.2 | Following shall be supplied with the supply
| 1. Four sets of following documents (Hard copies) in English language and 2 CD's comprising all manuals and softwares should be suppplied along with the system. | Vendor to specify/confirm
| 2. Operating manuals of Instrument & system | Vendor to specify/confirm
| 3. Maintenance manual with all drawings and elecctrical circuit diagrams. | Vendor to specify/confirm
| 4. Maintenance , Interface & commissioning manuals for instrument | Vendor to specify/confirm
| 5. Test and Gurantee certificate | Vendor to specify/confirm
| 6. Calibration certificate | Vendor to specify/confirm
| 7. Data sheet,Certified OGA, GA, Bill of material , Write Up of the System/ catalog | Vendor to specify/confirm
| 8. Final acceptance is subjected to furnishing the complete documentation in required volumes in required number of sets. | Vendor to specify/confirm
| 9. All documents to be furnished by the supplier shall be duly certified and signed by the competent authority and all revisions shall be duly recorded. | Vendor to specify/confirm
| 10. Title and written notation shall be in English. | Vendor to specify/confirm
| 11 .All copies of test certificates as stipulated shall be on good quality of paper having good and legible printing. | Vendor to specify/confirm
28 | SYSTEM INSPECTION :
28.1 | Inspection at suppliers works before dispatch. | Vendor to specify/confirm
28.2 | Supplier to submit manufacturing / testing QAP for approval. | Vendor to specify/confirm
29 | AMBIENT CONDITIONS & THERMAL STABILITY :
29.1 | Total System and all supplied items should work trouble free and efficiently under following operating conditions and should give specified accuracies. POWER SUPPLY : Voltage : 230 V - 10% + 10 % Frequency : 50 hz + 3 % , -3% No. of phases = 1 Ambient Conditions : temperature = 4 to 50 degree celsius Relative Humidity = 27 % to 95 % max. Location - Indoor Altitude - Less than 1000 meters | Vendor to specify/confirm
29.2 | Thermal Stability of the complete system keeping in view specified Ambient Conditions and accuracy requirements of BHEL components and trouble free operation of the system should be ensured by vendor. (Vendor to confirm that system is suitable for above and details of provisions on the system for the same should be furnished by Vendor) | Vendor to specify/confirm
30 | GUARANTEE :
30.1 | Vendor should submit the gaurantee certificate for 24 months from the date of commissioning of the system. | Vendor to specify/confirm
31 | Accessories to be included: 1.Trolley for mounting the intrument during testing 2.Rugged shell case 3.Ground cable 20 meter with clamp Shielded measuring cable 20 meter with clamps | Vendor to specify/confirm
32 | Training:Training and Demonstration of all features of the machine & all accessories to the satisfaction of BHEL for their efficient and effective use and impart training to operators for effective use of the equipment. | Vendor to specify/confirm
33 | ERECTION & COMMISSIONING 1.Supplier to take full responsibility for carrying out erection, start up, testing of the machine and all types of supplied equipment’s, machining of test pieces etc. The machine is to be erected at the site by the supplier with their own manpower, tools & tackles etc. Other erection equipment’s like mobile crane, measuring instruments & devices for testing & commissioning of machines should be brought by the supplier on returnable basis. However, EOT Crane will be provided be BHEL depends on the availability. 2.Service requirement like air, water, electricity will be provided by BHEL at one point to be indicatedby the supplier in advance. Completed commissioning & demonstration of all the features of machine/equipment’s to the entire satisfaction of BHEL is the sole responsibility of vendors at BHEL Bhopal work. Complete commissioning, testing including all the test is in the scope of supplier. | Vendor to specify/confirm
34 | Proving :Proving to be done through demonstration / physical inspection of all features, assemblies, subasssemblies, control panel, bought out items and all accessories shall be done to the full satisfaction of BHEL representative at BHEL Bhopal | Vendor to specify/confirm
35 | PACKING and Dispatch : The items supplied shall be packed suitably by vendor so as to exclude any possibilities of damage during transportation and storage at site. | Vendor to specify/confirm
36 | QUALIFYING CONDITIONS : 1. All documets will be required at the time of Actual Tender Enquiry (From points 36.1 to 36.3.6 ) 2.For EOI, Vendor has to Provide Only Authorisation certificate & PO copies Supplied/Quoted Instrument of Same or Higher Rating | Vendor To note and Confirm
36.1 | 1.Vendor to mention the Make In India content (Value addition in India) of the offered machine in percentage (%). Details to be submitted.. | Vendor to note. & specify
36.2 | (a) Only those vendors /OEMs should quote who have experience of supplying and commissioning at least one number of 30KV SURGE/INTER-TURN TESTER BORING MACHINE or higher ratingt in the past ten years ( on the date of opening of Tender) and referred machine is presently working satisfactorily for more than one year after commissioning (on the date of opening of Tender). The OEMs should have experience of manufacturing such machines in the past ten years (on the date of opening of Tender) and should submit proof of the same. NOTE:However, such Indian suppliers, who do not meet qualifying criteria 36.2/(a) then the vendor should have supplied at least one similar machine meeting our qualifying condition, can be considered qualified if they have running Collaboration / Joint Venture / Joint Working Arrangement with foreign partner who meets our qualifying requirements. Indigenous manufacturer shall submit from other foreign partner a back to back guarantee for the performance of the machine. BHEL reserves the right to assess the OEM with respect to their technical and financial capability. In respect of the Indian Vendors against (b) above, BHEL reserves the right to assess the Indian Vendor & their Foreign Partner with respect to their technical and financial capability. | VENDOR TO NOTE
36.3 | The following information should be submitted by the vendor about the companies where similar machine (s) have been supplied. This is required from all the vendors for qualification of their offer.
36.3.1 | 1. Name of the customer/s / companies where similar machine is installed. | VENDOR TO NOTE
36.3.2 | 2. Complete postal address of the customer. | VENDOR TO NOTE
36.3.3 | 3.Month & Year of commissioning. | VENDOR TO NOTE
36.3.4 | 5. Name and designation of the contact person of the customer. | VENDOR TO NOTE
36.3.5 | 6. Phone, FAX no. and email address of the contact person of the customer. | VENDOR TO NOTE
36.3.6 | 7. Performance certificate from the customers regarding satisfactory performance of machine supplied to them (Origional Certificate or Through E-mail direclty from the customer). The origional performance certificate may be returned after verification by BHEL, if required. | VENDOR TO NOTE
36.3.7 | 8. BHEL reserves the right to verify information provided by the Vendor at their referred customer's works including machining accuracies/capability. It shall be the responsibility of the vendor to facilitate the visit of BHEL's team at their referred customer works. In case the information provided by vendor is found to be false / incorrect, the offer shall be rejected. | VENDOR TO NOTE