## MAIN
1X500 MW VINDHYACHAL STPP, STAGE V- TG PACKAGE
MAIN SUPPLY - PRICE SCHEDULE FOR DOUBLE GIRDER TG HALL EOT CRANE
S. No | DESCRIPTION OF EQUIPMENT / ITEM | Qty | UNIT FOB Price (Currency) | FOB Price (Currency) | Marine Freight (Marine Insurance by BHEL) (Currency) | Custom Duty Including CVD and SAD and any other taxes @ as applicable (Currency) | Inland Freight & Port Clearance Charged etc) (Currency) | Total F.O.R. site Price (Currency)
1 | 2 | 3 | 4 | 4 | 5 | 6 | 7 | 12
1.0.0 | Total lumpsum firm price for design, engineering, manufacturing, inspection and testing,painting, supply/delivery duly packed at project site including freight , unloading, storage and handling at site in line with drawings/ documents/ test procedures approved by BHEL/Customer for One (1) no. of 105/15 T capacity, Double grider EOT crane with 27.50M lift of main hook,32.0M lift of auxiliary hook, 29.95 M span, 117.0M bay length along with additional LT hydraulic storm/parking brakes, gantry rail & PVC shrouded bus bar type DSL complete with all accessories including temporary cable, isolating switch and power cable from isolating switch to DSL., Erection and commissioning spares, Mandatory spares and Maintenace Tools and Tackles for the total scope defined as per technical specification PE-TS-388-501-A001. | 1 no. |  |  |  | NIL AGAINST PAC
NOTES | 1) Bidder to note that total price indicated above at 1.0.0 will be considered for evaluation & hence completed in all respect for the full scope defined & considering all terms and conditions agreed.
2) Any item not included in the price quoted above and shown separately will not be taken cognizance of and the offer shall be liable for rejection.
3)Any variation in length of DSL / gantry rail due to change in bay length will be adjusted based on unit rates arrived from 2.2.0 and 2.3.0 below.
2.0.0 | Break Up Prices 1.0.0
2.1.0 | Total lumpsum firm price for design, engineering, manufacturing, inspection and testing,painting, supply/delivery duly packed at project site including freight , unloading, storage and handling at site in line with drawings/ documents/ test procedures approved by BHEL/Customer for One (1) no. of 105/15 T capacity, Double grider EOT cranes with 27.50M lift of main hook,32.0M lift of auxiliary hook & 29.95 M span, complete with all accessories including additional LT hydraulic storm/parking brakes, isolating switch and power cable from isolating switch to DSL., Erection and commissioning spares for the total scope defined as per technical specification PE-TS-388-501-A001. | 1 no. |  |  |  | NIL AGAINST PAC
2.2.0 | Total lumpsum firm price for design, engineering, manufacturing, inspection and testing,painting, supply/delivery duly packed at project site including freight , unloading, storage and handling at site in line with drawings/ documents/ test procedures approved by BHEL/Customer for PVC shrouded bus bar type DSL for 117.0M bay length complete with all accessories for the total scope defined as per technical specification PE-TS-388-501-A001. | 1 set
2.3.0 | Total lumpsum firm price for design, engineering, manufacturing, inspection and testing,painting, supply/delivery duly packed at project site including freight , unloading, storage and handling at site in line with drawings/ documents/ test procedures approved by BHEL/Customer for 117.0M bay length Gantry rail complete with all accessories for the total scope defined as per technical specification PE-TS-388-501-A001. | 1 set
2.4.0 | Lump sum price of temporary cable for operation of crane during erection stage of the plant (equal to the baylength for 117 M). | 1 set
2.5.0 | Total lumpsum firm price for design, engineering, manufacturing, inspection and testing,painting, supply/delivery duly packed at project site including freight , unloading, storage and handling at site in line with drawings/ documents/ test procedures approved by BHEL/Customer for Maintenance tools and Tackles. | 1 lot
2.6.0 | Lump sum price of mandatory spares ( Annexure I). | 1 lot
2.7.0 | Total of 2.0.0 (2.1.0 to 2.6.0)

## MS-Annexure I
1X500 MW VINDHYACHAL STPP, STAGE V- TG PACKAGE
PRICE SCHEDULE FOR MANDATORY SPARES OF DOUBLE GIRDER TG HALL EOT CRANE - ANNEXURE I
S. No | DESCRIPTION OF EQUIPMENT / ITEM | Qty | UNIT FOB Price (Currency) | FOB Price (Currency) | Marine Freight (Marine Insurance by BHEL) (Currency) | Custom Duty Including CVD and SAD and any other taxes @ as applicable (Currency) | Inland Freight & Port Clearance Charged etc) (Currency) | Total F.O.R. site Price (Currency)
1 | 2 | 3 |  | 4 | 5 | 6 | 7 | 8
A | MECHANICAL |  |  |  |  | NIL AGAINST PAC
1 | Brake Liner for all the brakes including jaws for rail clamps of Storm brakes. | 1 set
2 | Hydraulic thruster for all the Brakes | 1 set
3 | Oil Seals | 1 set
4 | Brake springs for all brakes | 1 set
5 | Wire Rope for Aux. hook | 1 no
6 | Contactors, push buttons and relays | 1 set
7 | Oil pumps with motor & hydraulic cylinder for operation of jaw of the storm brakes | 1 no of each type /size
B | ELECTRICAL
1 | Solenoid Coils for Brakes | 2 sets
2 | MCBs/MCCBS/Fuse links for the whole crane | 1 set
3 | Contactors and overload Relays | 1 set of each type, size & rating
4 | Motor of the EOT | 1 set of ecah type size and rating
5 | Timers of each type, size & rating | 1 set
6 | Limit Switches for
(a) | Main Hoist | 1 set
(b) | Aux. Hoist | 1 set
(c) | Cross Travel | 1 set
(d) | Long Travel | 1 set
7 | Carbon brushes and brush holder | 1 Set
8 | Master controller for Aux hoist | 1 Set
9 | Resistance Box | 1 no of each type.
10 | Drives for MH,AH,CT & LT | 1 no of each type & rating
C | Total price of Mandatory Spares
1. “One (1) Set” and “One (1) set of each type & size” is defined as 100% requirement for one crane for the entire cranes of similar size & capacity.
If the cranes are of same capacity, the total quantity for the cranes shall be 100% quantity required for one crane.
2. 100% of total population of each type, size and rating is defined as 100% requirement for one crane.

## E & C
1X500 MW VINDHYACHAL STPP, STAGE V- TG PACKAGE
ERECTION & COMMISIONING - PRICE SCHEDULE FOR DOUBLE GIRDER TG HALL EOT CRANE
S. No | DESCRIPTION OF EQUIPMENT / ITEM | Qty | E & C Charges (Rs.) | Service tax for E & C (Rs.) | Total Lumpsum Price (Rs.)
1 | 2 | 3 | 8 | 9 | 12
1.0.0 | Total lumpsum firm price for erection and commissioning , trial run at site and handing over to the customer after PG test in line with drawings/ documents/ test procedures approved by BHEL/Customer for One (1) no. of 105/15 T capacity, Double grider EOT cranes with 27.50 M lift of main hook,32.0M lift of auxiliary hook,29.95 M span, 117.0 M bay length along with additional LT hydraulic storm/parking brakes gantry rail & PVC shrouded bus bar type DSL complete with all accessories including temporary cable, isolating switch and power cable from isolating switch to DSL., Erection and commissioning spares etc for the total scope defined as per technical specification PE-TS-388-501-A001. | 1 no.
NOTES | 1) Bidder to note that total price indicated above at 1.0.0 were considered for evaluation & hence completed in all respect for the full scope defined & considering all terms and conditions agreed.
2) Any item not included in the price quoted above and shown separately will not be taken cognizance of and the offer shall be liable for rejection.
3)Any variation in length of DSL or gantry rail due to change in bay length will be adjusted based on unit rates arrived from 2.2.0 and 2.3.0 below.
2.0.0 | Break Up Prices 1.0.0
2.1.0 | Total lumpsum firm price for erection and commissioning , trial run at site and handing over to the customer after PG test in line with drawings/ documents/ test procedures approved by BHEL/Customer for One (1) no. of 105/15 T capacity, Double grider EOT cranes with 27.50 M lift of main hook,32.0M lift of auxiliary hook,29.95 M span with all accessories including LT hydraulic storm/parking brakes,temporary cable, isolating switch and power cable from isolating switch to DSL., Erection and commissioning spares for the total scope defined as per technical specification PE-TS-387-501-A001. | 1 no.
2.2.0 | Total lumpsum firm price for erection and commissioning , trial run at site and handing over to the customer after PG test in line with drawings/ documents/ test procedures approved by BHEL/Customer for PVC shrouded bus bar type DSL for 117 M bay length complete with all accessories for the total scope defined as per technical specification PE-TS-388-501-A001. | 1 set
2.3.0 | Total lumpsum firm price for erection and commissioning , trial run at site and handing over to the customer after PG test in line with drawings/ documents/ test procedures approved by BHEL/Customer for 117 M bay length Gantry rail complete with all accessories for the total scope defined as per technical specification PE-TS-388-501-A001. | 1 set
2.4.0 | Lump sum price for erection and commissioning , trial run at site and handing over to the customer after PG test of temporary cables for operation of crane during erection stage of the plant. | 1set
2.5.0 | Total of 2.0.0 (2.1.0 to 2.4.0)

## O & M
1X500 MW VINDHYACHAL STPP, STAGE V- TG PACKAGE
OPERATION & MAINTENANCE - PRICE SCHEDULE FOR DOUBLE GIRDER TG HALL EOT CRANE
S. No | DESCRIPTION OF EQUIPMENT / ITEM | Qty | O & M service charges (Rs.) | Service tax for O & M service (Rs.) | Total Lumpsum Price (Rs.)
1 | 2 | 3 | 10 | 11 | 12
1.0.0 | Total lumpsum firm price inclusive of all taxes duties and other levies as applicable for providing OPERATION AND MAINTENANCE SERVICE including manpower, supervision, consumables etc for operation & maintenance of cranes after commissioning for 24 months as required for One (1) no. of 105/15 T capacity, Double grider EOT cranes with all accessories for the total scope defined as per technical specification. | One crane operation for 24 Months
NOTES | 1) Bidder to note that total price indicated above at 1.0.0 were considered for evaluation & hence completed in all respect for the full scope defined & considering all terms and conditions agreed.
2) Any item not included in the price quoted above and shown separately will not be taken cognizance of and the offer shall be liable for rejection.
3)Bidder to note that for comparison amongst bidders, two years rate quoted for O & M service shall be considered while payment shall be made monthly based on per month rate derived from the same.