Specifiction for Paint Adhesion Tester

Purpose                                          : Assessment of Paint adhesion Quality

Type                                               : Cross Hatch Cutter

Cutter Size                                      :1 mm cutter for up to  paint thickness of 60µ

2 mm cutter for up to  paint thickness of above 60µ

No.of cutting sides on cutter          :  6

Adhesion Tape                               : As per ISO 2409(9.5N,25 mm wide ,60m.Roll)

Accessories                                    :  Viewing Lense X3 as per ISO 2409.

Packing:                                          :  Shall be supplied in suitable casing

Spares                                             : 5 Rolls of adhesion Tape

Commissioning                                : Free at BHEL

Warranty                                          : One year.

SCOPE OF SUPPLY:                    : Standard supply with 1mm&2mm. cutters, adhesion

Tape(6 rolls) , Viewing Lens  and calibration

certificates for the above items.