Specifiction for Digital Coating Thickness Gauge

Purpose                                          : Measuring the Thickness of Paint and Warnish on

Ferrous and non ferrous materials.

Type                                               : Digital, Portable with detachable Probe

Measuring Range                           :1500 µ

Accuracy                                        : ±2.5 µ

Weight                                             : 400gms

Power                                              : Battery operated

Accessories                                    :  Calibration Foils and reference plate

Packing:                                          :  Shall be supplied in suitable casing

Commissioning                                : Free at BHEL

Warranty                                           :One year.

Scope of Supply:                      Standard Supply with Calibration Certificate