Specification for Ultrasonic Thickness Gauge

Description             :  Ultrasonic Thickness Gauge.

Range                     : 1 mm to 200 mm

Accuracy                 :±1%

Power                      : Battery operated

Weight                    : 250gms

Type of operation   : Single probe

Calibration Plate     : 5 mm built into the front of the  instrument with certificate.

Commissioning       : At BHEL free of cost.

Scope of Supply      :  Standard supply containing Main Unit, coupling fluid and battery

in  carrying Case.