Specifiction  for Paint Inspection Kit

Description                                  : Paint Inspection Kit

Purpose                                          : Establishing & checking of painting parameters on

Ferrous and non ferrous materials.

Type                                               : Portable in a carrying Case as per Scope of supply

Accessories                                    :  Calibration certificates

Packing:                                          :  Shall be supplied in suitable casing

Commissioning                                : Free at BHEL

Warranty                                          :One year.

Scope of Supply:                      :Standard Kit shall contain the following items of

reputed make & Quality

a)Paint Thickness Gauge(Fe) up to 1500 µ

b) Cross cut Adhesion Tester over 60 µ with

Testex Tape.

c) Profile Gauge for checking the Roughness

d)  Digital Contact Thermometer (℃ )

- Sling Hygrometer and Dew point calculator

- Wet Film Comb