Specification for Pin Hole Detector

Description                        :  Pin Hole detector for detecting  porosity and cracks  in Painting

Range                                 : Up to 500µ thickness of paint

Test Voltage                       : 9V to 90V(Selectable)

Out put Voltage Accuracy  : ±1% µ ±0.1V

Type of operation               : Wet Sponge

Type of Fault Detection      : Audible Alarm & Visual Red light Flash

Power source                       : Suitable  Power Pack.

Commissioning                   : At BHEL free of cost.

Warranty                              : one year

Scope of Supply      :  Standard supply containing Main Unit, Extension rods up to 1000mm,

Circular Spong up to Dia.100mm,Wetting agent (1Lts), Calibration

Certificate and   carrying Case