Specification for Pocket Type Surface Roughness Tester

Description             :  Pocket Type Portable Surface Roughness Tester.

Range                     : Ra= 0.1 µ to 40µ

Accuracy                : ±5%

Resolution              : 0.01µ

Weight                    : 250gms.

Type of operation   : Remote

Type of Stylus        : In-built in the Tester

Power source          : Suitable  in-built batteries with charger.

Calibration              : Calibrated Specimen with certificate.

Commissioning       : At BHEL free of cost.

Scope of Supply     :  Standard supply containing Main Unit,

Specimen Ra, Charger, Battery, Calibration Certificate and

carrying case.