Technical specifications - Diathermy

Vessel sealing unit with two monopolar and two bipolar outputs. Should have various cutting and coagulation modes in monopolar. Bipolar should have cutting and coagulation modes with auto start and auto stop function with a facility to adjust depths. Vessel sealing function for laparoscopy and open surgery should be present in the unit and should be compatible to argon beamer.

Set should be supplied with following accessories:

1- One number maxium with socket module.

2- One number power cord 3 M H05vv-F grey.

3- One number operating instructions english.

4- One number footswitch double explots fr.

5- One number neutral plate rubber 15x26 cm.

6- Two numbers rubber band perf 100 cm.

7- Two numbers button for rubber strap.

8- One number surgy-pen electr. Handle, 2FG. SW., COAX, 4M.

9- One number elecro set syn.

10- One number bipolar forceps Bayonet blunt.

11- Two numbers bipolar cable, symmetric 5 M.

12- One number footswith with reed contact.

13- One number bipolar scissors Marcut, 23 cm, curved.

14- One number Marclamp, curved, lenth 23 cm.

15- One number Marseal instrument with connector, 370 mm.

.
