TECHNICAL SPECIFICATIONS- NEONATAL INCUBATOR

1- Double walled model with drawers, acrylic walls.
2- Skin, air, manual/auto(LCD) controlled.

3- In built timer and humidity indicators.

4- Thermo/humidity display.
5- Alarm for temperature (range 34-38 degree Celsius).

6- Accuracy range of 0.2 degree Celsius.

7- Safety control(auto off) if skin temperature > 38 degree Celsius or air temperature > 39 degree Celsius.
8- Power failure alarm.
