## Sheet1
| BHARAT HEAVY ELECTRICALS LIMITED |  | Date : | ___________________
| Heavy Power Equipment Plant, Ramachandrapuram, |  | Due Date : | ___________________
| Hyderabad - 502 032. INDIA. |  | Supplier Qtn. No.: | ___________________
|  |  | Date : | ___________________
Purchase Dept. : 040 - 23182043 & 23183920
E-mail : burre@bhelhyd.co.in
TENDER DOCUMENTS TO BE FILLED BY THE SUPPLIER FOR SUPPLY OF
Temp Sticks Quantity: 4 Nos
ADDRESS OF THE SUPPLIER :
TELEPHONE NOS.:
FAX NOS.:
E-MAIL ADDRESS :
Sl. No. | Description for BHEL Requirement | Offered | Deviations | Remarks
1 | Brief Description: -
Temp Sticks [Immersion type Pyrometer] to
measure the liquid metal temperature of Grey Iron,
SG Iron,Ni-Hrad & Steel etc from the furnace or
ladle.
2 | Technical Details: -
I. Type : Microprocessor based Portable Digital Instrument for Molten Metal Temperature Measurement(For Cast Iron/ Steel)
II. Range : 540˚C to 1750˚C
III. Accuracy : Less than + 1˚C
IV. Power : Rechargable Ni-Cd Battery
with auto low battery Indication.
V.Provision for last reading in memory
VI Automatic Power shut off
VII.Operating Temperature: 0-500 C
3 | Two sets of rechargable batteries are to be supplied along with the equipment
One set of battery charger must be supplied along
with each equipment.
4 | Five sets of operation and maintenance manuals
shall be furnished along with the equipment
5 | Customers reference list shall be furnished
along with offer for similar equipment.
6 | Inspection: -
Commssioning and prove out of the equipment
at BHEL works is suppliers responsibility.
7 | The equipment shall be guaranteed for the
satisfactory performance for a period of one
year from the date of commissioning.
8 | Calibration test certificates shall also be furnished
9 | Suppliers shall be responsible for regular servicing
of the scale at BHEL..
10 | Two part bid system shall be followed.