TECHNICAL SPECIFICATIONS: OPERATION MICROSCOPE

- Binocular tube                               Parallel 45 degree inclined binocular tube

- Objective lenses                             F-200mm

- Eyepiece                                        12.5x

- Magnification change type            Drum type with 5 changes

- Total magnification                       3.4 x,  5.3x,  8.5 x,  13.6x, 21.2x

- Field of view                                  dia  66.3,  dia 42.3, ,dia 26.3, , dia 17.1, dia10.3mm

- ILLUMINATION

7.1- Light source                                  12V 100W halogen lamp (light guided system)

(one-touch changeable two lamp)

7.2 - Filter                                             Built-in:Heat-absorbing and UV cut filters

Filp-in/out:Yellow filter

7.3 - FILTER ARMS  (counter-balanced)

Length                                              1st  arm:400mm;2nd arm:560mm

Rotational angle                               1st arm:360; 2nd arm:300

- Stable Column base(Floor model).

- Power unit

Primary  voltage                               AC100~120V or AC220~240V

Power frequency                               50/60Hz

- Vendor has to support the specifications with manufacturer’s brochure failing which offer will be rejected. Vendor has to demonstrate the equipment at BHEL General Hospital, Hyderabad, within  specified time limit, if asked for; failing which offer will  be rejected.