Ph: 040 – 23182250				Fax: 0091 (0) 40 – 23020173 / 23021910 & 23021954

BHARAT HEAVY ELECTRICALS LIMITED

RAMACHANDRAPURAM, HYDERABAD – 32

(A GOVERNMENT OF INDIA UNDERTAKING)

PURCHASE DEPARTMENT (CG)

TENDER SCHEDULE

TENDER NO   				: M2/08/CG8P0217/BRK

DESCRIPTION				:  HT CABLE FOR 250MW TEST FACILITY

QUANTITY			:   1) 11KV, 630Sq.mm, Single Core XLPE Cable with

With armour. WT/Unit: 3, Quantity: 1500.  Aluminium conductor.

: 2) 6.6KV(UE) Grade xlpe insltd al cndctr armoured,

onter sheath frls pvc power cable 3CX400sqmm.

WT/Unit : 9.2 Quantity: 2000

3). 1CX300   3.3KV(UE) XLPE PVCFRLSARM CU

CBL. WT/Unit: 1 Quantity: 1200

LAST DATE FOR SALE OF DOCUMENTS:  13.03.09

DUE DATE					:  14.03.09 Before11.00Hrs

COST OF TENDER DOCUMENTS		: RS.2000/-

FORWARDED TO: