[image: image1.png]Eir vl
Bffe



भारत हेवी इलेक्ट्किल्स लिमिटेड
Bharat Heavy Electricals Limited
रामचन्द्रापुरम : हैदराबाद
Ramachandrapuram : Hyderabad - 502032


(परीक्षण विभाग / Testing Department)
Ref: HY/T/51/6006/E&I/2011/001-GB                               Date: 05/05/2011 

TENDER NOTICE

Name of the department
: Gear box Testing Department / 51-SHOP
TENDER NOTICE NO
: HY/T/51/6006/E&I/2011-12/002-GB
            Tender in a sealed cover, subscribing the tender notice number, tender due date, name of the work will be received by the undersigned from the contractors.  Contractor should meet pre-qualification requirements as indicated below and Tenders will be opened at 13.30 hrs on the due date itself, in the presence of tenderer’s or their authorized agents in tender co-ordination Department, BHEL, Ramachandrapuram, Hyderabad - 32.

	Name Of The Work
	Last Date For Tender Download
	Due Date/ Time For Receipt Of      Tender
	Date And Time Of Tender Opening
	Period Of Completion

	“Electrical and Instrumentation works for Gear Test Plant” as per Schedule of works in Annexure-A is enclosed with these documents.
	19-05-2011

	20-05-2011 

at 12:00:00 hrs.
	20-05-2011
 at 13:30:00 hrs.


	March – 2012


· Tender Value

: Rs. 3,84,979
· EMD


: Rupees 10,000/-

· Cost of the tender doc.
: Rs.  250/-


2 Part bid, First bid consists of Techno Commercial bid and Second bid is only price bid.

  Pre-qualification requirements;

1. Contractor shall furnish and enclose copies of ESI code, PF code, Valid labor license, electrical Contractor’s license “A” Grade (On Agency Name)
2. Experience in HT & LT Switchgear and Instrumentation works.
3. PAN NO & latest Income Tax returns (if available) copy.
4. Contractor should have experience in completion of 7 years of similar works as per the following criteria.

a. Three similar completed works costing not less than amount equal to 40% of estimated cost. 

OR

b. Two similar completed works costing not less than amount equal to 50% of estimated cost. 

OR

c. One similar completed works costing not less than amount equal to 80% of estimated cost. 
5. Enclose only relevant experience to meet the above requirement.
TERMS AND CONDITIONS:

General:

1) Man power engaged should have required basic skills in similar nature of work

2) Penalty will be levied at ½% per week on the total contract value to the maximum of 10% if work is not started immediately after issue of LOI

3) The contractor shall pay minimum skilled wages to the staff as per minimum wages act.  Contractor has to make PF, ESI contributions as per applicable rules; contractor should pay double wages if engaged on overtime beyond normal working hours.

4) Contractor should supervise the labor engaged for this work.

5) Contractor shall arrange ESI cards for the contract labor and shall extend all relevant statutory rules for his staff.
6) Contractor shall comply the provision of PF, ESI for their labor.

7) Contractor shall provide personnel protective equipment (PPEs).  Without PPEs no person will be allowed to work in the department.
8) Revision of rates will not be allowed during the contract period.
9) The contractor is wholly responsible for any loss of life or partial disability of any of their employees while on duty.
10) In case of occurrence of any accident / injury of contractor’s staff, BHEL will not pay any compensation while they are on duty and contractor has to take care of same under statutory obligation.

11) Above mentioned work shall be executed in accordance with the general agreement conditions applicable to job works as per OMI-195.  A copy of the same can be had in soft or hard from the undersigned.
12) Contractor shall note Bonus payment to be made by contractor for his work force as decided by BHEL.
13) Upon awardable of the work, the party has to execute an agreement with BHEL as per General Agreement conditions before commencement of work.

14) Read the specifications / work content carefully before quote.

15) Contractor shall follow General instructions / obligations of the contractors.
16) BHEL reserve the right to reject any or all tenders in part or in full without assigning any reason.

17) Contractor will be evaluated for total activities in the Work Contract.  Contract will be awarded for total activities for single party.  No partial contract will be awarded.
Other Requirements:

i. On the sealed cover it should be clearly mentioned as below:

a) Tender for the “ELECTRICAL AND INSTRUMENTATION WORKS FOR GEAR BOX TESTING”
b) From address:

c) To address: 
DGM/Testing/Gear box, 
51 – Shop/ Bowl Mill Shop,  

   
BHEL, R.C.PURAM, HYDERABAD-502 032

d) Tender no:    HY/T/51/6006/E&I/2011-12/002-GB
e)  Tender due date: 20-05-2011
ii. The following documents should be submitted in a sealed cover

a) Documents showing relevant experience in similar work, at least 2 work orders should be furnished with the offer.

b) Contractor shall furnish:
 1) PF Code          
2) ESI Code      
 3) Labour Licence    
4) Electrical Licence ”A”  Grade – On Agency Name 
 
5) PAN NO
6) Latest Form Income Tax Return – Copy.
c) Tender Application cost of Rs.250/- and EMD of Rupees 10,000/- shall be submitted by cheque or DD in favor of “Bharat Heavy Electricals Limited, R.C.Puram” along with the offer.
Thanking you,                                                                

                                                                           



   Yours sincerely,

                                                                       



For and on behalf of

                                                           



Bharat Heavy Electricals Limited

(N.T.Mahendra)





  DGM / Testing (Gear box)

           
51-Building

Phone: 040-2318 5143,
              040-23182889

 Mobile :  9849665160








E-mail : ntm@bhelhyd.co.in
	ANNEXURE – A

STATEMENT OF WORK SCHEDULE FOR GEAR BOX TESTING

Sl. No.

Nature of work

(For each Planetary gear box )
Valuation unit

Agmt. Qty

Unit Rate

Rs.

Total Amount

01.

Collection and mounting of BHEL supplied instruments like RTDs (4 wire type) Flow transmitters, Pressure Transmitters, Vibration Probes, Speed indicator probes,
 etc., and terminating the associated cables before test, removal of above instruments disconnecting cables and stacking after test.

Assembly and removal of above instruments  after testing & Storing.

Unit : each instrument

1 unit

10

terminals

20

02.

Collection and mounting of BHEL supplied /Volt   Transmitters, / Current Transmitters,/CTs/ Power Transmitters, and connecting to the respective measuring desk for measurement of electric power and removing after test. 

Unit = each instrument.

1 unit

each

instrument

5
03.

Operation & Maintenance of Test plant 150 LPM lube oil console. Cleaning of suction filters & system filters before test. Oil filling to tank, Draining, storing  and transferring oil to main oil tank after test. Inlet and out let hose connection to Planetary gear box , filling of oil to gear box,  attending to external leakages , cleaning filters during flushing and testing of Planetary gear box  
Lump sum

Lump sum

04.

Cleaning of test bed area, pipelines, associated area, removing of all unwanted materials, cleaning of Test control room, Switchgear room Electric control room, Measuring desk, control panel etc. Providing water, tea, snacks to customer during test.

Lump sum

Lump sum

05.

Operation and maintenance of 415V, 110KW LT Air circuit breakers for starting 37 KW. motor. Checking of ACB working condition, Relays, Remote operation, protection for each breaker. Operation & maintenance of 110 KW starter panel etc. Total 2  Nos. .

Unit = per VCB

1 unit

each

ACB
2
06
Operation & maintenance of  MAB 206 centrifuge unit, centrifuging of used oil, filling up in barrels, storing and transferring same to Lub oil tank before test. Maintenance of centrifuge unit. 

Lump sum

Lump sum
TOTAL EXPENDITURE FOR TESTING OF ONE NO. PLANETARY GEAR BOX

FOR TESTING 172 NO. OF PLANETARY GEAR BOXES (               X 230)
Sl.No.

Nature of work

(For each Accessory gear box)

Valuation unit

Agmt. Qty

Unit Rate

Rs.

Total Amount

01.

Collection and mounting of BHEL supplied instruments like RTDs Thermo couples, Flow meters, Pressure Transmitters, Velocity seismic probes, Speed indicator probes,  etc., and terminating the associated cables before test. Removal of above instruments, disconnection of cables and stacking properly after the test.

Unit = each instrument. 

1 unit

10

terminals

20
02.

Collection and installation of pressure gauges, , and special instruments if any, Preamplifiers  etc., before test and also terminating the associated signal cables. Removing of all gauges and storing after the test. 

Unit = each instrument.

1 unit

each

instrument

10

03.

Maintenance of  6.6 kV incoming breaker for staring 600 KW, 6.6kV motor, Checking & servicing of breaker before test. Checking & ensuring satisfactory operation of remote control, protection relays,  etc. 600 KW Induction Motor Auto Transformer starting. Switching off the same after testing 

Total No. of 6.6KV breaker  = 1 Nos.

        6.6 Kv  Isolators    =    3 Nos
        6.6kv   Oulet  box= 2 Nos

1 unit

each

6.6 KV  breaker
1 unit

each 6.6 KV
Isolators/

outlet box
1
5
04. 

Operation & Maintenance of Test plant lube oil system. Cleaning of suction strainers & system filters before test, filling and transferring oil to  MOP  tank and back to tank after test 
Lump sum

Lump sum

05.

Signal cable replacement, lugging, crippling, soldering, ferruling and termination with both ends for all instruments.

Temporary fixing of Digital speed and flow indicators  . 

Lump sum

Lump sum

06.

Operation of hand operated valves for water pumps, oil coolers and oil pumps, MOP Suction / discharge/Inlet  valves during testing.  Operation of motorized control valves during performance test of MOP. 
Lump sum

Lump sum

07.

Cleaning of test pit area for AGB/,  Motor & Hydraulic coupling. /Cleaning of oil, water and un-wanted materials from test bed before test. Cleaning of control room, electric control room, measuring desk, pipe line etc. before test.

Lump sum

Lump sum

08.

Serving of water, tea/coffee, snacks to customer & testing staff during testing of Acc gear box.
Lump sum

Lump sum
TOTAL EXPENDITURE FOR TESTING OF ONE NO. ACCESSORY GEAR BOX

FOR TESTING 8 NOS. OF ACCESSORY GEAR BOX (                X15 )
Sl.No.

Nature of work

(For each Load gear box

Valuation unit

Agmt. Qty

Unit Rate

Rs.

Total Amount

01.

Collection and mounting of BHEL supplied instruments like Thermo couples, Flow meters, Pressure Transmitters, Vibration probes, Speed indicator probes,, Digital flow indicators etc., and terminating the associated cables before test. Removal of above instruments, disconnection of cables and stacking properly after the test.

.

Unit = each instrument. 

1 unit

10

terminals

20

02.

Collection and installation of pressure gauges,  etc., before test and also terminating the associated signal cables. Removing of all gauges and storing after the test. 

Unit = each instrument.

1 unit

each

instrument

5

03.

Operation & Maintenance of, 6.6 kV Incoming breaker for staring 1 MW, 6.6kV motor,  LT motors. Checking & servicing of breakers  before test. Checking & ensuring satisfactory operation of remote control, protection relays, interlocks etc.

Switching off the same after testing 

Total No. of 6.6 Kv Breakers  =  1 Nos.

         Load break  Isolators     =  2 Nos.

         6.6 KV isolators               = 2 Nos

1 unit

each

6.6KV breaker

1 unit

each

Isolators, LBS

1

4

04. 

Operation & Maintenance of Test plant lube oil system. Cleaning of suction strainers  & system filters before test

Filling of main tank to required level by transferring oil from MOP tank.  

Lump sum

Lump sum

05

 Fixing of shaft vibrations probes and setting the gap voltage for both high & Low speed shaft for measurement of  shaft vibrations before start of test.

Lump sum

Lump sum

06.

Operation of hand operated valves for water Pumps, oil coolers, lub oil system and inlet lines to gear box and other connected test equipment before star up and maintaining the same during testing LGB.

Lump sum

Lump sum

07.

Cleaning of test pit area for LGB /Motor. & Hydraulic coupling/Cleaning of oil, water and un-wanted materials from test bed before test. Cleaning of control room, electric control room, measuring desk, pipe line etc. before test.

Lump sum

Lump sum

08.

Serving of water, tea/coffee, snacks to customer & testing staff during testing of Load gear boxes.

Lump sum

Lump sum

TOTAL EXPENDITURE FOR TESTING OF ONE NO. LOAD GEAR BOX

FOR TESTING 8 NOS. OF LOAD GEAR BOXES (                X 12)

ESTIMATED TOTAL VALUE FOR WORKS CONTRACT

    ESTIMATED TOTAL VALUE FOR WORKS CONTRACT

Total (Rs.)

1.     TESTING 230 NO. OF PGBs       (           X 230)

2.     TESTING 15  NOS. OF AGBs        (               X15)

3.     TESTING 12 NOS. OF LGBS        (              X12)

TOTAL



	

	


�








Page | 1

