[image: image1.png]


BHARATH HEAVY ELECTRICALS LIMITED.
RAMACHANDRAPURAM :: HYDERABAD – 502032
M & S, F & P, CWS DIVISION

10-REPAIR SHOP, AIR-CONDITIONING
Ref: HY/M&S/10-RS/GHOTAC/08-09/0721/21                                                Date: 21-07-2008
M/S ..............................................
......................................................

......................................................

......................................................

…………………………………..
Sir,
Sub : Enquiry for Dismantling and shifting of Package air conditioners located at
         01-Block Blohm grinder cabin to General Hospital Operation Theater and
         commissioning the same--reg.
-.-.-.-.-.-.-.-.


You may please submit your lowest possible offer latest by 13:00 hours on 05-08-2008 in the enclosed format for the work of  “Dismantling and shifting of 10 TR x 2 nos.( Blue Star make) air cooled Package air conditioners located at 01-Block Blohm machine cabin to General Hospital Operation Theatre and commissioning the same after dismantling of old package units, replacement of condenser of 3rd unit of General Hospital with air cooled condenser, including electrical wiring”.  The scope of work involved and terms & conditions are enclosed. 

(B.BHAGAVAN DOSS)










    Dy.Manager (M&S)

   10-Repair Shop, A.C.

I. 
Techno Commercial Bid:

PRE-QUALIFICATION REQUIREMENTS:                      
The following conditions have to be satisfied by the tenderer. 

1. The party must have experience in erection and maintenance of Central AC Plants / AC Package Units. Documentary proof of at least 2 orders of minimum value of Rs 50,000/- each in the period March 2005 to June 15th 2008 involving erection & commissioning of A.C. plants is to be enclosed with bid. In case the tenderer fails to enclose the same the tender will be rejected.
	S.No
	Schedule of work
	Qty.
	Yes/No
	Remarks

	1
	Labour charges for dismantling 2 x 10 TR units at creep grinder m/c, shifting them to GH Op. theatre, dismantling two old units at Op. theatre, commissioning the shifted units at Op. theatre, replacement of condenser of 3rd unit with air-cooled condenser, including electrical wiring required.
	1
	
	

	2

	¾” dia. Hard drawn copper pipe with fittings 15 X 4 = 60 mtrs. length
	60 Rmt


	
	

	3
	½” dia. Hard drawn copper pipe with fittings 


	60 Rmt.
	
	

	4
	R 22 refrigerant gas


	30 Kg
	
	


TENDERING PROCEDURE

Two-Part bid system shall be followed.

Tender may be dropped before the due date & Time in the M&S Tender box in 02- Annexe (Ground floor ), M&S (P&C Section) of BHEL, R.C.Puram, Hyderabad – 502032  


The sealed cover shall be super- scribed with “Quotation for ----------( name of work)”  and shall be addressed to Sr.Dy.Gen.Manager (M&S)/10-RS,AC., 02 Annexe (Ground Floor), Bharat Heavy Electricals Limited, Ramachandrapuram, Hyderabad – 502032 to reach on or before 13.00 hrs on due date and it should also contain Tenderer address, Tender No. & due date.

            NOTE:
                         A) The above rates should be including taxes.
 B) Vehicle for shifting will be arranged by BHEL. 

TERMS & CONDITIONS :

1. Period of completion: One month from the date of award of work

2. Tools and equipments such as welding generator, Brazing set, drilling machine etc. are in 

    contractor scope.

3. Welding electrodes and Brazing rods are in the scope of the contractor.

4. Payment: Payment after successful completion of the work and by Commissioning the    

    plants certified by the Sr.Manager / M&S/10-RS/A.C.    

5. No advance payment will be made.

6. The contractor shall make himself or his representative available at the work spot everyday during   

    execution of work, for effective supervision.

7. It shall be contractor's sole responsibility to protect the public and his employees against accident 

   from any cause and provide required safety equipments and shall indemnify BHEL against any 

   claims for damages for injury to the person or property resulting from any such accidents and shall, 

   where the provisions of the workmen's compensation Act apply, take steps to properly insure against 

   any claims therunder.

8. In the event of any accident in respect of which compensation may become payable under the  

    workmen's compensation Act. VIII of 1923 whether by the contractor or by BHEL as principal, it 

    shall be lawful for BHEL to retain out of monies due and payable to the contractor such sum or 

    sums of money as may, in the opinion of BHEL shall be final in regard to all matter arising in this 

    clause.

Price Bid Format
	S.No
	Schedule of work
	Qty.
	Unit rate, Rs.
	Total cost, Rs.

	1
	Labour charges for dismantling 2 x 10 TR units at creep grinder m/c, shifting them to GH Op. theatre, dismantling two old units at Op. theatre, commissioning the shifted units at Op. theatre, replacement of condenser of 3rd unit with air-cooled condenser, including electrical wiring required.
	1
	
	

	2

	¾” dia. Hard drawn copper pipe with fittings 15 X 4 = 60 mtrs. length
	60 Rmt


	
	

	3
	½” dia. Hard drawn copper pipe with fittings 


	60 Rmt.
	
	

	4
	R 22 refrigerant gas


	30 Kg
	
	

	5
	Taxes included / excluded
	
	
	

	
	Total cost (Rs.) :
	
	
	


(B.BHAGAVAN DOSS)










    Dy.Manager (M&S)

   10-Repair Shop, A.C.

PAGE  

