[image: image1.png]


BHARATH HEAVY ELECTRICALS LIMITED.
RAMACHANDRAPURAM :: HYDERABAD – 502032
M & S, F & P, CWS DIVISION

10-REPAIR SHOP, AIR-CONDITIONING
Ref: HY/M&S/10-RS/AC/07-08/0228/21                                                      Date: 28-02-2008
M/S Ganesh Refrigeration Works
H.No.: 13-6-815/A/2/1, Beside Ram Hospital,

Langar House,
Hyderabad – 500 008
Sir,
Sub : Enquiry for Dismantling and shifting of Package air conditioners located at
         01-Block Blohm grinder cabin to General Hospital Operation Theater and
         commissioning the same--reg.
-.-.-.-.-.-.-.-.


You may please submit your lowest possible offer latest by 13:00 hours on 15-03-2008 for the work of  “Dismantling and shifting of 10 TR x 2 nos.( Blue Star make) air cooled Package air conditioners located at 01-Block Blohm machine cabin to General Hospital Operation Theatre and commissioning the same after dismantling of old package units, replacement of condenser of 3rd unit of General Hopsital with air cooled condenser, including electrical wiring”.  The scope of work involved and terms & conditions are enclosed. 

(B.BHAGAVAN DOSS)










    Dy.Manager (M&S)

   10-Repair Shop, A.C.


Price Bid Format

	S.No
	Schedule of work
	Qty.
	Unit rate, Rs.
	Total cost, Rs.

	1
	Labour charges for dismantling 2 x 10 TR units at Blohm grinding machine cabin of 01-TCGT Block, shifting them to General Hospital Operation theatre, dismantling the existing two old units at Op. theatre, commissioning the shifted units at Op. theatre, replacement of condenser of 3rd unit of General Hopsital with air cooled condenser, including electrical wiring.
	1
	
	

	2

	¾” dia. Hard drawn copper pipe with fittings, 15 X 4 = 60 mtrs. length
	60 Rmt


	
	

	3
	½” dia. Hard drawn copper pipe with fittings 


	60 Rmt.
	
	

	4
	R 22 refrigerant gas


	30 Kg
	
	

	5
	Taxes
	
	
	

	
	Total cost (Rs.) :
	
	
	


NOTE:
 A) Taxes should be mentioned separately.
 B) Vehicle for shifting will be arranged by BHEL.

TERMS & CONDITIONS :

1. Period of completion: One month from the date of award of work

2. Tools and equipments such as welding generator, Brazing set, drilling machine etc. are in 

    contractor scope.

3. Welding electrodes and Brazing rods are in the scope of the contractor.

4. Payment after successful completion of the work certified by the Dy.Manager 

    (M&S)/10-RS, A.C.

5. Payment for copper piping (items 2 & 3) shall be on actuals only.
(B.BHAGAVAN DOSS)










    Dy.Manager (M&S)

   10-Repair Shop, A.C.

BHARATH HEAVY ELECTRICALS LIMITED.

RAMACHANDRAPURAM :: HYDERABAD – 502032

M & S, F & P, CWS DIVISION

10-REPAIR SHOP, AIR CONDITIONING
Ref: HY/M&S/10-RS/AC/07-08/0228/21                                                      Date: 28-02-2008

M/S Sai Krupa Refrigeration Works
17-2-314/1/A/18,
Kurmaguda, 
Hyderabad – 500 659
Sir,

Sub : Enquiry for Dismantling and shifting of Package air conditioners located at
         01-Block Blohm grinder cabin to General Hospital Operation Theater and
         commissioning the same--reg.
-.-.-.-.-.-.-.-.


You may please submit your lowest possible offer latest by 13:00 hours on 15-03-2008 for the work of  “Dismantling and shifting of 10 TR x 2 nos.( Blue Star make) air cooled Package air conditioners located at 01-Block Blohm machine cabin to General Hospital Operation Theatre and commissioning the same after dismantling of old package units, replacement of condenser of 3rd unit of General Hopsital with air cooled condenser, including electrical wiring”.  The scope of work involved and terms & conditions are enclosed. 

(B.BHAGAVAN DOSS)










    Dy.Manager (M&S)

   10-Repair Shop, A.C.


Price Bid Format

	S.No
	Schedule of work
	Qty.
	Unit rate, Rs.
	Total cost, Rs.

	1
	Labour charges for dismantling 2 x 10 TR units at Blohm grinding machine cabin of 01-TCGT Block, shifting them to General Hospital Operation theatre, dismantling the existing two old units at Op. theatre, commissioning the shifted units at Op. theatre, replacement of condenser of 3rd unit of General Hopsital with air cooled condenser, including electrical wiring.
	1
	
	

	2

	¾” dia. Hard drawn copper pipe with fittings, 15 X 4 = 60 mtrs. length
	60 Rmt


	
	

	3
	½” dia. Hard drawn copper pipe with fittings 


	60 Rmt.
	
	

	4
	R 22 refrigerant gas


	30 Kg
	
	

	5
	Taxes
	
	
	

	
	Total cost (Rs.) :
	
	
	


NOTE:
A) Taxes should be mentioned separately.
B) Vehicle for shifting will be arranged by BHEL.

TERMS & CONDITIONS :

1. Period of completion: One month from the date of award of work

2. Tools and equipments such as welding generator, Brazing set, drilling machine etc. are in 

    contractor scope.

3. Welding electrodes and Brazing rods are in the scope of the contractor.

4. Payment after successful completion of the work certified by the Dy.Manager 
    (M&S)/10-RS, A.C.)

5. Payment for copper piping (items 2 & 3) shall be on actuals only.

(B.BHAGAVAN DOSS)










    Dy.Manager (M&S)

  








   10-Repair Shop, A.C.
BHARATH HEAVY ELECTRICALS LIMITED.

RAMACHANDRAPURAM :: HYDERABAD – 502032

M & S, F & P, CWS DIVISION

10-REPAIR SHOP, AIR CONDITIONING
Ref: HY/M&S/10-RS/AC/07-08/0228/21                                                      Date: 28-02-2008

M/S Balaji Refrigeration & Air Conditioning
Shop No. 1-134,
Opp. Lane Shobana Talkies,

Balanagar

Hyderabad – 500 042
Sir,

Sub : Enquiry for Dismantling and shifting of Package air conditioners located at
         01-Block Blohm grinder cabin to General Hospital Operation Theater and
         commissioning the same--reg.
-.-.-.-.-.-.-.-.


You may please submit your lowest possible offer latest by 13:00 hours on 15-03-2008 for the work of  “Dismantling and shifting of 10 TR x 2 nos.( Blue Star make) air cooled Package air conditioners located at 01-Block Blohm machine cabin to General Hospital Operation Theatre and commissioning the same after dismantling of old package units, replacement of condenser of 3rd unit of General Hopsital with air cooled condenser, including electrical wiring”.  The scope of work involved and terms & conditions are enclosed. 

(B.BHAGAVAN DOSS)










    Dy.Manager (M&S)

   10-Repair Shop, A.C.


Price Bid Format

	S.No
	Schedule of work
	Qty.
	Unit rate, Rs.
	Total cost, Rs.

	1
	Labour charges for dismantling 2 x 10 TR units at Blohm grinding machine cabin of 01-TCGT Block, shifting them to General Hospital Operation theatre, dismantling the existing two old units at Op. theatre, commissioning the shifted units at Op. theatre, replacement of condenser of 3rd unit of General Hopsital with air cooled condenser, including electrical wiring.
	1
	
	

	2

	¾” dia. Hard drawn copper pipe with fittings, 15 X 4 = 60 mtrs. length
	60 Rmt


	
	

	3
	½” dia. Hard drawn copper pipe with fittings 


	60 Rmt.
	
	

	4
	R 22 refrigerant gas


	30 Kg
	
	

	5
	Taxes
	
	
	

	
	Total cost (Rs.) :
	
	
	


NOTE:
A) Taxes should be mentioned separately.
B) Vehicle for shifting will be arranged by BHEL.

TERMS & CONDITIONS :

1. Period of completion: One month from the date of award of work

2. Tools and equipments such as welding generator, Brazing set, drilling machine etc. are in 

    contractor scope.

3. Welding electrodes and Brazing rods are in the scope of the contractor.

4. Payment after successful completion of the work certified by the Dy.Manager 
    (M&S)/10-RS, A.C.)

5. Payment for copper piping (items 2 & 3) shall be on actuals only.

(B.BHAGAVAN DOSS)










    Dy.Manager (M&S)

  






                           10-Repair Shop, A.C.
BHARATH HEAVY ELECTRICALS LIMITED.

RAMACHANDRAPURAM :: HYDERABAD – 502032

M & S, F & P, CWS DIVISION

10-REPAIR SHOP, AIR CONDITIONING
Ref: HY/M&S/10-RS/AC/07-08/0228/21                                                      Date: 28-02-2008

M/S Surya Refrigeration Services

1-124, Chanda Nagar

Near  BHEL Main Road
Hyderabad – 500050
Sir,

Sub : Enquiry for Dismantling and shifting of Package air conditioners located at
         01-Block Blohm grinder cabin to General Hospital Operation Theater and
         commissioning the same--reg.
-.-.-.-.-.-.-.-.


You may please submit your lowest possible offer latest by 13:00 hours on 15-03-2008 for the work of  “Dismantling and shifting of 10 TR x 2 nos.( Blue Star make) air cooled Package air conditioners located at 01-Block Blohm machine cabin to General Hospital Operation Theatre and commissioning the same after dismantling of old package units, replacement of condenser of 3rd unit of General Hopsital with air cooled condenser, including electrical wiring”.  The scope of work involved and terms & conditions are enclosed. 

.

(B.BHAGAVAN DOSS)










    Dy.Manager (M&S)

   10-Repair Shop, A.C.

Price Bid Format

	S.No
	Schedule of work
	Qty.
	Unit rate, Rs.
	Total cost, Rs.

	1
	Labour charges for dismantling 2 x 10 TR units at Blohm grinding machine cabin of 01-TCGT Block, shifting them to General Hospital Operation theatre, dismantling the existing two old units at Op. theatre, commissioning the shifted units at Op. theatre, replacement of condenser of 3rd unit of General Hopsital with air cooled condenser, including electrical wiring.
	1
	
	

	2

	¾” dia. Hard drawn copper pipe with fittings, 15 X 4 = 60 mtrs. length
	60 Rmt


	
	

	3
	½” dia. Hard drawn copper pipe with fittings 


	60 Rmt.
	
	

	4
	R 22 refrigerant gas


	30 Kg
	
	

	5
	Taxes
	
	
	

	
	Total cost (Rs.) :
	
	
	


NOTE:
A) Taxes should be mentioned separately.
B) Vehicle for shifting will be arranged by BHEL.

TERMS & CONDITIONS :

1. Period of completion: One month from the date of award of work

2. Tools and equipments such as welding generator, Brazing set, drilling machine etc. are in 

    contractor scope.

3. Welding electrodes and Brazing rods are in the scope of the contractor.

4. Payment after successful completion of the work certified by the Dy.Manager 
    (M&S)/10-RS, A.C.)

5. Payment for copper piping (items 2 & 3) shall be on actuals only.

 (B.BHAGAVAN DOSS)










    Dy.Manager (M&S)

   10-Repair Shop, A.C.

BHARATH HEAVY ELECTRICALS LIMITED.

RAMACHANDRAPURAM :: HYDERABAD – 502032

M & S, F & P, CWS DIVISION

10-REPAIR SHOP, AIR CONDITIONING
Ref: HY/M&S/10-RS/AC/07-08/0228/21                                                      Date: 28-02-2008

M/S Siva Enterprises 
H.No.: 5-95
Chanda Nagar

Hyderabad – 500050
Sir,

Sub : Enquiry for Dismantling and shifting of Package air conditioners located at
         01-Block Blohm grinder cabin to General Hospital Operation Theater and
         commissioning the same--reg.
-.-.-.-.-.-.-.-.


You may please submit your lowest possible offer latest by 13:00 hours on 15-03-2008 for the work of  “Dismantling and shifting of 10 TR x 2 nos.( Blue Star make) air cooled Package air conditioners located at 01-Block Blohm machine cabin to General Hospital Operation Theatre and commissioning the same after dismantling of old package units, replacement of condenser of 3rd unit of General Hopsital with air cooled condenser, including electrical wiring”.  The scope of work involved and terms & conditions are enclosed. 

(B.BHAGAVAN DOSS)










    Dy.Manager (M&S)

   10-Repair Shop, A.C.


Price Bid Format

	S.No
	Schedule of work
	Qty.
	Unit rate, Rs.
	Total cost, Rs.

	1
	Labour charges for dismantling 2 x 10 TR units at Blohm grinding machine cabin of 01-TCGT Block, shifting them to General Hospital Operation theatre, dismantling the existing two old units at Op. theatre, commissioning the shifted units at Op. theatre, replacement of condenser of 3rd unit of General Hopsital with air cooled condenser, including electrical wiring.
	1
	
	

	2

	¾” dia. Hard drawn copper pipe with fittings, 15 X 4 = 60 mtrs. length
	60 Rmt


	
	

	3
	½” dia. Hard drawn copper pipe with fittings 


	60 Rmt.
	
	

	4
	R 22 refrigerant gas


	30 Kg
	
	

	5
	Taxes
	
	
	

	
	Total cost (Rs.) :
	
	
	


NOTE:
A) Taxes should be mentioned separately.
B) Vehicle for shifting will be arranged by BHEL.

TERMS & CONDITIONS :

1. Period of completion: One month from the date of award of work

2. Tools and equipments such as welding generator, Brazing set, drilling machine etc. are in 

    contractor scope.

3. Welding electrodes and Brazing rods are in the scope of the contractor.

4. Payment after successful completion of the work certified by the Dy.Manager    

   (M&S)/10-RS, A.C.)

5. Payment for copper piping (items 2 & 3) shall be on actuals only.

(B.BHAGAVAN DOSS)










    Dy.Manager (M&S)

  






                           10-Repair Shop, A.C.
PAGE  

