## Annexure A
Enquiry No 4202500001 dt 28.03.2025 Procurement of Critial Piping for DVC Koderma & NTPC Sipat projects Annexure A- Enquiry Schedule List
Scheule No | Sl No | Project | IBR / Non IBR | Material Code | Piping System / Description | Total No of WBS's covered in the Piping Package | Technical Specification | Reference Quality Plan | Painting Scheme | UOM | Quantity | Weight (MT) | Total Quantity for the Piping System | Total Weight for the Piping System (MT)
1 | 1 | DVC Koderma 2x800 MW Unit 3 | IBR | L184818230001001 | Main Steam Piping | 4 | PIP ENGG:TSP:CPPMS:001 Rev 00 | CQP 1473 Rev 07 | Sl No 1 of 1840:QPC:11 Rev 01 | Set | 1 | 623.038 | 2 | 1246.076
| 2 | DVC Koderma 2x800 MW Unit 4 | IBR | L184918230001001 | Main Steam Piping | 4 | PIP ENGG:TSP:CPPMS:001 Rev 00 | CQP 1473 Rev 07 | Sl No 1 of 1840:QPC:11 Rev 01 | Set | 1 | 623.038
2 | 1 | DVC Koderma 2x800 MW Unit 3 | IBR | L184818232001001 | Cold Reheat Piping | 2 | PIP ENGG:TSP:CPPMS:001 Rev 00 | CQP 1473 Rev 07 | Sl No 1 of 1840:QPC:11 Rev 01 | Set | 1 | 357.383 | 2 | 714.766
| 2 | DVC Koderma 2x800 MW Unit 4 | IBR | L184918232001001 | Cold Reheat Piping | 2 | PIP ENGG:TSP:CPPMS:001 Rev 00 | CQP 1473 Rev 07 | Sl No 1 of 1840:QPC:11 Rev 01 | Set | 1 | 357.383
3 | 1 | DVC Koderma 2x800 MW Unit 3 | IBR | L184818231001001 | Hot Reheat Piping | 2 | PIP ENGG:TSP:CPPMS:001 Rev 00 | CQP 1473 Rev 07 | Sl No 1 of 1840:QPC:11 Rev 01 | Set | 1 | 404.02 | 2 | 808.04
| 2 | DVC Koderma 2x800 MW Unit 4 | IBR | L184918231001001 | Hot Reheat Piping | 2 | PIP ENGG:TSP:CPPMS:001 Rev 00 | CQP 1473 Rev 07 | Sl No 1 of 1840:QPC:11 Rev 01 | Set | 1 | 404.02
4 | 1 | DVC Koderma 2x800 MW Unit 3 | IBR | L184818242301001 | Boiler Feed Discharge Piping | 3 | PIP ENGG:TSP:CPPMS:001 Rev 00 | CQP 1473 Rev 07 | Sl No 1 of 1840:QPC:11 Rev 01 | Set | 1 | 664.38 | 2 | 1328.76
| 2 | DVC Koderma 2x800 MW Unit 4 | IBR | L184918242301001 | Boiler Feed Discharge Piping | 3 | PIP ENGG:TSP:CPPMS:001 Rev 00 | CQP 1473 Rev 07 | Sl No 1 of 1840:QPC:11 Rev 01 | Set | 1 | 664.38
5 | 1 | NTPC Sipat 1X800 MW | IBR | L185618230001001 | Main Steam Piping | 4 | PIP ENGG:TSP:CPPMS:001 Rev 00 | CQP 1473 Rev 07 | Sl No 1 of 1840:QPC:11 Rev 01 | Set | 1 | 623.038 | 1 | 623.038
6 | 1 | NTPC Sipat 1X800 MW | IBR | L185618232001001 | Cold Reheat Piping | 2 | PIP ENGG:TSP:CPPMS:001 Rev 00 | CQP 1473 Rev 07 | Sl No 1 of 1840:QPC:11 Rev 01 | Set | 1 | 357.383 | 1 | 357.383
7 | 1 | NTPC Sipat 1X800 MW | IBR | L185618231001001 | Hot Reheat Piping | 2 | PIP ENGG:TSP:CPPMS:001 Rev 00 | CQP 1473 Rev 07 | Sl No 1 of 1840:QPC:11 Rev 01 | Set | 1 | 404.02 | 1 | 404.02
8 | 1 | NTPC Sipat 1X800 MW | IBR | L185618242301001 | Boiler Feed Discharge Piping | 3 | PIP ENGG:TSP:CPPMS:001 Rev 00 | CQP 1473 Rev 07 | Sl No 1 of 1840:QPC:11 Rev 01 | Set | 1 | 664.38 | 1 | 664.38
9 | 1 | DVC Koderma 2x800 MW Unit 3 | IBR | L184818230002001 | Pipe for HP Bypass FN Assembly: ID200x51 SA335P92, Len = 6000 mm | 1 | PIP ENGG:TSP:CPPMS:001 Rev 00 | CQP 1473 Rev 07 | Not applicable. Rust Preventive Oil to be applied. | No | 1 | 1.894 | 2 | 3.788
| 2 | DVC Koderma 2x800 MW Unit 4 | IBR | L184918230002001 | Pipe for HP Bypass FN Assembly: ID200x51 SA335P92, Len = 6000 mm | 1 | PIP ENGG:TSP:CPPMS:001 Rev 00 | CQP 1473 Rev 07 | Not applicable. Rust Preventive Oil to be applied. | No | 1 | 1.894
10 | 1 | DVC Koderma 2x800 MW Unit 3 | IBR | L184818230002002 | Pipe for APRDS FN Assembly: OD219.1x49 SA335P92, Len = 2000 mm | 1 | PIP ENGG:TSP:CPPMS:001 Rev 00 | CQP 1473 Rev 07 | Not applicable. Rust Preventive Oil to be applied. | No | 1 | 0.411 | 2 | 0.822
| 2 | DVC Koderma 2x800 MW Unit 4 | IBR | L184918230002002 | Pipe for APRDS FN Assembly: OD219.1x49 SA335P92, Len = 2000 mm | 1 | PIP ENGG:TSP:CPPMS:001 Rev 00 | CQP 1473 Rev 07 | Not applicable. Rust Preventive Oil to be applied. | No | 1 | 0.411
11 | 1 | DVC Koderma 2x800 MW Unit 3 | IBR | L184818242302001 | Pipe for BFD FN Assembly: OD660x97 SA106GRC, Len = 4000 | 1 | PIP ENGG:TSP:CPPMS:001 Rev 00 | CQP 1473 Rev 07 | Not applicable. Rust Preventive Oil to be applied. | No | 1 | 5.387 | 2 | 10.774
| 2 | DVC Koderma 2x800 MW Unit 4 | IBR | L184918242302001 | Pipe for BFD FN Assembly: OD660x97 SA106GRC, Len = 4000 | 1 | PIP ENGG:TSP:CPPMS:001 Rev 00 | CQP 1473 Rev 07 | Not applicable. Rust Preventive Oil to be applied. | No | 1 | 5.387
12 | 1 | NTPC Sipat 1X800 MW | IBR | L185618230002001 | Pipe for HP Bypass FN Assembly: ID200x51 SA335P92, Len = 6000 mm | 1 | PIP ENGG:TSP:CPPMS:001 Rev 00 | CQP 1473 Rev 07 | Not applicable. Rust Preventive Oil to be applied. | No | 1 | 1.894 | 1 | 1.894
13 | 1 | NTPC Sipat 1X800 MW | IBR | L185618230002002 | Pipe for APRDS FN Assembly: OD219.1x49 SA335P92, Len = 2000 mm | 1 | PIP ENGG:TSP:CPPMS:001 Rev 00 | CQP 1473 Rev 07 | Not applicable. Rust Preventive Oil to be applied. | No | 1 | 0.411 | 1 | 0.411
14 | 1 | NTPC Sipat 1X800 MW | IBR | L185618242302001 | Pipe for BFD FN Assembly: OD660x97 SA106GRC, Len = 4000 | 1 | PIP ENGG:TSP:CPPMS:001 Rev 00 | CQP 1473 Rev 07 | Not applicable. Rust Preventive Oil to be applied. | No | 1 | 5.387 | 1 | 5.387
[11 empty] | 21 | 6169.539 | 21 | 6169.539
Note-
1. Bidders will be required to review BHEL drawings and BOM provided along with the Enquiry and quote accordingly. For Schedule Nos 1 to 9, Annexure B shall be referred for detailed BOM. Final weight of each Piping System is subject to a variation of +/-15%. 2. Along with the Technical Specification, following Technical Delivery Conditions and Quality Plans are also applicable for the Enquiry- a. TDC:0:101 Rev 21- Seamless Steel Pipes (for Boiler and Piping) b. TDG:102 Rev 10- Butt Weld Fittings- Machined (upto 4’’), Formed, Forged & Welded – Conforming to ASME SA234, SA403 & SA815 c. TDG:104 Rev 10- Forgings, Forged Y Piece, Forged-Tee, Rounds, Stubs, Nozzles, Matching Piece- SA105 & SA182 d. TDG:108 Rev 07- Fabricated Tees and Y Pieces (applicable only in case Fabricated Y Pieces in place of Forged Y Pieces are opted for as per Clause No 7.1 of the Technical Specification) e. TDG:09 Rev 03- Alloy Steel Plate Formed Pipes to ASME SA691 f. QP No QPG:46 Rev 03- Butt Welded Fittings conforming to ASME SA 234, SA 403 and SA815 g. QP No QPG:87 Rev 01- Forged Fittings conforming to ASME SA105 & SA182 h. QP No 7313 QPC 19 Rev 02- Seamless BW Fittings conforming to ASME SA234WP91, ASTM A234WP92 & ASME SA182 F91/92 (Bought Out Item) 3. For Surface Preparation, Painting & Stencilling, Identification and End Protection of Piping Components, Quality Control Procedure: QCP:21 Rev 00 shall be referred. 4. Color coding and End protection shall be as per Annexure I & II to QCP:21 Rev 00. 5. For Schedule Nos 1 to 8, external painting shall be strictly as per Painting Scheme indicated each Piping System. Any other painting requirement indicated anywhere else in TDC, QP etc shall be ignored. 6. For Schedule Nos 9 & 14 required for Flow Nozzle Assembly, Edge Preparation and Painting are not required. Pipes pertaining to these Schedules shall be supplied with Plain Ends. Rust preventive oil shall be applied on the external surface. 7. BHEL approved NDT procedures (RT, UT, MPT etc) provided along with QP No CQP 1473 Rev 07 is only for reference. Bidders can follow their own approved NDT procedures. Post placement of PO, successful bidder(s) shall submit their internal NDT procedures for BHEL review.