## Annexure B1-FGD SERV PMCC-1 (hidden)
BOARD NAME: 415V FGD SERVICE PMCC-SEC 1, #0DC
CURRENT RATING: 3200A
TOP/SIDE NSPB ENTRY
DOUBLE FRONT DRAW OUT TYPE
FLOOR MOUNTED
SL NO | DESCRIPTION | FEEDER TYPE | QUANTITY | Unit Price | Total Price
1 | Incomer-1 3200A | DAET (I/C) |  | 0 | 0
2 | Incomer-2 3200A | DAET (I/C) |  | 0 | 0
5 | Bus PT-50VA | G1 |  | 0 | 0
6 | CST-2kVA | CS |  | 0 | 0
Power (A)
7 | 16 | E1 |  | #REF! | #REF!
8 | 32 | E1 |  | #REF! | #REF!
9 | 16 | E/E3 |  | 0 | 0
10 | 32 | E/E3 |  | 0 | 0
11 | 63 | E/E3 |  | 0 | 0
| 125 | E/E3 |  | 0 | 0
12 | 160 | E/E3 |  | 0 | 0
13 | 250 | E/E3 |  | 0 | 0
14 | 1000 | DAE (O/G) |  | 0 | 0
DOL (KW)
15 | UPTO 5.5KW | DK2 |  | #REF! | #REF!
16 | 13.1-24.0 | DK2 |  | #REF! | #REF!
17 | 30.0-37.0 | DK21 |  | #REF! | #REF!
18 | 40-55.0 | DK21 |  | #REF! | #REF!
19 | 50-75 KW | DK21 |  | #REF! | #REF!
| 125KW | DM |  | 0 | 0
20 | ACB Panel | 3200 / 3200A |  | #REF! | #REF!
21 | ACB Panel | 3200 / 1000A |  | #REF! | #REF!
21 | ACB Panel | 3200 / 630A |  | 0 | 0
22 | MCC Panel-DFDO | 3200 / 630A |  | 0 | 0
|  | TOTAL |  |  | #REF!

## Annexure B2-FGD SERV PMCC-2 (hidden)
BOARD NAME: 415V FGD SERVICE PMCC-SEC 2, #0DC
CURRENT RATING: 3200A
TOP/SIDE NSPB ENTRY
DOUBLE FRONT DRAW OUT TYPE
FLOOR MOUNTED
SL NO | DESCRIPTION | FEEDER TYPE | QUANTITY | Unit Price | Total Price
1 | Incomer-1 3200A | DAET (I/C) |  | 0 | 0
2 | Incomer-2 3200A | DAET (I/C) |  | 0 | 0
5 | Bus PT-50VA | G1 |  | 0 | 0
6 | CST-2kVA | CS |  | 0 | 0
Power (A)
7 | 16 | E1 |  | #REF! | #REF!
8 | 63 | E1 |  | #REF! | #REF!
9 | 16 | E/E3 |  | 0 | 0
10 | 32 | E/E3 |  | 0 | 0
11 | 63 | E/E3 |  | 0 | 0
| 125 | E/E3 |  | 0 | 0
12 | 160 | E/E3 |  | 0 | 0
13 | 250 | E/E3 |  | 0 | 0
14 | 1000 | DAE (O/G) |  | 0 | 0
DOL (KW)
15 | UPTO 5.5KW | DK2 |  | #REF! | #REF!
16 | 13.1-24.0 | DK2 |  | #REF! | #REF!
17 | 30.0-37.0 | DK21 |  | #REF! | #REF!
18 | 40-55.0 | DK21 |  | #REF! | #REF!
19 | 50-75 KW | DK21 |  | #REF! | #REF!
| 125KW | DM |  | 0 | 0
20 | ACB Panel | 3200 / 3200A |  | #REF! | #REF!
21 | ACB Panel | 3200 / 1000A |  | #REF! | #REF!
21 | ACB Panel | 3200 / 630A |  | 0 | 0
22 | MCC Panel-DFDO | 3200 / 630A |  | 0 | 0
|  | TOTAL |  |  | #REF!

## Main Price Schedule
TENDER NO. 12304083
LOW VOLTAGE (LV) SWITCHBOARDS PARICHHA THERMAL POWER STATION STAGE –II (2 x 210 MW)
| S.NO. | MATERIAL CODE | DESCRIPTION OF BOARD | RATING | UOM | QTY | Applicable Annexure | Quoted / Not-quoted | Unit Ex-Works Price including P&F Charges | Total Ex-Works Price including P&F Charges | Freight % (in percentage) | Unit Freight Amount | Total Freight Amount | Total Ex-Works Price including P&F Charges + Freight Amount | GST % (in percentage) | GST Amount | TOTAL
[6 empty] | A |  |  | B | C=AxB | D | E=BxD | F=AxE | G=C+F | H | I=HxG | J=G+I
| 1 | EL9001300014 | 415 V AUXILIARY CONTROL PANEL | 630A, 50 kA | EA | 4 | Annexure-1
| 2 | EL9001300022 | 415V LTMSB | 4000A, 50 kA | EA | 2 | Annexure-2
| 3 | EL9001300030 | 415 V HVAC PANEL | 100A, 50 kA | EA | 2 | Annexure-3
| 4 | EL9001320015 | LOCAL MOTOR STARTER |  | EA | 54
| 5 | EL9001300049 | 415V AC FUSE DB | Wall mounted | EA | 4
| 6 | EL9001300057 | 220V DC FUSE DB | Wall mounted | EA | 2
| 7 | EL9001350011 | MANDATORY SPARES |  | SET | 1 | Annexure-C
| 8 | EL9001350020 | TOOLS & TACKLES |  | SET | 1 | Annexure-D
| 9 | EL9001350038 | ERECTION & COMM. SPARES |  | SET | 1 | Annexure-E
| 10 | EL9001360017 | NUMERICAL RELAY COMM. CHARGES |  | SET | 1 | Annexure-F | bar: D to F=AxE
| 11 | EL9001360025 | SITE MODIFICATION CHARGES |  | SET | 1 | Annexure-G | bar: D to F=AxE
| A | TOTAL (Sl no. 1 to 11) in figures | bar: B; D to E=BxD; H
| B | TOTAL (Sl no. 1 to 11) in words | bar: B; D to E=BxD; H
NOTES:
1 | SUMMATION OF ALL UNIT RATES OF MODULES SHALL BE EQUIVALENT TO TOTAL BOARD COST QUOTED, VARIANCE OF +/- 5% IS ACCEPTABLE. BEYOND 5%, OFFER WILL NOT BE CONSIDER AS VALID OFFER. IN UNIT ADDITION-DELETION PRICES, PRICES QUOTED FOR COMPONENTS SHALL BE AS PER LIST PRICE OF CONCERNED MANUFACTURES. IF ANY ABNORMAL PRICES ON HIGHER SIDE IS OBSERVED, OFFER MAY BE REJECTED.
2 | DOUBLE COMPRESSION, NICKLE PLATED BRASS CABLE GLANDS & HEAVY-DUTY LUGS OF CUATOMER APPROVED MAKES FOR EXTERNAL POWER, CONTROL & EARTHING CONNECTIONS AT SUPPLIED EQUIPMENT END ARE IN THE SCOPE OF BIDDER. PRICES FOR THE SWITCHBOARD SHALL BE INCLUSIVE OF ALL ITEMS MENTIONED ABOVE.
3 | ITEM WISE PRICES WITH DESCRIPTION AND RATING OF EACH ITEM COMPLYING TO LIST FURNISHED IN THE SCHEDULE OF UNIT PRICES SHALL BE FURNISHED.
4 | ADDITION/DELETION OF QUANTITIES SHALL BE APPLICABLE AT THE QUOTED PRICE.THE UNIT RATE OF SUPPLY OF ALL EQUIPMENTS & SERVICES QUOTED BY THE BIDDER SHALL BE FIRM FOR A VARIATION OF QUANTITIES, WHICH MAY BE TO THE EXTENT OF ±30% OF THE TOTAL CONTRACT VALUE DERIVED ON THE BASIS OF ORDERED QUANTITY.
5 | NUMBER OF VERTICALS (ACB & MCC), AND TENTATIVE DIMENSION OF EACH BOARD SHALL BE SUBMITTED ALONG WITH TECHNICAL OFFER.

## ACP
Annexure-1
BOARD NAME: 415V AUXILIARY CONTROL PANEL
CURRENT RATING: 630A
BOTTOM CABLE ENTRY
DOUBLE FRONT DRAW OUT TYPE
FLOOR MOUNTED
SL NO | DESCRIPTION | FEEDER TYPE | QUANTITY | Quoted / Not-quoted | Unit Ex-Works Price including P&F Charges | Total Ex-Works Price including P&F Charges | Freight % (in percentage) | Unit Freight Amount | Total Freight Amount | Total Ex-Works Price including P&F Charges + Freight Amount | GST % (in percentage) | GST Amount | TOTAL
|  |  | A |  | B | C=AxB | D | E=BxD | F=AxE | G=C+F | H | I=HxG | J=G+I
1 | Incomer-1 630A | DAE(I/C) | 2
2 | Incomer-2 630A | DAE(I/C) | 1
3 | Bus Coupler-630A | DAE(B/C) | 1
4 | Bus PT-250VA | G1 | 2
5 | 0.37KW | RM | 32
6 | 12 KW | HH | 15
7 | 24 KW | HI | 3
8 | 6 KW | HS | 3
9 | 2X1-1 KW | DDM | 2
10 | 5KVA | CST | 2
11 | 1.5 KVA | SH | 2
12 | 6A | ALI(H) | 2
13 | 6A | ALI(L) | 2
14 | MARSHALING MODULE FOR SSPB OF RAPING MOTOR AND HOPPER HEATER FEEDBACK | MM | 2
15 | ARECA MARSHALLING MODULE | ARECA | 2
Power (A)
16 | 63A | E/E3 | 4
17 | 160A | E/E3 | 2
18 | ACB Panel |  | A.R
19 | MCC Panel-DFDO | 630 / 630A | A.R
20 | Dummy Panel | 500MM | 1
21 | Ethernet Switch |  | 1
TOTAL

## LTMSB
Annexure-2
BOARD NAME: 415V LTMSB
CURRENT RATING: 4000A
TOP/SIDE NSPB ENTRY
DOUBLE FRONT DRAW OUT TYPE
FLOOR MOUNTED
SL NO | DESCRIPTION | FEEDER TYPE | QUANTITY | Quoted / Not-quoted | Unit Ex-Works Price including P&F Charges | Total Ex-Works Price including P&F Charges | Freight % (in percentage) | Unit Freight Amount | Total Freight Amount | Total Ex-Works Price including P&F Charges + Freight Amount | GST % (in percentage) | GST Amount | TOTAL
|  |  | A |  | B | C=AxB | D | E=BxD | F=AxE | G=C+F | H | I=HxG | J=G+I
1 | Incomer-1 4000A | DAET (I/C) | 1
2 | Incomer-2 4000A | DAET (I/C) | 1
3 | Bus Coupler-4000A | DAET (B/C) | 2
4 | Bus PT-50VA | G1 | 2
5 | CST-2kVA | CS | 2
Power (A)
6 | 100 | E/E3 | 3
7 | 160 | E/E3 | 3
8 | 250 | E/E3 | 3
9 | 400A | E/E3 | 29
10 | 630A | DAE (O/G) | 4
DOL (KW)
11 | 7.5-14 KW | DK2 | 13
12 | ACB Panel | 4000A/630A | A.R
13 | ACB Panel | 4000 / 4000A | A.R
14 | MCC Panel-DFDO | 4000 / 630A | A.R
15 | Dummy Panel | upto 4000A | 1
16 | Ethernet Switch |  | 2
TOTAL

## HVAC
Annexure-3
BOARD NAME: 415V HVAC PANEL
CURRENT RATING: 100A
BOTTOM CABLE ENTRY
DOUBLE FRONT DRAW OUT TYPE
FLOOR MOUNTED
SL NO | DESCRIPTION | FEEDER TYPE | QUANTITY | Quoted / Not-quoted | Unit Ex-Works Price including P&F Charges | Total Ex-Works Price including P&F Charges | Freight % (in percentage) | Unit Freight Amount | Total Freight Amount | Total Ex-Works Price including P&F Charges + Freight Amount | GST % (in percentage) | GST Amount | TOTAL
|  |  | A |  | B | C=AxB | D | E=BxD | F=AxE | G=C+F | H | I=HxG | J=G+I
1 | Incomer-1 100A | EM3(IC) | 1
2 | Incomer-2 100A | EM3(IC) | 1
3 | BUSCOUPLER-100A | EM3(B/C) | 1
4 | Bus PT-50VA | VM | 2
5 | CST-2kVA | CS | 2
Power (A)
6 | 16 | E/E3 | 27
7 | MCC Panel-DFDO | 100 / 100A | A.R
8 | Dummy Panel | 400A | 1
TOTAL

## Annexure B6-AC&VENT (hidden)
BOARD NAME: 415V AC & VENTILATION MCC # 0SA, 800A
CURRENT RATING: 800A
BOTTOM CABLE ENTRY
DOUBLE FRONT DRAW OUT TYPE
FLOOR MOUNTED
SL NO | DESCRIPTION | FEEDER TYPE | QUANTITY | Unit Price | Total Price
1 | Incomer-1 800A | DAE (I/C) | 1 | 0 | 0
2 | Incomer-2 800A | DAE (I/C) | 1 | 0 | 0
3 | Bus Coupler-800A | DAE (B/C) | 1 | 0 | 0
4 | Bus PT-50VA | VM | 2 | 0 | 0
5 | CST-2kVA | CS | 2 | 0 | 0
6 | Power (A)
7 | 16 | E1 | 26 | #REF! | #REF!
8 | 32 | E1 | 10 | #REF! | #REF!
9 | 16 | E/E3 | 8 | 0 | 0
10 | 32 | E/E3 | 8 | 0 | 0
11 | 63 | E/E3 | 4 | 0 | 0
12 | 250 | E/E3 | 3 | 0 | 0
DOL (KW)
13 | upto 5.5 KW | DK2 | 64 | #REF! | #REF!
14 | 13.1-24.0 | DK2 | 3 | #REF! | #REF!
15 | 30.0-37.0 | DK21 | 2 | #REF! | #REF!
16 | 37-45KW | DK21 | 2 | #REF! | #REF!
17 | ACB Panel | 800 / 800A | 3 | 0 | 0
19 | MCC Panel-DFDO | 800 / 630A | 12 | #REF! | #REF!
|  | TOTAL |  |  | #REF!

## Annexure B7-Compressed Air (hidden)
BOARD NAME: 415V COMPRESSED AIR, WS & CDS MSS # 0SB, 1000A
CURRENT RATING: 1000A
BOTTOM CABLE ENTRY
DOUBLE FRONT DRAW OUT TYPE
FLOOR MOUNTED
SL NO | DESCRIPTION | FEEDER TYPE | QUANTITY | Unit Price | Total Price
1 | Incomer-1 1000A | DAE (I/C) | 1 | #REF! | #REF!
2 | Incomer-2 1000A | DAE (I/C) | 1 | #REF! | #REF!
3 | Bus Coupler-1000A | DAE (B/C) | 1 | #REF! | #REF!
4 | Bus PT-50VA | VM | 2 | 0 | 0
5 | CST-2kVA | CS | 2 | 0 | 0
6 | Power (A)
7 | 16 | E1 | 14 | #REF! | #REF!
8 | 32 | E1 | 10 | #REF! | #REF!
9 | 16 | E/E3 | 30 | 0 | 0
10 | 32 | E/E3 | 10 | 0 | 0
11 | 63 | E/E3 | 4 | 0 | 0
12 | 250 | E/E3 | 2 | 0 | 0
DOL (KW)
13 | upto 5.5 KW | DK2 | 10 | #REF! | #REF!
14 | 13.1-24.0 | DK2 | 7 | #REF! | #REF!
15 | 30.0-37.0 | DK21 | 12 | #REF! | #REF!
16 | 145KW | DM | 3 | #REF! | #REF!
17 | ACB Panel | 1000 / 1000A | 3 | #REF! | #REF!
18 | ACB Panel | 1000/630A | 2 | 0 | 0
19 | MCC Panel-DFDO | 1000 / 630A | 10 | #REF! | #REF!
|  | TOTAL |  |  | #REF!

## AnexureB8-LHP GHP (hidden)
BOARD NAME: 415V FGD LHP/GHP PMCC, #0DA
CURRENT RATING: 4000A
TOP/SIDE NSPB ENTRY
DOUBLE FRONT DRAW OUT TYPE
FLOOR MOUNTED
SL NO | DESCRIPTION | FEEDER TYPE | QUANTITY | Unit Price | Total Price
1 | Incomer-1 4000A | DAET (I/C) | 1 | 0 | 0
2 | Incomer-2 4000A | DAET (I/C) | 1 | 0 | 0
3 | Bus Coupler-4000A | DAET (B/C) | 1 | 0 | 0
5 | Bus PT-50VA | G1 | 2 | 0 | 0
6 | CST-2kVA | CS | 2 | 0 | 0
Power (A)
7 | 16 | E1 | 12 | #REF! | #REF!
8 | 16 | E/E3 | 72 | 0 | 0
9 | 32 | E/E3 | 22 | 0 | 0
10 | 63 | E/E3 | 20 | 0 | 0
| 125 | E/E3 | 3 | 0 | 0
| 160 | E/E3 | 4 | 0 | 0
11 | 250 | E/E3 | 2 | 0 | 0
12 | 800 | DAE (O/G) |  | 0 | 0
13 | 1250 | DAE (O/G) |  | #REF! | #REF!
DOL (KW)
14 | UPTO 5.5 KW | DK2 | 69 | #REF! | #REF!
15 | 13.1-24.0 | DK2 | 36 | #REF! | #REF!
16 | 30.0-37.0 | DK21 | 29 | #REF! | #REF!
17 | 37.1-55.0 | DK21 | 21 | #REF! | #REF!
18 | 80.1-100 | DK21 | 3 | #REF! | #REF!
19 | 110.0-200.0 | DM |  | #REF! | #REF!
RDOL (KW)
14 | UPTO 5.5 KW | DN1 | 12 | 0 | 0
15 | 13.1-24.0 | DN21 | 3 | 0 | 0
20 | ACB Panel | 4000 / 4000A | 3 | 0 | 0
24 | MCC Panel-DFDO | 4000 / 0630A | 30 | 0 | 0
|  | TOTAL |  |  | #REF!

## Annexure B9-FGD DCDB (hidden)
BOARD NAME: 220V FGD DCDB, #0FA
CURRENT RATING: 63A
BOTTOM CABLE ENTRY
DOUBLE FRONT FIXED TYPE
FLOOR MOUNTED
SL NO | DESCRIPTION | FEEDER TYPE | QUANTITY | Unit Price | Total Price
1 | Incomer-1 63A | CH | 2 | #REF! | #REF!
2 | Incomer-2 63A | DB | 2 | #REF! | #REF!
3 | Bus Coupler-63A | HD | 3 | #REF! | #REF!
4 | Metering & Protection | S | 2 | 0 | 0
Power (A)
5 | 16 | X | 20 | #REF! | #REF!
6 | 32 | X | 8 | #REF! | #REF!
8 | DCDB Panel-DFF | 400 / 400A | 4 | #REF! | #REF!
| TOTAL |  |  |  | #REF!

## ANNEXURE-C
Annexure-C
MANDATORY SPARES FOR LT SWITCHGEAR
Item | Description |  | UNIT | QTY. | Quoted / Not-quoted | Unit Ex-Works Price including P&F Charges | Total Ex-Works Price including P&F Charges | Freight % (in percentage) | Unit Freight Amount | Total Freight Amount | Total Ex-Works Price including P&F Charges + Freight Amount | GST % (in percentage) | GST Amount | TOTAL
[6 empty] | B | C=AxB | D | E=BxD | F=AxE | G=C+F | H | I=HxG | J=G+I
| 1 | Complete breaker of each rating | 10% of each type & rating(min 1 No)
| 1.5 | 4000 A | Nos. | 1
| 2 | Ammeter of each type, size & range | 2 Nos of each type, size & range
| 2.1 | 0-500A | Nos. | 2
| 3 | Voltmeter of each type, size & rating | 2 Nos of each type, size & range
| 3.1 | 0-500V AC | Nos | 2
| 4 | Relays of each type | 10 % of each type (min 2 Nos)
| 4.1 | Numerical Relay for DAET Incomer,DAE Incomer, & O/G ,B/C | Nos | 2
| 5 | Busbar support insulators | 10 Nos.
| 5.1 | 3 WAY | Nos. | 5
| 5.2 | 2 WAY | Nos. | 5
| 6 | Spring charging motors of each type & rating | 3 Nos of each type & rating
| 6.2 | Common for all ratings above 2000A to 4000A | Nos. | 3
| 7 | Aux. Contact set of each type & rating | 6 sets of each type & rating
| 7.1 | Common for all ratings | Nos. | 6
| 8 | Limit switches of each type & rating | 10 Nos of each type.
| a | Position Indication Switch
| 1 | Common for all ratings | Nos | 10
| b | Spring charged Indication Switch
| 1 | Common for all ratings | Nos | 10
| c | Trip Indication Switch
| 1 | Common for all ratings | Nos | 10
| 9 | Arc Chutes of each type and rating | 10% of each type & rating
| 9.4 | 4000 A | Nos | 1
| 10 | Fixed Contact Sets | 3 Nos sets of each type & rating
| 10.4 | 4000 A | Nos | 3
| 11 | Moving contact Sets | 3 Nos sets of each type & rating
| 11.4 | 4000 A | Nos | 3
| 12 | Arcing Contacts | 3 Nos sets of each type
| 12.4 | 4000 A | Nos | 3
| 13 | Charging spring of each type & rating | 2 Nos of each type & rating
| 13.2 | Common for all Ratings 2000A to 4000A | Nos | 2
| 14 | Current transformer of each type & ratio | 3 Nos of each type & ratio
| 14.1 | 60/1A - Metering | Nos. | 3
| 14.2 | 75/1A - Metering | Nos. | 3
| 14.3 | 100/1A - Metering | Nos. | 3
| 14.4 | 250/1A - Metering | Nos. | 3
| 14.5 | 400/1A - Metering | Nos. | 3
| 14.9 | 4000/1A - Protection | Nos. | 3
| 15 | Closing coil of each type & rating | 6 Nos of each type & rating
| 15.2 | Common for all Ratings 2000A to 4000A | Nos | 6
| 16 | Trip coil of each type & rating | 6 Nos of each type & rating
| 16.2 | Common for all Ratings 2000A to 4000A | Nos | 6
| 17 | CT for Bimetal O/L relays of each type & rating | Nos. | 0
| 18 | Voltage transformer of each type & ratio | 3 Nos of each type & ratio
| 18.1 | (415:110V ROOT 3,1Ph) 50VA | Nos | 3
| 19 | Control supply transformer of each type & rating | 3 Nos of each type and rating
| 19.1 | 2 KVA | Nos. | 3
| 20(a) | Power Contactor | 2 Nos of each type & rating
| 20.1 | 16 A Power contactor | Nos. | 2
| 20.3 | 32 A Power contactor | Nos. | 2
| 20.5 | 63 A Power contactor | Nos. | 2
| 20.6 | 80 A Power contactor | Nos. | 2
| 20 (b) | Coils for the above | 2 Nos of each type & rating
| 20b.1 | 16 A Power contactor | Nos. | 2
| 20b.3 | 32 A Power contactor | Nos. | 2
| 20b.5 | 63 A Power contactor | Nos. | 2
| 20b.6 | 80 A Power contactor | Nos. | 2
| 21 | Air break switches & MCCB's | 3 Nos of each type & rating
| 21.1 | 32 A | Nos. | 3
| 21.2 | 63 A | Nos. | 3
| 21.3 | 125 A | Nos. | 3
| 21.6 | 100 A MCCB | Nos. | 3
| 21.7 | 160 A MCCB | Nos. | 3
| 21.8 | 250 A MCCB | Nos. | 3
| 21.9 | 400A MCCB | Nos. | 3
| 22 | DP air break switches(DC) of each type & rating | 3 Nos of each type & rating
| 23 | Control & selector switches of each type & rating | 3 Nos of each type & rating
| 23.1 | DP ON/OFF Switch DC | Nos | 3
| 23.2 | SP ON/OFF Switch for Motor Space Heater | Nos | 3
| 23.3 | 4P, 2 Position, Selector Switch for Control TRF | Nos | 3
| 23.4 | 4P, 2 Position, Selector Switch AC | Nos | 3
| 23.5 | 6P, 3 Position, Selector Switch AC | Nos | 3
| 23.6 | Switch 3P ON/OFF | Nos | 3
| 23.7 | AMMETER SELECTOR SWITCH | Nos | 3
| 23.8 | VOLTMETER SELECTOR SWITCH | Nos | 3
| 24 | (a) Control fuses (equally divided for all ratings) | Total 50 Nos (Fuses) & 10 Nos (Neutral links), to cover all the ratings.
| 24.1 | 6A | Nos. | 10
| 24.2 | 10A | Nos. | 10
| 24.3 | 16A | Nos. | 10
| 24.4 | 25A | Nos. | 10
| 24.5 | 32A | Nos. | 10
| 24.6 | (b) Neutral links (equally divided for all ratings) | Nos. | 10
| 25 | Indicating lamps (equally divided for all types & ratings) | Total 30 Nos to cover all the types & ratings
| 25.1 | Green | Nos. | 5
| 25.2 | Red | Nos. | 5
| 25.3 | Amber | Nos. | 5
| 25.4 | White | Nos. | 5
| 25.5 | Blue | Nos. | 5
| 25.6 | Yellow | Nos. | 5
| 26 | Vertical busbar dropper support insulators | Nos. | 25
| 27.a | Primary disconnect in MCC - Busbar end (Male/female contact) (equally divided for all ratings) | Total 15 Nos. proportionately divide for all ratings
| 27.a.1 | Up to 125A Power Feeder | Nos. | 5
| 27.a.2 | Above 125A to 350A Power Feeder | Nos. | 5
| 27.a.3 | Up to 37KW Motor Feeder | Nos. | 5
| 27.a | Secondary disconnect in MCC - Cable end (equally divided for all ratings) | Total 15 Nos. proportionately divide for all ratings
| 27.a.1 | Up to 125A Power Feeder | Nos. | 5
| 27.a.2 | Above 125A to 350A Power Feeder | Nos. | 5
| 27.a.3 | Up to 37KW Motor Feeder | Nos. | 5
| 28 | Push buttons | 10 Nos of each type
|  |  | Nos. | 10
| 29 | Power Fuses | Total 20% proportionately divide for all ratings (min 3 Nos)
| 29.1 | 32 A Power fuses | Nos. | 3
| 29.2 | 63 A Power fuses | Nos. | 3
| 29.3 | 100 A Power fuses | Nos. | 3
| 29.4 | 125 A Power fuses | Nos. | 3
| 30 | Thermal Bimetal relays | Total 5%. proportionately divide for all ratings (min 1 No)
| 30.1 | OLR:7-10A | Nos. | 3
| 30.2 | 23-32A | Nos. | 3
| 31 | Current transducers (equally divided for all types & ratings) | 2 Nos of each type & rating | 2
| 32 | Voltage transducers (equally divided for all types & ratings) | 3 Nos of each type & rating | 2
| 33 | Busbar aluminium flat pieces of each type & rating | 12 meters of each type & rating
| 33.1 | 50x6 | Mtrs | 12
| 33.2 | 75x6 | Mtrs | 12
| 33.3 | 100x6 | Mtrs | 12
| 33.4 | 150x6 | Mtrs | 12
| 34 | Busbar angles / formed pieces for breaker of each type & rating | 2 Nos. of each type
| 34.1 | 800 A | Nos | 2
| 34.4 | 4000 A | Nos | 2
| 35 | Terminal blocks of each type & rating | 12 Nos of each type & rating
| 35.1 | Terminal block Fixed | Nos. | 12
| 35.2 | Terminal Block Drawout | Nos. | 12
TOTAL (Rs.) | [5 empty] | B: 0

## ANNEXURE-D
ANNEXURE-D
LIST OF TOOLS & TACKLES
S.No. | ITEM / COMPONENT | UNIT | QUANTITY | Quoted / Not-quoted | Unit Ex-Works Price including P&F Charges | Total Ex-Works Price including P&F Charges | Freight % (in percentage) | Unit Freight Amount | Total Freight Amount | Total Ex-Works Price including P&F Charges + Freight Amount | GST % (in percentage) | GST Amount | TOTAL
|  |  | A |  | B | C=AxB | D | E=BxD | F=AxE | G=C+F | H | I=HxG | J=G+I
1 | TROLLEY FOR ACB HANDLING (MANUALLY OPERATED) | Nos | 1
2 | ACB RACKING HANDLE | Nos | 5
3 | MODULE RACKING HANDLE | Nos | 5
4 | FUSE PULLER | Nos | 5
TOTAL |  |  |  |  | B: 0

## ANNEXURE-E
Annexure-E
ERECTION & COMMISSIONING SPARES
S.No. | ITEM / COMPONENT | UNIT | QUANTITY | Quoted / Not-quoted | Unit Ex-Works Price including P&F Charges | Total Ex-Works Price including P&F Charges | Freight % (in percentage) | Unit Freight Amount | Total Freight Amount | Total Ex-Works Price including P&F Charges + Freight Amount | GST % (in percentage) | GST Amount | TOTAL
|  |  | A |  | B | C=AxB | D | E=BxD | F=AxE | G=C+F | H | I=HxG | J=G+I
1 | FACTORY BUILT ASSEMBLIES (PCC/MCC/DB)
1.1 | Busbar supports (Horizontal) | 1 set of 3Phase | 1 |  | B: 0
1.2 | Primary isolating contacts (Bus side) of each rating | 1 set of 3 ph
a) | 100A |  | 1 |  | B: 0
b) | 250A |  | 1 |  | B: 0
c) | 400A |  | 1 |  | B: 0
1.3 | Primary isolating contacts (Load side) of each rating | 1 set of 3 ph
a) | 100A |  | 1 |  | B: 0
b) | 250A |  | 1 |  | B: 0
c) | 400A |  | 1 |  | B: 0
1.4 | Secondary isolating contacts of each rating | 1 set of 3 ph
a) | 100A |  | 1 |  | B: 0
b) | 250A |  | 1 |  | B: 0
c) | 400A |  | 1 |  | B: 0
1.5 | Gaskets (each size) | Meter | 50 |  | B: 0
1.6 | Fixed Terminal (1way) | Nos. | 20 |  | B: 0
1.7 | Shrouds (for outgoing modules)
| 300mm | Nos. | 1 |  | B: 0
| 500mm | Nos. | 1 |  | B: 0
| 700mm | Nos. | 1 |  | B: 0
| 1000mm | Nos. | 1 |  | B: 0
| 2000mm | Nos. | 1 |  | B: 0
1.8 | Wire (for secondary wiring)
a. | 2.5 mm2 | Metres | 100 |  | B: 0
b. | 1.5mm2 | Metres | 100 |  | B: 0
1.9 | Lugs (for secondary wiring) | Nos. | 100 |  | B: 0
2 | Air Circuit Breaker(for each rating)
2.1 | Shunt trip coil | Nos. | 3 |  | B: 0
2.2 | spring charging motor (1 No for each ratings) | Nos. | 1 |  | B: 0
2.3 | closing coil | Nos. | 3 |  | B: 0
3 | ISOLATING SWITCH
3.1 | Main contact kit for each rating | 1 set of 3 poles | 1 |  | B: 0
4 | POWER CONTACTORS
4.1 | Contactor coil of each rating | Nos. | 1 |  | B: 0
4.2 | Contacts kit (main) for each rating | 1 set of 3 poles | 1 |  | B: 0
5 | AUXILIARY CONTACTORS
5.1 | Complete unit with 2NO + 2NC contacts {{1 No no. of each rating/type }} | Nos. | 1 |  | B: 0
6 | HRC FUSE
6.1 | Fuse base (each rating) | Nos. | 10 |  | B: 0
6.2 | Fuse link:
a. | UPTO 40A (assorted ratings) | Nos. | 10 |  | B: 0
b. | 63A TO 200A (assorted rating) | Nos. | 10 |  | B: 0
c. | 250A TO 400A (assorted rating) | Nos. | 10 |  | B: 0
7 | PUSH BUTTONS
7.1 | Actuator contacts | Nos. | 5 |  | B: 0
7.2 | Element | Nos. | 5 |  | B: 0
8 | INDICATING LAMPS
8.1 | INDICATING LAMP (CLUSTER LED) | Nos. | 25 |  | B: 0
9 | OTHERS
9.1 | AC Voltmeter (0-415V) | Nos. | 1 |  | B: 0
TOTAL (Rs.) |  |  |  |  | B: 0

## ANNEXURE-F
ANNEXURE-F
COMMISSIONING CHARGES FOR NUMERICAL RELAYS AT SITE
SL.NO. | DETAILS | QTY | UOM | Quoted / Not-quoted | Unit Ex-Works Price including P&F Charges | Total Ex-Works Price including P&F Charges | Freight % (in percentage) | Unit Freight Amount | Total Freight Amount | Total Ex-Works Price including P&F Charges + Freight Amount | GST % (in percentage) | GST Amount | TOTAL
|  | A |  |  | B | C=AxB | D | E=BxD | F=AxE | G=C+F | H | I=HxG | J=G+I
1 | LUMP SUM ALL INCLUSIVE CHARGES PER VISIT FOR SERVICE ENGINEER (EXCEPT DAILY CHARGES) | 1 | VISITS |  | B: 0
2 | LUMP SUM ALL INCLUSIVE PER NUMERICAL RELAY COMMISSIONING CHARGES | 5 | NOS |  | B: 0
TOTAL |  |  |  |  | B: 0
NOTES:
1) AMOUNT PAYABLE FOR SERVICE ENGINEER PER VISIT TO SITE = VISIT CHARGES AS PER SL. NO. 1 ABOVE + (PER NUMERICAL RELAY COMMISSIONING CHARGES AS PER SL. NO. 2 ABOVE X NO. OF RELAYS) (TO BE CERTIFIED BY BHEL SITE)

## ANNEXURE-G
ANNEXURE-G
SITE MODIFICATION CHARGES
SL.NO. | DETAILS | QUANTITY |  | Quoted / Not-quoted | Unit Ex-Works Price including P&F Charges | Total Ex-Works Price including P&F Charges | Freight % (in percentage) | Unit Freight Amount | Total Freight Amount | Total Ex-Works Price including P&F Charges + Freight Amount | GST % (in percentage) | GST Amount | TOTAL
|  | A |  |  | B | C=AxB | D | E=BxD | F=AxE | G=C+F | H | I=HxG | J=G+I
1 | LUMP SUM FIXED CHARGES PER VISIT PER TECHNICIAN | 1 | VISITS |  | B: 0
2 | LUMP SUM DAILY CHARGES (ALL INCLUSIVE INCLUDING CONVEYENCE TO SITE, BOARDING AND LOADGING) PER TECHNICIAN | 4 | DAYS |  | B: 0
3 | LUMP SUM FIXED CHARGES PER VISIT PER ENGINEER | 1 | DAYS |  | B: 0
4 | LUMP SUM DAILY CHARGES (ALL INCLUSIVE INCLUDING CONVEYENCE TO SITE, BOARDING AND LOADGING) PER ENGINEER | 4 | DAYS |  | B: 0
TOTAL |  |  |  |  | B: 0
NOTES:
1) AMOUNT PAYABLE FOR SKILLED TECHNICIAN PER VISIT TO SITE = VISIT CHARGES AS PER SL. NO. 1 ABOVE + (DAILY CHARGES AS PER SL. NO. 2 ABOVE X NO. OF DAYS AT SITE) (TO BE CERTIFIED BY BHEL SITE) 2) AMOUNT PAYABLE FOR SERVICE ENGINEER PER VISIT TO SITE = VISIT CHARGES AS PER SL. NO. 3 ABOVE + (DAILY CHARGES AS PER SL. NO. 4 ABOVE X NO. OF DAYS AT SITE) (TO BE CERTIFIED BY BHEL SITE)

## ADD-DELE
UNIT PRICE SCHEDULE FOR ADDITION DELETION:
SL.NO. | ITEM DESCRIPTION | Unit Ex-Works Price including P&F Charges
1 | INCOMING FEEDER UNIT
a) | ACB Incomer to PCC/PMCC from Trafo. - Module Type DAET (I/C)
1.a.1 | 630/800A
1.a.4 | 1600A
1.a.7 | 3200A
1.a.8 | 4000A
b) | ACB Incomer to MCC - Module Type DAE/ DAEN/ AE (I/C)
1.b.1 | 630/800A
1.b.4 | 1600A
1.b.7 | 3200A
c) | MCCB Incomer for MCC / ACDB – Module Type EM3 (I/C)
1.c.1 | Upto 63A – Fixed Type
1.c.2 | 125A – Fixed Type
1.c.3 | 200A – Fixed Type
1.c.4 | 250A – Fixed Type
1.c.5 | 400A – Fixed Type
1.c.6 | Upto 63A – Drawout Type
1.c.7 | 125A – Drawout Type
1.c.8 | 200A – Drawout Type
1.c.9 | 250A – Drawout Type
1.c.10 | 400A – Drawout Type
d) | SFU Incomer for MCC / ACDB – Module Type EM3 (I/C)
1.d.1 | Upto 63A – Fixed Type
1.d.2 | 125A – Fixed Type
1.d.3 | 200A – Fixed Type
1.d.4 | 250A – Fixed Type
1.d.5 | 400A – Fixed Type
1.d.6 | Upto 63A – Drawout Type
1.d.7 | 125A – Drawout Type
1.d.8 | 200A – Drawout Type
1.d.9 | 250A – Drawout Type
1.d.10 | 400A – Drawout Type
2 | BUSCOUPLER UNIT
a) | ACB Buscoupler to PCC/PMCC/MCC from Trafo. - Module Type DAET/ DAE (B/C)
2.a.1 | 630/800A
2.a.4 | 1600A
2.a.7 | 3200A
2.a.8 | 4000A
b) | MCCB Buscoupler for MCC / ACDB – Module Type EM3 (B/C)
2.b.1 | Upto 63A – Fixed Type
2.b.2 | 125A – Fixed Type
2.b.3 | 200A – Fixed Type
2.b.4 | 250A – Fixed Type
2.b.5 | 400A – Fixed Type
2.b.6 | Upto 63A – Drawout Type
2.b.7 | 125A – Drawout Type
2.b.8 | 200A – Drawout Type
2.b.9 | 250A – Drawout Type
2.b.10 | 400A – Drawout Type
2.b.11 | 630A – Drawout Type
c) | SFU Buscoupler for MCC / ACDB – Module Type EM3 (B/C)
2.c.1 | Upto 63A – Fixed Type
2.c.2 | 125A – Fixed Type
2.c.3 | 200A – Fixed Type
2.c.4 | 250A – Fixed Type
2.c.5 | 400A – Fixed Type
2.c.6 | Upto 63A – Drawout Type
2.c.7 | 125A – Drawout Type
2.c.8 | 200A – Drawout Type
2.c.9 | 250A – Drawout Type
2.c.10 | 400A – Drawout Type
3 | Outgoing ACB supply feeder - Module Type DAE/DAE-TIE (O/G)
3.1 | 630/800A
3.2 | 1000A
4 | Outgoing ACB motor feeder - Module Type DM/PM (controlled from DDCMIS/PLC)
4.1 | 110-130 KW
5.1 | DOL Motor Starter - Unidirectional Drive(SFU CONTROLLED) - Drawout Type
a) | Module Type DK2 (Controlled from DDCMIS/PLC/ATRS)
5.1.a.1 | Upto 5.5KW
5.1.a.2 | 5.6 - 7.0KW
5.1.a.3 | 7.1 - 14.9KW
b) | Module Type DK21 (Controlled from DDCMIS/PLC/ATRS)
5.1.b.1 | 15 - 22KW
5.1.b.2 | 22.1 - 30.0KW
5.1.b.3 | 30.1 - 37.0KW
5.1.b.4 | 37.1 - 45KW
5.1.b.5 | 45.1 - 55.0KW
5.1.b.6 | 55.1 - 75KW
5.1.b.7 | 75.1 - 90KW
h) | RM(UNIDIRECTIONAL RAPING MOTOR FEEDER )
0.37KW
i) | DDM(UNIDIRECTIONAL DUST DENSITY MONITORS (2X1.1KW) MOTOR FEEDER )
1.1 KW
6 | RDOL Motor Starter – Bidirectional Drive(SFU CONTROLLED) Drawout Type
a) | Module Type DN1/ PN1/ AN1 (Controlled from DDCMIS/PLC/ATRS)
6.1.a.1 | Upto 5.5KW
6.1.a.2 | 5.6 - 7.0KW
6.1.a.3 | 7.1 - 14.9KW
b) | Module Type DN21/ PN21/ AN21 (Controlled from DDCMIS/PLC/ATRS)
6.1.b.1 | 15 - 22KW
6.1.b.2 | 22.1 - 30.0KW
7 | Contactor control heater FEEDER(Module Type EA3) - Drawout Type
7.a.1 | Upto 5.5KW
7.a.2 | 5.6 - 7.0KW
7.a.3 | 7.1 - 14.9KW
7.a.4 | 15 - 22KW
7.a.5 | 22.1 - 30.0KW
7.a.6 | 30.1 - 37.0KW
7.a.7 | 37.1 - 45KW
7.a.8 | 45.1 - 55.0KW
7.a.9 | 55.1 - 75KW
7.a.10 | 75.1 - 90KW
l) | HH(HOPPER HEATER )
9KW- Drawout type
12KW- Drawout type
15KW- Drawout type
18KW- Drawout type
m) | HS(SHAFT INSULATOR HEATER )
10KW- Drawout type
15KW- Drawout type
20KW- Drawout type
25KW- Drawout type
n) | HI(SUPPORT INSULATOR HEATER )
15KW- Drawout type
20KW- Drawout type
25KW- Drawout type
30KW- Drawout type
36KW- Drawout type
j) | ALI(H)
ASH LEVEL INDICATOR (HIGH)
k) | ALI(L)
ASH LEVEL INDICATOR (LOW)
8 | Outgoing SFU/MCCB controlled feeders
a) | Outgoing SFU/MCCB controlled supply feeder - Module Type E3 (O/G)
8.a.1 | upto 10A - Fixed type
8.a.2 | 16A - Fixed type
8.a.3 | 25A - Fixed type
8.a.4 | 32A - Fixed type
8.a.5 | 63A - Fixed type
8.a.6 | 125A - Fixed type
8.a.7 | 160A - Fixed type
8.a.8 | 200A - Fixed type
8.a.9 | 250A - Fixed type
8.a.10 | 400A - Fixed type
8.a.11 | upto 10A - Drawout type
8.a.12 | 16A - Drawout type
8.a.13 | 25A - Drawout type
8.a.14 | 32A - Drawout type
8.a.15 | 63A - Drawout type
8.a.16 | 125A - Drawout type
8.a.17 | 160A - Drawout type
8.a.18 | 200A - Drawout type
8.a.19 | 250A - Drawout type
8.a.20 | 400A - Drawout type
8.a.21 | 630A - Drawout type
B) | Outgoing SFU/MCCB controlled supply feeder - Module Type E2 (O/G)
8.b.1 | upto 10A - Fixed type
8.b.2 | 16A - Fixed type
8.b.3 | 25A - Fixed type
8.b.4 | 32A - Fixed type
8.b.5 | 63A - Fixed type
8.b.6 | 125A - Fixed type
8.b.7 | 160A - Fixed type
8.b.8 | 200A - Fixed type
8.b.9 | 250A - Fixed type
8.b.10 | 400A - Fixed type
8.b.11 | upto 10A - Drawout type
8.b.12 | 16A - Drawout type
8.b.13 | 25A - Drawout type
8.b.14 | 32A - Drawout type
8.b.15 | 63A - Drawout type
8.b.16 | 125A - Drawout type
8.b.17 | 160A - Drawout type
8.b.18 | 200A - Drawout type
8.b.19 | 250A - Drawout type
8.b.20 | 400A - Drawout type
12 | Common Auxiliary Module
a) | PT module
12.a.1 | Bus PT module for PCC/PMCC-G1 Type
12.a.2 | Bus PT module for Emergency MCC-G2 Type
12.a.3 | Bus PT DCDB-S Type
12.a.4 | Bus PT module for MCC-VM Type
b) | Space heater and Power Socket - TT
c.1) | 110V AC control supply module – Type CS (consisting of 415/110V control Trafo.)
12.c.1.1 | 1KVA
12.c.1.2 | 2KVA
12.c.1.3 | 2.5KVA
12.c.1.4 | 3KVA
12.c.1.5 | 5KVA
12.c.1.6 | 7.5KVA
12.c.1.7 | 10KVA
c.2) | 240 V AC control supply module – type CS (consisting of 415/240V control Trafo.)
12.c.2.1 | 1KVA
12.c.2.2 | 2KVA
12.c.2.3 | 2.5KVA
12.c.2.4 | 3KVA
12.c.2.5 | 5KVA
12.c.2.6 | 7.5KVA
12.c.2.7 | 10KVA
d) | 240V AC motor space heater module
13 | Contactor controlled SFU Incomer for MCC / ACDB – Module Type CC (I/C)
13.a.1 | Upto 63A – Fixed Type
13.a.2 | 125A – Fixed Type
13.a.3 | 200A – Fixed Type
13.a.4 | 250A – Fixed Type
13.a.5 | 400A – Fixed Type
13.a.6 | Upto 63A – Drawout Type
13.a.7 | 125A – Drawout Type
13.a.7 | 200A – Drawout Type
13.a.8 | 250A – Drawout Type
13.a.9 | 400A – Drawout Type
14 | Empty Panel with Horizontal & Vertical Busbar, Support & Auxiliary Busbar
a) | MCC Panel (Double Front Drawout Type) without trolley
14.a.1 | 250 / 250A
14.a.2 | 400 / 400A
14.a.3 | 630 / 630A
14.a.6 | 1600 / 630A
14.a.9 | 3000 / 630A
14.a.10 | 4000 / 630A
b) | MCC Panel (Double Front Fixed Type)
14.b.1 | 250 / 250A
14.b.2 | 400 / 400A
14.b.3 | 630 / 630A
14.b.6 | 1600 / 630A
14.b.9 | 3000 / 630A
14.b.10 | 4000 / 630A
15 | Empty Panel With Horizontal & Vertical Busbar, Support & Auxiliary Busbar
a) | PCC Panel (Single Front Drawout Type)
15.a.1 | 1600 / 1600A
15.a.2 | 2000 / 2000A
15.a.3 | 2500 / 2500A
15.a.4 | 3000 / 3000A
15.a.5 | 4000 / 4000A
b) | MCC Panel (Single Front Drawout Type)
15.b.1 | 250 / 250A
15.b.2 | 400 / 400A
15.b.3 | 630 / 630A
15.b.4 | 800 / 630A
15.b.5 | 1000 / 630A
15.b.6 | 1600 / 630A
15.b.7 | 2000 / 630A
15.b.8 | 2500 / 630A
15.b.9 | 3000 / 630A
15.b.10 | 4000 / 630A
c) | MCC Panel (Single Front Fixed Type )
15.c.1 | 250 / 250A
15.c.2 | 400 / 400A
15.c.3 | 630 / 630A
15.c.4 | 800 / 630A
15.c.5 | 1000 / 630A
15.c.6 | 1600 / 630A
15.c.7 | 2000 / 630A
15.c.8 | 2500 / 630A
15.c.9 | 3000 / 630A
15.c.10 | 4000 / 630A
16 | ACB Panel with Horizontal & Vertical Busbar, Support & Auxiliary Busbar
16.a.1 | 630 / 630A
16.a.2 | 800 / 630A
16.a.3 | 800 / 800A
16.a.4 | 1000 / 630A
16.a.5 | 1000 / 800A
16.a.6 | 1000 / 1000A
16.a.7 | 1600 / 630A
16.a.8 | 1600 / 800A
16.a.9 | 1600 / 1000A
16.a.10 | 1600 / 1600A
16.a.11 | 2000 / 630A
16.a.12 | 2000 / 800A
16.a.13 | 2000 / 1000A
16.a.14 | 2000 / 1600A
16.a.15 | 2000 / 2000A
16.a.16 | 2500 / 630A
16.a.17 | 2500 / 800A
16.a.18 | 2500 / 1000A
16.a.19 | 2500 / 1600A
16.a.20 | 2500 / 2000A
16.a.21 | 2500 / 2500A
16.a.22 | 3000 / 630A
16.a.23 | 3000 / 800A
16.a.24 | 3000 / 1000A
16.a.25 | 3000 / 1600A
16.a.26 | 3000 / 2000A
16.a.27 | 3000 / 2500A
16.a.28 | 3000 / 3000A
16.a.29 | 4000 / 630A
16.a.30 | 4000 / 800A
16.a.31 | 4000 / 1000A
16.a.32 | 4000 / 1600A
16.a.33 | 4000 / 2000A
16.a.34 | 4000 / 2500A
16.a.35 | 4000 / 3000A
16.a.36 | 4000 / 4000A
17 | Dummy Panel (400MM)
17.a.1 | UPTO 630A
17.a.2 | 800A
17.a.3 | 1000A
17.a.4 | 1600A
17.a.5 | 2000A
17.a.6 | 2500A
17.a.7 | 3000A
17.a.8 | 4000A
18 | Unit Prices For Circuit Components
a) | Air Circuit Breaker without releases
18.a.1 | 630A MDO
18.a.2 | 800A MDO
18.a.3 | 1000A MDO
18.a.4 | 630A ACB, 3P, EDO, AC
18.a.5 | 800A ACB, 3P, EDO, AC
18.a.6 | 1000A ACB, 3P, EDO, AC
18.a.7 | 4000A ACB, 3P, EDO, AC
18.a.8 | 3200A ACB, 3P, EDO, AC
18.a.9 | 2500A ACB, 3P, EDO, AC
18.a.10 | 2000A ACB, 3P, EDO, AC
18.a.11 | 1600A ACB, 3P, EDO, AC
18.a.12 | 1250A ACB, 3P, EDO, AC
18.a.13 | 1250A ACB, 2P, MDO, DC
b) | MCCB, 2NO+2NC AUX, FSC
18.b.1 | 16A
18.b.2 | 25A
18.b.3 | 32A
18.b.4 | 63A
18.b.5 | 80A
18.b.6 | 115A
18.b.7 | 150A
18.b.8 | 185A
18.b.9 | 265A
18.b.10 | 315A
18.b.11 | 400A
18.b.12 | 630A
c) | MCCB, 2NO+2NC AUX, ASC
18.c.1 | 16A
18.c.2 | 25A
18.c.3 | 32A
18.c.4 | 63A
18.c.5 | 80A
18.c.6 | 115A
18.c.7 | 150A
18.c.8 | 185A
18.c.9 | 265A
18.c.10 | 315A
18.c.11 | 400A
18.c.12 | 630A
d) | MCCB with LSIG release
18.d.1 | 100A
18.d.2 | 160A
18.d.3 | 250A
18.d.4 | 350A
18.d.5 | 400A
18.d.6 | 630A
e) | MCCB - Motorized with LSIG release
18.e.1 | 100A
18.e.2 | 160A
18.e.3 | 250A
18.e.4 | 350A
18.e.5 | 400A
18.e.6 | 630A
f) | POWER FUSE LINK FOR SFU (AC) - TPN
18.f.1 | Upto 16A
18.f.2 | 25A
18.f.3 | 32A
18.f.4 | 63A
18.f.5 | 125A
18.f.6 | 250A
18.f.7 | 400A
18.f.8 | 630A
g) | POWER FUSE LINK FOR SFU (DC) - DP
18.g.1 | Upto 16A
18.g.2 | 25A
18.g.3 | 40A
18.g.4 | 50A
18.g.5 | 60A
18.g.6 | 80A
18.g.7 | 100A
18.g.8 | 200A
18.g.9 | 300A
18.g.10 | 400A
18.g.11 | 630A
h) | SFU WITHOUT POWER FUSE LINK (AC) - TPN
18.h.1 | Upto 16A
18.h.2 | 25A
18.h.3 | 32A
18.h.4 | 63A
18.h.5 | 125A
18.h.6 | 250A
18.h.7 | 400A
18.h.8 | 630A
i) | SFU WITHOUT POWER FUSE LINK (DC) - DP
18.i.1 | Upto 16A
18.i.2 | 25A
18.i.3 | 40A
18.i.4 | 50A
18.i.5 | 60A
18.i.6 | 80A
18.i.7 | 100A
18.i.8 | 200A
18.i.9 | 300A
18.i.10 | 400A
18.i.11 | 630A
j) | HRC Fuse Links (Offset tag Type)
18.j.1 | Upto 10A
18.j.2 | 16A
18.j.3 | 25A
18.j.4 | 32A
18.j.5 | 50A
18.j.6 | 63A
k) | HRC Fuse DIN Type (Blade Contact)
18.k.1 | Upto 10A
18.k.2 | 16A
18.k.3 | 20A
18.k.4 | 32A
18.k.5 | 36A
18.k.6 | 50A
18.k.7 | 63A
18.k.8 | 80A
18.k.9 | 100A
18.k.10 | 125A
18.k.11 | 160A
18.k.12 | 200A
18.k.13 | 250A
18.k.14 | 315A
18.k.15 | 400A
18.k.16 | Control Fuse Link
l) | Power contactor (AC)
18.l.1 | 16A
18.l.2 | 25A
18.l.3 | 32A
18.l.4 | 63A
18.l.5 | 80A
18.l.6 | 115A
18.l.7 | 150A
18.l.8 | 185A
18.l.9 | 265A
18.l.10 | 315A
18.l.11 | 400A
m) | Power contactor (DC)
18.m.1 | 16A
18.m.2 | 25A
18.m.3 | 32A
18.m.4 | 63A
18.m.5 | 80A
18.m.6 | 115A
18.m.7 | 150A
18.m.8 | 185A
18.m.9 | 265A
18.m.10 | 400A
n) | Fuse Base
18.n.1 | UPTO 20A
18.n.2 | 32A
18.n.3 | 50/63A
18.n.4 | 100A
18.n.5 | 250A
18.n.6 | 400A
18.n.7 | 630A
o) | Auxiliary contactor AC/DC
i) | AC Aux. contactor
18.o.i.1 | 2NO + 2NC
18.o.i.2 | 3NO + 3NC
18.o.i.3 | 4NO + 4NC
18.o.i.4 | 6NO + 6NC
ii) | DC Aux. contactor
18.o.ii.1 | 2NO + 2NC
18.o.ii.2 | 3NO + 3NC
18.o.ii.3 | 4NO + 4NC
18.o.ii.4 | 6NO + 6NC
p) | Protection Relay
18.p.1 | VAGM 23
18.p.2 | CTU 12
18.p.3 | CTU 32
18.p.4 | VTT 11
18.p.5 | VAG 11
18.p.6 | VAA 11
18.p.7 | VAJHM 13
18.p.8 | VAJHM 23
18.p.9 | CDGM-12
18.p.10 | CAG 12
18.p.11 | CAG 34
18.p.12 | CCUM 21
18.p.13 | CDG 11
18.p.14 | CDG 31
18.p.15 | CDG 61
18.p.16 | VDG 14
18.p.17 | CDV 62
18.p.18 | CAG 14
18.p.19 | VAX 31
18.p.20 | CAG 37
18.p.21 | CAEM-21
18.p.22 | VAG-21
18.p.23 | VAJC-11
18.p.24 | CTMM-501
18.p.25 | MOTPRO
18.p.26 | VAA21
18.p.27 | VTT12
18.p.28 | VTIG
18.p.29 | VTU21
18.p.30 | NUMERICAL RELAY FOR PROTECTION, T/C SUPERVISION, LOGIC, METERING FUNCTION & WITH CHECK SYNCHRONIZATION, REF PROTECTION, FUSE FAILURE, ENERGY METERING, OVER LOAD PROTECTION, 50, 50N, 51, 51N, 27, 98, 86, 25, 95, 30A, 30B, 64R
18.p.31 | SEF NUMERICAL RELAY
18.p.32 | NUMERICAL RELAY FOR PROTECTION, T/C SUPERVISION, LOGIC, METERING FUNCTION & WITH CHECK SYNCHRONIZATION, FUSE FAILURE, ENERGY METERING, OVER LOAD PROTECTION 50, 50N,51, 51N, 27, 98, 86, 25, 95, 30A, 30B
18.p.33 | NUMERICAL RELAY FOR PROTECTION, T/C SUPERVISION, LOGIC, METERING FUNCTION & WITH CHECK SYNCHRONIZATION, FUSE FAILURE, 50, 50N,51, 51N, 27, 98, 86, 25, 95, 30A, 30B
18.p.34 | NUMERICAL RELAY FOR PROTECTION, T/C SUPERVISION, LOGIC, METERING FUNCTION & WITH CHECK SYNCHRONIZATION, FUSE FAILURE, ENERGY METERING, OVER LOAD PROTECTION 50, 50N,51, 51N, 27, 98, 86, 25, 95, 30A, 30B, DG PROTECTION (Like Neutral Under-voltage-27N, Power Direction / Reverse Power (Islanding)-32, Negative Phase Sequence Over-current (Phase unbalance, reverse phase sequence) -46, , Negative Sequence Voltage -47, Ground Over-voltage trip or ground over-current trip-51G, Instantaneous Over-voltage trip (ferro-resonance)-59, Over-voltage trip-59T, Neutral over-voltage-59N, Over/Under Frequency trip-81O/ 81U etc.)
18.p.35 | NUMERICAL RELAY FOR PROTECTION, T/C SUPERVISION, LOGIC, METERING FUNCTION & FUSE FAILURE, OVER LOAD PROTECTION 50, 50N,51, 51N, 27, 98, 86, 95, 30A, 30B
18.p.36 | NUMERICAL RELAY FOR PROTECTION, T/C SUPERVISION-95, LOGIC, METERING FUNCTION & FUSE FAILURE-98, OVER LOAD PROTECTION, LOCKED ROTOR PROTECTION-14, RESTART INHIBIT PROTECTION-49, NEGATIVE SEQUENCE PROTECTION-46, 50, 50N, 51, 51N, 27, 86, 30A, 30B
18.p.37 | Communicable type Numerical relay for O/C, E/F, TC Supervision on IEC-61850 protocol
18.p.38 | Communicable type Numerical relay for O/C, E/F, Check Synchronization, TC Supervision on IEC-61850 protocol
18.p.51 | Numerical Check synchronising Relay
18.p.52 | Check synchronising Relay Type-SKE11 or better
18.p.53 | Guard Relay
18.p.54 | NUMERICAL RELAY Over current and Earth fault
18.p.58 | JAMING RELAY - CAG17
q) | Bimetal Thermal O/L Relays
i) | Thermal O/L relay with SPP - OLR
18.q.i.1 | Upto 5.5KW
18.q.i.2 | 5.6 to 11KW
18.q.i.3 | 11.1 to 22KW
18.q.i.4 | 22.1 to 45KW
18.q.i.5 | 45.1 to 75KW
18.q.i.6 | 75 to 110KW
ii) | Heavy Duty Thermal O/L relay with SPP - OLR
18.q.ii.1 | Upto 5.5KW
18.q.ii.2 | 5.6 to 11KW
18.q.ii.3 | 11.1 to 22KW
18.q.ii.4 | 22.1 to 45KW
18.q.ii.5 | 45.1 to 75KW
18.q.ii.6 | 75 to 110KW
r) | Timer (DC)
18.r.1 | ON DELAY TIMER, 0.5-5SEC., 220V DC, 2NO+2NC
18.r.2 | ON DELAY TIMER, 1.0-10SEC. 220V DC, 2NO+2NC
18.r.3 | 240VAC MTR RESTART CONTROL TIMER (.2-60SECS)
18.r.4 | 240VAC ON DELAY TIMER(1-10SECNS)WITH 1NO
18.r.5 | 220VDC ON DELAY TIMER(.5-5SECS) WITH 1NO
18.r.6 | 220VDC 0N DELAY TIMER(0.5-5SECS)WITH 3NO
18.r.7 | 220VDC ON DELAY TIMER(1-10SECS) WITH 3NO
s) | Meter
18.s.1 | AC ammeter (Digital)
18.s.2 | AC ammeter (Analog) linear scale
18.s.3 | AC ammeter (Analog) compressed scale
18.s.4 | DC ammeter (Digital)
18.s.5 | DC ammeter (Analog)
18.s.6 | AC voltmeter (Digital)
18.s.7 | DC voltmeter (Analog)
18.s.8 | Wattmeter (3 Phase)
18.s.9 | Wattmeter (1 Phase)
18.s.10 | TVM meter
18.s.11 | DIGITAL ENERGY METER
18.s.12 | Frequency meter
18.s.13 | Synchroscope
18.s.14 | Differential Voltmeter
18.s.15 | Differential Frequency meter
18.s.16 | Multifunction digital Energy meter with RS485 Port (0.2 Acc. Class)
18.s.17 | Multifunction digital Energy meter with RS485 Port (0.5 Acc. Class)
18.s.18 | Multifunction digital Energy meter with RS485 Port (1.0 Acc. Class)
t) | Single Phase Preventor Relay
u) | MCB
18.u.1 | 6A, 4P 415V AC
18.u.2 | 6A DP, 240V AC
18.u.3 | 10A DP, 240V AC
18.u.4 | 16A DP, 240V AC
18.u.5 | 32A DP, 240V AC
18.u.6 | 6A DP, 110V AC
18.u.7 | 10A DP, 110V AC
18.u.8 | 16A DP, 110V AC
18.u.9 | 32A DP, 110V AC
18.u.10 | 16A DP, 220V DC
18.u.11 | 6A DP, 220V DC
18.u.12 | 6A DP, 240V AC
18.u.13 | 10A SP, 240V AC
18.u.14 | 16A SP, 240V AC
18.u.15 | 32A SP, 240V AC
18.u.16 | 6A SP, 110V AC
18.u.17 | 10A SP, 110V AC
18.u.18 | 16A SP, 110V AC
18.u.19 | 32A SP, 110V AC
18.u.20 | 16A SP, 220V DC
18.u.21 | 6A SP, 220V DC
v) | SWITCH & PUSH BUTTON
18.v.1 | BREAKER CONTROL SWITCH, 16A,220V DC, 2CLOSE+2TRIP
18.v.2 | DC ISOLATING SWITCH 16A,220V DC, DP, BASE MTG.
18.v.3 | 16A,240V AC SELECTOR SWITCH 3WAY, 4POLE, FLUSH MTG
18.v.4 | 25A,240V AC SELECTOR SWITCH 3WAY, 4POLE, FLUSH MTG
18.v.5 | 16A,240V AC SELECTOR SWITCH 2WAY, 2POLE, FLUSH MTG
18.v.6 | NORMAL/ TRIAL SEL. SWITCH, 2POLE , 2WAY, 10A 240V AC, FLUSH MTG,
18.v.7 | MCC/ NORMAL/ TRIAL SEL. SWITCH, 2POLE ,3WAY, 10A 240V AC, FLUSH MTG
18.v.8 | SWGR/ REMOTE SEL. SWITCH 3POLE 2WAY,16A 220V DC, FLUSH MTG
18.v.9 | SWGR/ NORMAL/ TRIAL SEL. SWITCH, 3POLE, 3WAY, 16A 220V DC, FLUSH MTG.
18.v.10 | NORMAL/ TRIAL SEL. SWITCH, 2POLE , 2WAY, 10A 240V AC, FLUSH MTG, LOCKABEL TYPE
18.v.11 | MCC/ NORMAL/ TRIAL SEL. SWITCH, 2POLE ,3WAY, 10A 240V AC, FLUSH MTG, LOCKABEL TYPE
18.v.12 | SWGR/ REMOTE SEL. SWITCH 3POLE 2WAY,16A 220V DC, FLUSH MTG.LOCKABLE TYPE
18.v.13 | SWGR/ NORMAL/ TRIAL SEL. SWITCH, 3POLE, 3WAY, 16A 220V DC, FLUSH MTG., LOCKABLE TYPE
18.v.14 | AMMETER SELECTOR SWITCH
18.v.15 | VOLTMETER SELECTOR SWITCH
18.v.16 | TOGGLE SWITCH 5A, 240V AC
18.v.17 | AC SWITCH SPST-5A,240V AC
18.v.18 | 10A, 220V DC SWITCH
18.v.19 | Door Limit switch
18.v.20 | Ammeter selector switch
18.v.21 | Voltmeter selector switch
18.v.22 | Synchronisation selector switch
18.v.23 | Trip selector switch
18.v.24 | Push Button
18.v.25 | 2NO + 2NC Shrouded
18.v.26 | 1NO + 1NC Shrouded
18.v.27 | 2NO + 2NC Mushroom head stayput
18.v.28 | 2NO + 2NC Lockable type
w) | Indicating Lamp Assembly (LED Type)
18.w.1 | 240V AC-GREEN
18.w.2 | 240V AC-RED
18.w.3 | 240V AC- AMBER
18.w.4 | 110V AC-GREEN
18.w.5 | 110V AC-RED
18.w.6 | 110V AC- AMBER
18.w.7 | 220V DC-WHITE
18.w.8 | 220V DC-RED
18.w.9 | 220V DC-GREEN
18.w.10 | 220V DC-BLUE
18.w.11 | 220V DC- AMBER
18.w.12 | 63.5V AC-RED
18.w.13 | 63.5V AC-YELLOW
18.w.14 | 63.5V AC-BLUE
x) | CT
i) | Metering CT
18.x.i.1 | Upto 75/1A
18.x.i.2 | 100/1A
18.x.i.3 | 125/1A
18.x.i.6 | 250/1A
18.x.i.8 | 400/1A
18.x.i.10 | 630/1A
18.x.i.11 | 800/1A
18.x.i.14 | 1600/1A
18.x.i.17 | 3000/1A
18.x.i.18 | 4000/1A
ii) | Protection CT (5P20)
18.x.ii.1 | Upto 75/1A
18.x.ii.2 | 100/1A
18.x.ii.3 | 125/1A
18.x.ii.6 | 250/1A
18.x.ii.8 | 400/1A
18.x.ii.10 | 630/1A
18.x.ii.11 | 800/1A
18.x.ii.14 | 1600/1A
18.x.ii.17 | 3000/1A
18.x.ii.18 | 4000/1A
18.x.ii.19 | 630/5A
18.x.ii.20 | 800/5A
18.x.ii.23 | 1600/5A
18.x.ii.26 | 3000/5A
18.x.ii.27 | 4000/5A
iii) | PS Class CT
18.x.iii.3 | 3000/1A
18.x.iii.4 | 4000/1A
18.x.iii.7 | 3000/5A
18.x.iii.8 | 4000/5A
y) | Voltage Transformer
18.y.1 | 415/Ö3 : 110/Ö3V, 1ph, 50VA
18.y.2 | 415/Ö3 : 110/Ö3V, 1ph, 100VA
18.y.3 | 415/Ö3 : 240/Ö3V, 1ph, 50VA
18.y.4 | 415/Ö3 : 240/Ö3V, 1ph, 100VA
z) | Toggle switch (16A)
aa) | Secondary Isolating Contact Block
ab) | Control Terminal (Fixed)
ac) | Thermostat
ad) | CONTROL TRANSFORMER
18.ad.1 | 415/240V,CL-E, 1 KVA
18.ad.2 | 415/240V,CL-E, 2KVA
18.ad.3 | 415/240V,CL-E, 2.5KVA
18.ad.4 | 415/240V,CL-E, 3KVA
18.ad.7 | 415/110V,CL-E, 1 KVA
18.ad.8 | 415/110V,CL-E, 2KVA
18.ad.9 | 415/110V,CL-E, 2.5KVA
18.ad.10 | 415/110V,CL-E, 3KVA
ae) | TRANSDUCER
18.ae.1 | 4-20mA Dual o/p, Aux sup 220V DC, 1A, Current Transducer
18.ae.2 | 4-20mA Dual o/p, Aux sup 240V AC, 1A, Current Transducer
18.ae.3 | 4-20mA Dual o/p, Aux sup 110V AC, 1A, Current Transducer
18.ae.4 | 4-20mA Dual o/p, Aux sup 220V DC, VoltageTransducer, PTR 415/110V
18.ae.5 | 4-20mA Dual o/p, Aux sup 240V AC, VoltageTransducer, PTR 415/110V
18.ae.6 | 4-20mA Dual o/p, Aux sup 110V AC, VoltageTransducer, PTR 415/110V
18.af | Interposing relay RE 302 or Eqvt with freewheeling diode & LED
18.ag | Laptop PC alongwith software & hardware
18.ah | 3 PIN SOCKET - 5A, 110V AC, 3PIN
18.ai | THERMOSTATE, DIAL TYPE
18.aj | SPACE HEATER
18.ak | CFL WITH HOLDER
18.al | NEUTRAL LINK
18.al.1 | 20A FOR CONTROL CKT. & POWER CKT. UPTO 25A MCCB RATING
18.al.2 | 32A FOR 50A MCCB RATING
18.al.3 | 63A FOR 100A & 125A MCCB RATING
18.al.4 | 125A FOR 250A MCCB RATING
18.al.5 | 250A FOR 400A & 500A MCCB RATING
18.am | CASTLE KEY INTERLOCK FOR MCCB - 3LOCK+2KEY
18.an | MECHANICAL INTERLOCK FOR POWER CONTACTOR
18.an.1 | 16A
18.an.2 | 25A
18.an.3 | 32A
18.an.4 | 63A
18.an.5 | 80A
18.an.6 | 115A
18.an.7 | 150A
18.an.8 | 185A
18.an.9 | 265A
18.an.10 | 315A
18.an.11 | 400A
18.ao | AUX. CONTACTOR
18.ao.1 | 2NO+2NC, CV-220V DC
18.ao.2 | 4NO, CV-220V DC
18.ao.3 | 2NO+2NC, CV-240V AC
18.ao.4 | 3NO+1NC, CV-240V AC
18.ao.5 | 2NO+2NC, CV-110V AC
18.ao.6 | 3NO+1NC, CV-110V AC
18.ao.7 | 1NO + 1NC 240V AC
18.ao.8 | 1NO + 1NC 110V AC
18.ao.9 | 1NO + 1NC 220V DC
18.ao.10 | 1NO 240V AC
18.ao.11 | 1NO 110V AC
18.ao.12 | 1NO 220V DC
19 | Foundation Frame
19.a | MCC panel
19.a.1 | upto 1600A (SF)
19.a.3 | 3000A (SF)
19.a.4 | 4000A (SF)
19.a.5 | upto 1600A (DF)
19.a.7 | 3000A (DF)
19.a.8 | 4000A (DF)
20 | Connection from PMCC/MCC panel to PMCC/MCC panel Bus bar Link per meter cost
20.a.1 | 250A
20.a.2 | 400A
20.a.3 | 630A
20.a.4 | 800A
20.a.5 | 1000A
20.a.6 | 1600A
20.a.7 | 2500A
20.a.8 | 3000A
20.a.9 | 4000A
21 | Cable Glands & Lugs:
a) | Single Compression Cable Glands for cable sizes:
21.a.1 | 2C X 2.5 Sq. mm.
21.a.2 | 3C X 2.5 Sq. mm.
21.a.3 | 5C X 2.5 Sq. mm.
21.a.4 | 7C X 2.5 Sq. mm.
21.a.5 | 12C X 2.5 Sq. mm.
21.a.6 | 16C X 2.5 Sq. mm.
21.a.7 | 2C X 10 Sq. mm.
21.a.8 | 2C X 16 Sq. mm.
21.a.9 | 2C X 25 Sq. mm.
21.a.10 | 2C X 35 Sq. mm.
21.a.11 | 2C X 50 Sq. mm.
21.a.12 | 2C X 70 Sq. mm.
21.a.13 | 2C X 95 Sq. mm.
21.a.14 | 3C X 2.5 Sq. mm.
21.a.15 | 3C X 10 Sq. mm.
21.a.16 | 3C X 16 Sq. mm.
21.a.17 | 3C X 25 Sq. mm.
21.a.18 | 3C X 35 Sq. mm.
21.a.19 | 3C X 50 Sq. mm.
21.a.20 | 3C X 70 Sq. mm.
21.a.21 | 3C X 95 Sq. mm.
21.a.22 | 3C X 150 Sq. mm.
21.a.23 | 3C X 185 Sq. mm.
21.a.24 | 3C X 240 Sq. mm.
21.a.25 | 3.5C X 25 Sq. mm.
21.a.26 | 3.5C X 50 Sq. mm.
21.a.27 | 3.5C X 70 Sq. mm.
21.a.28 | 3.5C X 300 Sq. mm.
21.a.29 | 3.5C X 240 Sq. mm.
21.a.30 | 3.5C X 185 Sq. mm.
21.a.31 | 3.5C X 95 Sq. mm.
21.a.32 | 4C X 16 Sq. mm.
21.a.33 | 4C X 35 Sq. mm.
21.a.34 | 1C X 400 Sq. mm.
21.a.35 | 1C X 630 Sq. mm.
b) | Double Compression Cable Glands for cable sizes:
21.b.1 | 2C X 2.5 Sq. mm.
21.b.2 | 3C X 2.5 Sq. mm.
21.b.3 | 5C X 2.5 Sq. mm.
21.b.4 | 7C X 2.5 Sq. mm.
21.b.5 | 12C X 2.5 Sq. mm.
21.b.6 | 16C X 2.5 Sq. mm.
21.b.7 | 2C X 10 Sq. mm.
21.b.8 | 2C X 16 Sq. mm.
21.b.9 | 2C X 25 Sq. mm.
21.b.10 | 2C X 35 Sq. mm.
21.b.11 | 2C X 50 Sq. mm.
21.b.12 | 2C X 70 Sq. mm.
21.b.13 | 2C X 95 Sq. mm.
21.b.14 | 3C X 2.5 Sq. mm.
21.b.15 | 3C X 10 Sq. mm.
21.b.16 | 3C X 16 Sq. mm.
21.b.17 | 3C X 25 Sq. mm.
21.b.18 | 3C X 35 Sq. mm.
21.b.19 | 3C X 50 Sq. mm.
21.b.20 | 3C X 70 Sq. mm.
21.b.21 | 3C X 95 Sq. mm.
21.b.22 | 3C X 150 Sq. mm.
21.b.23 | 3C X 185 Sq. mm.
21.b.24 | 3C X 240 Sq. mm.
21.b.25 | 3.5C X 25 Sq. mm.
21.b.26 | 3.5C X 50 Sq. mm.
21.b.27 | 3.5C X 70 Sq. mm.
21.b.28 | 3.5C X 300 Sq. mm.
21.b.29 | 3.5C X 240 Sq. mm.
21.b.30 | 3.5C X 185 Sq. mm.
21.b.31 | 3.5C X 95 Sq. mm.
21.b.32 | 4C X 16 Sq. mm.
21.b.33 | 4C X 35 Sq. mm.
21.b.34 | 1C X 400 Sq. mm.
21.b.35 | 1C X 630 Sq. mm.
c) | Cable Lugs for sizes:
21.c.1 | 2.5 Sq. mm.
21.c.2 | 10 Sq. mm.
21.c.3 | 16 Sq. mm.
21.c.4 | 25 Sq. mm.
21.c.5 | 35 Sq. mm.
21.c.6 | 50 Sq. mm.
21.c.7 | 70 Sq. mm.
21.c.8 | 95 Sq. mm.
21.c.9 | 120 Sq. mm.
21.c.10 | 150 Sq. mm.
21.c.11 | 185 Sq. mm.
21.c.12 | 240 Sq. mm.
21.c.13 | 300 Sq. mm.
21.c.14 | 400 Sq. mm.
21.c.15 | 630 Sq. mm.
22 | Module Name plate
23 | Wires for Secondary wiring:
a) | 1.5 Sq. mm. per meter
b) | 2.5 Sq. mm. per meter
c) | 4.0 Sq. mm. per meter
24 | Control Terminal for Secondary wiring suitable for cable size:
a) | 0.5 Sq. mm.
b) | 1.5 Sq. mm.
c) | 2.5 Sq. mm.
25 | ISMC channels
a) | ISMC 75 channel per meter
a) | ISMC 100 channel per meter
26 | Ethernet Switch
a) | 8 PORT
b) | 16 PORT
27 | Meter
a) | 0-500A analog Ammeter
b) | 0-500V AC analog Voltmeter
28 | DC FUSEBOARD Panel (Single Front Fixed type)
a) | 63A