## Annexure B1-FGD SERV PMCC-1 (hidden)
BOARD NAME: 415V FGD SERVICE PMCC-SEC 1, #0DC
CURRENT RATING: 3200A
TOP/SIDE NSPB ENTRY
DOUBLE FRONT DRAW OUT TYPE
FLOOR MOUNTED
SL NO | DESCRIPTION | FEEDER TYPE | QUANTITY | Unit Price | Total Price
1 | Incomer-1 3200A | DAET (I/C) |  | #REF! | #REF!
2 | Incomer-2 3200A | DAET (I/C) |  | #REF! | #REF!
5 | Bus PT-50VA | G1 |  | #REF! | #REF!
6 | CST-2kVA | CS |  | #REF! | #REF!
Power (A)
7 | 16 | E1 |  | #REF! | #REF!
8 | 32 | E1 |  | #REF! | #REF!
9 | 16 | E/E3 |  | #REF! | #REF!
10 | 32 | E/E3 |  | #REF! | #REF!
11 | 63 | E/E3 |  | #REF! | #REF!
| 125 | E/E3 |  | #REF! | #REF!
12 | 160 | E/E3 |  | #REF! | #REF!
13 | 250 | E/E3 |  | #REF! | #REF!
14 | 1000 | DAE (O/G) |  | #REF! | #REF!
DOL (KW)
15 | UPTO 5.5KW | DK2 |  | #REF! | #REF!
16 | 13.1-24.0 | DK2 |  | #REF! | #REF!
17 | 30.0-37.0 | DK21 |  | #REF! | #REF!
18 | 40-55.0 | DK21 |  | #REF! | #REF!
19 | 50-75 KW | DK21 |  | #REF! | #REF!
| 125KW | DM |  | #REF! | #REF!
20 | ACB Panel | 3200 / 3200A |  | #REF! | #REF!
21 | ACB Panel | 3200 / 1000A |  | #REF! | #REF!
21 | ACB Panel | 3200 / 630A |  | #REF! | #REF!
22 | MCC Panel-DFDO | 3200 / 630A |  | #REF! | #REF!
|  | TOTAL |  |  | #REF!

## Annexure B2-FGD SERV PMCC-2 (hidden)
BOARD NAME: 415V FGD SERVICE PMCC-SEC 2, #0DC
CURRENT RATING: 3200A
TOP/SIDE NSPB ENTRY
DOUBLE FRONT DRAW OUT TYPE
FLOOR MOUNTED
SL NO | DESCRIPTION | FEEDER TYPE | QUANTITY | Unit Price | Total Price
1 | Incomer-1 3200A | DAET (I/C) |  | #REF! | #REF!
2 | Incomer-2 3200A | DAET (I/C) |  | #REF! | #REF!
5 | Bus PT-50VA | G1 |  | #REF! | #REF!
6 | CST-2kVA | CS |  | #REF! | #REF!
Power (A)
7 | 16 | E1 |  | #REF! | #REF!
8 | 63 | E1 |  | #REF! | #REF!
9 | 16 | E/E3 |  | #REF! | #REF!
10 | 32 | E/E3 |  | #REF! | #REF!
11 | 63 | E/E3 |  | #REF! | #REF!
| 125 | E/E3 |  | #REF! | #REF!
12 | 160 | E/E3 |  | #REF! | #REF!
13 | 250 | E/E3 |  | #REF! | #REF!
14 | 1000 | DAE (O/G) |  | #REF! | #REF!
DOL (KW)
15 | UPTO 5.5KW | DK2 |  | #REF! | #REF!
16 | 13.1-24.0 | DK2 |  | #REF! | #REF!
17 | 30.0-37.0 | DK21 |  | #REF! | #REF!
18 | 40-55.0 | DK21 |  | #REF! | #REF!
19 | 50-75 KW | DK21 |  | #REF! | #REF!
| 125KW | DM |  | #REF! | #REF!
20 | ACB Panel | 3200 / 3200A |  | #REF! | #REF!
21 | ACB Panel | 3200 / 1000A |  | #REF! | #REF!
21 | ACB Panel | 3200 / 630A |  | #REF! | #REF!
22 | MCC Panel-DFDO | 3200 / 630A |  | #REF! | #REF!
|  | TOTAL |  |  | #REF!

## Main Price Schedule
TENDER NO. 12304152and12304167
SUPPLY OF ENCLOSURES WITH BUS BAR, AIR CIRCUIT BRAKER & CT OF LV SWITCHBOARD
| S.NO. | PROJECT NAME | Project BOQ Sl. No. | ITEM CODE | MATERIAL CODE | DESCRIPTION OF BOARD | QTY | UOM | Quoted / Not-quoted | Unit Ex-Works Price including P&F Charges [Quoted/ Not Quoted] | Total Ex-Works Price including P&F Charges [Quoted/ Not Quoted] | Freight % (in percentage) | Unit Freight Amount [Quoted/ Not Quoted] | Total Freight Amount [Quoted/ Not Quoted] | Total Ex-Works Price including P&F Charges + Freight Amount [Quoted/ Not Quoted] | GST % (in percentage) | GST Amount [Quoted/ Not Quoted] | TOTAL [Quoted/ Not Quoted]
[7 empty] | A |  |  | B | C=AxB | D | E=BxD | F=AxE | G=C+F | H | I=HxG | J=G+I
| 1 | Kothagudem | 1 | Kothagudem1 | ENCA3200ACBCT1 | 3200/3200A ACB I/C VERTICAL TOP BDE WITH ACB & CT | 2 | No
| 2 | Kothagudem | 2 | Kothagudem2 | ENCA3200ACBCT2 | 3200/3200A ACB B/C VERTICAL WITH ACB & CT | 1 | No
| 3 | Kothagudem | 3 | Kothagudem3 | ENCA3000ACBCT1 | 3000/3000A ACB I/C VERTICAL TOP BDE WITH ACB & CT | 4 | No
| 4 | Kothagudem | 4 | Kothagudem4 | ENCA3000ACBCT2 | 3000/3000A ACB BUSCOUPLER VERTICAL WITH ACB & CT | 2 | No
| 5 | Kothagudem | 5 | Kothagudem5 | ENCA1250ACBCT1 | 1250/1250A ACB VERTICAL CABLE ENTRY WITH ACB & CT | 2 | No
| 6 | Kothagudem | 6 | Kothagudem6 | ENCA1250ACBCT2 | 1250/1250A ACB BUSCOUPLER VERT WITH ACB & CT | 1 | No
| 7 | Kothagudem | 7 | Kothagudem7 | ENCDD3206 | 3200/630A DFDO VERTICAL | 26 | No
| 8 | Kothagudem | 8 | Kothagudem8 | ENCDD3006 | 3000/630A DFDO VERTICAL | 29 | No
| 9 | Kothagudem | 9 | Kothagudem9 | ENCDD1206 | 1250/630A DFDO VERTICAL | 11 | No
| 10 | Kothagudem | 10 | Kothagudem10 | ENCDD0606 | 630/630A DFDO VERTICAL | 20 | No
| 11 | Kothagudem | 11 | Kothagudem11 | ENCDF0606 | 630/630A DF FIXED VERTICAL | 4 | No
| 12 | Kothagudem | 12 | Kothagudem12 | ENCA3012ACBCT1 | 3000/1250A ACB OG VERTICAL WITH ACB & CT | 1 | No
| 13 | Kothagudem | 13 | Kothagudem13 | ENCA3063ACBCT1 | 3000/630A ACB OG VERTICAL WITH ACB & CT | 3 | No
| 14 | Kothagudem | 14 | Kothagudem14 | DOM400CCCT1 | DRAW-OUT MODULE,400A MCCB I/C WITH CT | 4 | No
| 15 | Kothagudem | 15 | Kothagudem15 | DOM400E3BCCT1 | DRAW-OUT MODULE, 400A MCCB B/C WITH CT | 2 | No
| 16 | Kothagudem | 16 | Kothagudem16 | FIM100DCINCT | FIXED MODULE FOR 100A DC I/C WITH CT | 6 | No
| 17 | Kothagudem | 17 | Kothagudem17 | FIM100DCBCCT | FIXED MODULE FOR 100A DC B/C WITH CT | 3 | No
| 18 | Kothagudem | 18 | Kothagudem18 | DOM75D00M | DRAW-OUT MODULE FOR 75KW MOTOR FEEDER | 4 | No
| 19 | Kothagudem | 19 | Kothagudem19 | DOM45D00M | DRAW-OUT MODULE FOR 45KW MOTOR FEEDER | 3 | No
| 20 | Kothagudem | 20 | Kothagudem20 | DOM37D00M | DRAW-OUT MODULE FOR 37KW MOTOR FEEDER | 6 | No
| 21 | Kothagudem | 21 | Kothagudem21 | DOM30D00M | DRAW-OUT MODULE FOR 30KW MOTOR FEEDER | 7 | No
| 22 | Kothagudem | 22 | Kothagudem22 | DOM22D00M | DRAW-OUT MODULE FOR 22KW MOTOR FEEDER | 10 | No
| 23 | Kothagudem | 23 | Kothagudem23 | DOM18D50M | DRAW-OUT MODULE FOR 18.5KW MOTOR FEEDER | 9 | No
| 24 | Kothagudem | 24 | Kothagudem24 | DOM15D00M | DRAW-OUT MODULE FOR 15KW MOTOR FEEDER | 23 | No
| 25 | Kothagudem | 25 | Kothagudem25 | DOM11D00M | DRAW-OUT MODULE FOR 11KW MOTOR FEEDER | 7 | No
| 26 | Kothagudem | 26 | Kothagudem26 | DOM09D30M | DRAW-OUT MODULE FOR 9.3KW MOTOR FEEDER | 3 | No
| 27 | Kothagudem | 27 | Kothagudem27 | DOM07D50M | DRAW-OUT MODULE FOR 7.5KW MOTOR FEEDER | 15 | No
| 28 | Kothagudem | 28 | Kothagudem28 | DOM05D50M | DRAW-OUT MODULE FOR 5.5KW MOTOR FEEDER | 6 | No
| 29 | Kothagudem | 29 | Kothagudem29 | DOM04D00M | DRAW-OUT MODULE FOR 4KW MOTOR FEEDER | 3 | No
| 30 | Kothagudem | 30 | Kothagudem30 | DOM03D70M | DRAW-OUT MODULE FOR 3.7KW MOTOR FEEDER | 10 | No
| 31 | Kothagudem | 31 | Kothagudem31 | DOM00D75M | DRAW-OUT MODULE FOR 0.75KW MOTOR FEEDER | 10 | No
| 32 | Kothagudem | 32 | Kothagudem32 | DOM00D37M | DRAW-OUT MODULE FOR 0.37KW MOTOR FEEDER | 4 | No
| 33 | Kothagudem | 33 | Kothagudem33 | DOM00D25M | DRAW-OUT MODULE FOR 0.25KW MOTOR FEEDER | 3 | No
| 34 | Kothagudem | 34 | Kothagudem34 | DOM00D15M | DRAW-OUT MODULE FOR 0.15KW MOTOR FEEDER | 3 | No
| 35 | Kothagudem | 35 | Kothagudem35 | DOM75D00R | DRAW-OUT MODULE FOR 75KW RDOL FEEDER | 3 | No
| 36 | Kothagudem | 36 | Kothagudem36 | DOM11D00R | DRAW-OUT MODULE FOR 11KW RDOL FEEDER | 3 | No
| 37 | Kothagudem | 37 | Kothagudem37 | DOM01D10R | DRAW-OUT MODULE FOR 1.1KW RDOL FEEDER | 5 | No
| 38 | Kothagudem | 38 | Kothagudem38 | DOM55DR0M | DRAW-OUT MODULE 55KW DOL REACCELARION FEEDER | 3 | No
| 39 | Kothagudem | 39 | Kothagudem39 | DOM15DR0M | DRAW-OUT MODULE 15KW DOL REACCELARION FEEDER | 3 | No
| 40 | Kothagudem | 40 | Kothagudem40 | DOM7D5DR0M | DRAW-OUT MODULE 7.5KW DOL REACCELARION FEEDER | 5 | No
| 41 | Kothagudem | 41 | Kothagudem41 | DOM5D5DR0M | DRAW-OUT MODULE 5.5KW DOL REACCELARION FEEDER | 7 | No
| 42 | Kothagudem | 42 | Kothagudem42 | DOM3D7DR0M | DRAW-OUT MODULE 3.7KW DOL REACCELARION FEEDER | 4 | No
| 43 | Kothagudem | 43 | Kothagudem43 | DOM016AS | DRAW-OUT MODULE FOR 16A SUPPLY FEEDER 1PH | 104 | No
| 44 | Kothagudem | 44 | Kothagudem44 | DOM032AS | DRAW-OUT MODULE FOR 32A SUPPLY FEEDER 1PH | 24 | No
| 45 | Kothagudem | 45 | Kothagudem45 | DOM016AS | DRAW-OUT MODULE FOR 16A SUPPLY FEEDER 3PH | 192 | No
| 46 | Kothagudem | 46 | Kothagudem46 | DOM032AS | DRAW-OUT MODULE FOR 32A SUPPLY FEEDER 3PH | 49 | No
| 47 | Kothagudem | 47 | Kothagudem47 | DOM063AS | DRAW-OUT MODULE FOR 63A SUPPLY FEEDER | 86 | No
| 48 | Kothagudem | 48 | Kothagudem48 | DOM100AS | DRAW-OUT MODULE FOR 100A SUPPLY FEEDER | 35 | No
| 49 | Kothagudem | 49 | Kothagudem49 | DOM125AS | DRAW-OUT MODULE FOR 125A SUPPLY FEEDER | 16 | No
| 50 | Kothagudem | 50 | Kothagudem50 | DOM200AS | DRAW-OUT MODULE FOR 200A SUPPLY FEEDER | 14 | No
| 51 | Kothagudem | 51 | Kothagudem51 | DOM400AS | DRAW-OUT MODULE FOR 400A SUUPLY FEEDER | 6 | No
| 52 | Kothagudem | 52 | Kothagudem52 | DOM016AH | DRAW-OUT MODULE FOR 16A HEATER FEEDER 1PH | 4 | No
| 53 | Kothagudem | 53 | Kothagudem53 | DOM016AH | DRAW-OUT MODULE FOR 16A HEATER FEEDER 3PH | 10 | No
| 54 | Kothagudem | 54 | Kothagudem54 | DOM032AH | DRAW-OUT MODULE FOR 32A HEATER FEEDER | 3 | No
| 55 | Kothagudem | 55 | Kothagudem55 | FIM016AS | FIXED MODULE FOR 16A SUPPLY FEEDER | 12 | No
| 56 | Kothagudem | 56 | Kothagudem56 | FIM032AS | FIXED MODULE FOR 32A SUPPLY FEEDER | 8 | No
| 57 | Kothagudem | 57 | Kothagudem57 | FIM063AS | FIXED MODULE FOR 63A SUPPLY FEEDER | 3 | No
| 58 | Kothagudem | 58 | Kothagudem58 | FIM100AS | FIXED MODULE FOR 100A SUPPLY FEEDER | 1 | No
| 59 | Kothagudem | 59 | Kothagudem59 | WMACFDBM3 | WALLMOUNTED ACFUSE DB100A WITH 24 OUTG/O | 1 | No
| 60 | Kothagudem | 60 | Kothagudem60 | WMACFDBM4 | WALLMOUNTED ACFUSE DB100A WITH 16 OUTG/O | 1 | No
| 61 | Kothagudem | 61 | Kothagudem61 | WMACFDBM5 | WALLMOUNTED ACFUSE DB63A WITH 24 OUTG/O | 2 | No
| 62 | Kothagudem | 62 | Kothagudem62 | WMACFDBM6 | WALLMOUNTED ACFUSE DB63A WITH 16 OUTG/O | 2 | No
| 63 | Kothagudem | 63 | Kothagudem63 | WMDCFDBM5 | WALL MOUNTED DC FUSE DB 63A WITH 24 OUTG | 1 | No
| 64 | Kothagudem | 64 | Kothagudem64 | WMDCFDBM6 | WALL MOUNTED DC FUSE DB 63A WITH 16 OUTG | 1 | No
| 65 | Kothagudem | 65 | Kothagudem65 | DOMBUSPT | DRAW-OUT MODULE FOR BUS PT | 10 | No
| 66 | Kothagudem | 66 | Kothagudem66 | DOMDGBPT | DRAW-OUT MODULE FOR DG BUS PT | 2 | No
| 67 | Kothagudem | 67 | Kothagudem67 | FIMTESTSUP | FIXED MODULE FOR TEST SUPPLY | 6 | No
| 68 | Kothagudem | 68 | Kothagudem68 | FIMSHTRSUP | FIXED MODULE FOR SPACE HEATER SUPPLY | 12 | No
| 69 | Kothagudem | 69 | Kothagudem69 | FIMESSSUP | FIXED MODULE FOR ESSENTIAL SUPPLY | 6 | No
| 70 | Bhadradri | 1 | Bhadradri1 | ENCA3200ACBCT1 | 3200/3200A I/C VERT WITH ACB & CT | 2 | EA
| 71 | Bhadradri | 2 | Bhadradri2 | ENCA2500ACBCT1 | 2500/2500A I/C VERT WITH ACB & CT | 12 | EA
| 72 | Bhadradri | 3 | Bhadradri3 | ENCA2000ACBCT1 | 2000/2000A I/C VERT WITH ACB & CT | 2 | EA
| 73 | Bhadradri | 4 | Bhadradri4 | ENCA3200ACBCT2 | 3200/3200A B/C VERT WITH ACB & CT | 1 | EA
| 74 | Bhadradri | 5 | Bhadradri5 | ENCA2500ACBCT2 | 2500/2500A B/C VERT WITH ACB & CT | 6 | EA
| 75 | Bhadradri | 6 | Bhadradri6 | ENCA2000ACBCT2 | 2000/2000A B/C VERT WITH ACB & CT | 1 | EA
| 76 | Bhadradri | 7 | Bhadradri7 | ENCA2520ACBCT1 | 2500/2000A ACB OG VERT WITH ACB & CT | 2 | EA
| 77 | Bhadradri | 8 | Bhadradri8 | ENCA2506ACBCT1 | 2500/630A ACB OG VERT WITH ACB & CT | 3 | EA
| 78 | Bhadradri | 9 | Bhadradri9 | ENCDD3206 | 3200/630A DFDO VERTICAL | 14 | EA
| 79 | Bhadradri | 10 | Bhadradri10 | ENCDD2506 | 2500/630A DFDO VERTICAL | 109 | EA
| 80 | Bhadradri | 11 | Bhadradri11 | ENCDD2006 | 2000/630A DFDO VERTICAL | 17 | EA
| 81 | Bhadradri | 12 | Bhadradri12 | ENCDD0606 | 630/630A DFDO VERTICAL | 18 | EA
| 82 | Bhadradri | 13 | Bhadradri13 | ENCDF0606 | 630/630A DF FIXED VERTICAL | 13 | EA
| 83 | Bhadradri | 14 | Bhadradri14 | DOM400CC | DRAW-OUT MODULE FOR 400A CC INCOMER | 1 | EA
| 84 | Bhadradri | 15 | Bhadradri15 | DOM400CCCT1 | DRAW-OUT MODULE,400A MCCB I/C WITH CT | 4 | EA
| 85 | Bhadradri | 16 | Bhadradri16 | DOM400E3BCCT1 | DRAW-OUT MODULE, 400A MCCB B/C WITH CT | 2 | EA
| 86 | Bhadradri | 17 | Bhadradri17 | FIM100DCINCT | FIXED MODULE FOR 100A DC I/C WITH CT | 6 | EA
| 87 | Bhadradri | 18 | Bhadradri18 | FIM100DCBCCT | FIXED MODULE FOR 100A DC B/C WITH CT | 3 | EA
| 88 | Bhadradri | 19 | Bhadradri19 | FIM063DCIN | FIXED MODULE FOR 63A DC INCOMER | 2 | EA
| 89 | Bhadradri | 20 | Bhadradri20 | FIM063DCBC | FIXED MODULE FOR 63A DC BUSCOUPLER | 1 | EA
| 90 | Bhadradri | 21 | Bhadradri21 | DOMBUSPT | DRAW-OUT MODULE FOR BUS PT | 18 | EA
| 91 | Bhadradri | 22 | Bhadradri22 | DOMDGBPT | DRAW-OUT MODULE FOR DG BUS PT | 2 | EA
| 92 | Bhadradri | 23 | Bhadradri23 | DOM90D00M | DRAW-OUT MODULE FOR 90KW MOTOR FEEDER | 3 | EA
| 93 | Bhadradri | 24 | Bhadradri24 | DOM75D00M | DRAW-OUT MODULE FOR 75KW MOTOR FEEDER | 16 | EA
| 94 | Bhadradri | 25 | Bhadradri25 | DOM55D00M | DRAW-OUT MODULE FOR 55KW MOTOR FEEDER | 3 | EA
| 95 | Bhadradri | 26 | Bhadradri26 | DOM45D00M | DRAW-OUT MODULE FOR 45KW MOTOR FEEDER | 19 | EA
| 96 | Bhadradri | 27 | Bhadradri27 | DOM37D00M | DRAW-OUT MODULE FOR 37KW MOTOR FEEDER | 17 | EA
| 97 | Bhadradri | 28 | Bhadradri28 | DOM30D00M | DRAW-OUT MODULE FOR 30KW MOTOR FEEDER | 10 | EA
| 98 | Bhadradri | 29 | Bhadradri29 | DOM22D00M | DRAW-OUT MODULE FOR 22KW MOTOR FEEDER | 34 | EA
| 99 | Bhadradri | 30 | Bhadradri30 | DOM18D50M | DRAW-OUT MODULE FOR 18.5KW MOTOR FEEDER | 16 | EA
| 100 | Bhadradri | 31 | Bhadradri31 | DOM15D00M | DRAW-OUT MODULE FOR 15KW MOTOR FEEDER | 25 | EA
| 101 | Bhadradri | 32 | Bhadradri32 | DOM11D00M | DRAW-OUT MODULE FOR 11KW MOTOR FEEDER | 17 | EA
| 102 | Bhadradri | 33 | Bhadradri33 | DOM07D50M | DRAW-OUT MODULE FOR 7.5KW MOTOR FEEDER | 39 | EA
| 103 | Bhadradri | 34 | Bhadradri34 | DOM05D50M | DRAW-OUT MODULE FOR 5.5KW MOTOR FEEDER | 56 | EA
| 104 | Bhadradri | 35 | Bhadradri35 | DOM03D70M | DRAW-OUT MODULE FOR 3.7KW MOTOR FEEDER | 17 | EA
| 105 | Bhadradri | 36 | Bhadradri36 | DOM03D070M | DRAW-OUT MODULE FOR 3KW MOTOR FEEDER | 3 | EA
| 106 | Bhadradri | 37 | Bhadradri37 | DOM02D20M | DRAW-OUT MODULE FOR 2.2KW MOTOR FEEDER | 21 | EA
| 107 | Bhadradri | 38 | Bhadradri38 | DOM01D50M | DRAW-OUT MODULE FOR 1.5KW MOTOR FEEDER | 8 | EA
| 108 | Bhadradri | 39 | Bhadradri39 | DOM01D20M | DRAW-OUT MODULE FOR 1.2KW MOTOR FEEDER | 19 | EA
| 109 | Bhadradri | 40 | Bhadradri40 | DOM01D10M | DRAW-OUT MODULE FOR 1.1KW MOTOR FEEDER | 7 | EA
| 110 | Bhadradri | 41 | Bhadradri41 | DOM00D75M | DRAW-OUT MODULE FOR 0.75KW MOTOR FEEDER | 19 | EA
| 111 | Bhadradri | 42 | Bhadradri42 | DOM00D55M | DRAW-OUT MODULE FOR 0.55KW MOTOR FEEDER | 4 | EA
| 112 | Bhadradri | 43 | Bhadradri43 | DOM00D37M | DRAW-OUT MODULE FOR 0.37KW MOTOR FEEDER | 13 | EA
| 113 | Bhadradri | 44 | Bhadradri44 | DOM00D15M | DRAW-OUT MODULE FOR 0.15KW MOTOR FEEDER | 3 | EA
| 114 | Bhadradri | 45 | Bhadradri45 | DOM11D00R | DRAW-OUT MODULE FOR 11KW RDOL FEEDER | 3 | EA
| 115 | Bhadradri | 46 | Bhadradri46 | DOM02D20R | DRAW-OUT MODULE FOR 2.2KW RDOL FEEDER | 2 | EA
| 116 | Bhadradri | 47 | Bhadradri47 | DOM01D10R | DRAW-OUT MODULE FOR 1.1KW RDOL FEEDER | 5 | EA
| 117 | Bhadradri | 48 | Bhadradri48 | DOM016AS | DRAW-OUT MODULE FOR 16A SUPPLY FEEDER 1PH | 117 | EA
| 118 | Bhadradri | 49 | Bhadradri49 | DOM016AS | DRAW-OUT MODULE FOR 16A SUPPLY FEEDER 3PH | 377 | EA
| 119 | Bhadradri | 50 | Bhadradri50 | DOM032AS | DRAW-OUT MODULE FOR 32A SUPPLY FEEDER 3PH | 90 | EA
| 120 | Bhadradri | 51 | Bhadradri51 | DOM063AS | DRAW-OUT MODULE FOR 63A SUPPLY FEEDER | 71 | EA
| 121 | Bhadradri | 52 | Bhadradri52 | DOM100AS | DRAW-OUT MODULE FOR 100A SUPPLY FEEDER | 18 | EA
| 122 | Bhadradri | 53 | Bhadradri53 | DOM160AS | DRAW-OUT MODULE FOR 160A SUPPLY FEEDER | 15 | EA
| 123 | Bhadradri | 54 | Bhadradri54 | DOM200AS | DRAW-OUT MODULE FOR 200A SUPPLY FEEDER | 5 | EA
| 124 | Bhadradri | 55 | Bhadradri55 | DOM400AS | DRAW-OUT MODULE FOR 400A SUUPLY FEEDER | 9 | EA
| 125 | Bhadradri | 56 | Bhadradri56 | DOM016AH | DRAW-OUT MODULE FOR 16A HEATER FEEDER 3PH | 19 | EA
| 126 | Bhadradri | 57 | Bhadradri57 | DOM032AH | DRAW-OUT MODULE FOR 32A HEATER FEEDER | 4 | EA
| 127 | Bhadradri | 58 | Bhadradri58 | DOM125AH | DRAW-OUT MODULE FOR 125A HEATER FEEDER | 8 | EA
| 128 | Bhadradri | 59 | Bhadradri59 | FIM016AS | FIXED MODULE FOR 16A SUPPLY FEEDER | 96 | EA
| 129 | Bhadradri | 60 | Bhadradri60 | FIM032AS | FIXED MODULE FOR 32A SUPPLY FEEDER | 23 | EA
| 130 | Bhadradri | 61 | Bhadradri61 | FIM063AS | FIXED MODULE FOR 63A SUPPLY FEEDER | 12 | EA
| 131 | Bhadradri | 62 | Bhadradri62 | FIMDCMET | FIXED MODULE FOR DC METERING | 2 | EA
| 132 | Bhadradri | 63 | Bhadradri63 | FIMTESTSUP | FIXED MODULE FOR TEST SUPPLY | 20 | EA
| 133 | Bhadradri | 64 | Bhadradri64 | FIMSHTRSUP | FIXED MODULE FOR SPACE HEATER SUPPLY | 20 | EA
| 134 | Bhadradri | 65 | Bhadradri65 | FIMESSSUP | FIXED MODULE FOR ESSENTIAL SUPPLY | 20 | EA
| 135 | Bhadradri | 66 | Bhadradri66 | WMACFDBM3 | WALL MOUNTED AC FUSE DB 100A WITH 24 OUTGOINGS | 1 | EA
| 136 | Bhadradri | 67 | Bhadradri67 | WMACFDBM4 | WALL MOUNTED AC FUSE DB 100A WITH 16 OUTGOINGS | 1 | EA
| 137 | Bhadradri | 68 | Bhadradri68 | WMACFDBM5 | WALL MOUNTED AC FUSE DB 63A WITH 24 OUTGOINGS | 1 | EA
| 138 | Bhadradri | 69 | Bhadradri69 | WMACFDBM6 | WALL MOUNTED AC FUSE DB 63A WITH 16 OUTGOINGS | 1 | EA
| 139 | Bhadradri | 70 | Bhadradri70 | WMDCFDBM3 | WALL MOUNTED DC FUSE DB 100A WITH 24 OUTGOINGS | 1 | EA
| 140 | Bhadradri | 71 | Bhadradri71 | WMDCFDBM4 | WALL MOUNTED DC FUSE DB 100A WITH 16 OUTGOINGS | 1 | EA
| 141 | Bhadradri | 72 | Bhadradri72 | WMDCFDBM5 | WALL MOUNTED DC FUSE DB 63A WITH 24 OUTGOINGS | 1 | EA
| 142 | Bhadradri | 73 | Bhadradri73 | WMDCFDBM6 | WALL MOUNTED DC FUSE DB 63A WITH 16 OUTGOINGS | 1 | EA
| A | TOTAL (Sl no. 1 to 142) in figures | bar: B; D to E=BxD; H
| B |  |  |  | TOTAL (Sl no. 1 to 142) in words | bar: B; D to E=BxD; H
NOTES:
1 | For Kothagudem Project the Material required as per technical specification doc BHEL-CPBG-TS-ENC-CPJ015 REV-00, Bidder has to submit the GA & IGA drawing of all the 07 switchboards and wiring diagram for the fuse DB as per load list mentioned in the technical specification. All the technical details of ACB & CT are mentioned in the technical specification sheet. Make of ACB is L&T and Make of CT is Precise Electricals. For any other make will approach to customer for approval.
2 | For Bhadradri Project the material required as per technical specification doc BHEL-CPBG-TS-ENC-CPJ016 REV-00, Bidder has to submit the GA & IGA drawing of all the 12 switchboards and wiring diagram for the fuse DB as per load list mentioned in the technical specification. All the technical details of ACB & CT are mentioned in the technical specification sheet. Make of ACB is L&T and make of CT is PRECISE Electricals. For any other make will approach to customer for approval.
3 | Bidder to mention "Quoted" in the Unpriced BOQ including the addition deletion list for Kothagudem and Bhadradri Project and submit along with Techno-commercial Bid (Part-1).
4 | Bidder to mention Prices in the priced BOQ including the addition deletion list for Kothagudem and Bhadradri Project and submit along with Financial Bid (Part-2).
5 | For Kothagudem Project DFDO Vertical quantity may vary as per vendor design, hence Final qunatity as required by vendor based on design.

## Add del Kothagudem Project
UNPRICED SCHEDULE FOR ADDITION-DELETION LIST FOR FGD KOTHAGUDEM PROJECT
SL. NO | DESCRIPTION | Unit Ex-Works Price including P&F Charges (Quoted/ Not Quoted)
1 | 3200/3200A ACB INCOMER VERTICAL TOP BUSDUCT ENTRY
2 | 3000/3000A ACB INCOMER VERTICAL TOP BUSDUCT ENTRY
3 | 1250/1250A ACB INCOMER VERTICAL BOTTOM CABLE ENTRY
4 | 630/630A ACB INCOMER VERTICAL BOTTOM CABLE ENTRY
5 | 3200/3200A ACB BUSCOUPLER VERTICAL
6 | 3000/3000A ACB BUSCOUPLER VERTICAL
7 | 1250/1250A ACB BUSCOUPLER VERTICAL
8 | 630/630A ACB BUSCOUPLER VERTICAL
9 | 3000/1250A ACB OG VERTICAL
10 | 3000/630A ACB OG VERTICAL
11 | 3200/630A DFDO VERTICAL
12 | 3000/630A DFDO VERTICAL
13 | 2500/630A DFDO VERTICAL
14 | 1250/630A DFDO VERTICAL
15 | 630/630A DFDO VERTICAL
16 | 630/630A DF FIXED VERTICAL
17 | DRAW-OUT MODULE FOR 0.15KW MOTOR FEEDER
18 | DRAW-OUT MODULE FOR 0.25KW MOTOR FEEDER
19 | DRAW-OUT MODULE FOR 0.37KW MOTOR FEEDER
20 | DRAW-OUT MODULE FOR 0.75KW MOTOR FEEDER
21 | DRAW-OUT MODULE FOR 3.7KW MOTOR FEEDER
22 | DRAW-OUT MODULE FOR 4KW MOTOR FEEDER
23 | DRAW-OUT MODULE FOR 5.5KW MOTOR FEEDER
24 | DRAW-OUT MODULE FOR 7.5KW MOTOR FEEDER
25 | DRAW-OUT MODULE FOR 9.3KW MOTOR FEEDER
26 | DRAW-OUT MODULE FOR 11KW MOTOR FEEDER
27 | DRAW-OUT MODULE FOR 15KW MOTOR FEEDER
28 | DRAW-OUT MODULE FOR 18.5KW MOTOR FEEDER
29 | DRAW-OUT MODULE FOR 22KW MOTOR FEEDER
30 | DRAW-OUT MODULE FOR 30KW MOTOR FEEDER
31 | DRAW-OUT MODULE FOR 37KW MOTOR FEEDER
32 | DRAW-OUT MODULE FOR 45KW MOTOR FEEDER
33 | DRAW-OUT MODULE FOR 75KW MOTOR FEEDER
34 | DRAW-OUT MODULE FOR 1.1KW RDOL FEEDER
35 | DRAW-OUT MODULE FOR 11KW RDOL FEEDER
36 | DRAW-OUT MODULE FOR 75KW RDOL FEEDER
37 | DRAW-OUT MODULE FOR 16A HEATER FEEDER
38 | DRAW-OUT MODULE FOR 32A HEATER FEEDER
39 | DRAW-OUT MODULE FOR 16A SUPPLY FEEDER
40 | DRAW-OUT MODULE FOR 32A SUPPLY FEEDER
41 | DRAW-OUT MODULE FOR 63A SUPPLY FEEDER
42 | DRAW-OUT MODULE FOR 100A SUPPLY FEEDER
43 | DRAW-OUT MODULE FOR 125A SUPPLY FEEDER
44 | DRAW-OUT MODULE FOR 200A SUPPLY FEEDER
45 | DRAW-OUT MODULE FOR 320A SUPPLY FEEDER
46 | DRAW-OUT MODULE FOR 400A SUPPLY FEEDER
47 | DRAW-OUT MODULE FOR 400A CC INCOMER
48 | DRRAW-OUT MODULE FOR 125A CC INCOMER
49 | DRAW-OUT MODULE FOR 400A SFU INCOMER
50 | DRAW-OUT MODULE FOR 125A SFU INCOMER
51 | DRAW-OUT MODULE FOR 63A SFU INCOMER
52 | DRAW-OUT MODULE FOR 400A BUSCOUPLER
53 | DRAW-OUT MODULE FOR 125A SFU BUSCOUPLER
54 | DRAW-OUT MODULE FOR 63A SFU BUSCOUPLER
55 | DRAW-OUT MODULE FOR BUS PT
56 | DRAW-OUT MODULE FOR DG BUS PT
57 | FIXED MODULE FOR 16A SUPPLY FEEDER
58 | FIXED MODULE FOR 32A SUPPLY FEEDER
59 | FIXED MODULE FOR 63A SUPPLY FEEDER
60 | FIXED MODULE FOR 100A SUPPLY FEEDER
61 | FIXED MODULE FOR 125A SUPPLY FEEDER
62 | FIXED MODULE FOR 125A CC INCOMER
63 | FIXED MODULE FOR 63A SFU INCOMER
64 | FIXED MODULE FOR BUS PT
65 | FIXED MODULE FOR DC METERING
66 | FIXED MODULE FOR 400A DC INCOMER
67 | FIXED MODULE FOR 250A DC INCOMER
68 | FIXED MODULE FOR 160A DC INCOMER
69 | FIXED MODULE FOR 125A DC INCOMER
70 | FIXED MODULE FOR 100A DC INCOMER
71 | FIXED MODULE FOR 63A DC INCOMER
72 | FIXED MODULE FOR 400A DC BUSCOUPLER
73 | FIXED MODULE FOR 250A DC BUSCOUPLER
74 | FIXED MODULE FOR 160A DC BUSCOUPLER
75 | FIXED MODULE FOR 125A DC BUSCOUPLER
76 | FIXED MODULE FOR 100A DC BUSCOUPLER
77 | FIXED MODULE FOR 63A DC BUSCOUPLER
78 | FIXED MODULE FOR TEST SUPPLY
79 | FIXED MODULE FOR SPACE HEATER SUPPLY
80 | FIXED MODULE FOR ESSENTIAL SUPPLY
81 | WALL MOUNTED AC FUSE DB 100A WITH 24 OUTGOINGS
82 | WALL MOUNTED AC FUSE DB 100A WITH 16 OUTGOINGS
83 | WALL MOUNTED AC FUSE DB 63A WITH 24 OUTGOINGS
84 | WALL MOUNTED AC FUSE DB 63A WITH 16 OUTGOINGS
85 | WALL MOUNTED DC FUSE DB 63A WITH 24 OUTGOINGS
86 | WALL MOUNTED DC FUSE DB 63A WITH 16 OUTGOINGS
87 | 300MM DUMMY PANEL-3200A
88 | 300MM DUMMY PANEL-3000A
89 | 300MM DUMMY PANEL-1250A
90 | 300MM DUMMY PANEL-630A
91 | LIRA CONTACT ASSEMBLY (BUSEND-MODULE END) 400A
92 | LIRA CONTACT ASSEMBLY (BUSEND-MODULE END) 250A
93 | LIRA CONTACT ASSEMBLY (BUSEND-MODULE END) 125A
94 | LIRA CONTACT ASSEMBLY (BUSEND-MODULE END) 63A
95 | LIRA CONTACT ASSEMBLY (BUSEND-MODULE END) 32A
96 | SIC CONTACTS FOR MODULE
97 | HBB BUSBAR INSULATOR OF EACH TYPE
98 | VBB BUSBAR INSULATOR
99 | MODULE DRAWOUT CONTACT SUPPORT INSULATOR-INCOMING
100 | MODULE DRAWOUT CONTACT SUPPORT INSULATOR-OUTGOING
Air Circuit Breaker without releases
101 | 630A ACB, 3P, EDO, AC
102 | 3200A ACB, 3P, EDO, AC
103 | 3000A ACB, 3P, EDO, AC
104 | 1250A ACB, 3P, EDO, AC
105 | 630A ACB, 4P, EDO, AC
106 | 3200A ACB, 4P, EDO, AC
107 | 3000A ACB, 4P, EDO, AC
108 | 1250A ACB, 4P, EDO, AC
Metering CT
109 | Upto 75/1A
110 | 100/1A
111 | 125/1A
112 | 150/1A
113 | 200/1A
114 | 300/1A
115 | 400/1A
116 | 630/1A
117 | 1250/1A
118 | 3000/1A
3200/1A
Protection CT (5P20)
119 | Upto 75/1A
120 | 100/1A
121 | 125/1A
122 | 150/1A
123 | 200/1A
124 | 300/1A
125 | 400/1A
126 | 630/1A
127 | 1250/1A
128 | 3000/1A
129 | 3200/1A
PS Class CT
130 | 3200/1A
131 | 3000/1A
132 | 3 PIN SOCKET - 5A, 110V AC, 3PIN
133 | THERMOSTATE, DIAL TYPE
134 | SPACE HEATER
135 | CFL WITH HOLDER
Daily 8 hour rate deployed at site:
136 | Engineer : (per day)
137 | Technician : (per day)

## Add del Bhadradri project
UNPRICED SCHEDULE FOR ADDITION-DELETION LIST FOR FGD BHEDRADRI PROJECT
SL. NO | DESCRIPTION | Unit Ex-Works Price including P&F Charges (Quoted/ Not Quoted)
1 | 3200/3200A ACB INCOMER VERTICAL TOP BUSDUCT ENTRY
2 | 2500/2500A ACB INCOMER VERTICAL TOP BUSDUCT ENTRY
3 | 2000/2000A ACB INCOMER VERTICAL TOP BUSDUCT ENTRY
4 | 2000/2000A ACB INCOMER VERTICAL BOTTOM CABLE ENTRY
5 | 630/630A ACB INCOMER VERTICAL BOTTOM CABLE ENTRY
6 | 3200/3200A ACB BUSCOUPLER VERTICAL
7 | 2500/2500A ACB BUSCOUPLER VERTICAL
8 | 2000/2000A ACB BUSCOUPLER VERTICAL
9 | 2000/2000A ACB BUSCOUPLER VERTICAL
10 | 630/630A ACB BUSCOUPLER VERTICAL
11 | 2500/2000A ACB OG VERTICAL
12 | 2500/630A ACB OG VERTICAL
13 | 3200/630A DFDO VERTICAL
14 | 2500/630A DFDO VERTICAL
15 | 2000/630A DFDO VERTICAL
16 | 630/630A DFDO VERTICAL
17 | 630/630A DF FIXED VERTICAL
18 | DRAW-OUT MODULE FOR 110KW MOTOR FEEDER
19 | DRAW-OUT MODULE FOR 90KW MOTOR FEEDER
20 | DRAW-OUT MODULE FOR 75KW MOTOR FEEDER
21 | DRAW-OUT MODULE FOR 55KW MOTOR FEEDER
22 | DRAW-OUT MODULE FOR 45KW MOTOR FEEDER
23 | DRAW-OUT MODULE FOR 37KW MOTOR FEEDER
24 | DRAW-OUT MODULE FOR 30KW MOTOR FEEDER
25 | DRAW-OUT MODULE FOR 22KW MOTOR FEEDER
26 | DRAW-OUT MODULE FOR 18.5KW MOTOR FEEDER
27 | DRAW-OUT MODULE FOR 15KW MOTOR FEEDER
28 | DRAW-OUT MODULE FOR 11KW MOTOR FEEDER
29 | DRAW-OUT MODULE FOR 7.5KW MOTOR FEEDER
30 | DRAW-OUT MODULE FOR 5.5KW MOTOR FEEDER
31 | DRAW-OUT MODULE FOR 3.7KW MOTOR FEEDER
32 | DRAW-OUT MODULE FOR 3KW MOTOR FEEDER
33 | DRAW-OUT MODULE FOR 2.2KW MOTOR FEEDER
34 | DRAW-OUT MODULE FOR 1.5KW MOTOR FEEDER
35 | DRAW-OUT MODULE FOR 1.2KW MOTOR FEEDER
36 | DRAW-OUT MODULE FOR 1.1KW MOTOR FEEDER
37 | DRAW-OUT MODULE FOR 0.75KW MOTOR FEEDER
38 | DRAW-OUT MODULE FOR 0.55KW MOTOR FEEDER
39 | DRAW-OUT MODULE FOR 0.37KW MOTOR FEEDER
40 | DRAW-OUT MODULE FOR 0.15KW MOTOR FEEDER
41 | DRAW-OUT MODULE FOR 11KW RDOL FEEDER
42 | DRAW-OUT MODULE FOR 2.2KW RDOL FEEDER
43 | DRAW-OUT MODULE FOR 1.1KW RDOL FEEDER
44 | DRAW-OUT MODULE FOR 16A SUPPLY FEEDER
45 | DRAW-OUT MODULE FOR 32A SUPPLY FEEDER
46 | DRAW-OUT MODULE FOR 63A SUPPLY FEEDER
47 | DRAW-OUT MODULE FOR 100A SUPPLY FEEDER
48 | DRAW-OUT MODULE FOR 160A SUPPLY FEEDER
49 | DRAW-OUT MODULE FOR 200A SUPPLY FEEDER
50 | DRAW-OUT MODULE FOR 400A SUUPLY FEEDER
51 | DRAW-OUT MODULE FOR 16A HEATER FEEDER
52 | DRAW-OUT MODULE FOR 32A HEATER FEEDER
53 | DRAW-OUT MODULE FOR 125A HEATER FEEDER
54 | FIXED MODULE FOR 16A SUPPLY FEEDER
55 | FIXED MODULE FOR 32A SUPPLY FEEDER
56 | FIXED MODULE FOR 63A SUPPLY FEEDER
57 | FIXED MODULE FOR 100A SUPPLY FEEDER
58 | FIXED MODULE FOR DC METERING
59 | FIXED MODULE FOR TEST SUPPLY
60 | FIXED MODULE FOR SPACE HEATER SUPPLY
61 | FIXED MODULE FOR ESSENTIAL SUPPLY
62 | WALL MOUNTED AC FUSE DB 100A WITH 24 OUTGOINGS
63 | WALL MOUNTED AC FUSE DB 100A WITH 16 OUTGOINGS
64 | WALL MOUNTED AC FUSE DB 63A WITH 24 OUTGOINGS
65 | WALL MOUNTED AC FUSE DB 63A WITH 16 OUTGOINGS
66 | WALL MOUNTED DC FUSE DB 100A WITH 24 OUTGOINGS
67 | WALL MOUNTED DC FUSE DB 100A WITH 16 OUTGOINGS
68 | WALL MOUNTED DC FUSE DB 63A WITH 24 OUTGOINGS
69 | WALL MOUNTED DC FUSE DB 63A WITH 16 OUTGOINGS
70 | DRAW-OUT MODULE,400A SFU/MCCB I/C WITH CT
71 | DRAW-OUT MODULE, 400A SFU/MCCB B/C WITH CT
72 | DRAW-OUT MODULE FOR 250A SFU/MCCB INCOMER
73 | FIXED MODULE FOR 100A DC I/C WITH CT
74 | FIXED MODULE FOR 100A DC B/C WITH CT
75 | FIXED MODULE FOR 63A DC INCOMER
76 | DRAW-OUT MODULE FOR BUS PT
77 | FIXED MODULE FOR BUS PT
78 | FIXED MODULE FOR DC METERING
79 | FIXED MODULE FOR 125A DC INCOMER
80 | FIXED MODULE FOR 100A DC INCOMER
81 | FIXED MODULE FOR 63A DC INCOMER
82 | FIXED MODULE FOR 100A DC BUSCOUPLER
83 | FIXED MODULE FOR 63A DC BUSCOUPLER
84 | FIXED MODULE FOR TEST SUPPLY
85 | FIXED MODULE FOR SPACE HEATER SUPPLY
86 | FIXED MODULE FOR ESSENTIAL SUPPLY
87 | WALL MOUNTED AC FUSE DB 100A WITH 24 OUTGOINGS
88 | WALL MOUNTED AC FUSE DB 100A WITH 16 OUTGOINGS
89 | WALL MOUNTED AC FUSE DB 63A WITH 24 OUTGOINGS
90 | WALL MOUNTED AC FUSE DB 63A WITH 16 OUTGOINGS
91 | WALL MOUNTED DC FUSE DB 100A WITH 24 OUTGOINGS
92 | WALL MOUNTED DC FUSE DB 100A WITH 16 OUTGOINGS
93 | WALL MOUNTED DC FUSE DB 63A WITH 24 OUTGOINGS
94 | WALL MOUNTED DC FUSE DB 63A WITH 16 OUTGOINGS
95 | 300MM DUMMY PANEL-4000A
96 | 300MM DUMMY PANEL-3000A
97 | 300MM DUMMY PANEL-2500A
98 | 300MM DUMMY PANEL-2000A
99 | 300MM DUMMY PANEL-1600A
100 | 300MM DUMMY PANEL-1250A
101 | 300MM DUMMY PANEL-1000A
102 | 300MM DUMMY PANEL-800A
103 | 300MM DUMMY PANEL-630A
104 | 400MM DUMMY PANEL-3200A
105 | 400MM DUMMY PANEL-2500A
106 | 400MM DUMMY PANEL-2000A
107 | 400MM DUMMY PANEL-630A
108 | LIRA CONTACT ASSEMBLY (BUSEND-MODULE END) 400A
109 | LIRA CONTACT ASSEMBLY (BUSEND-MODULE END) 250A
110 | LIRA CONTACT ASSEMBLY (BUSEND-MODULE END) 125A
111 | LIRA CONTACT ASSEMBLY (BUSEND-MODULE END) 63A
112 | LIRA CONTACT ASSEMBLY (BUSEND-MODULE END) 32A
113 | SIC CONTACTS FOR MODULE
114 | HBB BUSBAR INSULATOR OF EACH TYPE
115 | VBB BUSBAR INSULATOR
116 | MODULE DRAWOUT CONTACT SUPPORT INSULATOR-INCOMING
117 | MODULE DRAWOUT CONTACT SUPPORT INSULATOR-OUTGOING
118 | Air Circuit Breaker without releases
119 | 630A ACB, 3P, EDO, AC
120 | 3200A ACB, 3P, EDO, AC
121 | 2500A ACB, 3P, EDO, AC
122 | 2000A ACB, 3P, EDO, AC
123 | 630A ACB, 4P, EDO, AC
124 | 3200A ACB, 4P, EDO, AC
125 | 2500A ACB, 4P, EDO, AC
126 | 2000A ACB, 4P, EDO, AC
127 | 1250A ACB, 4P, EDO, AC
128 | Metering CT
129 | Upto 75/1A
130 | 100/1A
131 | 125/1A
132 | 150/1A
133 | 200/1A
134 | 250/1A
135 | 300/1A
136 | 400/1A
137 | 500/1A
138 | 630/1A
139 | 1250/1A
140 | 2000/1A
141 | 2500/1A
142 | 3200/1A
Protection CT (5P20)
143 | Upto 75/1A
144 | 100/1A
145 | 125/1A
146 | 150/1A
147 | 200/1A
148 | 250/1A
149 | 300/1A
150 | 400/1A
151 | 500/1A
152 | 630/1A
153 | 2000/1A
154 | 2500/1A
155 | 3200/1A
PS Class CT
156 | 2000/1A
157 | 2500/1A
158 | 3200/1A
159 | 3 PIN SOCKET - 5A, 110V AC, 3PIN
160 | THERMOSTATE, DIAL TYPE
161 | SPACE HEATER
162 | CFL WITH HOLDER
Connection from PMCC/MCC panel to PMCC/MCC panel, Fish Plate
163 | 630A
164 | 2000A
165 | 2500A
166 | 3200A
Daily 8 hour rate deployed at site:
167 | Engineer : (per day)
168 | Technician : (per day)

## Annexure B6-AC&VENT (hidden)
BOARD NAME: 415V AC & VENTILATION MCC # 0SA, 800A
CURRENT RATING: 800A
BOTTOM CABLE ENTRY
DOUBLE FRONT DRAW OUT TYPE
FLOOR MOUNTED
SL NO | DESCRIPTION | FEEDER TYPE | QUANTITY | Unit Price | Total Price
1 | Incomer-1 800A | DAE (I/C) | 1 | #REF! | #REF!
2 | Incomer-2 800A | DAE (I/C) | 1 | #REF! | #REF!
3 | Bus Coupler-800A | DAE (B/C) | 1 | #REF! | #REF!
4 | Bus PT-50VA | VM | 2 | #REF! | #REF!
5 | CST-2kVA | CS | 2 | #REF! | #REF!
6 | Power (A)
7 | 16 | E1 | 26 | #REF! | #REF!
8 | 32 | E1 | 10 | #REF! | #REF!
9 | 16 | E/E3 | 8 | #REF! | #REF!
10 | 32 | E/E3 | 8 | #REF! | #REF!
11 | 63 | E/E3 | 4 | #REF! | #REF!
12 | 250 | E/E3 | 3 | #REF! | #REF!
DOL (KW)
13 | upto 5.5 KW | DK2 | 64 | #REF! | #REF!
14 | 13.1-24.0 | DK2 | 3 | #REF! | #REF!
15 | 30.0-37.0 | DK21 | 2 | #REF! | #REF!
16 | 37-45KW | DK21 | 2 | #REF! | #REF!
17 | ACB Panel | 800 / 800A | 3 | #REF! | #REF!
19 | MCC Panel-DFDO | 800 / 630A | 12 | #REF! | #REF!
|  | TOTAL |  |  | #REF!

## Annexure B7-Compressed Air (hidden)
BOARD NAME: 415V COMPRESSED AIR, WS & CDS MSS # 0SB, 1000A
CURRENT RATING: 1000A
BOTTOM CABLE ENTRY
DOUBLE FRONT DRAW OUT TYPE
FLOOR MOUNTED
SL NO | DESCRIPTION | FEEDER TYPE | QUANTITY | Unit Price | Total Price
1 | Incomer-1 1000A | DAE (I/C) | 1 | #REF! | #REF!
2 | Incomer-2 1000A | DAE (I/C) | 1 | #REF! | #REF!
3 | Bus Coupler-1000A | DAE (B/C) | 1 | #REF! | #REF!
4 | Bus PT-50VA | VM | 2 | #REF! | #REF!
5 | CST-2kVA | CS | 2 | #REF! | #REF!
6 | Power (A)
7 | 16 | E1 | 14 | #REF! | #REF!
8 | 32 | E1 | 10 | #REF! | #REF!
9 | 16 | E/E3 | 30 | #REF! | #REF!
10 | 32 | E/E3 | 10 | #REF! | #REF!
11 | 63 | E/E3 | 4 | #REF! | #REF!
12 | 250 | E/E3 | 2 | #REF! | #REF!
DOL (KW)
13 | upto 5.5 KW | DK2 | 10 | #REF! | #REF!
14 | 13.1-24.0 | DK2 | 7 | #REF! | #REF!
15 | 30.0-37.0 | DK21 | 12 | #REF! | #REF!
16 | 145KW | DM | 3 | #REF! | #REF!
17 | ACB Panel | 1000 / 1000A | 3 | #REF! | #REF!
18 | ACB Panel | 1000/630A | 2 | #REF! | #REF!
19 | MCC Panel-DFDO | 1000 / 630A | 10 | #REF! | #REF!
|  | TOTAL |  |  | #REF!

## AnexureB8-LHP GHP (hidden)
BOARD NAME: 415V FGD LHP/GHP PMCC, #0DA
CURRENT RATING: 4000A
TOP/SIDE NSPB ENTRY
DOUBLE FRONT DRAW OUT TYPE
FLOOR MOUNTED
SL NO | DESCRIPTION | FEEDER TYPE | QUANTITY | Unit Price | Total Price
1 | Incomer-1 4000A | DAET (I/C) | 1 | #REF! | #REF!
2 | Incomer-2 4000A | DAET (I/C) | 1 | #REF! | #REF!
3 | Bus Coupler-4000A | DAET (B/C) | 1 | #REF! | #REF!
5 | Bus PT-50VA | G1 | 2 | #REF! | #REF!
6 | CST-2kVA | CS | 2 | #REF! | #REF!
Power (A)
7 | 16 | E1 | 12 | #REF! | #REF!
8 | 16 | E/E3 | 72 | #REF! | #REF!
9 | 32 | E/E3 | 22 | #REF! | #REF!
10 | 63 | E/E3 | 20 | #REF! | #REF!
| 125 | E/E3 | 3 | #REF! | #REF!
| 160 | E/E3 | 4 | #REF! | #REF!
11 | 250 | E/E3 | 2 | #REF! | #REF!
12 | 800 | DAE (O/G) |  | #REF! | #REF!
13 | 1250 | DAE (O/G) |  | #REF! | #REF!
DOL (KW)
14 | UPTO 5.5 KW | DK2 | 69 | #REF! | #REF!
15 | 13.1-24.0 | DK2 | 36 | #REF! | #REF!
16 | 30.0-37.0 | DK21 | 29 | #REF! | #REF!
17 | 37.1-55.0 | DK21 | 21 | #REF! | #REF!
18 | 80.1-100 | DK21 | 3 | #REF! | #REF!
19 | 110.0-200.0 | DM |  | #REF! | #REF!
RDOL (KW)
14 | UPTO 5.5 KW | DN1 | 12 | #REF! | #REF!
15 | 13.1-24.0 | DN21 | 3 | #REF! | #REF!
20 | ACB Panel | 4000 / 4000A | 3 | #REF! | #REF!
24 | MCC Panel-DFDO | 4000 / 0630A | 30 | #REF! | #REF!
|  | TOTAL |  |  | #REF!

## Annexure B9-FGD DCDB (hidden)
BOARD NAME: 220V FGD DCDB, #0FA
CURRENT RATING: 63A
BOTTOM CABLE ENTRY
DOUBLE FRONT FIXED TYPE
FLOOR MOUNTED
SL NO | DESCRIPTION | FEEDER TYPE | QUANTITY | Unit Price | Total Price
1 | Incomer-1 63A | CH | 2 | #REF! | #REF!
2 | Incomer-2 63A | DB | 2 | #REF! | #REF!
3 | Bus Coupler-63A | HD | 3 | #REF! | #REF!
4 | Metering & Protection | S | 2 | #REF! | #REF!
Power (A)
5 | 16 | X | 20 | #REF! | #REF!
6 | 32 | X | 8 | #REF! | #REF!
8 | DCDB Panel-DFF | 400 / 400A | 4 | #REF! | #REF!
| TOTAL |  |  |  | #REF!