## Sheet1
UNIT PRICE SCHEDULE FOR ADDITION DELETION:
SL.NO. | ITEM DESCRIPTION | UNIT PRICE (Rs.)
1 | INCOMING FEEDER UNIT
a) | ACB Incomer to PCC/PMCC from Trafo. - Module Type DAET (I/C)
1.a.1 | 630/800A
1.a.2 | 1000A
1.a.3 | 1250A
1.a.4 | 1600A
1.a.5 | 2000A
1.a.6 | 2500A
1.a.7 | 3200A
1.a.8 | 4000A
b) | ACB Incomer to MCC - Module Type DAE/ DAEN/ AE (I/C)
1.b.1 | 630/800A
1.b.2 | 1000A
1.b.3 | 1250A
1.b.4 | 1600A
1.b.5 | 2000A
1.b.6 | 2500A
1.b.7 | 3200A
c) | MCCB Incomer for MCC / ACDB – Module Type EM3 (I/C)
1.c.1 | Upto 63A – Fixed Type
1.c.2 | 125A – Fixed Type
1.c.3 | 200A – Fixed Type
1.c.4 | 250A – Fixed Type
1.c.5 | 400A – Fixed Type
1.c.6 | Upto 63A – Drawout Type
1.c.7 | 125A – Drawout Type
1.c.8 | 200A – Drawout Type
1.c.9 | 250A – Drawout Type
1.c.10 | 400A – Drawout Type
d) | SFU Incomer for MCC / ACDB – Module Type EM3 (I/C)
1.d.1 | Upto 63A – Fixed Type
1.d.2 | 125A – Fixed Type
1.d.3 | 200A – Fixed Type
1.d.4 | 250A – Fixed Type
1.d.5 | 400A – Fixed Type
1.d.6 | Upto 63A – Drawout Type
1.d.7 | 125A – Drawout Type
1.d.8 | 200A – Drawout Type
1.d.9 | 250A – Drawout Type
1.d.10 | 400A – Drawout Type
e) | 220V DCDB Incomer from charger - Module type CH (I/C)
1.e.1 | 150A – CH Fixed Type
1.e.2 | 200A – CH Fixed Type
1.e.3 | 400A – CH Fixed Type
1.e.4 | 630/800A – CH Fixed Type
1.e.5 | 1000A – CH Fixed Type
1.e.6 | 150A – CH Drawout Type
1.e.7 | 200A – CH Drawout Type
1.e.8 | 400A – CH Drawout Type
1.e.9 | 630/800A – CH Drawout Type
1.e.10 | 1000A– CH Drawout Type
f) | 220V DC Fuse DB Incomer from DCDB - Module type H2
1.f.1 | 32A
1.f.2 | 50A
1.f.3 | 63A
g) | ACB Incomer to Emergency Board - Module Type DG/DAEG/ DAEGN (I/C)
1.g.1 | 1250A
1.g.2 | 1600A
1.g.3 | 2000A
1.g.4 | 2500A
2 | BUSCOUPLER UNIT
a) | ACB Buscoupler to PCC/PMCC/MCC from Trafo. - Module Type DAET/ DAE (B/C)
2.a.1 | 630/800A
2.a.2 | 1000A
2.a.3 | 1250A
2.a.4 | 1600A
2.a.5 | 2000A
2.a.6 | 2500A
2.a.7 | 3200A
2.a.8 | 4000A
b) | MCCB Buscoupler for MCC / ACDB – Module Type EM3 (B/C)
2.b.1 | Upto 63A – Fixed Type
2.b.2 | 125A – Fixed Type
2.b.3 | 200A – Fixed Type
2.b.4 | 250A – Fixed Type
2.b.5 | 400A – Fixed Type
2.b.6 | Upto 63A – Drawout Type
2.b.7 | 125A – Drawout Type
2.b.8 | 200A – Drawout Type
2.b.9 | 250A – Drawout Type
2.b.10 | 400A – Drawout Type
2.b.11 | 630A – Drawout Type
c) | SFU Buscoupler for MCC / ACDB – Module Type EM3 (B/C)
2.c.1 | Upto 63A – Fixed Type
2.c.2 | 125A – Fixed Type
2.c.3 | 200A – Fixed Type
2.c.4 | 250A – Fixed Type
2.c.5 | 400A – Fixed Type
2.c.6 | Upto 63A – Drawout Type
2.c.7 | 125A – Drawout Type
2.c.8 | 200A – Drawout Type
2.c.9 | 250A – Drawout Type
2.c.10 | 400A – Drawout Type
d) | 220V DCDB Buscoupler - Module type DC & HD (B/C)
2.d.1 | 150A – DC & HD Fixed Type
2.d.2 | 200A – DC & HD Fixed Type
2.d.3 | 400A – DC & HD Fixed Type
2.d.4 | 630A – DC & HD Fixed Type
2.d.5 | 1000A – DC & HD Fixed Type
2.d.6 | 150A – DC & HD Drawout Type
2.d.7 | 200A – DC & HD Drawout Type
2.d.8 | 400A – DC & HD Drawout Type
2.d.9 | 630A – DC & HD Drawout Type
2.d.10 | 1000A – DC & HD Drawout Type
e) | ACB BUSCOUPLER to Emergency Board - Module Type DAEG (B/C)
2.e.1 | 1600A
2.e.2 | 2500A
2.e.3 | 3200A
3 | Outgoing ACB supply feeder - Module Type DAE/DAE-TIE (O/G)
3.1 | 630/800A
3.2 | 1000A
3.3 | 1250A
3.4 | 1600A
3.5 | 3200A
4 | Outgoing ACB motor feeder - Module Type DM/PM (controlled from DDCMIS/PLC)
4.1 | 110-130 KW
4.2 | 130-150 KW
4.3 | 150-200 KW
5.1 | DOL Motor Starter - Unidirectional Drive(SFU CONTROLLED) - Drawout Type
a) | Module Type K2 (Controlled from LPBS)
5.1.a.1 | Upto 5.5KW
5.1.a.2 | 5.6 - 7.0KW
5.1.a.3 | 7.1 - 14.9KW
b) | Module Type K21 (Controlled from LPBS)
5.1.b.1 | 15 - 22KW
5.1.b.2 | 22.1 - 30.0KW
5.1.b.3 | 30.1 - 37.0KW
5.1.b.4 | 37.1 - 45KW
5.1.b.5 | 45.1 - 55.0KW
5.1.b.6 | 55.1 - 75KW
5.1.b.7 | 75.1 - 90KW
c) | Module Type K1 (Controlled from MCC)
5.1.c.1 | Upto 5.5KW
5.1.c.2 | 5.6 - 7.0KW
5.1.c.3 | 7.1 - 14.9KW
d) | Module Type K11 (Controlled from MCC)
5.1.d.1 | 15 - 22KW
5.1.d.2 | 22.1 - 30.0KW
5.1.d.3 | 30.1 - 37.0KW
5.1.d.4 | 37.1 - 45KW
5.1.d.5 | 45.1 - 55.0KW
5.1.d.6 | 55.1 - 75KW
5.1.d.7 | 75.1 - 90KW
5.2 | DOL Motor Starter - Unidirectional Drive(SFU CONTROLLED) - Drawout Type
a) | Module Type K2 (Controlled from LPBS)
5.2.a.1 | Upto 5.5KW
5.2.a.2 | 5.6 - 7.0KW
5.2.a.3 | 7.1 - 14.9KW
b) | Module Type K21 (Controlled from LPBS)
5.2.b.1 | 15 - 22KW
5.2.b.2 | 22.1 - 30.0KW
5.2.b.3 | 30.1 - 37.0KW
5.2.b.4 | 37.1 - 45KW
5.2.b.5 | 45.1 - 55.0KW
5.2.b.6 | 55.1 - 75KW
5.2.b.7 | 75.1 - 90KW
5.2.b.8 | 90.1-110KW
c) | Module Type K1 (Controlled from MCC)
5.2.c.1 | Upto 5.5KW
5.2.c.2 | 5.6 - 7.0KW
5.2.c.3 | 7.1 - 14.9KW
d) | Module Type K11 (Controlled from MCC)
5.2.d.1 | 15 - 22KW
5.2.d.2 | 22.1 - 30.0KW
5.2.d.3 | 30.1 - 37.0KW
5.2.d.4 | 37.1 - 45KW
5.2.d.5 | 45.1 - 55.0KW
5.2.d.6 | 55.1 - 75KW
5.2.d.7 | 75.1 - 90KW
5.2.d.8 | 90.1-110KW
6 | RDOL Motor Starter – Bidirectional Drive(SFU CONTROLLED) Drawout Type
Non intelligent type
a) | Module Type DN1/ PN1/ AN1 (Controlled from DDCMIS/PLC/ATRS)
6.1.a.1 | Upto 5.5KW
6.1.a.2 | 5.6 - 7.0KW
6.1.a.3 | 7.1 - 14.9KW
b) | Module Type DN21/ PN21/ AN21 (Controlled from DDCMIS/PLC/ATRS)
6.1.b.1 | 15 - 22KW
6.1.b.2 | 22.1 - 30.0KW
7 | Contactor control heater FEEDER(Module Type EA3) - Drawout Type
7.a.1 | Upto 5.5KW
7.a.2 | 5.6 - 7.0KW
7.a.3 | 7.1 - 14.9KW
7.a.4 | 15 - 22KW
7.a.5 | 22.1 - 30.0KW
7.a.6 | 30.1 - 37.0KW
7.a.7 | 37.1 - 45KW
7.a.8 | 45.1 - 55.0KW
7.a.9 | 55.1 - 75KW
7.a.10 | 75.1 - 90KW
8 | Outgoing SFU/MCCB controlled feeders
a) | Outgoing SFU/MCCB controlled supply feeder - Module Type E3 (O/G)
8.a.1 | upto 10A - Fixed type
8.a.2 | 16A - Fixed type
8.a.3 | 25A - Fixed type
8.a.4 | 32A - Fixed type
8.a.5 | 63A - Fixed type
8.a.6 | 125A - Fixed type
8.a.7 | 160A - Fixed type
8.a.8 | 200A - Fixed type
8.a.9 | 250A - Fixed type
8.a.10 | 400A - Fixed type
8.a.11 | upto 10A - Drawout type
8.a.12 | 16A - Drawout type
8.a.13 | 25A - Drawout type
8.a.14 | 32A - Drawout type
8.a.15 | 63A - Drawout type
8.a.16 | 125A - Drawout type
8.a.17 | 160A - Drawout type
8.a.18 | 200A - Drawout type
8.a.19 | 250A - Drawout type
8.a.20 | 400A - Drawout type
8.a.21 | 630A - Drawout type
B) | Outgoing SFU/MCCB controlled supply feeder - Module Type E2 (O/G)
8.b.1 | upto 10A - Fixed type
8.b.2 | 16A - Fixed type
8.b.3 | 25A - Fixed type
8.b.4 | 32A - Fixed type
8.b.5 | 63A - Fixed type
8.b.6 | 125A - Fixed type
8.b.7 | 160A - Fixed type
8.b.8 | 200A - Fixed type
8.b.9 | 250A - Fixed type
8.b.10 | 400A - Fixed type
8.b.11 | upto 10A - Drawout type
8.b.12 | 16A - Drawout type
8.b.13 | 25A - Drawout type
8.b.14 | 32A - Drawout type
8.b.15 | 63A - Drawout type
8.b.16 | 125A - Drawout type
8.b.17 | 160A - Drawout type
8.b.18 | 200A - Drawout type
8.b.19 | 250A - Drawout type
8.b.20 | 400A - Drawout type
C) | Double pole MCCB controlled 1-ph feeder - E1 (O/G)
8.c.1 | 16A - Fixed type
8.c.2 | 32A - Fixed type
8.c.3 | 63A - Fixed type
8.c.4 | 125A - Fixed type
8.c.5 | 16A - Drawout type
8.c.6 | 32A - Drawout type
8.c.7 | 63A - Drawout type
8.c.8 | 125A - Drawout type
9 | 1-Ph MCB controlled outgoing feeder (H1) from AC MCCB DB
9.a.1 | 10A
9.a.2 | 16A
9.a.3 | 32A
10 | 220V DC Outgoing SFU feeders
a) | 220V DC Outgoing feeder (X1)
10.a.1 | 2A - Fixed type
10.a.2 | 4A - Fixed type
10.a.3 | 6A - Fixed type
10.a.4 | 10A - Fixed type
10.a.5 | 16A - Fixed type
10.a.6 | 25A - Fixed type
10.a.7 | 32A - Fixed type
10.a.8 | 50A - Fixed type
10.a.9 | 63A - Fixed type
10.a.10 | 100A - Fixed type
10.a.11 | 125A - Fixed type
10.a.12 | 2A - Drawout type
10.a.13 | 4A - Drawout type
10.a.14 | 6A - Drawout type
10.a.15 | 10A - Drawout type
10.a.16 | 16A - Drawout type
10.a.17 | 25A - Drawout type
10.a.18 | 32A - Drawout type
10.a.19 | 50A - Drawout type
10.a.20 | 63A - Drawout type
10.a.21 | 100A - Drawout type
10.a.22 | 125A - Drawout type
11 | 220V DC Outgoing SFU feeders
A) | 220V DC Outgoing feeder (X1)
11.a.1 | 2A - Fixed type
11.a.2 | 4A - Fixed type
11.a.3 | 6A - Fixed type
11.a.4 | 10A - Fixed type
11.a.5 | 16A - Fixed type
11.a.6 | 25A - Fixed type
11.a.7 | 32A - Fixed type
11.a.8 | 50A - Fixed type
11.a.9 | 63A - Fixed type
11.a.10 | 100A - Fixed type
11.a.11 | 125A - Fixed type
11.a.12 | 2A - Drawout type
11.a.13 | 4A - Drawout type
11.a.14 | 6A - Drawout type
11.a.15 | 10A - Drawout type
11.a.16 | 16A - Drawout type
11.a.17 | 25A - Drawout type
11.a.18 | 32A - Drawout type
11.a.19 | 50A - Drawout type
11.a.20 | 63A - Drawout type
11.a.21 | 100A - Drawout type
11.a.22 | 125A - Drawout type
B) | 220V DC Outgoing SFU feeder (X2)
11.b.1 | 200A - Fixed type
11.b.2 | 250A - Fixed type
11.b.3 | 400A - Fixed type
11.b.4 | 500A - Fixed type
11.b.5 | 630A - Fixed type
11.b.6 | 200A - Drawout type
11.b.7 | 250A - Drawout type
11.b.8 | 400A - Drawout type
11.b.9 | 500A - Drawout type
11.b.10 | 630A - Drawout type
12 | Common Auxiliary Module
a) | PT module
12.a.1 | Bus PT module for PCC/PMCC-G1 Type
12.a.2 | Bus PT module for Emergency MCC-G2 Type
12.a.3 | Bus PT DCDB-S Type
12.a.4 | Bus PT module for MCC-VM Type
b) | Space heater and Power Socket - TT
c.1) | 110V AC control supply module – Type CS (consisting of 415/110V control Trafo.)
12.c.1.1 | 1KVA
12.c.1.2 | 2KVA
12.c.1.3 | 2.5KVA
12.c.1.4 | 3KVA
12.c.1.5 | 5KVA
12.c.1.6 | 7.5KVA
12.c.1.7 | 10KVA
c.2) | 240 V AC control supply module – type CS (consisting of 415/240V control Trafo.)
12.c.2.1 | 1KVA
12.c.2.2 | 2KVA
12.c.2.3 | 2.5KVA
12.c.2.4 | 3KVA
12.c.2.5 | 5KVA
12.c.2.6 | 7.5KVA
12.c.2.7 | 10KVA
d) | 240V AC motor space heater module
13 | Contactor controlled SFU Incomer for MCC / ACDB – Module Type CC (I/C)
13.a.1 | Upto 63A – Fixed Type
13.a.2 | 125A – Fixed Type
13.a.3 | 200A – Fixed Type
13.a.4 | 250A – Fixed Type
13.a.5 | 400A – Fixed Type
13.a.6 | Upto 63A – Drawout Type
13.a.7 | 125A – Drawout Type
13.a.7 | 200A – Drawout Type
13.a.8 | 250A – Drawout Type
13.a.9 | 400A – Drawout Type
14 | Empty Panel with Horizontal & Vertical Busbar, Support & Auxiliary Busbar
a) | MCC Panel (Double Front Drawout Type) without trolley
14.a.1 | 250 / 250A
14.a.2 | 400 / 400A
14.a.3 | 630 / 630A
14.a.4 | 800 / 630A
14.a.5 | 1000 / 630A
14.a.6 | 1600 / 630A
14.a.7 | 2000 / 630A
14.a.8 | 2500 / 630A
14.a.9 | 3000 / 630A
14.a.10 | 4000 / 630A
b) | MCC Panel (Double Front Fixed Type)
14.b.1 | 250 / 250A
14.b.2 | 400 / 400A
14.b.3 | 630 / 630A
14.b.4 | 800 / 630A
14.b.5 | 1000 / 630A
14.b.6 | 1600 / 630A
14.b.7 | 2000 / 630A
14.b.8 | 2500 / 630A
14.b.9 | 3000 / 630A
14.b.10 | 4000 / 630A
c) | 220V DCDB Panel (Double Front Fixed type)
14.c.1 | UPTO 630A (with 630A VBB)
14.c.2 | 1000A (with 630A VBB)
14.c.3 | 1600A (with 630A VBB)
d) | 220V DCDB Panel (Double Front Drawout type)
14.d.1 | UPTO 630A (with 630A VBB)
14.d.2 | 1000A (with 630A VBB)
14.d.3 | 1600A (with 630A VBB)
15 | Empty Panel With Horizontal & Vertical Busbar, Support & Auxiliary Busbar
a) | PCC Panel (Single Front Drawout Type)
15.a.1 | 1600 / 1600A
15.a.2 | 2000 / 2000A
15.a.3 | 2500 / 2500A
15.a.4 | 3000 / 3000A
15.a.5 | 4000 / 4000A
b) | MCC Panel (Single Front Drawout Type)
15.b.1 | 250 / 250A
15.b.2 | 400 / 400A
15.b.3 | 630 / 630A
15.b.4 | 800 / 630A
15.b.5 | 1000 / 630A
15.b.6 | 1600 / 630A
15.b.7 | 2000 / 630A
15.b.8 | 2500 / 630A
15.b.9 | 3000 / 630A
15.b.10 | 4000 / 630A
c) | MCC Panel (Single Front Fixed Type )
15.c.1 | 250 / 250A
15.c.2 | 400 / 400A
15.c.3 | 630 / 630A
15.c.4 | 800 / 630A
15.c.5 | 1000 / 630A
15.c.6 | 1600 / 630A
15.c.7 | 2000 / 630A
15.c.8 | 2500 / 630A
15.c.9 | 3000 / 630A
15.c.10 | 4000 / 630A
d) | 220V DCDB Panel (Single Front Fixed Type)
15.d.1 | UPTO 630A (with 630A VBB)
15.d.2 | 1000A (with 630A VBB)
15.d.3 | 1600A (with 630A VBB)
e) | 220V DCDB Panel (Single Front Fixed Type)
15.e.1 | UPTO 630A (with 630A VBB)
15.e.2 | 1000A (with 630A VBB)
15.e.3 | 1600A (with 630A VBB)
16 | ACB Panel with Horizontal & Vertical Busbar, Support & Auxiliary Busbar
16.a.1 | 630 / 630A
16.a.2 | 800 / 630A
16.a.3 | 800 / 800A
16.a.4 | 1000 / 630A
16.a.5 | 1000 / 800A
16.a.6 | 1000 / 1000A
16.a.7 | 1600 / 630A
16.a.8 | 1600 / 800A
16.a.9 | 1600 / 1000A
16.a.10 | 1600 / 1600A
16.a.11 | 2000 / 630A
16.a.12 | 2000 / 800A
16.a.13 | 2000 / 1000A
16.a.14 | 2000 / 1600A
16.a.15 | 2000 / 2000A
16.a.16 | 2500 / 630A
16.a.17 | 2500 / 800A
16.a.18 | 2500 / 1000A
16.a.19 | 2500 / 1600A
16.a.20 | 2500 / 2000A
16.a.21 | 2500 / 2500A
16.a.22 | 3000 / 630A
16.a.23 | 3000 / 800A
16.a.24 | 3000 / 1000A
16.a.25 | 3000 / 1600A
16.a.26 | 3000 / 2000A
16.a.27 | 3000 / 2500A
16.a.28 | 3000 / 3000A
16.a.29 | 4000 / 630A
16.a.30 | 4000 / 800A
16.a.31 | 4000 / 1000A
16.a.32 | 4000 / 1600A
16.a.33 | 4000 / 2000A
16.a.34 | 4000 / 2500A
16.a.35 | 4000 / 3000A
16.a.36 | 4000 / 4000A
17 | Dummy Panel (400MM)
17.a.1 | UPTO 630A
17.a.2 | 800A
17.a.3 | 1000A
17.a.4 | 1600A
17.a.5 | 2000A
17.a.6 | 2500A
17.a.7 | 3000A
17.a.8 | 4000A
18 | Unit Prices For Circuit Components
a) | Air Circuit Breaker without releases
18.a.1 | 630A MDO
18.a.2 | 800A MDO
18.a.3 | 1000A MDO
18.a.4 | 630A ACB, 3P, EDO, AC
18.a.5 | 800A ACB, 3P, EDO, AC
18.a.6 | 1000A ACB, 3P, EDO, AC
18.a.7 | 4000A ACB, 3P, EDO, AC
18.a.8 | 3200A ACB, 3P, EDO, AC
18.a.9 | 2500A ACB, 3P, EDO, AC
18.a.10 | 2000A ACB, 3P, EDO, AC
18.a.11 | 1600A ACB, 3P, EDO, AC
18.a.12 | 1250A ACB, 3P, EDO, AC
18.a.13 | 1250A ACB, 2P, MDO, DC
b) | MCCB, 2NO+2NC AUX, FSC
18.b.1 | 16A
18.b.2 | 25A
18.b.3 | 32A
18.b.4 | 63A
18.b.5 | 80A
18.b.6 | 115A
18.b.7 | 150A
18.b.8 | 185A
18.b.9 | 265A
18.b.10 | 315A
18.b.11 | 400A
18.b.12 | 630A
c) | MCCB, 2NO+2NC AUX, ASC
18.c.1 | 16A
18.c.2 | 25A
18.c.3 | 32A
18.c.4 | 63A
18.c.5 | 80A
18.c.6 | 115A
18.c.7 | 150A
18.c.8 | 185A
18.c.9 | 265A
18.c.10 | 315A
18.c.11 | 400A
18.c.12 | 630A
d) | MCCB with LSIG release
18.d.1 | 100A
18.d.2 | 160A
18.d.3 | 250A
18.d.4 | 350A
18.d.5 | 400A
18.d.6 | 630A
e) | MCCB - Motorized with LSIG release
18.e.1 | 100A
18.e.2 | 160A
18.e.3 | 250A
18.e.4 | 350A
18.e.5 | 400A
18.e.6 | 630A
f) | POWER FUSE LINK FOR SFU (AC) - TPN
18.f.1 | Upto 16A
18.f.2 | 25A
18.f.3 | 32A
18.f.4 | 63A
18.f.5 | 125A
18.f.6 | 250A
18.f.7 | 400A
18.f.8 | 630A
g) | POWER FUSE LINK FOR SFU (DC) - DP
18.g.1 | Upto 16A
18.g.2 | 25A
18.g.3 | 40A
18.g.4 | 50A
18.g.5 | 60A
18.g.6 | 80A
18.g.7 | 100A
18.g.8 | 200A
18.g.9 | 300A
18.g.10 | 400A
18.g.11 | 630A
h) | SFU WITHOUT POWER FUSE LINK (AC) - TPN
18.h.1 | Upto 16A
18.h.2 | 25A
18.h.3 | 32A
18.h.4 | 63A
18.h.5 | 125A
18.h.6 | 250A
18.h.7 | 400A
18.h.8 | 630A
i) | SFU WITHOUT POWER FUSE LINK (DC) - DP
18.i.1 | Upto 16A
18.i.2 | 25A
18.i.3 | 40A
18.i.4 | 50A
18.i.5 | 60A
18.i.6 | 80A
18.i.7 | 100A
18.i.8 | 200A
18.i.9 | 300A
18.i.10 | 400A
18.i.11 | 630A
j) | HRC Fuse Links (Offset tag Type)
18.j.1 | Upto 10A
18.j.2 | 16A
18.j.3 | 25A
18.j.4 | 32A
18.j.5 | 50A
18.j.6 | 63A
k) | HRC Fuse DIN Type (Blade Contact)
18.k.1 | Upto 10A
18.k.2 | 16A
18.k.3 | 20A
18.k.4 | 32A
18.k.5 | 36A
18.k.6 | 50A
18.k.7 | 63A
18.k.8 | 80A
18.k.9 | 100A
18.k.10 | 125A
18.k.11 | 160A
18.k.12 | 200A
18.k.13 | 250A
18.k.14 | 315A
18.k.15 | 400A
18.k.16 | Control Fuse Link
l) | Power contactor (AC)
18.l.1 | 16A
18.l.2 | 25A
18.l.3 | 32A
18.l.4 | 63A
18.l.5 | 80A
18.l.6 | 115A
18.l.7 | 150A
18.l.8 | 185A
18.l.9 | 265A
18.l.10 | 315A
18.l.11 | 400A
m) | Power contactor (DC)
18.m.1 | 16A
18.m.2 | 25A
18.m.3 | 32A
18.m.4 | 63A
18.m.5 | 80A
18.m.6 | 115A
18.m.7 | 150A
18.m.8 | 185A
18.m.9 | 265A
18.m.10 | 400A
n) | Fuse Base
18.n.1 | UPTO 20A
18.n.2 | 32A
18.n.3 | 50/63A
18.n.4 | 100A
18.n.5 | 250A
18.n.6 | 400A
18.n.7 | 630A
o) | Auxiliary contactor AC/DC
i) | AC Aux. contactor
18.o.i.1 | 2NO + 2NC
18.o.i.2 | 3NO + 3NC
18.o.i.3 | 4NO + 4NC
18.o.i.4 | 6NO + 6NC
ii) | DC Aux. contactor
18.o.ii.1 | 2NO + 2NC
18.o.ii.2 | 3NO + 3NC
18.o.ii.3 | 4NO + 4NC
18.o.ii.4 | 6NO + 6NC
p) | Protection Relay
18.p.1 | VAGM 23
18.p.2 | CTU 12
18.p.3 | CTU 32
18.p.4 | VTT 11
18.p.5 | VAG 11
18.p.6 | VAA 11
18.p.7 | VAJHM 13
18.p.8 | VAJHM 23
18.p.9 | CDGM-12
18.p.10 | CAG 12
18.p.11 | CAG 34
18.p.12 | CCUM 21
18.p.13 | CDG 11
18.p.14 | CDG 31
18.p.15 | CDG 61
18.p.16 | VDG 14
18.p.17 | CDV 62
18.p.18 | CAG 14
18.p.19 | VAX 31
18.p.20 | CAG 37
18.p.21 | CAEM-21
18.p.22 | VAG-21
18.p.23 | VAJC-11
18.p.24 | CTMM-501
18.p.25 | MOTPRO
18.p.26 | VAA21
18.p.27 | VTT12
18.p.28 | VTIG
18.p.29 | VTU21
18.p.30 | NUMERICAL RELAY FOR PROTECTION, T/C SUPERVISION, LOGIC, METERING FUNCTION & WITH CHECK SYNCHRONIZATION, REF PROTECTION, FUSE FAILURE, ENERGY METERING, OVER LOAD PROTECTION, 50, 50N, 51, 51N, 27, 98, 86, 25, 95, 30A, 30B, 64R
18.p.31 | SEF NUMERICAL RELAY
18.p.32 | NUMERICAL RELAY FOR PROTECTION, T/C SUPERVISION, LOGIC, METERING FUNCTION & WITH CHECK SYNCHRONIZATION, FUSE FAILURE, ENERGY METERING, OVER LOAD PROTECTION 50, 50N,51, 51N, 27, 98, 86, 25, 95, 30A, 30B
18.p.33 | NUMERICAL RELAY FOR PROTECTION, T/C SUPERVISION, LOGIC, METERING FUNCTION & WITH CHECK SYNCHRONIZATION, FUSE FAILURE, 50, 50N,51, 51N, 27, 98, 86, 25, 95, 30A, 30B
18.p.34 | NUMERICAL RELAY FOR PROTECTION, T/C SUPERVISION, LOGIC, METERING FUNCTION & WITH CHECK SYNCHRONIZATION, FUSE FAILURE, ENERGY METERING, OVER LOAD PROTECTION 50, 50N,51, 51N, 27, 98, 86, 25, 95, 30A, 30B, DG PROTECTION (Like Neutral Under-voltage-27N, Power Direction / Reverse Power (Islanding)-32, Negative Phase Sequence Over-current (Phase unbalance, reverse phase sequence) -46, , Negative Sequence Voltage -47, Ground Over-voltage trip or ground over-current trip-51G, Instantaneous Over-voltage trip (ferro-resonance)-59, Over-voltage trip-59T, Neutral over-voltage-59N, Over/Under Frequency trip-81O/ 81U etc.)
18.p.35 | NUMERICAL RELAY FOR PROTECTION, T/C SUPERVISION, LOGIC, METERING FUNCTION & FUSE FAILURE, OVER LOAD PROTECTION 50, 50N,51, 51N, 27, 98, 86, 95, 30A, 30B
18.p.36 | NUMERICAL RELAY FOR PROTECTION, T/C SUPERVISION-95, LOGIC, METERING FUNCTION & FUSE FAILURE-98, OVER LOAD PROTECTION, LOCKED ROTOR PROTECTION-14, RESTART INHIBIT PROTECTION-49, NEGATIVE SEQUENCE PROTECTION-46, 50, 50N, 51, 51N, 27, 86, 30A, 30B
18.p.37 | Communicable type Numerical relay for O/C, E/F, TC Supervision on IEC-61850 protocol
18.p.38 | Communicable type Numerical relay for O/C, E/F, Check Synchronization, TC Supervision on IEC-61850 protocol
18.p.39 | Communicable type Numerical relay for Voltage control O/C, 3Phase O/C, Reverse power, Differential, Neutral Displacement, E/F, U/V, O/V protection, Check Synchronization, TC Supervision on IEC-61850 protocol
18.p.40 | Communicable type Numerical relay for Under voltage, Over voltage etc. on IEC-61850 protocol
18.p.41 | Communicable type Numerical relay for E/F protection for DCDB on IEC-61850 protocol
18.p.42 | Communicable type Numerical relay for composite motor protection including TC Supervision on IEC-61850 protocol
18.p.43 | Communicable type Numerical relay for Neutral Displacement on IEC-61850 protocol
18.p.44 | Communicable type Numerical relay for O/C, E/F, TC Supervision on Modbus protocol
18.p.45 | Communicable type Numerical relay for O/C, E/F, Check Synchronization, TC Supervision on Modbus protocol
18.p.46 | Communicable type Numerical relay for Voltage control O/C, 3Phase O/C, Reverse power, Differential, Neutral Displacement, E/F, U/V, O/V protection, Check Synchronization, TC Supervision on Modbus protocol
18.p.47 | Communicable type Numerical relay for Under voltage, Over voltage etc. on Modbus protocol
18.p.48 | Communicable type Numerical relay for E/F protection for DCDB on Modbus protocol
18.p.49 | Communicable type Numerical relay for composite motor protection including TC Supervision on Modbus protocol
18.p.50 | Communicable type Numerical relay for Neutral Displacement on Modbus protocol
18.p.51 | Numerical Check synchronising Relay
18.p.52 | Check synchronising Relay Type-SKE11 or better
18.p.53 | Guard Relay
18.p.54 | NUMERICAL RELAY Over current and Earth fault
18.p.55 | BATTERY EARTH FAULT RELAY, 1-7mA, NOMINAL VOLTAGE-220V DC, 1DV, 2NO S/R, FLUSH
18.p.56 | OVERLOAD RELAY, NOMINAL VOLTAGE-220V DC, O/V VLTAGE SETTING-110%, 1/4NV, 1NO+1NC S/R
18.p.57 | UNDER VOLTAGE RELAY, NOMINAL VOLTAGE-220V DC, U/V SETTING-80%, AUX..-240V AC, 1/2NH, 1NO+2NC S/R
18.p.58 | JAMING RELAY - CAG17
q) | Bimetal Thermal O/L Relays
i) | Thermal O/L relay with SPP - OLR
18.q.i.1 | Upto 5.5KW
18.q.i.2 | 5.6 to 11KW
18.q.i.3 | 11.1 to 22KW
18.q.i.4 | 22.1 to 45KW
18.q.i.5 | 45.1 to 75KW
18.q.i.6 | 75 to 110KW
ii) | Heavy Duty Thermal O/L relay with SPP - OLR
18.q.ii.1 | Upto 5.5KW
18.q.ii.2 | 5.6 to 11KW
18.q.ii.3 | 11.1 to 22KW
18.q.ii.4 | 22.1 to 45KW
18.q.ii.5 | 45.1 to 75KW
18.q.ii.6 | 75 to 110KW
r) | Timer (DC)
18.r.1 | ON DELAY TIMER, 0.5-5SEC., 220V DC, 2NO+2NC
18.r.2 | ON DELAY TIMER, 1.0-10SEC. 220V DC, 2NO+2NC
18.r.3 | 240VAC MTR RESTART CONTROL TIMER (.2-60SECS)
18.r.4 | 240VAC ON DELAY TIMER(1-10SECNS)WITH 1NO
18.r.5 | 220VDC ON DELAY TIMER(.5-5SECS) WITH 1NO
18.r.6 | 220VDC 0N DELAY TIMER(0.5-5SECS)WITH 3NO
18.r.7 | 220VDC ON DELAY TIMER(1-10SECS) WITH 3NO
s) | Meter
18.s.1 | AC ammeter (Digital)
18.s.2 | AC ammeter (Analog) linear scale
18.s.3 | AC ammeter (Analog) compressed scale
18.s.4 | DC ammeter (Digital)
18.s.5 | DC ammeter (Analog)
18.s.6 | AC voltmeter (Digital)
18.s.7 | DC voltmeter (Analog)
18.s.8 | Wattmeter (3 Phase)
18.s.9 | Wattmeter (1 Phase)
18.s.10 | TVM meter
18.s.11 | DIGITAL ENERGY METER
18.s.12 | Frequency meter
18.s.13 | Synchroscope
18.s.14 | Differential Voltmeter
18.s.15 | Differential Frequency meter
18.s.16 | Multifunction digital Energy meter with RS485 Port (0.2 Acc. Class)
18.s.17 | Multifunction digital Energy meter with RS485 Port (0.5 Acc. Class)
18.s.18 | Multifunction digital Energy meter with RS485 Port (1.0 Acc. Class)
t) | Single Phase Preventor Relay
u) | MCB
18.u.1 | 6A, 4P 415V AC
18.u.2 | 6A DP, 240V AC
18.u.3 | 10A DP, 240V AC
18.u.4 | 16A DP, 240V AC
18.u.5 | 32A DP, 240V AC
18.u.6 | 6A DP, 110V AC
18.u.7 | 10A DP, 110V AC
18.u.8 | 16A DP, 110V AC
18.u.9 | 32A DP, 110V AC
18.u.10 | 16A DP, 220V DC
18.u.11 | 6A DP, 220V DC
18.u.12 | 6A DP, 240V AC
18.u.13 | 10A SP, 240V AC
18.u.14 | 16A SP, 240V AC
18.u.15 | 32A SP, 240V AC
18.u.16 | 6A SP, 110V AC
18.u.17 | 10A SP, 110V AC
18.u.18 | 16A SP, 110V AC
18.u.19 | 32A SP, 110V AC
18.u.20 | 16A SP, 220V DC
18.u.21 | 6A SP, 220V DC
v) | SWITCH & PUSH BUTTON
18.v.1 | BREAKER CONTROL SWITCH, 16A,220V DC, 2CLOSE+2TRIP
18.v.2 | DC ISOLATING SWITCH 16A,220V DC, DP, BASE MTG.
18.v.3 | 16A,240V AC SELECTOR SWITCH 3WAY, 4POLE, FLUSH MTG
18.v.4 | 25A,240V AC SELECTOR SWITCH 3WAY, 4POLE, FLUSH MTG
18.v.5 | 16A,240V AC SELECTOR SWITCH 2WAY, 2POLE, FLUSH MTG
18.v.6 | NORMAL/ TRIAL SEL. SWITCH, 2POLE , 2WAY, 10A 240V AC, FLUSH MTG,
18.v.7 | MCC/ NORMAL/ TRIAL SEL. SWITCH, 2POLE ,3WAY, 10A 240V AC, FLUSH MTG
18.v.8 | SWGR/ REMOTE SEL. SWITCH 3POLE 2WAY,16A 220V DC, FLUSH MTG
18.v.9 | SWGR/ NORMAL/ TRIAL SEL. SWITCH, 3POLE, 3WAY, 16A 220V DC, FLUSH MTG.
18.v.10 | NORMAL/ TRIAL SEL. SWITCH, 2POLE , 2WAY, 10A 240V AC, FLUSH MTG, LOCKABEL TYPE
18.v.11 | MCC/ NORMAL/ TRIAL SEL. SWITCH, 2POLE ,3WAY, 10A 240V AC, FLUSH MTG, LOCKABEL TYPE
18.v.12 | SWGR/ REMOTE SEL. SWITCH 3POLE 2WAY,16A 220V DC, FLUSH MTG.LOCKABLE TYPE
18.v.13 | SWGR/ NORMAL/ TRIAL SEL. SWITCH, 3POLE, 3WAY, 16A 220V DC, FLUSH MTG., LOCKABLE TYPE
18.v.14 | AMMETER SELECTOR SWITCH
18.v.15 | VOLTMETER SELECTOR SWITCH
18.v.16 | TOGGLE SWITCH 5A, 240V AC
18.v.17 | AC SWITCH SPST-5A,240V AC
18.v.18 | 10A, 220V DC SWITCH
18.v.19 | Door Limit switch
18.v.20 | Ammeter selector switch
18.v.21 | Voltmeter selector switch
18.v.22 | Synchronisation selector switch
18.v.23 | Trip selector switch
18.v.24 | Push Button
18.v.25 | 2NO + 2NC Shrouded
18.v.26 | 1NO + 1NC Shrouded
18.v.27 | 2NO + 2NC Mushroom head stayput
18.v.28 | 2NO + 2NC Lockable type
w) | Indicating Lamp Assembly (LED Type)
18.w.1 | 240V AC-GREEN
18.w.2 | 240V AC-RED
18.w.3 | 240V AC- AMBER
18.w.4 | 110V AC-GREEN
18.w.5 | 110V AC-RED
18.w.6 | 110V AC- AMBER
18.w.7 | 220V DC-WHITE
18.w.8 | 220V DC-RED
18.w.9 | 220V DC-GREEN
18.w.10 | 220V DC-BLUE
18.w.11 | 220V DC- AMBER
18.w.12 | 63.5V AC-RED
18.w.13 | 63.5V AC-YELLOW
18.w.14 | 63.5V AC-BLUE
x) | CT
i) | Metering CT
18.x.i.1 | Upto 75/1A
18.x.i.2 | 100/1A
18.x.i.3 | 125/1A
18.x.i.4 | 150/1A
18.x.i.5 | 200/1A
18.x.i.6 | 250/1A
18.x.i.7 | 300/1A
18.x.i.8 | 400/1A
18.x.i.9 | 500/1A
18.x.i.10 | 630/1A
18.x.i.11 | 800/1A
18.x.i.12 | 1000/1A
18.x.i.13 | 1250/1A
18.x.i.14 | 1600/1A
18.x.i.15 | 2000/1A
18.x.i.16 | 2500/1A
18.x.i.17 | 3000/1A
18.x.i.18 | 4000/1A
ii) | Protection CT (5P20)
18.x.ii.1 | Upto 75/1A
18.x.ii.2 | 100/1A
18.x.ii.3 | 125/1A
18.x.ii.4 | 150/1A
18.x.ii.5 | 200/1A
18.x.ii.6 | 250/1A
18.x.ii.7 | 300/1A
18.x.ii.8 | 400/1A
18.x.ii.9 | 500/1A
18.x.ii.10 | 630/1A
18.x.ii.11 | 800/1A
18.x.ii.12 | 1000/1A
18.x.ii.13 | 1250/1A
18.x.ii.14 | 1600/1A
18.x.ii.15 | 2000/1A
18.x.ii.16 | 2500/1A
18.x.ii.17 | 3000/1A
18.x.ii.18 | 4000/1A
18.x.ii.19 | 630/5A
18.x.ii.20 | 800/5A
18.x.ii.21 | 1000/5A
18.x.ii.22 | 1250/5A
18.x.ii.23 | 1600/5A
18.x.ii.24 | 2000/5A
18.x.ii.25 | 2500/5A
18.x.ii.26 | 3000/5A
18.x.ii.27 | 4000/5A
iii) | PS Class CT
18.x.iii.1 | 1600/1A
18.x.iii.2 | 2500/1A
18.x.iii.3 | 3000/1A
18.x.iii.4 | 4000/1A
18.x.iii.5 | 1600/5A
18.x.iii.6 | 2500/5A
18.x.iii.7 | 3000/5A
18.x.iii.8 | 4000/5A
y) | Voltage Transformer
18.y.1 | 415/Ö3 : 110/Ö3V, 1ph, 50VA
18.y.2 | 415/Ö3 : 110/Ö3V, 1ph, 100VA
18.y.3 | 415/Ö3 : 240/Ö3V, 1ph, 50VA
18.y.4 | 415/Ö3 : 240/Ö3V, 1ph, 100VA
z) | Toggle switch (16A)
aa) | Secondary Isolating Contact Block
ab) | Control Terminal (Fixed)
ac) | Thermostat
ad) | CONTROL TRANSFORMER
18.ad.1 | 415/240V,CL-E, 1 KVA
18.ad.2 | 415/240V,CL-E, 2KVA
18.ad.3 | 415/240V,CL-E, 2.5KVA
18.ad.4 | 415/240V,CL-E, 3KVA
18.ad.5 | 415/240V,CL-E, 5KVA
18.ad.6 | 415/240V,CL-E, 10KVA
18.ad.7 | 415/110V,CL-E, 1 KVA
18.ad.8 | 415/110V,CL-E, 2KVA
18.ad.9 | 415/110V,CL-E, 2.5KVA
18.ad.10 | 415/110V,CL-E, 3KVA
18.ad.11 | 415/110V,CL-E, 5KVA
18.ad.12 | 415/110V,CL-E, 10KVA
ae) | TRANSDUCER
18.ae.1 | 4-20mA Dual o/p, Aux sup 220V DC, 1A, Current Transducer
18.ae.2 | 4-20mA Dual o/p, Aux sup 240V AC, 1A, Current Transducer
18.ae.3 | 4-20mA Dual o/p, Aux sup 110V AC, 1A, Current Transducer
18.ae.4 | 4-20mA Dual o/p, Aux sup 220V DC, VoltageTransducer, PTR 415/110V
18.ae.5 | 4-20mA Dual o/p, Aux sup 240V AC, VoltageTransducer, PTR 415/110V
18.ae.6 | 4-20mA Dual o/p, Aux sup 110V AC, VoltageTransducer, PTR 415/110V
18.ae.7 | 4-20mA Dual o/p, Aux sup 220V DC, FrequencyTransducer, PTR 415/110V
18.ae.8 | 4-20mA Dual o/p, Aux sup 220V DC, Input 0-75mV DC, Current Transducer-DC
18.ae.9 | 4-20mA Dual o/p, Aux sup 240V AC, Input Voltage 0-220V DC, Voltage Transducer-DC
18.ae.10 | 4-20mA Dual Output kW transducer
18.ae.11 | 4-20mA Dual Output kVA transducer
18.ae.12 | 4-20mA Dual Output PF transducer
18.ae.13 | 4-20mA Dual Output Frequency transducer
18.af | Interposing relay RE 302 or Eqvt with freewheeling diode & LED
18.ag | Laptop PC alongwith software & hardware
18.ah | 3 PIN SOCKET - 5A, 110V AC, 3PIN
18.ai | THERMOSTATE, DIAL TYPE
18.aj | SPACE HEATER
18.ak | CFL WITH HOLDER
18.al | NEUTRAL LINK
18.al.1 | 20A FOR CONTROL CKT. & POWER CKT. UPTO 25A MCCB RATING
18.al.2 | 32A FOR 50A MCCB RATING
18.al.3 | 63A FOR 100A & 125A MCCB RATING
18.al.4 | 125A FOR 250A MCCB RATING
18.al.5 | 250A FOR 400A & 500A MCCB RATING
18.am | CASTLE KEY INTERLOCK FOR MCCB - 3LOCK+2KEY
18.an | MECHANICAL INTERLOCK FOR POWER CONTACTOR
18.an.1 | 16A
18.an.2 | 25A
18.an.3 | 32A
18.an.4 | 63A
18.an.5 | 80A
18.an.6 | 115A
18.an.7 | 150A
18.an.8 | 185A
18.an.9 | 265A
18.an.10 | 315A
18.an.11 | 400A
18.ao | AUX. CONTACTOR
18.ao.1 | 2NO+2NC, CV-220V DC
18.ao.2 | 4NO, CV-220V DC
18.ao.3 | 2NO+2NC, CV-240V AC
18.ao.4 | 3NO+1NC, CV-240V AC
18.ao.5 | 2NO+2NC, CV-110V AC
18.ao.6 | 3NO+1NC, CV-110V AC
18.ao.7 | 1NO + 1NC 240V AC
18.ao.8 | 1NO + 1NC 110V AC
18.ao.9 | 1NO + 1NC 220V DC
18.ao.10 | 1NO 240V AC
18.ao.11 | 1NO 110V AC
18.ao.12 | 1NO 220V DC
18.ap | ISOLATING/LTG TRANSFORMER-15kVA
18.ap.1 | ISOLATING/LTG TRANSFORMER-30kVA
18.ap.2 | ISOLATING/LTG TRANSFORMER-50kVA
18.ap.3 | ISOLATING/LTG TRANSFORMER-100kVA
19 | Foundation Frame
19.a | MCC panel
19.a.1 | upto 1600A (SF)
19.a.2 | 2500A (SF)
19.a.3 | 3000A (SF)
19.a.4 | 4000A (SF)
19.a.5 | upto 1600A (DF)
19.a.6 | 2500A (DF)
19.a.7 | 3000A (DF)
19.a.8 | 4000A (DF)
19.b | 220V DCDB panel
19.b.1 | SF
19.b.2 | DF
19.c | PCC / PMCC panel
19.c.1 | upto 1600A
19.c.2 | 2500A
19.c.3 | 3000A
19.c.4 | 4000A
20 | Connection from PMCC/MCC panel to PMCC/MCC panel Bus bar Link per meter cost
20.a.1 | 250A
20.a.2 | 400A
20.a.3 | 630A
20.a.4 | 800A
20.a.5 | 1000A
20.a.6 | 1600A
20.a.7 | 2500A
20.a.8 | 3000A
20.a.9 | 4000A
21 | Cable Glands & Lugs:
a) | Single Compression Cable Glands for cable sizes:
21.a.1 | 2C X 2.5 Sq. mm.
21.a.2 | 3C X 2.5 Sq. mm.
21.a.3 | 5C X 2.5 Sq. mm.
21.a.4 | 7C X 2.5 Sq. mm.
21.a.5 | 12C X 2.5 Sq. mm.
21.a.6 | 16C X 2.5 Sq. mm.
21.a.7 | 2C X 10 Sq. mm.
21.a.8 | 2C X 16 Sq. mm.
21.a.9 | 2C X 25 Sq. mm.
21.a.10 | 2C X 35 Sq. mm.
21.a.11 | 2C X 50 Sq. mm.
21.a.12 | 2C X 70 Sq. mm.
21.a.13 | 2C X 95 Sq. mm.
21.a.14 | 3C X 2.5 Sq. mm.
21.a.15 | 3C X 10 Sq. mm.
21.a.16 | 3C X 16 Sq. mm.
21.a.17 | 3C X 25 Sq. mm.
21.a.18 | 3C X 35 Sq. mm.
21.a.19 | 3C X 50 Sq. mm.
21.a.20 | 3C X 70 Sq. mm.
21.a.21 | 3C X 95 Sq. mm.
21.a.22 | 3C X 150 Sq. mm.
21.a.23 | 3C X 185 Sq. mm.
21.a.24 | 3C X 240 Sq. mm.
21.a.25 | 3.5C X 25 Sq. mm.
21.a.26 | 3.5C X 50 Sq. mm.
21.a.27 | 3.5C X 70 Sq. mm.
21.a.28 | 3.5C X 300 Sq. mm.
21.a.29 | 3.5C X 240 Sq. mm.
21.a.30 | 3.5C X 185 Sq. mm.
21.a.31 | 3.5C X 95 Sq. mm.
21.a.32 | 4C X 16 Sq. mm.
21.a.33 | 4C X 35 Sq. mm.
21.a.34 | 1C X 400 Sq. mm.
21.a.35 | 1C X 630 Sq. mm.
b) | Double Compression Cable Glands for cable sizes:
21.b.1 | 2C X 2.5 Sq. mm.
21.b.2 | 3C X 2.5 Sq. mm.
21.b.3 | 5C X 2.5 Sq. mm.
21.b.4 | 7C X 2.5 Sq. mm.
21.b.5 | 12C X 2.5 Sq. mm.
21.b.6 | 16C X 2.5 Sq. mm.
21.b.7 | 2C X 10 Sq. mm.
21.b.8 | 2C X 16 Sq. mm.
21.b.9 | 2C X 25 Sq. mm.
21.b.10 | 2C X 35 Sq. mm.
21.b.11 | 2C X 50 Sq. mm.
21.b.12 | 2C X 70 Sq. mm.
21.b.13 | 2C X 95 Sq. mm.
21.b.14 | 3C X 2.5 Sq. mm.
21.b.15 | 3C X 10 Sq. mm.
21.b.16 | 3C X 16 Sq. mm.
21.b.17 | 3C X 25 Sq. mm.
21.b.18 | 3C X 35 Sq. mm.
21.b.19 | 3C X 50 Sq. mm.
21.b.20 | 3C X 70 Sq. mm.
21.b.21 | 3C X 95 Sq. mm.
21.b.22 | 3C X 150 Sq. mm.
21.b.23 | 3C X 185 Sq. mm.
21.b.24 | 3C X 240 Sq. mm.
21.b.25 | 3.5C X 25 Sq. mm.
21.b.26 | 3.5C X 50 Sq. mm.
21.b.27 | 3.5C X 70 Sq. mm.
21.b.28 | 3.5C X 300 Sq. mm.
21.b.29 | 3.5C X 240 Sq. mm.
21.b.30 | 3.5C X 185 Sq. mm.
21.b.31 | 3.5C X 95 Sq. mm.
21.b.32 | 4C X 16 Sq. mm.
21.b.33 | 4C X 35 Sq. mm.
21.b.34 | 1C X 400 Sq. mm.
21.b.35 | 1C X 630 Sq. mm.
c) | Cable Lugs for sizes:
21.c.1 | 2.5 Sq. mm.
21.c.2 | 10 Sq. mm.
21.c.3 | 16 Sq. mm.
21.c.4 | 25 Sq. mm.
21.c.5 | 35 Sq. mm.
21.c.6 | 50 Sq. mm.
21.c.7 | 70 Sq. mm.
21.c.8 | 95 Sq. mm.
21.c.9 | 120 Sq. mm.
21.c.10 | 150 Sq. mm.
21.c.11 | 185 Sq. mm.
21.c.12 | 240 Sq. mm.
21.c.13 | 300 Sq. mm.
21.c.14 | 400 Sq. mm.
21.c.15 | 630 Sq. mm.
22 | Module Name plate
23 | Wires for Secondary wiring:
a) | 1.5 Sq. mm. per meter
b) | 2.5 Sq. mm. per meter
c) | 4.0 Sq. mm. per meter
24 | Control Terminal for Secondary wiring suitable for cable size:
a) | 0.5 Sq. mm.
b) | 1.5 Sq. mm.
c) | 2.5 Sq. mm.
25 | ISMC channels
a) | ISMC 75 channel per meter
a) | ISMC 100 channel per meter