## UNPRICE FORMAT
UNPRICED FORMAT FOR PR 12303597
SUPPLY OF LV DATA CONCENTRATOR SYSTEM (DCS) & COMMISSIONING
SL. NO | MATERIAL CODE | MATERIAL DESCRIPTION | QTY | UOM | UNIT PRICE (RS) QUOTED/ NOT QUOTED | TOTAL PRICE (RS) QUOTED/ NOT QUOTED
I | ELBSWLDCS01SU | REDUNDANT DATA CONCENTRATOR SYSTEM FOR BHUSAWAL-SUPPLY | 1 | LOT
1 | ELBSWLDCS01TG | DATA CONCENTRATOR SYSTEM - MAIN | 2 | SET
2 | ELBSWLDCS02TG | DATA CONCENTRATOR SYSTEM - STANDBY | 2 | SET
3 | ELBSWLDCS03TG | DATA CONCENTRATOR PANEL | 2 | SET
4 | ELBSWLDCS04TG | ETHERNET SWITCH | 4 | EA
5 | ELBSWLDCS05TG | FOLDABLE MONITOR | 2 | EA
6 | ELBSWLDCS06TG | KVM SWITCH | 2 | EA
7 | ELBSWLDCS07TG | EWS | 2 | EA
8 | ELBSWLDCS08TG | OWS | 2 | EA
9 | ELBSWLDCS09TG | LAPTOP | 1 | EA
10 | ELBSWLDCS10TG | PRINTER | 2 | EA
11 | ELBSWLDCS11TG | GPS CLOCK | 1 | EA
12 | ELBSWLDCS12TG | MODBUS TO ETHERNET CONVERTER | 42 | EA
13 | ELBSWLDCS13TG | LIU | 40 | EA
14 | ELBSWLDCS14TG | FURNITURE FOR EWS | 2 | EA
15 | ELBSWLDCS15TG | FURNITURE FOR OWS | 2 | EA
16 | ELBSWLDCS16TG | FURNITURE FOR PRINTER | 2 | EA
17 | ELBSWLDCS17TG | CHAIRS | 4 | EA
18 | ELBSWLDCS18TG | CABLE LAYING & TERMINATION | 2 | LOT
II | ELBSWLDCS01SE | DATA CONCENTRATOR COMMISSIONING (as per annexure-X) | 2 | LOT
1LOT=50% OF ITEMS SUPPLIED IN SL.I SHOULD BE COMMISSIONED
NOTE:
1 | FREIGHT (_________ %) against sl. No. 1 to 18.
2 | TAXES in terms of (_________ %)
3 | Bidder to mandatorily mention "Quoted" against all line items.
4 | Bidder to mandatorily mention "Quoted" against all line items of Annexure-X related to detail price break-up of Commissioning Charges.
5 | Bidder to mandatorily mention "Quoted" against the Annexure-Y related to Addition/ Dletion price list of items.

## Annexure-X
ANNEXURE-X
COMMISSIONING CHARGES FOR DCS AT SITE FOR 2 LOTS
SN | DETAILS | QUANTITY | UOM | UNIT PRICE | TOTAL PRICE
1 | LUMP SUM ALL INCLUSIVE CHARGES PER VISIT FOR DCS | 4 | VISITS
2 | LUMP SUM ALL INCLUSIVE DAILY CHARGES FOR DCS COMMISSIONING ENGINEER | 60 | DAYS
GRAND TOTAL
NOTE:
Amount payable for data concentrator commissioning engineer per visit to site=(Visit Charges as per sl no. 1 above)x(no. of visit at site)+(daily charges as per sl no.2 above)x(no. of days at site)(to be certified by BHEL)

## Annexure-Y
Annexure-Y
ADDITION/ DELETION PRICE LIST
SL. NO | DESCRIPTION | QTY | UOM | UNIT PRICE | REMARKS
1 | ETHERNET SWITCH | 1 | EA
2 | FOLDABLE MONITOR | 1 | EA
3 | KVM SWITCH | 1 | EA
4 | EWS | 1 | EA
5 | OWS | 1 | EA
6 | LAPTOP | 1 | EA
7 | PRINTER | 1 | EA
8 | GPS CLOCK | 1 | EA
9 | MODBUS TO ETHERNET CONVERTER | 1 | EA
10 | LIU | 1 | EA
11 | FURNITURE FOR EWS | 1 | EA
12 | FURNITURE FOR OWS | 1 | EA
13 | FURNITURE FOR PRINTER | 1 | EA
14 | CHAIRS | 1 | EA
15 | CABLE LUGS FOR FO CABLE | 1 | EA
16 | CABLE LUGS FOR RJ45 CABLE/ ETHERNET CABLE | 1 | EA
17 | DATA CONCENTRATOR SERVER | 1 | EA
18 | EWS SERVER | 1 | EA
19 | EWS MONITOR | 1 | EA
20 | OWS SERVER | 1 | EA
21 | OWS MONITOR | 1 | EA
22 | POWER SUPPLY UNIT FOR DATA CONCENTRATOR PANEL | 1 | EA
23 | CABLE GLANDS | 1 | EA
24 | MCB | 1 | EA
25 | EARTH BUSBAR | 1 | EA
26 | 240V AC TO 220V DC CONVERTER | 1 | EA
27 | 240V AC TO 24V DC CONVERTER | 1 | EA
28 | SFP FOR ETHERNET SWITCHES | 1 | EA
29 | ANY OTHER MATERIAL CHARGES, IF VENDOR ANTICIPATES FOR COMPLETION OF PROJECT | 1 | EA
30 | PER MAN-DAY SERVICE ENGINEER CHARGE | 1 | DAY
31 | PER VISIT SERVICE ENGINEER CHARGE | 1 | VISIT
32 | PER MAN-DAY SKILLED TECHNICIAN CHARGE | 1 | DAY
33 | PER VISIT SKILLED TECHNICIAN CHARGE | 1 | VISIT
NOTE
1 | PER VISIT SKILLED TECHNICIAN CHARGE = LUMP SUM ALL INCLUSIVE CHARGES PER VISIT FOR SKILLED TECHNICIAN (EXCEPT DAILY CHARGES)
2 | PER MAN-DAY SKILLED TECHNICIAN CHARGE = LUMP SUM ALL INCLUSIVE DAILY CHARGES FOR SKILLED TECHNICIAN
3 | PER MAN-DAY SERVICE ENGINEER CHARGE = LUMP SUM ALL INCLUSIVE DAILY CHARGES FOR SERVICE ENGINEER
4 | PER VISIT SERVICE ENGINEER CHARGE = LUMP SUM ALL INCLUSIVE CHARGES PER VISIT FOR SERVICE ENGINEER (EXCEPT DAILY CHARGES)
5 | AMOUNT PAYABLE FOR SKILLED TECHNICIAN FOR A VISIT TO SITE WHICH LASTS FOR "N" DAYS = VISIT CHARGES AS PER SL. NO. 33 ABOVE +(DAILY CHARGES AS PER SL. NO. 34 ABOVE X NO. OF DAYS AT SITE "N" (TO BE CERTIFIED BY BHEL SITE)
6 | AMOUNT PAYABLE FOR SERVICE ENGINEER FOR A VISIT TO SITE WHICH LASTS FOR "N" DAYS = VISIT CHARGES AS PER SL. NO. 31 ABOVE +(DAILY CHARGES AS PER SL. NO. 30 ABOVE X NO. OF DAYS AT SITE "N") (TO BE CERTIFIED BY BHEL SITE)