## HT XLPE POWER CABLES
NAME OF PROJECT: 5 X 800 MW YADADRI TPS
NAME OF PACKAGE: HT XLPE POWER CABLES
ENQUIRY No.: PE/PG/YAD/E-6711/2021 Dtd. 30/07/2021
NAME OF BIDDER:
S. N. | Item code | Item description | HSN Code | UNIT | ORDER QUANTITY | LOT-1 QUANTITY | DRUM LENGTH (M) | UNIT EX- WORKS PRICE (DULY PACKED) (INR) | TOTAL EX-WORKS PRICE (DULY PACKED) (INR) | Freight rate in % | Freight Amount in INR | Total Ex works + Freight (INR) | GST type | GST rate in % | GST amount in INR | TOTAL F.O.R SITE PRICE (INR) | Total FOR site Price In Words
1.0 |  | 11/11 KV AL. CONDUCTOR/ XLPE INSULATED/ ARMOURED/ UNEARTHED GRADE POWER CABLE
1.1 | 507-27151-A | 3C-240 | 85446020 | Mtr. | 23500 | 16500 | 500 | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | #VALUE!
1.2 | 507-27009-A | 1C-240 | 85446020 | Mtr. | 5000 | 4000 | 1000 | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | #VALUE!
1.3 | 507-27025-A | 1C-630 | 85446020 | Mtr. | 45000 | 32000 | 1000 | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | #VALUE!
2.0 |  | 3.3/3.3 KV AL. CONDUCTOR/ XLPE INSULATED/ ARMOURED/ UNEARTHED GRADE POWER CABLE.
2.1 | 507-27150-A | 3C-185 | 85446020 | Mtr. | 11250 | 8250 | 750 | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | #VALUE!
2.2 | 507-27053-A | 1C-240 | 85446020 | Mtr. | 15500 | 11000 | 500 | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | #VALUE!
GRAND TOTAL | [10 empty] | 0 | 0 |  |  | 0 | 0 | #VALUE!
Notes:
1. Total Quantity indicated above (column 'F') shall be known as Order Quantities. The total quantity variation shall be as per NIT.
2. Bidder has to quote Total Ex-works Value in cell (J14) of above excel (for complete Order Quantities (column 'F')). Based on this price, unit price shall be derived for all items as per formula indicated above.
3. Lot-I Quantity indicated above shall be cleared for manufacturing along with PO. However, manufacturing of the cables shall be taken up by the successful bidder only after approval of technical and quality documentation. Subsequent lots if any, shall be cleared for manufacturing based on progress of engineering and site requirements.
4. Standard drum length shall be as per BOQ cum price schedule against each size of cable. Tolerance on individual drum length shall be ±5%. For each individual cable size, one short length of not less than 200m may be accepted only in the final drum length to complete the supply. The overall tolerance limits stipulated above shall continue to apply (in case short lengths are accepted).
5. Overall tolerance on total dispatched quantity of each size shall be (-) 2% and (+) 0% except where the total ordered quantity is one single drum length, in which case it shall be -5% to 0%. Cables consumed for testing and inspection shall be to bidder’s account.
6. In case of the quantities cleared by BHEL for manufacturing are manufactured and offered for inspection by successful bidder in more than one batch, BHEL reserves the right to witness type testing on all batches without any price implications.
7. Bidder to note that unit price of cables shall be inclusive of type test charges, No separate charges shall be payable for type tests.
Note on J14: Total Ex-works to be filled by bidder

## deviation sheet (COW PRICED)
ANNEXURE II- DEVIATION SHEET (COST OF WITHDRAWL)-PRICED
NAME OF PROJECT: 5 X 800 MW YADADRI TPS
NAME OF PACKAGE: HT XLPE POWER CABLES
ENQUIRY No.: PE/PG/YAD/E-6711/2021 Dtd. 30/07/2021
NAME OF BIDDER:
SR.NO | Volume/ Section | Page No. | Clause No. | Technical Specification/ TenderDocument | CompleteDescription of Deviation | Cost of Withdrawal of Deviation | Reference of Price Schedule on Which cost of Withdrawal of deviation is Applicable | Nature of Cost of Withdrawal of deviation (Positive/Negative) | Reason for QuotingDeviation
TECHNICAL DEVIATION:
COMMERCIAL DEVIATION
PARTICULARS OF BIDDERS/ AUTHORISED REPRESENTATIVE
NAME |  |  |  | DESIGNATION |  | SIGN & DATE
NOTES: 1. Cost of withdrawal of deviation will be applicable on the basic price (i.e. excluding taxes, duties & freight) only. 2. All the bidders have to list out all their Technical & Commercial Deviations (if any) in detail in the above format. 3. Any deviation not mentioned above and shown separately or found hidden in offer, will not be taken cognizance of. 4. Bidder shall submit duly filled unpriced copy of above format indicating "quoted" in "cost of withdrawal of deviation" column of the schedule above along with their Techno-commercial offer, wherever applicable. In the absence of same, such deviation(s) shall not be considered and offer shall be considered in total compliance to NIT. 5. Bidder shall furnish price copy of above format along with price bid. 6. The final decision of acceptance/ rejection of the deviations quoted by the bidder shall be at discretion of the Purchaser. 7. Bidders to note that any deviation (technical/commercial) not listed in above and asked after Part-I opening shall not be considered. 8. For deviations w.r.t. Credit Period, Liquidated damages, Firm prices if a bidder chooses not to give any cost of withdrawal of deviation loading as per Annexure-VII, will apply. For any other deviation mentioned in un-priced copy of this format submitted with Part-I bid but not mentioned in priced copy of this format submitted with Priced bid, the cost of withdrawal of deviation shall be taken as NIL. 9. Any deviation mentioned in priced copy of this format, but not mentioned in the un-priced copy, shall not be considered. 10. All techno-commercial terms and conditions of NIT shall be deemed to have been accepted by the bidder, other than those listed in unpriced copy of this format. 11. Cost of withdrawal is to be given separately for each deviation. In no event bidder should club cost of withdrawal of more than one deviation else cost of withdrawal of such deviations which have been clubbed together shall be considered as NIL. 12. In case nature of cost of withdrawal (positive/negative) is not specified it shall be assumed as positive. 13. In case of discrepancy in the nature of impact (positive/ negative), positive will be considered for evaluation and negative for ordering.

## Sheet1 (hidden)
2
2
2 | 2 | Rupees Two Only |  | 2 | 0 | 0 | Rupees | [7 empty] | 0 | 2 | and paise | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Two |  |  |  | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
2 | 2 | Rupees Two Only |  | 2 | 0 | 0 | Rupees | [7 empty] | 0 | 2 | and paise | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Two |  |  |  | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
0 | 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
0 | 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
0 | 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
0 | 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
0 | 0 |  |  | 0 | 0 | 0 | #REF! | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
0 | 0 |  |  | 0 | 0 | 0 | #REF! | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
0 | 0 |  |  | 0 | 0 | 0 | #REF! | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
0 | 0 |  |  | 0 | 0 | 0 | #REF! | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
0 | 0 |  |  | 0 | 0 | 0 | #REF! | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
0 | 0 |  |  | 0 | 0 | 0 | #REF! | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
0 | 0 |  |  | 0 | 0 | 0 | #REF! | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
0 | 0 |  |  | 0 | 0 | 0 | #REF! | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
0 | 0 |  |  | 0 | 0 | 0 | #REF! | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
0 | 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
0 | 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
0 | 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
0 | 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rupees | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | and paise | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Hundred | Thousand | Lakh | Crore | Only
0 | 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
| 0 |  |  | 0 | 0 | 0 | Rupees | [7 empty] | 0 | 0 | and paise | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
500 | 500 | Rupees Five Hundred Only |  | 500 | 0 | 0 | Rupees |  |  | Five Hundred |  |  | Five |  | 500 | 0 | and paise | 500 | 0 | 0 | 0 | 500 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
250 | 250 | Rupees Two Hundred Fifty Only |  | 250 | 0 | 0 | Rupees |  |  | Two Hundred |  |  | Two |  | 250 | 0 | and paise | 200 | 50 | 5 | 0 | 200 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Fifty |  |  | Five | Hundred | Thousand | Lakh | Crore | Only
500 | 500 | Rupees Five Hundred Only |  | 500 | 0 | 0 | Rupees |  |  | Five Hundred |  |  | Five |  | 500 | 0 | and paise | 500 | 0 | 0 | 0 | 500 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | Hundred | Thousand | Lakh | Crore | Only
250 | 250 | Rupees Two Hundred Fifty Only |  | 250 | 0 | 0 | Rupees |  |  | Two Hundred |  |  | Two |  | 250 | 0 | and paise | 200 | 50 | 5 | 0 | 200 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Fifty |  |  | Five | Hundred | Thousand | Lakh | Crore | Only
0
[43 empty] | 1 | One |  | One
[43 empty] | 2 | Two |  | Two
[43 empty] | 3 | Three |  | Three
[43 empty] | 4 | Four |  | Four
[43 empty] | 5 | Five |  | Five
[43 empty] | 6 | Six |  | Six
[43 empty] | 7 | Seven |  | Seven
[43 empty] | 8 | Eight |  | Eight
[43 empty] | 9 | Nine |  | Nine
[43 empty] | 10 | Ten |  | Ten
[43 empty] | 11 | Eleven |  | Eleven
[43 empty] | 12 | Twelve |  | Twelve
[43 empty] | 13 | Thirteen |  | Thirteen
[43 empty] | 14 | Fourteen |  | Fourteen
[43 empty] | 15 | Fifteen |  | Fifteen
[43 empty] | 16 | Sixteen |  | Sixteen
[43 empty] | 17 | Seventeen |  | Seventeen
[43 empty] | 18 | Eighteen |  | Eighteen
[43 empty] | 19 | Nineteen |  | Nineteen
[43 empty] | 20 | Twenty |  | Twenty
[43 empty] | 21 | Twenty | One | Twenty One
[43 empty] | 22 | Twenty | Two | Twenty Two
[43 empty] | 23 | Twenty | Three | Twenty Three
[43 empty] | 24 | Twenty | Four | Twenty Four
[43 empty] | 25 | Twenty | Five | Twenty Five
[43 empty] | 26 | Twenty | Six | Twenty Six
[43 empty] | 27 | Twenty | Seven | Twenty Seven
[43 empty] | 28 | Twenty | Eight | Twenty Eight
[43 empty] | 29 | Twenty | Nine | Twenty Nine
[43 empty] | 30 | Thirty |  | Thirty
[43 empty] | 31 | Thirty | One | Thirty One
[43 empty] | 32 | Thirty | Two | Thirty Two
[43 empty] | 33 | Thirty | Three | Thirty Three
[43 empty] | 34 | Thirty | Four | Thirty Four
[43 empty] | 35 | Thirty | Five | Thirty Five
[43 empty] | 36 | Thirty | Six | Thirty Six
[43 empty] | 37 | Thirty | Seven | Thirty Seven
[43 empty] | 38 | Thirty | Eight | Thirty Eight
[43 empty] | 39 | Thirty | Nine | Thirty Nine
[43 empty] | 40 | Forty |  | Forty
[43 empty] | 41 | Forty | One | Forty One
[43 empty] | 42 | Forty | Two | Forty Two
[43 empty] | 43 | Forty | Three | Forty Three
[43 empty] | 44 | Forty | Four | Forty Four
[43 empty] | 45 | Forty | Five | Forty Five
[43 empty] | 46 | Forty | Six | Forty Six
[43 empty] | 47 | Forty | Seven | Forty Seven
[43 empty] | 48 | Forty | Eight | Forty Eight
[43 empty] | 49 | Forty | Nine | Forty Nine
[43 empty] | 50 | Fifty |  | Fifty
[43 empty] | 51 | Fifty | One | Fifty One
[43 empty] | 52 | Fifty | Two | Fifty Two
[43 empty] | 53 | Fifty | Three | Fifty Three
[43 empty] | 54 | Fifty | Four | Fifty Four
[43 empty] | 55 | Fifty | Five | Fifty Five
[43 empty] | 56 | Fifty | Six | Fifty Six
[43 empty] | 57 | Fifty | Seven | Fifty Seven
[43 empty] | 58 | Fifty | Eight | Fifty Eight
[43 empty] | 59 | Fifty | Nine | Fifty Nine
[43 empty] | 60 | Sixty |  | Sixty
[43 empty] | 61 | Sixty | One | Sixty One
[43 empty] | 62 | Sixty | Two | Sixty Two
[43 empty] | 63 | Sixty | Three | Sixty Three
[43 empty] | 64 | Sixty | Four | Sixty Four
[43 empty] | 65 | Sixty | Five | Sixty Five
[43 empty] | 66 | Sixty | Six | Sixty Six
[43 empty] | 67 | Sixty | Seven | Sixty Seven
[43 empty] | 68 | Sixty | Eight | Sixty Eight
[43 empty] | 69 | Sixty | Nine | Sixty Nine
[43 empty] | 70 | Seventy |  | Seventy
[43 empty] | 71 | Seventy | One | Seventy One
[43 empty] | 72 | Seventy | Two | Seventy Two
[43 empty] | 73 | Seventy | Three | Seventy Three
[43 empty] | 74 | Seventy | Four | Seventy Four
[43 empty] | 75 | Seventy | Five | Seventy Five
[43 empty] | 76 | Seventy | Six | Seventy Six
[43 empty] | 77 | Seventy | Seven | Seventy Seven
[43 empty] | 78 | Seventy | Eight | Seventy Eight
[43 empty] | 79 | Seventy | Nine | Seventy Nine
[43 empty] | 80 | Eighty |  | Eighty
[43 empty] | 81 | Eighty | One | Eighty One
[43 empty] | 82 | Eighty | Two | Eighty Two
[43 empty] | 83 | Eighty | Three | Eighty Three
[43 empty] | 84 | Eighty | Four | Eighty Four
[43 empty] | 85 | Eighty | Five | Eighty Five
[43 empty] | 86 | Eighty | Six | Eighty Six
[43 empty] | 87 | Eighty | Seven | Eighty Seven
[43 empty] | 88 | Eighty | Eight | Eighty Eight
[43 empty] | 89 | Eighty | Nine | Eighty Nine
[43 empty] | 90 | Ninety |  | Ninety
[43 empty] | 91 | Ninety | One | Ninety One
[43 empty] | 92 | Ninety | Two | Ninety Two
[43 empty] | 93 | Ninety | Three | Ninety Three
[43 empty] | 94 | Ninety | Four | Ninety Four
[43 empty] | 95 | Ninety | Five | Ninety Five
[43 empty] | 96 | Ninety | Six | Ninety Six
[43 empty] | 97 | Ninety | Seven | Ninety Seven
[43 empty] | 98 | Ninety | Eight | Ninety Eight
[43 empty] | 99 | Ninety | Nine | Ninety Nine