## Annexure C
Enquiry No 4202600004 dt 24.02.2026 Procurement of Low Pressure (LP) Piping for HPGCL Yamunanagar project Annexure C- Detailed Piping System BOM
Project | Piping System | IBR / Non IBR | PGMA | Item Description | Specification | Drawing No | UOM | Assembly Indicator | Quantity | Weight (kg)
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | FLAT FACED FLANGE NB200 CL150 SA515GR70 | SA515GR70 | 4-80-468-65676 | NO |  | 10 | 115
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | ASMEB16.9 BW EQUAL TEE OD219.1X6.35 SA234WPB | SA234WPB |  | NO |  | 3 | 57.81
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | ASMEB16.9 BWLR 90DEG ELBOW OD219.1X6.35 SA234WPB | SA234WPB |  | NO |  | 18 | 300.6
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | NUT -M20 -CL4-IS1363P3 IS:1363(P-3) | IS:1363(P-3) |  | NO |  | 144 | 10.08
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | NON-ASBESTOS JOINTING SHEET 3.0MM 1000x5000 NON-ASBESTOS | NON-ASBESTOS |  | M2 |  | 5 | 28.45
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | PIPE OD 21.3 X 4.78 L=5M SA106GRB | SA106GRB |  | M |  | 5 | 9.75
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | SW PRESSURE STUB NB 15 CL 3000(CS) SA105 | SA105 | 3-80-463-15996 | NO |  | 8 | 1.44
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | TEMP STUB RC 1" L=45CS SA105 | SA105 | 4-80-468-84580 | NO |  | 8 | 8.824
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | SCREW PLUG RC 1" (CS) SA105 | SA105 | 4-80-468-84581 | NO |  | 8 | 3.472
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | TEMP.STUB M33X2 (CS) L=64 SA105 | SA105 | 4-80-468-84584 | NO |  | 5 | 7.84
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | COPPER PACKING RING M33X2 IS1972 COPPER | COPPER |  | NO |  | 5 | 0.05
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | SCREW PLUG M33X2 SA105 | SA105 | 4-80-999-97708 | NO |  | 5 | 0.8
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | PIPE OD114.3 X 6.02 L= 15M SA106GRB SA106GRB | SA106GRB |  | M |  | 15 | 241.05
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | PLATE 16.0 MM -1000mmx5000mm. IS2062E250GRBR_N | IS2062E250GRBR |  | M2 |  | 5 | 628
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | PIPE OD323.9X9.53 L= 2000 EPSTY-D,D1-304.8@SHOP SA106GRB | SA106GRB |  | NO |  | 1 | 147.76
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | PIPE OD914X8 L= 2000 EP STY-D, D1-898 @SHOP IS3589-410MPA | IS3589-410MPA |  | NO |  | 1 | 357.46
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | FLAT FACED FLANGE NB100 CL150 IS2062E250GRBR | IS2062E250GRBR | 4-80-468-53641 | NO |  | 5 | 27.25
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | BLANK FLANGE NB-100 IS2062E250GRBR | IS2062E250GRBR | 4-80-477-71693 | NO |  | 5 | 37.2
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | BOLT-M16X80 -8.8-IS364P1 IS-1364(P-1) | IS-1364(P-1) |  | NO |  | 40 | 6.2
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | NUT -M16 -2H A194GR2H | A194GR2H |  | NO |  | 40 | 1.2
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | PUN WASHER-M16 -IS2016-A IS:2016 | IS2016-A IS:2016 |  | NO |  | 80 | 0.8
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | SW PRESSURE STUB NB 15 CL 3000(CS) SA105 | SA105 | 3-80-463-15996 | NO |  | 10 | 1.8
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | TEMP STUB RC 1" L=45 CS SA105 | SA105 | 4-80-468-84580 | NO |  | 10 | 11.03
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | SCREW PLUG RC 1" (CS) SA105 | SA105 | 4-80-468-84581 | NO |  | 10 | 4.34
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | Temp stub M33x2 l=64 SA105 | SA105 | 4-80-468-84584 | NO |  | 5 | 7.84
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | SCREW PLUG M33X2 SA105 | SA105 | 4-80-999-97708 | NO |  | 5 | 0.8
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | COPPER PACKING RING M33X2 IS1972 COPPER | COPPER |  | NO |  | 5 | 0.05
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | FLAT FACED FLANGE NB200 CL150 SA515GR70 | SA515GR70 | 4-80-468-65676 | NO |  | 12 | 138
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | NUT -M20 -CL4-IS1363P3 IS:1363(P-3) | IS1363P3 |  | NO |  | 100 | 7
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | NON-ASBESTOS JOINTING SHEET 3.0MM -1000x5000 NON-ASBESTOS | NON-ASBESTOS |  | M2 |  | 5 | 28.45
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | BLIND FLANGE NB750 AWWA C207 CL-D SA515GR70 | SA515GR70 | 4-80-468-A0996 | NO |  | 7 | 2054.64
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | SOW FLANGE NB750 AWWA C207 CL-D SA515GR70 | SA515GR70 | 4-80-468-A0997 | NO |  | 7 | 528.78
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | NON-ASBESTOS JOINTING SHEET 3.0MM NON-ASBESTOS | NON-ASBESTOS |  | NO |  | 10 | 56.9
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | PIPE OD 323.9X 6.35 L-440M, EP STY "D" D1-311.2MM IS3589-410MPA | IS3589-410MPA |  | M |  | 440 | 21881.2
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | ASMEB16.9 BWLR 90DEG ELBOW OD323.9X6.35 SA234WPB | SA234WPB |  | NO |  | 15 | 535.5
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | ASMEB16.9 BWLR 45DEG ELBOW OD323.9X6.35 SA234WPB | SA234WPB |  | NO |  | 4 | 71.36
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | ASMEB16.9 BWLR 90DEG ELBOW OD219.1X6.35 SA234WPB | SA234WPB |  | NO |  | 8 | 133.6
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | ASMEB16.9 UEQT OD323.9X6.35/219.1X6.35 SA234WPB | SA234WPB |  | NO |  | 1 | 37.47
HPGCL Yamunanagar 2x800 MW | Cooling Water Piping | Non IBR | 82468 | PIPE OD610X10 l=12M (SPIRAL/LS) IS3589-410MPA | IS3589-410MPA |  | M |  | 12 | 1804.925
Note-
1. In case of Assembly items (indicated as 'A' under Assembly Indicator), exploded BOM will be indicated below the Assembly item. Weight of individual items of the Assembly shall be considered for arriving the final weight of the assembly. Individual drawings shall also be referred.
2. Bidders are required to thoroughly review the drawings before quoting.
3. in case of any mismatch between the Specification indicated against each item and corresponding Specification indicated in the drawing, Specification indicated in the drawing shall prevail.