## Annexure A
Enquiry No 4202500002 dt 10.04.2025 Procurement of Thin Walled Piping of IBR & Non IBR Systems (With detailed Engineering by Supplier) for various Adani projects Annexure A- Enquiry Schedule List
Scheule No | Piping System | IBR / Non IBR | Technical Specification | Quality Plan | Painting Scheme | Packing Procedure | APL Raipur 2x800 MW Ph II Unit 1 & 2 |  | APL Raigarh 2x800 MW Ph II Unit 1 & 2 |  | Mirzapur MTEUPPL 2x800 MW Ph I Unit 1 & 2 |  | APL Kawai 2x800 MW Ph II Unit 1 & 2 |  | APL Kawai 2x800 MW Ph III Unit 1 & 2 |  | Total Quantity (Set) | Total Weight (MT)
[7 empty] | Quantity (Set) | Weight (MT) | Quantity (Set) | Weight (MT) | Quantity (Set) | Weight (MT) | Quantity (Set) | Weight (MT) | Quantity (Set) | Weight (MT)
1 | Aux Steam System | IBR | PIP ENGG:TSP:PPFDSPM:001 Rev 00 | CQP:6648 Rev 01 | Refer Annexure B | PC:PKG:01 Rev 00 & Annexure E | 2 | 121.341 | 2 | 121.341 | 2 | 121.341 | 2 | 121.341 | 2 | 121.341 | 10 | 606.705
2 | Aux Steam System | Non IBR | PIP ENGG:TSP:PPFDSPM:001 Rev 00 | 1832 QPC 01 Rev 01 | Refer Annexure B | PC:PKG:01 Rev 00 & Annexure E | 2 | 11.192 | 2 | 11.192 | 2 | 11.192 | 2 | 11.192 | 2 | 11.192 | 10 | 55.96
3 | Condensate System | Non IBR | PIP ENGG:TSP:PPFDSPM:001 Rev 00 | 1832 QPC 01 Rev 01 | Refer Annexure B | PC:PKG:01 Rev 00 & Annexure E | 2 | 191.546 | 2 | 191.546 | 2 | 191.546 | 2 | 191.546 | 2 | 191.546 | 10 | 957.73
4 | Drain & Vent Piping | Non IBR | PIP ENGG:TSP:PPFDSPM:001 Rev 00 | 1832 QPC 01 Rev 01 | Refer Annexure B | PC:PKG:01 Rev 00 & Annexure E | 2 | 111.458 | 2 | 111.458 | 2 | 111.458 | 2 | 111.458 | 2 | 111.458 | 10 | 557.29
5 | Extraction System | IBR | PIP ENGG:TSP:PPFDSPM:001 Rev 00 | CQP:6648 Rev 01 | Refer Annexure B | PC:PKG:01 Rev 00 & Annexure E | 2 | 143.008 | 2 | 143.008 | 2 | 143.008 | 2 | 143.008 | 2 | 143.008 | 10 | 715.04
6 | Heaters Drain Piping | Non IBR | PIP ENGG:TSP:PPFDSPM:001 Rev 00 | 1832 QPC 01 Rev 01 | Refer Annexure B | PC:PKG:01 Rev 00 & Annexure E | 2 | 113.668 | 2 | 113.668 | 2 | 113.668 | 2 | 113.668 | 2 | 113.668 | 10 | 568.34
7 | SG Integral Piping System | IBR | PIP ENGG:TSP:PPFDSPM:001 Rev 00 | CQP:6648 Rev 01 | Refer Annexure B | PC:PKG:01 Rev 00 & Annexure E | 2 | 128.602 | 2 | 128.602 | 2 | 128.602 | 2 | 128.602 | 2 | 128.602 | 10 | 643.01
8 | SG Integral Piping System | Non IBR | PIP ENGG:TSP:PPFDSPM:001 Rev 00 | 1832 QPC 01 Rev 01 | Refer Annexure B | PC:PKG:01 Rev 00 & Annexure E | 2 | 88.668 | 2 | 88.668 | 2 | 88.668 | 2 | 88.668 | 2 | 88.668 | 10 | 443.34
9 | Spray Water / Feed Water Piping | IBR | PIP ENGG:TSP:PPFDSPM:001 Rev 00 | CQP:6648 Rev 01 | Refer Annexure B | PC:PKG:01 Rev 00 & Annexure E | 2 | 59.896 | 2 | 59.896 | 2 | 59.896 | 2 | 59.896 | 2 | 59.896 | 10 | 299.48
10 | Spray Water / Feed Water Piping | Non IBR | PIP ENGG:TSP:PPFDSPM:001 Rev 00 | 1832 QPC 01 Rev 01 | Refer Annexure B | PC:PKG:01 Rev 00 & Annexure E | 2 | 66.036 | 2 | 66.036 | 2 | 66.036 | 2 | 66.036 | 2 | 66.036 | 10 | 330.18
[7 empty] | 20 | 1035.415 | 20 | 1035.415 | 20 | 1035.415 | 20 | 1035.415 | 20 | 1035.415 | 100 | 5177.075
Note-
1. Bidders are required to review the input isometric drawings and Piping System BOM (Annexure B) provided along with the Enquiry and quote accordingly. Quantities indicated in the drawings / BOM and weight indicated above are tentative. Quantity / weight are subject to a variation of +/-15% during detailed Engineering.
2. In case quoting for any Schedule of the Enquiry, price shall be quoted for all items of the respective BOM failing which bid submitted for such Schedule(s) shall be rejected.
3. Applicability of customer inspection for each PGMA of the Piping System will be as per approved PGMA Categorization: 1832 PGMA 01 Rev 01.
4. For Surface Preparation, Painting & Stencilling, Identification and End Protection of Piping Components, Quality Control Procedure: QCP:21 Rev 00 shall be referred.
5. Applicable fittings tolerances shall be as per Drawing No 4-80-301-26192 Rev 01. Applicable pipe tolerances shall be as per relevant standard. Color coding and End protection shall be as per Annexure I & II to QCP:21 Rev 00. SIP: PP: 02, SIP: PP: 04 and SIP: PP: 21 indicated in QCP:001 Rev 10 are not relevant to the present Enquiry and shall be ignored.
6. BHEL approved NDT procedures (RT, UT, MPT etc) provided along with QP No CQP 6648 Rev 01 is only for reference. Bidders can follow their own approved NDT procedures. Post placement of PO, successful bidder(s) shall submit their internal NDT procedures for BHEL review.