भारत हेवी इलेक्ट्किल्स लिमिटेड
[image: image2.png]Eir vl
Bffe



Bharat Heavy Electricals Limited
रामचन्द्रापुरम : हैदराबाद – 502 032
Ramachandrapuram : Hyderabad - 502032


(परिक्षण विभाग / Testing Department)
TENDER NOTICE
Ref: HY/T/70/6013-H/2008-09/01





Date: 23-04-2008

 Name of the department
: Testing Department (Pumps) / 70-Building

Name of Work

: “Annual Cleaning of water reservoirs” at Pumps Test plant.
            Offer in a sealed cover, subscribing the tender number, name of the work will be received by the undersigned from the contractors at Pumps Testing Department, 70 Building, BHEL, R C Puram, Hyderabad - 32.  Offers will be opened at 13.30 hrs. on the due date itself, in the presence of tenderer/s or their authorized agent/s in Finance Department, BHEL, Ramachandrapuram, Hyderabad – 502 032.

	Name Of The Work
	Due Date/ Time For Receipt Of      Offer
	Date And Time Of Opening of sealed offer
	Period Of Completion of works

	“Annual Cleaning of water reservoirs” at Pumps Test plant.
(Cleaning of Outside reservoir, Inside Reservoir, Twin Measuring Channel, CWP Isolation chamber, Interconnecting divergent tunnel & CWP dry pit with following activates:

1. Removal / Lifting of mud / sludge.

2. Removal of algae.  

3. Removal / Lifting of debris. 

4. Cleaning of reservoir walls with wire brushes.  

5. Cleaning with water with bleaching powder.
6. Cleaning with water. Etc.)

Schedule of works in Annexure-A is enclosed with these documents.
	28-04-2008 at 12.00 hours.
	28-04-2008 at 13.30 hours.
	25-05-2008


  
Pre-qualification requirements;

1. Contractor shall furnish and enclose copies of ESI code, PF code and Valid labor license, 

2. PAN NO & latest Income Tax returns (if available) copy.

TERMS AND CONDITIONS:

General:

1) Man power engaged should have required basic skills in similar nature of work.
2) Penalty will be levied at 1/2% per week on the total contract value to the maximum of 10% if work is not started immediately after issue of LOI.
3) The contractor shall pay minimum skilled wages to the staff as per minimum wages act (rates are mentioned at the end of special conditions).  Contractor has to make PF, ESI contributions as per applicable rules; contractor should pay double wages if engaged on overtime beyond normal working hours.

4) Contractor should supervise the labor engaged for this work.

5) Contractor shall arrange ESI cards for the contract labor and shall extend all relevant statutory rules for his staff.
6) Contractor shall comply the provision of PF, ESI for their labor.

7) Contractor shall provide personnel protective equipments.
8) The contractor is wholly responsible for any loss of life or partial disability of any of their employees while on duty.
9) In case of occurrence of any accident/injury of contractor’s staff, BHEL will not pay any compensation while they are on duty and contractor has to take care of same under statutory obligation.

10) Above mentioned work shall be executed in accordance with the general agreement conditions applicable to job works as per OMI-195.  A copy of the same can be had in soft or hard from the undersigned.

11) Contractor shall follow General instructions / obligations of the contractors.
12) BHEL reserve the right to reject any or all tenders in part or in full without assigning any reason.
General:
               On the sealed cover it should be clearly mentioned as below:

a) Offer for the “Annual Cleaning of water reservoirs” at Pumps Test plant.
b) From address:
c) To address: 
Raghunath S Metre

Manager / Testing (Pumps), 70 - Building,  

   
M/s BHEL, R.C.PURAM, HYDERABAD-502 032
d) ENQUIRY No:   HY/T/70/6013-H/2008-09/01
e)  Enquiry due date: 28-04-2008
Thanking you,                                                                

                                                                           



   Yours sincerely,

                                                                       



 For and on behalf of

                                                           



  Bharat Heavy Electricals Limited






[image: image1.jpg]Rrelre—




   (Raghunath S Metre)





          Manager / Testing (Pumps)
                      70-Building

Phone: 040-2318 3662, 9490167516








E-mail : raghumethre@bhelhyd.co.in
ANNEXURE – A

RESERVOIR CLEANING WORK SCHEDULE FOR PUMPS TESTING

	Sl. No
	Nature of work
	Valuation unit
	Agmt. Qty
	Unit Rate

Rs.
	Total Amount

In Rs.

	01.
	Outside Reservoir 

1. Removal / Lifting of mud / sludge. 175 kgs
2. Removal of algae.  50 kgs
3. Removal / Lifting of debris. 50 kgs
4. Cleaning of reservoir walls with wire brushes.  

5. Cleaning with water with bleaching powder.
6. Cleaning with water.
                                       Total = 275kgs
(Each reservoirs to be cleaned with above activities separately)
	1 unit =

1 kg
	275 kgs
	
	

	02.
	Inside Reservoir 

1. Removal / Lifting of mud / sludge. 125 kgs
2. Removal of algae.  25 kgs
3. Removal / Lifting of debris. 25 kgs
4. Cleaning of reservoir walls with wire brushes. 
5.  Cleaning with water with bleaching powder.
6. Cleaning with water.  
                                       Total = 175 kgs
(Each reservoirs to be cleaned with above activities separately)
	1 unit =

1 kg
	175 kgs
	
	

	03.
	Twin Measuring Channel 

1. Removal / Lifting of mud / sludge. 60 kgs
2. Removal of algae.  15 kgs
3. Removal / Lifting of debris. 25 kgs
4. Cleaning of reservoir walls with wire brushes. 
5.  Cleaning with water with bleaching powder.
6. Cleaning with water.  
                                       Total = 100 kgs
(Each measurement channel to be cleaned with above activities separately)

	1 unit = 

1 kg
	100 kgs
	
	


                                                                                                                                                                                     ::2::
	04.
	CWP Isolation chamber, Interconnecting divergent tunnel & CWP dry pit 

1. Removal / Lifting of mud / sludge. 90 kgs
2. Removal of algae.  20 kgs
3. Removal / Lifting of debris. 40 kgs
4. Cleaning of reservoir walls with wire brushes. 
5.  Cleaning with water with bleaching powder.
6. Cleaning with water.  
                                       Total = 150 kgs
(Each chamber, tunnel & pit to be cleaned with above activities separately)


	1 unit = 

1 kg
	150 kgs
	
	

	TOTAL EXPENDITURE FOR CLEANING OF Outside Reservoir, Inside Reservoir, Isolation chamber, Tunnel & Dry pit of PUMPS TEST PLANT
	


TOTAL TENDER VALUE FOR WORKS CONTRACT (Approximate)
	1. Outside Reservoir 


	Rs. 13750/-

	2. Inside Reservoir 


	Rs. 8750/-

	3. Twin Measuring Channel 


	Rs. 5000/-

	4. CWP Isolation chamber, Interconnecting divergent tunnel & CWP dry pit 


	Rs. 7500/-

	TOTAL
	Rs. 35000/-


�








