## Breakup
| VENTILATION SYSTEM PROJECT- POWER & BLOWING STATION, IISCO; BURNPUR SPEC NO: PY 51512 Rev 00 |  |  | Annexure -[2A] of Price Bid format
Rev 01
Ventilation System :: Unit rates of main equipment / Components for addition/deletion as per note-4 of Price Bid Format (Annexure-2)
A. | Balance works (supply , Erection and Commissioning ) for 10,00,000 cmh Air washer System |  |  | Unit Rate (Rs.) | Total Price (Rs.) | Weightage % | Biddert to mention Quoted indicating each item is quoted. | Remarks
1 | Discharge header | [6 empty] | Refer Note-4 of Price Bid format (Annexure-2)
1.1 | (a)Pressure Gauge | No | 1 |  |  | 0.1569%
1.2 | (b)Flow Meter | No | 1 |  |  | 0.2425%
2 | Drain line extension to be out side the room. (Line size : 1”CS) | mtrs | 10 |  |  | 0.7571%
3 | Duct Aluminium sheet cladding for the exposed duct (over DG set area)
3.1 | Thermal Insulation | Sqmt | 110 |  |  | 18.62%
3.2 | Aluminium Sheet cladding | Sqmt | 120 |  |  | 12.78%
4 | Chequerred plates for Pump approach area platform common for 4 Nos. of Air washer pumps | Sqmt | 65 |  |  | 22.26%
5 | All ducts crossing wall openings to be blanked properly. | Nos. | 30 |  |  | 17.12%
6 | Average Velocity of Fan | Lot | 1 |  |  | 0.2092%
7 | Water Pumps feeder & Fan feeder ammeter value showing wrong value.
7.1 | Ammeter for pump feeder | No. | 1 |  |  | 0.1917%
7.2 | Ammeter for fan feeder | No. | 1 |  |  | 0.1917%
8 | Pressure gauge at Pump-2 discharge | No | 1 |  |  | 0.1655%
9 | Discharge header vibration very high. | No. | 1 |  |  | 0.6468%
10 | Gland sleeve of AWU Pump-3 | No. | 1 |  |  | 0.6803%
11 | Pressure gauge at Pump-3 discharge | No | 1 |  |  | 0.1569%
12 | Make-up line flange mismatch, bolt missing, both side wheel missing | Set | 1 |  |  | 0.291%
13 | Fan-5 screeching noise rectification | No. | 1 |  |  | 0.5041%
14 | Chequerred plates approach platform height for Fan- 3 & 5 (Small step-up side to be provided from the existing platform) | Sqmt | 10 |  |  | 3.633%
15 | Gate valve gland for AWU Pump Discharge | Nos. | 4 |  |  | 1.758%
B | Commissioning of 2,40,000 cmh Air washer System
1 | Commissioning of 2,40,000 cmh air washer unit | Lot | 1 |  |  | 7.761%
C | Balance works for Exhaust Fans system
1 | Civil finishing of 40 nos. exhaust fan wall opening. | Nos. | 40 |  |  | 11.87%
|  |  | Bidder to quote only total Price | Grand Total Price |  | 100%
NOTES:
1) | Vendor to Quote Lumpsum Price for the Total Package.
2) | Unit Rates of the individual items shall be derived by multiplying the "Weightage %" with the Lumpsum Price quoted.
Unit Rates of the Individual items thus arrived, shall be binding on the bidder, in case of any repeat order as per BHEL policies.
3) | Observations / Objections, if any, of the Bidder, to the "Weightage %" shall be brought to the notice of BHEL, during Pre-Bid Stage.
No Observations / Objections shall be enterained after the Techno-Commercial Bid is opened.
4) | Bidder to indicate "Quoted" in the column "Bidder's Confirmation" as a confirmation of their bid to the respective item.
5) | The Bid Evaluation is on Overall L1 Basis. Each and Every item of the Package shall be quoted by the bidder.
Partial offers will not be considered for evaluation and the same are liable for rejection.
6) | The Total Lump price quoted shall be INCLUSIVE of Packing & Forwarding and Testing Charges.
7) | The Total Lump price quoted shall be EXCLUSIVE of GST, Third party inspection (TPI) & Insurance Charges.