## PREAMBLE
VOLUME-III PRICE SCHEDULE, REV-01
PACKAGE MISC-2 : MISCELLENEOUUS CIVIL SUB STRUCTURE AND SUPERSTRUCTURE WORKS FOR DIFFERENT STRUCTURES FOR 2X660 MW MAITREE RAMPAL PROJECT, BANGLADESH.
TENDER NO - MSTPP: MISC-2: KLN-C
PREAMBLE
01 | This preamble forms part of tender document and schedule of items. The tenderer should read this preamble carefully before filling in rates for various items. Clauses under this preamble shall be read in conjunction with various volumes of tender and other tender sections as applicable and shall have precedence over any contrary statement mentioned any where in this document.
02 | The work shall be carried out strictly as per specifications, description of the items in these schedule and / or engineer’s instructions. Drawings enclosed with the tender are only preliminary and for tender purposes and giving some idea of the work involved. The work is to be executed as per drawings & documents, which shall be furnished during execution.
03 | Items of work provided in this schedule but not covered in this specification shall be executed strictly as per instruction of the engineer.
04 | Unless specifically mentioned otherwise in the tender document, the tenderer shall quote for the finished items and shall provide for the complete cost towards power, fuel, tools, tackles, equipment, constructional plants, temporary works, labour, dismantling of all temporary piping, structures, valves, pumps, tanks & other misc. equipment, strengthening of roads/culverts/bridges etc. including arranging all clearances etc. required for carrying out different activities & tests, materials, levies, taxes (except service tax), transport, layout, repairs, rectification, maintenance till handing over, supervisions, colonies, shops, establishments, overheads, profits and all incidental items not specifically mentioned but reasonably implied and necessary to complete the work according to the complete tender document and this schedule.
05 | The quantities of the various items mentioned in this schedule of items are approximate, based on very preliminary information and may vary to any extent or be deleted altogether. The quoted rates of each item will remain firm throughout the period of execution including extension, for reasons whatsoever, as long as variation in the total value of work executed under any part of this contract including extra items, if any but excluding any price variation remains, within plus minus thirty percent (± 30%) of the awarded price as per LOI.
06 | Prior written approval of BHEL shall be sought by the contractor in case quantity variation of any item crosses +50% (plus fifty percent) limit during execution and approval to be obtained before execution of further quantity for this item.
07 | In case Sealed /Paper Price Bids are opened for finalisation of the tender, for any Item Rate/BOQ based contract, possibility of variation of quantity/ addition/deletion of items can not be ruled out. Under such circumstances, after execution of work, if it is observed that standing as L-1 is changed based on actual quantity executed, the bidder shall give suitable rebate to maintain your standing as L-1. Since this aspect can be assessed at the end of execution, necessary adjustment will be effected at the end of execution in final bill.This condition shall not be applicable where the tender is finalised through Reverse Auction.
08 | BHEL reserve the right to rationalize the rates, quoted by L-1 bidder against unit rate items and/ or other optional items with respect to item-wise lowest rates (amongst the participating bidders), before placement of order.
09 | The rates quoted shall be inclusive of cleaning of site of any vegetation, dressing , clearing of old structures and leveling etc. including fixing of grid pillars, benchmarks etc. required for commencement of site activities. No separate payment will be made towards the same. However, if separate rate for such item is avalable in the rate schedule, the same shall be considered.
10 | Rates shall be quoted in figures and in words in clear legible writing. No overwriting is allowed. All scoring and cancellations should be countersigned and in case of illegibility the interpretation of engineer shall be final. All entries shall be in English language.
11 | All works item wise shall be measured upon completion and paid for at the rates quoted and accepted as per BHEL approved payment schedule/billing break-up.
12 | The tender shall be deemed to have visited site and made himself aware of all the site conditions, studied the specifications and details of work to the done within the time schedule attached and to have acquainted himself of the conditions prevailing at site.
13 | No splitting of the job is envisaged. Decision of BHEL in this regard shall be final and binding to the bidders.
14 | Bidders are not allowed to alter the Price Schedule format including item description,quantity etc. and the offer is liable for rejection if the bidders submit their prices in Price Schedules modified by them.BHEL reserves the right to reject the offers of bidders who submit offers in Price Formats which are modiified/altered by them. Also putting any comments instead of rates/price in the designated column of the rate schedule shall make the offer liable for rejection.
15 | Bidders to note that for Civil &/Structural packages, against a particular item against a ST No. appearing in more than one schedule of the BOQ, same rate must be quoted in all schedules for that particular items with same descriptions. If by error, different rates are quoted in different schedules for same ST No.(i.e. item with same description), then the higher of the rates shall be considered for evaluation but awarding shall be done with the lower rate, if the bidder becomes L-1.”
16 | For Lumpsum Service Contract : The items/components indicated in the tender is indicative and may vary to any extent. No compensation shall be payable in case of any variation in the items/components listed in the bill of quantities if the executed weight remains within the variation limit. However, in case of deletion of any item or addition of new items over and above the items listed or variation of existing quantity beyond variation limit specified, adjustment (i.e. Payment or recovery as the case may be ) shall be done on pro-rata basis based on the Rate per MT worked out from the quoted lump-sum Price and the total weight of components listed /indicated in price schedule plus 30% weight variation limit.
17 | Engineer’s decision shall be final and binding on the contractor regarding clarification of items in the schedule with respect to the other sections/volumes of the contract.
18 | In case of tender for Civil and/or Structural works, if the Non-schedule items are not quoted by the bidder, it will be treated at par with rate of corresponding item of CPWD/PWD/DSR/BPWD schedule as prescribed in the tender/BOQ cum Rate Schedule.
19 | No interest, whatsoever, shall be payable by BHEL on the security deposit, any bank guarantee submitted or any amount due to successful bidder/contractor.
20 | Size and weights of various items are mentioned in the attached BOQ cum rate/price schedule for reference purpose only & these shall not be taken into consideration for quoting/calculating amount in the rate schedule. These shall be utilised as per relevant sections of tender. Bidders shall quote for each item in the rate column, taking unit as mentioned in the quantity column. Rates shall be filled in both figures and words. Amount shall be calculated based upon these rates multiplied by the mentioned quantity for the respective items.
21 | Bidder's Total price shall be considered for evaluation unless stated otherwise.
22 | In case of BOP packages, if Bidder does not quote/indicate the price for freight chagses against indicated rate schedule, the same shall be considered as 2% of basic price and adjusted with the total quoated price against each item keeping the total quoted price unaltered.

## SCH 1 MAIN PRICE
VOLUME-III PRICE SCHEDULE, REV-01
PACKAGE MISC-2 : MISCELLENEOUUS CIVIL SUB STRUCTURE AND SUPERSTRUCTURE WORKS FOR DIFFERENT STRUCTURES FOR 2X660 MW MAITREE RAMPAL PROJECT, BANGLADESH.
TENDER NO - MSTPP: MISC-2: KLN-C
SCH-1 : TOTAL PRICE
SL NO | DESCRIPTION | PRICE SCHEDULE REF | TOTAL QUOTED PRICE (IN USD)
1.0 | TOTAL PRICE FOR MISCELLENEOUS CIVIL SUB AND SUPERSTRUCTURE WORKS FOR DIFFERENT STRCUTURES FOR 2X660 MW MAITREE RAMPAL PROJECT, BANGLADESH. | SCH 2 - BREAK UP OF TOTAL PRICE | IN FIGURES:-
IN WORDS:-
NOTE
1.0 | Bidder shall quote total price for total price of SCH-1- Part only at sl no 1 above. All other amounts/ rates of each item of works in respective schedules/ parts will be derived based on allocated percentages. As such, any uncalled figure/ amount noted at any other place/ schedule of Volume-III will not be recknoed & will stand null & void.
2.0 | Bidder to note that total price at sl no 1.0 above shall be considered for evaluation & awarding. As such grand total price should be complete in all respect for the full scope defined and considering all terms and conditions.
3.0 | Bidder to note that SCH-2 is Break-up of Total Price.
3.1 | Bidder to note that SCH-3 covers SERVICE of respective items, unless specified otherwise in the description of items.
3.2 | Bidder to note that SCH-4 is Break-up of TOTAL PRICE BREAK UP FOR GROUND IMPROVEMENT WORK unless specified otherwise in the description of items.
3.3 | Bidder to note that SCH-5 is Break-up of SUPPLY unless specified otherwise in the description of items.
3.4 | Bidder to note that SCH-6 is Break-up of O&M of Solid waste managment plantunless specified otherwise in the description of items.
4.0 | Bidder's quoted total priceat Sl. no 1 above respectively shall be apportioned into amount of various items of works based on allocated percentages against respective item, in respective schedules/ parts. As such, bidder shall not indicate/ quote any amount/ rate in these schedules/ parts and any amount/ rate quoted against any item shall not be taken into cognizance/ account and offer may be liable for rejection.
5.0 | Based on the itemwise percentage allocations, the amount for the individual items of the Bill of Quantity shall be arrived at. The rates of individual items shall be derived from the amount against each items after roundeding off .
6.0 | Bidders to note that this is an item rate contract. Payment shall be made for the actual quantities of work executed at the unit rate arrived at as per Sl No.7below.
7.0 | Unit rates of each item of works of respective schedules/ parts will be derived by dividing derived amount by corresponding quantities. In deriving the unit rates of each item in this manner, figures only upto 2 decimal places will be taken into account. Any adjustment, if required, due to such methodology, will be effected in final bill.
8.0 | Successful bidder shall draw a schedule of quantities of various items of work of SCH-5 and obtain BHEL's approval/ clearance in writing before procurement, supply, etc.
9.0 | Any item as per scope of work, if not included in the price quoted above and shown separately will not be taken cognizance of and the offer shall be liable for rejection.
10.0 | Price format shall not be changed by bidder in any case and it may lead to cancellation of their offer.
11 | The quantity of items may vary during execution mainly due to actual requirement etc. The unit rates work out from the overall amount quoted & accepted by BHEL shall be considered and no separate unit rates shall be allowed. Unit rates shall be valid throughout the contract period.
12 | For payment of non schedule items, the rate shall be derived from Schedule of Rates 2014, PWD, Govt. of Bangladesh.

## SCH 2 BREAK UP
VOLUME-III PRICE SCHEDULE, REV-01
PACKAGE MISC-2 : CIVIL , ARCHITECTURAL & STRUCTURAL SUB STRUCTURE AND SUPERSTRUCTURE WORKS FOR DIFFERENT STRUCTURES FOR 2X660 MW MAITREE RAMPAL PROJECT, BANGLADESH.
TENDER NO - MSTPP: MISC-2: KLN-C
SCH-2 : BREAK UP OF TOTAL PRICE SCHEDULE
SL NO | DESCRIPTION | PRICE SCHEDULE REF | AMOUNT
1.0 | SERVICE | SCH 3 -SERVICE | 100%
| TOTAL ALLOTTED PERCENTAGE | GRAND TOTAL | 100%

## SCH 3 SERVICE
VOLUME-III PRICE SCHEDULE, REV-01
PACKAGE MISC-2 : MISCELLENEOUUS CIVIL SUB STRUCTURE AND SUPERSTRUCTURE WORKS FOR DIFFERENT STRUCTURES FOR 2X660 MW MAITREE RAMPAL PROJECT, BANGLADESH.
TENDER NO - MSTPP: MISC-2: KLN-C
SCH-3 : SERVICE
ST. NO | DESCRIPTION OF ITEM | UNIT | Quantity | WEIGHTAGE (Nearest to the 6 decimal points) W.R.T THE TOTAL value
100 EARTH WORK
Earth work In excavation, backfilling and disposal including necessary men/women, materials, equipment, loading, transportation, unloading, dewatering etc as per specification, drawing, relevent laws of Bangladesh, relevant BS (or equivalent international standard) Standards approved by BIFPCL/BHEL and as directed by engineer- in-charge for the following.
B101 | Earth work in excavation in all types of soil including ash which can be excavated by any means including setting out, levelling, dewatering (but excluding special type of dewatering viz. well point method), shoring & strutting (wherever required), dressing the sides & bottom, all lifts, ramming/compacting the excavated bottom, stacking, disposal of surplus excavated materials within a lead upto 1 km, spreading/levelling of disposed materials etc all complete for following depths below ground level.This item is applicable in all the excavation areas except excavation by using of Sheet Pile .
a | Depth from ground level but not exceeding 2 m | CUM | 9000 | 0.033593
b | Depth exceeding 2 m but not exceeding 4 m | CUM | 7000 | 0.033894
c | Depth exceeding 4 m but not exceeding 6 m | CUM | 2000 | 0.014907
A101 | Earth work in excavation in all types of soil including ash which can be excavated by any means including setting out, levelling, dewatering (but excluding special type of dewatering viz. well point method), shoring & strutting (wherever required), dressing the sides & bottom, all lifts, ramming/compacting the excavated bottom, stacking, disposal of surplus excavated materials within a lead upto 1 km, spreading/levelling of disposed materials etc all complete for following depths below ground level.This item is only applicable for excavation by using of Sheet Pile . Payment for Sheet Pile shall be paid as per Item No. 2516
a | Depth from ground level but not exceeding 2 m | CUM | 1500 | 0.005599
b | Depth exceeding 2 m but not exceeding 4 m | CUM | 1500 | 0.007263
c | Depth exceeding 4 m but not exceeding 6 m | CUM | 1500 | 0.01118
d | Depth exceeding 6 m but not exceeding 8 m | CUM | 1500 | 0.012298
e | Depth exceeding 8 m but not exceeding 10 m | CUM | 1500 | 0.013538
f | Depth exceeding 10 m but not exceeding 15 m | CUM | 500 | 0.004964
A107 | Earthwork in back filling upto any depth below ground level around foundations, plinths, trenches, drains etc to proper grade and level in layers not exceeding 250 mm thickness using/with selected approved materials from compulsorily excavated earth available within a lead upto 1 Km and compacted as specified including re-excavation of stacked earth, watering, ramming/compaction by manual/mechanical means, dressing etc all complete.for the following.
e | Each layer compacted so as to achieve at least 85% relative density as per ASTMD-4253 & ASTMD-4254 | CUM | 7000 | 0.013509
A108 | Earthwork in Back filling upto any depth below ground level around foundations, plinths, trenches, drains etc to proper grade and level in layers not exceeding 250 mm thickness using/with selected earth directly from excavation within a lead upto 1 Km and compacted as specified including watering, ramming/compaction by manual/mechanical means, dressing etc all complete for the following.
e | Each layer compacted so as to achieve at least 85% relative density as per ASTMD-4253 & ASTMD-4254 | CUM | 8000 | 0.008135
A109 | Extra over ST No. A101,B101 and A107 to A108 for carriage of material/earth for every 500 m or part thereof beyond an initial lead of 1 Km. | CUM | 1500 | 0.00026
C 200 | CONCRETE WORKS
Placing of concrete work including cost of labour, materials (unless otherwise specified in BOQ/contract specification) and equipment for handling, transportation, placing, vibrating and curing, cleaning and rendering the exposed surface with cement sand mortar to give a smooth and even surface (excluding cost of centering, shuttering and reinforcement) with mechanised equipments like transit mixer, concrete pump etc, preparation of scheme for concreting, getting it approved by engineer, maintaining and submitting records of concreting. complete as per drawing, specifications, relevant laws of Bangladesh, manufacturer's recommendation, relavant BS standards/equivalent international standards and as approved by BIFPCL/BHEL and as per direction of engineer in charge for the following. (RMC SHALL BE PROVIDED BY BHEL AT BATCHING PLANT IN PROJECT PREMISES . TRANSPORTATION FROM THE BATCHING PLANT UP TO THE POURING POINT SHALL BE UNDER THE SCOPE OF CONTRACTOR)
SUBSTRUCTURE WORK
C-1A | (i) PCC of any Grade below plinth level | CUM | 1000 | 0.022742
| (ii) RCC of any Grade below plinth level | CUM | 6500 | 0.22391
SUPERSTRUCTURE WORK
C-1B | (i) Screed Concrete/DPC of any Grade FOR superstructure above plinth level | CUM | 150 | 0.006533
| (ii) RCC of any Grade for superstructure above plinth level. | CUM | 500 | 0.021777
Misc Concrete related work
216 | Chipping of concrete in reinforced concrete work, cutting pockets, making openings at all levels and according to shapes, disposal of waste materials upto a lead of 2 km as directed by engineer including equipment, safety precautions, making good the broken surface etc all complete as per specification, drawing, instructions of engineer in charge but excluding cutting of reinforcement . | CUDM | 40 | 4.7e-05
300 FORM WORKS
Providing, fixing and removing formwork at any elevations for all structures, as per specifications and including all labour, material, scaffoldings and centereing complete including pockets etc. complete as per drawing, specifications, relevant laws of Bangladesh, relavant BS Standards or Equivalent International standards approved by BIFPCL/BHEL and as per direction of engineer in charge for the following.
A301 | Fairface form work with good quality water proof ply wood OR good quality steel shutter with angle stiffner(Plywood lining for form shall be of timber, which is resin bonded and water repellant) of minimum 12 mm thickness and smooth surface below finished ground floor level for foundations, footings, base of columns, walls, columns, pilasters, beams, mass concrete, trenches etc including providing 25mmx25mm chamfer at all exterior corners. | SQM | 11000 | 0.12661
A302 | Fairface form work with good quality water proof ply wood or Good quality steel shutter with angle stiffner(Plywood lining for form shall be of timber, which is resin bonded and water repellant) of minimum 12 mm thickness and smooth surface above finished ground floor level for columns, beams, suspended floors, roofs, lintels, cantilevers, staircases, landings, balconies etc. for all heights including rubbing the concrete surface with carborundum stone to make smooth finish and providing 25mmx25mm chamfer at all exterior corners. | SQM | 2000 | 0.028936
A304 | Providing, fixing and removing formwork in block-outs/pockets and openings (below 0.1 sqm plan area) at all elevations including cutting, formation of all shapes and all other operations required for making the required shape and size all complete as per specification, drawing and instruction of engineer in charge.
a | Upto 150 mm depth | Each | 65 | 0.000387
b | Pockets of depths more than 150mm and upto 300 mm depth | Each | 325 | 0.003524
c | Pockets of depths more than 300mm and upto 600 mm depth | Each | 75 | 0.001536
400 REINFORCEMENT
Reinforcement work including all labour, material (unless otherwise specified in BOQ/contract specification), equipment, transportation, handling etc at all level as per specification, relevant laws of Bangladesh, relavant BS Standards or Equivalent International standards approved by BIFPCL/BHEL drawings and as directed by engineer - in - charge for the following
402 | Straightening, cutting, bending, placing in position at any level, binding in position of steel reinforcements of grade B500B confirming to BS 4449:2005+A:2009 including cost of reinforcement steel, binding wire, labour, scaffolding, transportation to & from stores etc complete all as per specifications, drawings and as directed by Engineer. (REINFORCEMENT STEEL SHALL BE SUPLIED BY BHEL AS FREE OF COST AS PER TCC) | MT | 720 | 0.1395
500 WATER PROOOFING WORKS
A509 | Providing and applying two coats of bitumen of suitable grade as per relevant BS or equivalent international code @ 1.7kg/sqm with 1% antistripping compound in foundation, wall, column etc on concrete surfaces exposed to soil / ash including surface preparation etc. all complete. | SQM | 11000 | 0.06412
606 | Providing and fixing PVC water stops in joints conforming to relevant BS code or equivalent international code all complete for the following:
b | 230 mm wide and 8 mm thick | RM | 100 | 0.000881
c | 150 mm wide and 6 mm thick | RM | 100 | 0.000875
d | 230 mm wide and 6 mm thick | RM | 100 | 0.001267
700 MS EMBEDMENTS
Embedments including all labour, material (unless otherwise specified in BOQ/specification), equipment, transportation, handling etc. at any level as per specification, drawings, relevant laws of Bangladesh, relavant BS Standards or Equivalent International standards approved by BIFPCL/BHEL and as directed by engineer - in - charge.
703 | Same as above items with BHEL supplied material free of cost including loading, transportation, unloading etc. all complete from BHEL store to plant site.
a | Mild steel embedments, inserts, pipe sleeves, angle pieces, rungs of various diameters, plates of dimensions as required etc. | MT | 5 | 0.00183
b | Mild steel foundation bolt assembly conforming to relevant BS or equivalent international code in concrete along with nuts, lock nuts (as perrelevant BS or equivalent international code), washers, anchor plates, stiffner plates, protective tape, pipe sleeves, templates etc. | MT | 10 | 0.003529
704 | Fabricating, erecting and installing following items in concrete/brickwall for all kind of works, including setting material in concrete, layout, scaffoling, cutting, forming, grinding, drilling, bolting, welding, jointing, testing etc. all complete.
a | MS pipes of all diameters | Quintal | 20 | 0.000606
b | PVC pipes / conduits of all diameters | Quintal | 5 | 0.000785
c | UPVC pipes / conduits of all diameters | Quintal | 5 | 0.00076
1000 BRICKWORK
Brickwork masonry including all labour, material (unless otherwise specified in BOQ/specification), equipment, transportation, handling, scaffolding etc. at all levels as per relevant laws of Bangladesh, relavant BS Standards or Equivalent International standards approved by BIFPCL/BHEL, specification, drawings and as directed by engineer - in - charge.
1001 | Providing brick work in cement mortar 1:6 (1 part cement 6 parts coarse sand) in walls, chambers etc. in thickness varying from 230mm to 460mm at all depths, places and positions below plinth including raking out joints, curing, scaffolding etc. complete excluding plastering and painting.
c | Using burnt clay bricks as per relevant BS code or equivalent international code with crushing strength of 75 Kg/cm2 | CUM | 200 | 0.034101
1002 | Providing brick work in cement mortar 1:6 (1 cement 6 coarse sand) in walls, chambers etc. in thickness 230mm at all heights, places and position above plinth including raking out joints, curing, scaffolding etc complete excluding plastering and painting.
c | Using burnt clay bricks as per relevant BS code or equivalent international code with crushing strength of 75 Kg/cm2 | CUM | 200 | 0.037586
1006 | Breaking of existing brick work at all levels including plastering, removing the rubbish up to a distance of 500 m including transportation, loading, unloading etc. all complete as directed by the engineer. | CUM | 20 | 0.00049
1200 CEMENT MORTAR PLASTER
Cement mortar plaster including making grooves wherever required including all labour,material ( unless otherwise specified in BOQ /specification),scaffolding,curingetc at any level as per relevant laws of Bangladesh,relevant BS Standards or Equivalent international standards approved by BIFPCL/BHEL ,specification,drawings, and as directed by Engineerr-in-charge.
1201 | Providing 18mm thk plaster in two layers outside the building/boundary wall in cement mortar 1:6 on walls,finished to a smooth finish including providing 3mmx3mm size grooves at junctions of two dissimilar materials all complete. | SQM | 200 | 0.001059
1202 | Providing 12mm thick plaster inside the building/boundary wall in cement mortar 1:6 on walls finished to a smooth finish as per specification all complete. | SQM | 1000 | 0.003714
1800 MISCELLANEOUS WORKS
Miscellaneous works including all labour, material (unless otherwise specified in BOQ/specification), equipment etc. at any level unless otherwise specified as per relevant laws of Bangladesh, relavant BS Standards or Equivalent International standards approved by BIFPCL/BHEL, specification, drawings and as directed by engineer - in - charge.
1801 | Providing and Filling in trenches, plinths, area paving and other underground structures with graded stone aggregate of size range 63 mm to 45 mm in layers not exceeding 230 mm in thickness including breaking of stone boulders to required sizes, filling the interstices with selected sand and compacting to 85 % of original volume of stone stack for all lifts etc. all complete. Payment shall be made for the measurement of the volume of the compacted fill. | CUM | 100 | 0.008239
1812 | Laying of earthing mats/rods in concrete (pile, pile cap, pedestals, columns, slabs, beams etc.) including risers, transportation from yard stores, loading, unloading, cutting to length, welding, connection to reinforcement by GI wire (supply of GI wire included in the item), protective painting of joints etc. all complete. (Excavation & Back filling shall be paid separately under respective item of earth work. Earthing mats/rods shall be supplied by BHEL free of cost) | MT | 2 | 0.000391
2516 | Design, supplying, installing of sheet pile for earth protection around foundation as per accepted scheme including material, labour, equipment, consumable etc. all complete complying all safety norms and removal of sheet pile after completion of foundation work. this item to be executed after approval of execution scheme by BHEL Engineer. [mode of measurement : Area shall be calculated on the basis of exposed sheet pile area above founding level inside excavated pit]. Payment shall be made 70% after installation and 30% after removal of sheet pile. | SQM | 200 | 0.051505
M-5 | Providing cleaning of sludge/ silty clay from foundation pit,trenches,tank pit etc complete either by manualy or by deploying machine and required tools as per direction of engineer. | CUM | 300 | 0.00112
M-7 | Breaking of RCC or PCC member in shape by using pneumatic hammer and saw cutting tools in all respect including labour, T & Ps all complete as per direction of engineer in charge. | CUM | 75 | 0.004323
M-8 | Providing treatment of crack in RCC member at any height by using necessary crack filling bonding chemical from approved vendor like Fosroc/Sika/BASF/Thermax etc in all respect including materials, labour, T & Ps, scaffolding, etc all complete as per direction of engineer in charge. | RM | 75 | 0.001495
M-9 | Providing surface smoothening / rendering preparation of RCC member at any elevation by necessarily removing of the Tie Rod,cutting of additional uneven joint concrete by grinding /cutting wheel and final finishing by carborundum stone (Renderoc Plus of Fosroc make / BASF/Thermax make) till the surface is exposed with glossy finish, inlduing all labour, materials, T & Ps, scaffolding, etc all complete as per direction of engineer in charge. | SQM | 100 | 0.00235
M-10 | Providing and fixing of inspection grouting nipple up to depth of 120mm to 200mm inside the concrete at any elevation.The item is inclusive of plugging ,cutting of nipple after grouting is completed and necessary grinding shall be carried out matching the exposed finish concrete surface including all labour, T & Ps, scaffolding, etc complete as per direction of engineer in charge. | NOS | 1500 | 0.013954
M-11 | Supply of high viscous epoxy material of approved brand for injection grouting including grouting of concrete structure including labour, T&Ps, grouting pumps, all complete as per direction of engineer in charge. [Actual consumption of grouting material shall be measured. Supply & Fixing of nipple shallbe paid as per M-10] | Litres | 150 | 0.004984
M-12 | Supply of high viscous cementious grout material of approved brand for injection grouting including grouting of concrete structure including labour, T&Ps, grouting pumps, all complete as per direction of engineer in charge.[Actual consumption of grouting material shall be measured. Supply & Fixing of nipple shall be paid as per M-10] | Litres | 100 | 0.000133
M-14 | Installation of borewell of shallow depth up to maximum 250 Feet with stainer pipe of 4.5 inch dia and supply of submersible pump of sufficient capacity to supply water up to distance of 100m including supply of pipeline all complete. | NOS | 2 | 0.01289
M-15 | Providing and fixing of heavy duty GI Pipe line with necessary bend valve etc including labour, tools & tackles etc all complete as per direction of engineer in charge
(i) | 1'' Dia pipe | RM | 200 | 0.002038
( ii ) | 2'' Dia pipe | RM | 200 | 0.003236
M-18 | Construction of embankment /bund by using sand filled geo bags for earth protection works. Volume of embankment / bund shall be measured | CUM | 250 | 0.007098
| TOTAL WEIGHTAGE |  |  | 1